# Submission ID #: 58788

# Scriptwriter Name: Bridget Colvin

# Project Page Link: http://www.jove.com/files_upload.php?src=17930388

# Title: Two-Photon Imaging of Microglial Processes’ Attraction Toward ATP or Serotonin in Acute Brain Slices

# Authors and Affiliations: Fanny Etienne1,2,3, Vincenzo Mastrolia1,2,3, Luc Maroteaux1,2,3, Jean-Antoine Girault1,2,3, Nicolas Gervasi1,2,3 *, and Anne Roumier1,2,3 *

# *These Authors provided equal supervision to the work

# 1Institut national de la santé et de la recherche médicale (INSERM), Institut du Fer à Moulin (UMR-S 839)

2Sorbonne Université

3Institut du Fer à Moulin

# Corresponding Authors:

Anne Roumier

anne.roumier@inserm.fr

Phone: +33 1 45 87 61 24

Nicolas Gervasi

nicolas.gervasi@inserm.fr

Phone: +33 1 45 87 61 53

# Email addresses for Co-authors:

# Fanny.etienne@inserm.fr

# Vincenzo.mastrolia@inserm.fr

# Luc.maroteaux@inserm.fr

# Jean-antoine.girault@inserm.fr

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

Authors: please upload all screen captured files to your project page

3. Which steps from the protocol section below are the most important for viewers to see?

n/a

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

5. Will the filming need to take place in multiple locations? Y, same building different floors.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Anne Roumier: To fully characterize a microglial phenotype, it is important to address both basal and directional motility [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Nicolas Gervasi: This protocol can be used to test the directional motility of microglia by multiphoton imaging in mice brain slices using customized, 3D-printed interface and perfusion chambers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Anne Roumier: Demonstrating the procedure will be Fanny Etienne, a PhD student, and Vincenzo Mastrolia, a postdoctoral researcher, both from our laboratories [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Darwin Ethical Committee from the French Ministry of Education and Research.

# Section - Protocol

- Dissection Area Preparation

  - At least 30 minutes before the dissection, start bubbling 70 milliliters of choline-artificial cerebral spinal fluid, or choline aCSF (A-C-S-F), on ice [1-TXT] and 150 milliliters of choline-aCSF at 32 degrees Celsius with carbogen [2-TXT].

    - WIDE: Talent starting choline-aCSF (70mL) on ice bubbling TEXT: See text for all solution preparation details (Videographer Comment: CU at the end)

    - MED: Talent starting choline-aCSF (150 mL) at 32 °C bubbling TEXT: Maintain constant carbogenation throughout procedure (Videographer Comment: CU at the end)

  - Place a 200-milliliter crystallizing dish with a bar magnet into a sealed food box [1] and add 200 milliliters of aCSF to the dish [2].

    - MED: Talent placing dish into box

    - CU: aCSF being added to dish

  - Place a 3D-printed interface slice holder on top of the dish [1] and remove excess fluid from the crystallizing dish until only a thin film of solution covering the mesh of the interface slice holder remains [2].

    - CU: Slide holder being placed onto dish (Videographer Comment: take 2)

    - CU: Fluid being removed

  - Add a few millimeters of aCSF at the bottom of the food box [1] and start bubbling the fluid with carbogen [2].

    - CU: aCSF being added to box bottom (Videographer Comment: MED, also with 2.3.2)

    - CU: Fluid being bubbled/bubbling being initiated (Videographer Comment: CU at the end)

  - Then close the sealed box while maintaining constant carbogenation to create a humidified 95% oxygen-, 5% carbon dioxide-rich interface chamber [1].

    - MED: Talent closing box

- Brain Slicing

  - After harvesting, place the brain onto a piece of aCSF-soaked filter paper [1-TXT] and dissect out the region of interest according to the preferred angle of slicing [2].

    - WIDE: Talent placing brain onto paper TEXT: See text for brain harvest details (Videographer Comment: take 3)

    - CU: Brain region being dissected

  - For coronal slices, position and glue the caudal face of the brain onto a 10-centimeter Petri dish attached to the cutting block of a vibrating slicer [1] and position the block in the reservoir chamber of the vibrating slicer within a larger chamber filled with ice [3.3.1].

    - CU: Brain being glued into dish (Videographer Comment: take 2)

    - CU: a-CSF being added to dish (Swap this step with 3.3.1)

3.3.1. MED: Talent placing block into chamber

  - Fill the dish with ice-cold choline-aCSF [3.2.2] and use the slicer to obtain 300-micrometer thick brain slices [2], using a 4-mm-diameter disposable transfer pipette after every pass of the blade to collect each slice [3-TXT].

3.2.2. CU: a-CSF being added to dish

    - MED: Talent placing block into chamber (Swap this step with 3.2.2)

    - MED: Talent making section (Videographer Comment: CU at the end)

    - CU: Section being collected TEXT: Caution: Avoid air bubbles

  - Let each slice recover in the 32 degree-Celsius choline-aCSF for about 10 minutes after it is obtained [1] before transferring the slices onto pieces of lens-cleaning paper topped with a drop of choline-aCSF [2].

    - MED: Talent placing slice into aCSF

    - CU: Slice being placed onto paper (Videographer Comment: MED at the end)

  - Then aspirate the excess choline-aCSF [1] and use a spatula to transfer the slices onto the mesh of the interface chamber [2], allowing the slices to recover in this environment for at least 30 minutes [3].

    - CU: Fluid being aspirated

    - CU: Slice being placed onto mesh (Videographer Comment: take 1 MED, take 2 CU)

    - MED: Talent setting timer, with interface chamber visible in frame

- 2-Photon Live imaging

  - Thirty minutes before starting the recording, connect the peristaltic pump [1] to a customized recording chamber with top and bottom perfusion for optimizing the oxygenation and viability of the tissue slices [2] and clean the entire perfusion system with 50 milliliters of ultrapure water [3].

    - WIDE: Talent connecting pump to chamber

    - LAB MEDIA: To be provided by Authors: movie of the 3D model of the chamber

    - CU: System being perfused with water

  - At the end of the cleaning cycle, start the perfusion of the recording chamber with 50 milliliters of aCSF in a glass beaker under constant carbogenation [1-TXT] and use a disposable, wide-mouth transfer pipette to transfer the first slice to be imaged to the beaker to remove the lens paper [2].

    - MED: Talent starting perfusion TEXT: Maintain circulating aCSF to 32 °C w/ inline micro- or Peltier heater

    - MED: Talent placing slice into beaker (take 2)

  - When the section has sunk to the bottom of the beaker [1], transfer the section to the recording chamber [2] and position a slice holder onto the slice to minimize movement induced by the perfusion flow [3].

    - ECU: Shot of slice a bottom of beaker

    - MED: Talent placing slice into chamber

    - CU: Slice holder being positioned onto slice (take 2)

  - Use bright-field illumination to target the brain region of interest under a 5-10X magnification [1]. Then use a 25X objective with a 0.35X water immersion lens to adjust the position of the viewing field [3].

    - MED: Talent at microscope, locating region of interest

    - SCREEN: To be provided by Authors: Shot of ROI, then ROI position being adjusted

- Compound Application

  - Use fluorescence illumination to locate the fluorescent microglial cells [1] and backfill the pipette with 10 microliters of aCSF containing the compound of interest at its final concentration [2].

    - MED: Talent switching to fluorescence illumination

    - CU: Pipette being backfilled, with stock compound container label visible in frame as possible [Shots 5.1.2 and 5.2.1 combined]

  - Point the tip downward with gentle shaking to remove any air bubbles trapped in the tip [1] and mount the filled pipette into a pipette holder [2] connected to a 5-milliliter syringe with a plunger positioned at the 5-milliliter position and mounted onto a three-axis micromanipulator [3].

    - MED: Talent pointing tip downward (Videographer Comment: at the end of 5.1.2)

    - MED: Talent mounting pipette onto holder

    - CU: Shot of syringe and tubing and plunger at 5-mL position and micromanipulator Video Editor: please emphasize syringe plunger position and micromanipulator when mentioned as possible/necessary

  - Lower the pipette gently toward the slice, controlling and adjusting the objective at the same time [1], until the pipette tip lightly touches the surface of the slice [2].

    - CU: Pipette being lowered/objective being adjusted

    - SCREEN: To be provided by Authors: Pipette just lightly touching surface of slice (around 14/00)

  - Now tune the laser [1-TXT] and switch the microscope to the multiphoton mode [2].

    - MED: Talent tuning laser TEXT: See text for laser tuning details

    - SCREEN: To be provided by Authors: Multiphoton mode being selected

  - Make sure that the chamber is screened from any light source [1] and switch on the non-descanned detectors [2].

    - CU: Chamber being screened

    - MED-over the shoulder: Talent switching on detectors, with monitor visible in frame

  - Set the gain and use a lookup table with a color-coded upper limit to avoid saturating the pixels in the image [1].

    - SCREEN: To be provided by Authors: Gain being set and shot of LUT (around 9/00)

  - Then start recording for a total duration of at least 30 minutes [1], slowly depressing the syringe plunger from the 5- to 1-milliliter position after 5 minutes over a period of 5 seconds to apply the compound to the section [2].

    - SCREEN: To be provided by Authors: Recording being started

    - CU: Compound being applied (stop at 10/00)

  - For image analysis, first perform z-projection and drift correction with ImageJ  on the file of interest. Then open the modified file in Icy [1] and draw a circular, 35-micrometer diameter region of interest centered over the injection site [2]. Run the movie again, with the ROI, to ensure that it is well positioned [3].

    - MED-over the shoulder: Talent opening Icy, with monitor visible in frame

    - SCREEN: To be provided by Authors: ROI being drawn over injection site

    - [Added Shot]: SCREEN: same movie than the one used for 5.8.2, but this time running until the end, and displaying the ROI

  - Then use the Region of interest intensity evolution plugin to measure the mean intensity over time in the region of interest and save the results as an .XLS file [1].

    - SCREEN: To be provided by Authors: ROI intensity plugin being opened, then ROI mean intensity over time being measured

# Section – Results

- Results: Microglial Response Analyses

  - This protocol allows the responses induced by different compounds like ATP or serotonin to be measured [1].

    - LAB MEDIA: Figure 7C: JoVE Video Editor: please sequentially emphasize red and green data lines

  - Although the injection of ATP elicits an increase of fluorescence [1], after most ATP injections there is an immediate slight decrease in fluorescence due to tissue distortion [2] that comes back after a few minutes [3].

    - LAB MEDIA: Figure 7A: JoVE Video Editor: please add/emphasize red arrow and “injection” text

    - LAB MEDIA: Figure 7A: JoVE Video Editor: please emphasize dip in data lines from injection arrow to just after 5 min

    - LAB MEDIA: Figure 7A: JoVE Video Editor: please emphasize data line from just after 5 min to about 10 miin

  - The size of the region of interest also impacts the quantification [1], as increasing the diameter reduces the variability among the experiments [2] but decreases the accuracy and magnitude of the detected response [3].

    - LAB MEDIA: Figure 7B:

    - LAB MEDIA: Figure 7B: JoVE Video Editor: please emphasize grey data lines

    - LAB MEDIA: Figure 7B: JoVE Video Editor: please add horizontal line from y-axis across top of darker grey line to emphasize decreased magnitude of response OR add bracket between red data line and top grey line

  - Assessment of the microglial response at a specific time point can be useful for the statistical comparison of different compounds or to test the effects of specific antagonists added to the perfusion solution [1].

    - LAB MEDIA: Figure 7D: JoVE Video Editor: please sequentially emphasize red and green data clusters

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Fanny Etienne: To quantify the motility in 3 dimensions, note that you may have to change the z-step interval and the sampling rate of the acquisition to fit within the analysis requirements [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera