Submission ID #: 58807
Editor Name: Nadeeka Dias
Videographer name: Sam Van Roosbroeck
Film Date: Nov. 2, 2018
Link: http://www.jove.com/files_upload.php?src=17936183
Authors and Affiliations:  Vanessa Reindl1,2, Kerstin Konrad1,2, Christian Gerloff2,3, Jana A. Kruppa1,2,4, Laura Bell1, Wolfgang Scharke1

1Child Neuropsychology Section, Department of Child and Adolescent Psychiatry, Psychosomatics and Psychotherapy, Medical Faculty, RWTH Aachen University, Germany

2JARA-Brain Institute II, Molecular Neuroscience and Neuroimaging, RWTH Aachen & Research Centre Juelich, Germany

3Lehrstuhl II für Mathematik, RWTH Aachen University, Germany

4Translational Brain Research in Psychiatry and Neurology, Department of Child and Adolescent Psychiatry, Psychosomatics, and Psychotherapy, University Hospital Aachen, Germany

Title: Conducting Hyperscanning Experiments with Functional Near-Infrared Spectroscopy

Corresponding Author: 

Vanessa Reindl

vreindl@ukaachen.de

Co-authors:

Wolfgang Scharke
(wscharke@ukaachen.de)

Christian Gerloff 
(gerloff@math2.rwth-aachen.de)

Jana A. Kruppa
(jkruppa@ukaachen.de)

Laura Bell

(lbell@ukaachen.de)

Kerstin Konrad 
(kkonrad@ukaachen.de)
A.  Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? NO

B.   Software Usage: Does your protocol include detailed, step-by-step, descriptions of software usage? NO 

C.  Which steps of your protocol will viewers benefit most from having filmed? 
Steps  2.3.1., 2.6.1, 3.5.2., 3.9.2
D.  What is the single most difficult aspect of this procedure and what do you do to ensure success?  Steps 3.5.2, 3.9.2
E.  Will the filming need to take place in multiple locations? NO
1. Introduction (Experimental Goal and Author Interviews) – As the beginning of your video, the introduction should clearly present the goal of your method to the viewer and its significance.  Other information can be provided according to the various statements below, but the total introduction should not exceed 150 words. 
A.  Required Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.1. Vanessa Reindl: By measuring brain activities of two or more people simultaneously, this method can shed new light on the neurobiological mechanisms underlying social interactions. 
1.2. Wolfgang Scharke Christian Gerloff: Functional near-infrared spectroscopy or fNIRS is well-suited for conducting such hyperscanning experiments because it measures the brain’s hemodynamic response with a high sampling rate and can be applied in relatively natural settings.     

B.  Optional Interview Statements: (Said by you on camera. Don’t forget to smile!)  
1.3. Jana Kruppa: While this protocol shows how to conduct simultaneous fNIRS recordings of adult-child dyads, it can be adapted to different dyadic constellations, such as romantic partners, and to different experimental tasks.   

D.  Ethics title card: (for human subjects or animal work, does not count toward word length total)
1.4. Procedures involving human subjects have been approved by the ethics committee of the Medical Faculty of RWTH Aachen University.
Protocol: (read by voice talent at JoVE)
2. NIRS Preparation

2.1. Begin by choosing a cap size the same size or slightly larger than the  participant’s head circumference [1-MED].
2.1.1. Talent picks up cap. 

2.2. Cut 15 holes with a diameter of approximately 15 mm each, arranged in a horizontal 3x5 grid, into the forehead area of each of 2 raw EEG caps [1-MED]. Ensure that the holes are spaced 30 mm from each other in any direction, that the middle column of holes is located in the center of the forehead [2-CU]
2.2.1. Show cap with cut-in holes and talent pointing to the 3x5 grid.

2.2.2. Talent pointing to the middle column of holes. 
2.5. In order to make the caps more comfortable and minimize pressure marks, attach soft foam material at the inner side of the holder grid between the probe sockets and at the edges [1-CU-TXT].


2.5.1. Talent attaches foam material to inside of the holder grid. TEXT: Use one probe set for each participant. 

2.3. Next, mount an empty 3x5 probe holder grid to each of the modified EEG caps such that the holder grid itself is placed on the inside of the cap and the holder sockets stick in the holes [1-MED].
2.3.1. Talent mounts probe holder grid to one EEG cap. 


2.4. In order to make the caps more comfortable and minimize pressure marks, attach soft foam material at the inner side of the holder grid between the probe sockets and at the edges [1-CU-TXT].

2.4.1. Talent attaches foam material to inside of the holder grid. TEXT: Use one probe set for each participant. 

2.5. Then, gently insert the probes into the appropriate holder sockets on the grids such that only the first ridge of each probe is mounted in the socket, which results in one clicking sound [1-MED].
2.5.1. Talent inserts one probe into the holder socket. 

2.6. Open the probe set monitor window at the NIRS measurement system and select 2 probe sets arranged in a 3 x 5 grid each, one for the participating child and one for the adult [1-MED-over shoulder]. Ensure that the probe arrangements of the two caps corresponds to the arrangements in the probe set window [2-MED].
2.6.1. Talent opens monitor and selects 2 probe sets.

2.6.2. Talent holds up one probe arrangement to compare it to the one in the probe set window. 

2.7. Next, switch on the laser diodes of the NIRS measurement system 30 min before measuring, so that the system reaches a stable operating temperature [1-MED].
2.7.1. Talent switches the laser on. 

2.8. Set all necessary options at the NIRS measurement system. Make sure that the device is set to event-related measurement and that the RS232 serial input, necessary for receiving triggers from the experimental paradigm, is active [1-MED-over shoulder].

2.8.1. Talent sets up NIRS parameters and activates the RS232 serial input. 


2.9. Then, prepare the experimental paradigm by starting the technical computing software that serves as base for the Psychophysics Toolbox extensions and setting the current directory to the folder that the paradigm is saved in [1-MED-over shoulder].

2.9.1. Talent, at computer, opens software and sets the current direction to the correct folder. 

2.10. Finally, place 2 chin rests in front of the computer screen to prevent head movements during the experiment [1-MED].
2.10.1. Place two chin rests in front of computer screen. 

3. Participant Setup and Training
3.1. Begin by escorting the two participants into the testing room and explaining the experimental setup [1-WIDE-TXT]. 
3.1.1. Talent escorts participants into testing room and points out/explains the equipment that will be used for the experiment. TEXT: Do not allow participants to look directly into the laser beam.

3.2. Then, seat the participants next to each other in front of the computer screen [1-MED]. Adjust the height of the chin rests such that both participants sit comfortably [2-MED].
3.2.1. *Film as written 

3.2.2. *Film as written 
3.3. Provide instructions and administer practice trials of both the cooperative and the competitive game [1-MED-over shoulder].
3.3.1. Show both participants completing the practice trial game on the computer. 

3.4. Next, measure and mark the Fpz (pronounced f-p-z) point according to the 10-20 (pronounced ten-twenty) system, which is 10% of the distance between nasion and inion, on each participant’s head [1-MED].

3.4.1. Talent measures and marks the Fpz point on one participant’s head.

3.5. Then, talent turns off the laser [1-MED], and places the caps with the probes carefully on the participants’ heads. Ensure that the middle probe of the bottom row is placed on Fpz and the middle probe column is aligned along the sagittal reference curve [2-MED].

3.5.1. Talent turns off the laser.

3.5.2. Talent places cap on one participant and makes appropriate adjustments.

Show the other participant already sitting with the cap on. 

3.6. Place the fiber strings on the holder arm attached to the NIRS measurement system so that they hang loosely without contact with the participant or chair and that they do not pull on the caps [1-MED].
3.6.1. Talent places fiber strings on the holder arm. 

3.7. Next, push each probe further into its socket until the small white nose in the center of the top of the probe casing is visible [1-MED].

3.7.1. *Film as written. 


3.8. Then, turn the laser on again [1-MED] and test the signal quality by clicking on the ‘Auto Gain’ button in the probe set monitor window of the NIRS measurement system [2-MED-over shoulder]. 
3.8.1. *Film as written. 
3.8.2. Talent clicks ‘Auto Gain ‘button on monitor. 

3.9. If a channel is marked in yellow [1-MED-over shoulder], meaning insufficient signal, gently put the hair underneath the surrounding probe tip aside [2-CU]. Make probe adjustments and click the ‘Auto Gain’ button again to see if signal quality has improved or is marked in green [3-MED-over shoulder-TXT]. 
3.9.1. Show yellow channels on monitor. (Author Comment: Wrong slate) (Editor: Not sure how it was slated. The authors didn’t provide that information)
3.9.2. Talent puts hair aside to free up the probe tip contact with skin.

3.9.3. Talent clicks ‘Auto Gain ‘button on monitor, and channels turn green. TEXT: See text protocol for alternative adjustments: Adjusting signal intensity. 

3.10. Once the signal quality is satisfactory, place a towel over the participant’s hands so that they cannot see the hand movements of their respective game partner [1-MED]. Then, start the experiment [2-MED-over shoulder].

3.10.1. Talent places a towel over the participant’s hands.

3.10.2. Show both participants completing the experiment. 

3.11. Then, after the experiment is complete, save the data [3.11.0] and export the raw light intensity data as a text file by clicking on the text file out button [1 2-MED-over shoulder].

3.11.0.
[Added Shot]: Talent at NIRS device, saves the data.

3.11.1. Talent at computer NIRS device, exports the data files. 

3.12. Finally, clean the probes, probe holders, and chin rests with ethanol [1-MED], and wash the caps with mild detergent [1-MED] [3.12.2].

3.12.1. Show talent cleaning the probes and probe holders. 
3.12.2. [Added Shot]: Show talent cleaning chin rests
4. Results: fNIRS hyperscanning experiment shows analysis of brain-to-brain synchrony
4.1. As a measure of brain-to-brain synchrony the wavelet coherence is calculated between the fNIRS (pronounced f-nears) signals of interacting subjects. Wavelet coherence coefficients are visualized using a color map ranging from blue, little or no coherence, to red, meaning strong or maximum coherence [1-LM]
4.1.1. Figure 1:  Video editor – Show the first heat map. Highlight y-axis label. When blue is mentioned – highlight blue regions. When red is mentioned, highlight red regions. 
4.2. Results show a strong coherence throughout the experiment in a high frequency band, until a period length of about 1 s [1-LM], which likely results from the cardiac rhythms of the subjects. 
4.2.1. Figure 1: Video editor - Show last heat map on bottom. Highlight the y-axis label.  Draw a horizontal line at 1 s.
4.3. Additionally, a strong coherence appears in a lower frequency band between the 2 and 8 s period length. Coherence in this low frequency range likely reflects a synchronization of brain activities of both subjects during the task [1-LM].
4.3.1. Figure 1: Video editor - Show last heat map on bottom. Remove line at 1s. Then, highlight the black box drawn on the image. 
5. Conclusion (said by authors on camera)

5.1. Wolfgang Scharke Christian Gerloff: While attempting this procedure, it’s important to double-check that the caps are placed correctly on the participants’ heads (step 3.5.2.) and to ensure a good signal quality (step 3.9.3.). 

5.1.1. Video editor: Keys steps here are 3.5.2 and 3.9.3. 

5.2. Vanessa Reindl: After its development, this technique paved the way for researchers in the field of social neuroscience to explore brain-to-brain synchrony in a variety of different tasks, examining behavioral correlates and associations to characteristics of the individuals and their relationship. 
Provided Media

Authors, Please list all images, movie files, or 3-D rendered animations that can be included in the video per editor’s request.  The step in the script/video where these images will be inserted should be specified.   For example:

6.2 –  0123_PIname_Figure1.tif -  dual color imaging of tumor angiogenesis at 40X 

6.2 –  0123_PIname_Figure2.tif -  dual color imaging of tumor angiogenesis at 100X

Formats:  For static images we prefer .tiff, .eps, Illustrator, Powerpoint or Photoshop files at dimensions of at least 720X480 pixels and 300 dpi.  The higher resolution, the better.  Likewise any exported movie files should have at minimum these dimensions and be rendered to .mov, .mp4, or .avi files.  

Insert your media filenames here.

General Preparation

It’s critical for a smooth and organized shoot that all reagents are accounted for, in advance.   

Any overnight or long incubation steps should be recognized and specimens/samples be prepared in advance so that prior steps can be recorded and shooting can continue with pre-prepared specimens/samples.  

All tubes/flasks should be pre-labeled neatly before we arrive.  

Ex. Luciferase assay done in 96 well plates should be labeled with negative/positive control wells and experimental samples are labeled accordingly.

You will receive more detailed preparation instructions are included in the email accompanying the finalized script.

( 2017, Journal of Visualized Experiments


