## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
10 mL Luer-Lock syringe | Braun | REF 4617100V, LOT 17G03C8 | Luer-Lock Syringe for connection with the aspiration biopsy set
10 mL Syringe 2x | Braun | REF 4606108V | Snonpyrogenic, nontoxic 10 mL syringe
10 F liver biopsy introducer sheath set | Cook Medical | REF RCFW-10.0-38, REF G07600 | Percutaneous Sheath Introducer Set (TJBX), 10F Port, 13cm, Check-Flo Performer Introducer
18 G needle for biopsy introducer sheat | Arrow International | REF AN-04318 | Introducer Needle for TJBX Set, 18 G, 6.35 cm
21 G needle | Henke Sass Wolf | REF 0086, Fine-Ject 21Gx2" | Sterile injeciton needle, 21 Gx2", 0.8 x 50 mm, for local anesthesia
3-way channels | Becton Dickinson | BD Connecta Luer-Lok, REF 39402 | Three way channel with Luer-Lok connection system
7.5 F catheter introducer sheath set | Arrow International | REF SI_09875-E | Percutaneous Sheath Introducer Set, 7.5 F Port
Aspiration TJLBX set | Cook Medical | REF RMT-16-51.0-TJL, REF G20521 | TJ Liver Access and Biopsy Needle Set (Aspiration Set), 9 F-45 cm, 16 G-50.5 cm
Balloon catheter | Gerhard Pejcl Medizintechnik Austria | REF 500765B | Ferlitsch HVPG Catheter, 7F-65cm, Balloon:2.5mL, Pressure 50-90 kPa, GW: 0.032"
Blade 11 scalpel | Medi-Safe Surgicals | MS Safety Scalpel REF /Batch 18012424 | 11 blade safety scalpels, retractable, single use, 10 scalpels per package
Blunt tip fill needle | Becton Dickinson | REF 303129 | Sterile blunt tip fill needle, single use
Contrast media (dye) | Dr. Franz Köhler Chemie GmbH, Bensheim, GER | ZNR 1-24112 | Peritrast 300 mg Iod/mL, 50 mL, contrastmedia
Core TJLBX set | Cook Medical | REF RMT-14XT-50.5-LABS-100, REF G08285 | TJ Needle Introducer and Bx-Needle 7 F-53.5 cm, 14 G-53.5 cm/20 mm, 18 G-60 cm
Digital x-ray fluoroscope system | Siemens | Model No 07721710 | ARCADIS Varic, mobile x-ray fluoroscope system
Disinfectant solution | Gebro Pharma | 1-20413 | Isozid-H
Face mask | MSP Medizintechnik GmbH | REF HSO36984 | Surgical face mask from double fleece, with tie, 50 pieces
Guide wire for biopsy introducer sheat | Arrow International | REF AW-14732 | Marked Spring-Wire Guide, TJBX Set, 0.032", 0.81 mm, 68 cm
Infusion line | Rosstec Medical Products b Cardea GmbH & Co | REF 220010, 100m | Infusion line, Luer-Lok for connection of balloon catheter and pressure transducer
Lidocaine 2% | Gebro Pharma | Xylanaest, ZNR 17.792, 20mg/1mL (2%) | Sterile vials Xylanest including 2% Lidocain hydrochloride for local anesthesia
Midazolame | Roche | Dormicum, ZNr 1-18809, Midazolam 5mg/5mL | Sterile vials Dormicum including Midazolam for sedation
Monitor system | Datex-Ohmeda by GE | Type F-CMREC1 | Patient monitoring system
Patient bench | Silerlen-MAQET | Model No 7474.00A | Mobile patient bench for x-ray fluoroscopy
Pressure bag | Ethox Corp | REF 4005 | Pressure Infuser Bag 500 mL
Pressure recorder | Edwards Lifesciences | Ref T001631A, Lot 61202039 | TruWave 3 cc/150 cm
Pressure transducer | Edwards Lifesciences TM | REF T001631A | Pressure Monitoring Set (1x), 3 cc/150 cm, TruWave TM
Recording software | Datex Ohmeda by GE | Software S/5 is property of Instrumentarium Corp of Datex-Ohmeda TM | Datex-Ohmeda S/5TM Collect - Software to record pressure tracings of the patient monitor system
Sterile coat | Lohmann & Rauscher International GmbH & Co | REF 19351 | Surgical Gown, Different sizes, e.g. L-130 cm
Sterile gauze | Hartmann | REF 401798, 10x10cm gauze | 10 x 10 cm sterile gauze, 10 pieces per package
Sterile gloves | Meditrade | REF 9021 | Gentle Skin sterile gloves, different sizes, e.g. 7.5
Sterile saline solution | Fresenius Kabi | NaCl 0.9%, B009827 REV 03 | Physiologic Saline Solution 0.9% NaCl, 309 mosmol/L, pH-Wert: 4.5-7.0
Sterile saline vessel | KLS Martin | REF K8A, 18/10 Jonas | Sterilizable Metal Vessel for sterile saline
Sterile table cover | Hartmann | REF 2502208 | Table Cover, Foliodrape 150 x 100 cm
Sterile towel | BARRIER by Mölnlycke Health Care | REF 706900 | Adhesive OP-Towel, 100 x 100 cm
Sterile US probe cover sheath | Websinger | REF 07014 | Sterile ultrasound probe cover, 20 x 60 cm, inluding two sterie adhesive tapes
Stiff guidewire | Cook Medical | REF TSMG-35-180-4-LES, G46729 | Lunderquist Extra Stiff Wire Guide, 0.035"-.89 mm, 180 cm, 4 cm flexible tip
Surgical cap | BARRIER by Mölnlycke Health Care | REF 620500, PCS 100, Colour Green | Surgical Cap
Ultrasound device | FUJIFILM SonoSite | Model M-Turbo, REF P17000-17 | Mobile ultrasound system

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=