# Submission ID #: 58823

# Scriptwriter Name: Nadeeka Dias

# Project Page Link: http://www.jove.com/files_upload.php?src=17941063

# Title: Multi-Modal Home Sleep Monitoring in Older Adults

# Authors and Affiliations:  Cristina D. Toedebusch1*, Jennifer S. McLeland1*, Claire M. Schaibley1, Ian R. Banks1, Jill Boyd1, John C. Morris1,2,3, David M. Holtzman1,2,3, Brendan P. Lucey1,2

# 1Department of Neurology, Washington University School of Medicine, St Louis, MO

# 2Hope Center for Neurological Disorders, Washington University School of Medicine, St Louis, MO

# 3Knight Alzheimer’s Disease Research Center, Washington University School of Medicine, St Louis, MO

# *These authors contributed equally

# Corresponding Author:

Brendan P. Lucey 		(luceyb@wustl.edu)

Co-Authors:

Cristina Toedebusch 	(toedebuschc@wustl.edu)

Jennifer McLeland 		(mclelandj@wustl.edu)

Claire Schaibley 		(cschaibley@wustl.edu)

Ian Banks 			(ian.banks@wustl.edu)

Jill Boyd 			(boyd.j@wustl.edu)

John Morris 			(jcmorris@wustl.edu)

David Holtzman 		(holtzman@wustl.edu)

Author Questionnaire:

- Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? NO

- Does your protocol include software usage? NO

3. Which steps from the protocol section below are the most important for viewers to see?

- Single-channel EEG set-up with and without a CPAP mask.

- PTAF and oximeter placement for the home sleep test.

- Placement of leg electrodes.

- Attaching the chest belt.

- Reviewing the education manuals.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

Placement of the PTAF and oximeter are the most challenging for participants.  After a demonstration of placement, participants are asked to place all leads independently to ensure proper placement.  A 24/7 number is provided to participants to call with any questions while placing leads at home.

5. Will the filming need to take place in multiple locations? Same location, different rooms (Exam room and either tech room, CRC office, or conference room)

If yes, how far apart are the locations?

N/A

# Section - Introduction

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Brendan Lucey:  Our protocol has increased both the reliability of acquiring high quality sleep monitoring data in the home as well as the ease of use for older adults [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Brendan Lucey:  The implementation of an educational flip manual has created consistency during in-person training in addition to providing step-by-step instructions for participants to reference at home [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

[AUTHORS: These optional statements must be spoken by different authors than those who gave the Required Interview Statements. These statements are primarily intended to introduce each author on camera. Therefore, I have kept 2 statements below with the additional two speaking authors.  You may remove the optional statements if you prefer these authors to only narrate the concluding sentences.]

  - Cristina Toedebusch: This protocol improved the reliability of home sleep testing which can be used to diagnose some sleep disorders such as sleep apnea and periodic limb movement disorder [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Jennifer McLeland: Monitoring sleep-wake activity in older adults may be important for studies in many areas of research including cardiovascular disease and dementia.  Home sleep monitoring is more naturalistic and has a lower cost than sleep testing in a laboratory [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Washington University Human Research Protection Office

# Section - Protocol

- Home Sleep Device Setup

  - Begin by escorting the participant into the setup room [1].

    - WIDE: Talent escorts participant into setup room.

  - Instruct the participant about the Home Sleep Test Device, or HST [1-TXT].

    - MED: Talent talks to participant and shows them the HST. 
TEXT: Home Sleep Test Device

  - Next, have the participant stand up and position the blue belt with the holster around the chest directly under armpits with the buckle almost centered [1].

    - MED: Talent places blue belt around chest directly under armpits with the buckle almost centered

  - Place the black lanyard strap around the neck and tighten until it is comfortably snug [1]. Then, place the other blue belt around the waist and tighten the belt until it is snug enough so it does not slide when moving during the night  [2]. Point the arrow on the belt buckle facing down [3].

    - MED: Talent places the black lanyard strap around the neck

    - MED: Talent places the other blue belt around the waist and tighten the belt until it is snug

    - CU: Talent points the arrow on the belt buckle facing down

  - Next, snap the white box into the holster on the chest belt, [1] and open the device by sliding the button at the top of the device to the right [2].

    - MED: Talent snaps the white box into the holster on the chest belt.

    - CU: Talent slides button at the top.

  - Plug the chest wires into the ports on the bottom of the chest belt buckle [1], and plug the abdominal wires into the ports on the bottom of the abdominal belt buckle  [2].

    - CU: Talent plugs the chest wires into the ports on the bottom of the chest belt buckle.

    - MED: Talent shows bottom of belt buckle to camera, then plug the abdominal wires into the ports on the bottom of the abdominal belt buckle.

  - Place the prongs of the white wire in the nose and wrap the wire around their ears  [1]. Pull the plastic piece up toward the neck to secure [2].

    - MED: Show participants’ face. Talent stands behind participant and places the prongs of the white wire in the nose and wraps the wire around their ears.

    - MED: Talent pulls the plastic piece up toward the neck to secure

  - Position the second set of prongs in their nostrils and wrap tubing around the participant’s ears [1]. Ensure that the two prongs from the cannula fit just inside the nose and position the longer prong in front of the mouth [2].

    - MED: Talent positions the second set of prongs in their nostrils and wrap tubing around their ears.

    - MED: Talent places prong on mouth.

  - Slide up the plastic piece toward the neck to secure [1], and use a small piece of tape to affix both sets of tubing to each cheek [2]. Then, run the long red and white leg wires through each pant leg along the side to avoid them getting tangled during the night, and affix with sticky patches [3].

    - MED: Talent slides up the plastic piece toward the neck to secure.

    - CU: Talent tapes both sets of tubing to one cheek.

    - MED: Talent affixes leg wires that have been run down one pant leg with sticky patches.

  - Next, locate the anterior tibialis muscle on the outside of the participant’s leg [1], and place the sticky patches directly on the muscle at least 2 finger widths apart from one another [2].

    - MED: Talent places a hand on the shin and flexes one foot up and down to locate the anterior tibialis muscle. [Shots 2.10.1 and 2.10.2 combined]

    - MED: Talent places one sticky patch next to a patch already on muscle, showing that is 2 finger widths apart.

  - Lastly, apply tape over each sticky patch to cover it [1]. Bend the knee, and tape the wire above each knee to prevent them from getting tangled [2].

    - CU: Talent applies tape to stick patch.

    - MED: Talent bends the participant’s right knee, giving slack in the wire, and tapes the wire above it.

- Oximeter Setup

  - Begin by pinching the top of the oximeter to open the clip [1].  Match up the picture of a fingernail on the outside of the clip to the fingernail of middle or index finger and place the oximeter on index or middle finger [2].

    - CU: Talent pinches the top of the oximeter to open the clip.

    - MED: Talent places the clip on the fingernail of the index finger of the participant.

  - Wrap tape around the outside of the oximeter clip to secure [1], and tuck the extra oximeter cable in the chest belt to avoid getting tangled in the wire [2].

    - CU: Show hand. Talent wraps tape around outside of oximeter clip.

    - MED: Talent puts excess cable in chest belt.

  - Then, unless using PAP, look at the man on the display screen and confirm that no signals are flashing [1]. Once all sensors are on properly and lines are solid, close the device [2].

    - MED-over shoulder: Show talent looking at display screen.

    - MED: Show all solid lines on device and show talent closing the device.

  - Tell the participant that if the yellow light on the outside of the device starts flashing during the night, the device has lost a signal  [1]. If this happens, open up the device to check the display window to determine which signal has been lost [2]. Once identified, reattach the sensor that has come off [3].

    - MED: Talent speaks to participant and show example of flashing yellow light.

    - MED: Talent opens the device and points to the display widow to show the participant.

    - MED: Talent reattaches the sensor.

  - Then, press the circular event button on the outside of the device at lights out and again at lights on [1]. Open the device and check the good study indicator circle [2].

    - MED: Talent points to the circular event button on the outside of the device

    - MED-over shoulder: Talent opens the device and checks for the good study indicator circle in the upper right of the screen.

  - If the participant wears PAP, attach a PAP titration kit to the device to measure PAP flow by twisting it into the connector designated for the nasal cannula [1]. Ask the participant to attach the PAP mask to one side of the titration kit adaptor, and the hose to the other side of the adapter [2].

    - MED: Talent attaches a PAP titration kit to the device by twisting it into the connector designated for the nasal cannula.

    - MED: Talent speaks to participant. Talent demonstrates by attaching the PAP mask to one side of the titration kit and the hose to the other side. Participant nods yes.

  - Inform the participant that the line connected to the mouth and the yellow light on the device will flash the entire time if used with Positive Airway Pressure or PAP (pronounced pap). A piece of tape is placed over both flashing lights as a reminder to the participant. [1].

    - MED: Talent talks to participant and points to purple rectangle on participant. Talent placed a piece of tape over the purple rectangle and over the yellow flashing light on box to remind participant that they will flash the entire night.

  - Then, place the single-channel EEG device over the participant's head to demonstrate proper placement [1]. Instruct the participant on how to adjust the headgear for proper fit and where to affix the electrodes on the forehead for accurate placement [2-TXT].

3.8.0. [Added Shot]: Talent snapped electrodes onto the sensor strip of the device (Editor: These is no additional VO for this shot. I would add it before 3.8.1 and prompt the authors to add VO)

    - MED: Talent places EEG device over participants head.

    - MED: Talent adjusts the headgear on the participants head and affixes electrodes on the forehead. 
TEXT: Provide charging instructions and a demonstration in the office.

  - Finally, instruct participant to apply the device before the mask at night in order to allow removal of mask without dislodging the device [1].

    - MED: Talent speaks to participant. Participant nods yes.

# Section – Results

- Results: Hypnograms from 1-night recording on EEG and HST

  - These results indicate a single-channel EEG hypnogram showing artifact-free data collection during different sleep stages [1].  On the other hand, these results show a hypnogram in which there was movement, and thus the sensors on the single-channel EEG were unable to record brain wave activity during different sleep stages [2].

    - LAB MEDIA: Figure 1A. Video editor: Label x-axis ‘Time (hours)’. Label y-axis ‘sleep stages’. Highlight green bar.

    - LAB MEDIA: Figure 1B. Video editor: Label x-axis ‘Time (hours)’. Label y-axis ‘sleep stages’. Highlight red bars.

  - Further, it is feasible to obtain high quality sleep monitoring at home in an elderly population with a single-channel EEG device for sleep staging and a HST to screen for sleep disorders such as obstructive sleep apnea as shown here [1].

    - LAB MEDIA: Figure 2A.  Video editor: Highlight green bar. Label x-axis ‘Time (hours)’. Label y-axis from top to bottom: heart rate, oxygen saturation, sleep-disordered breathing (section for CA, OA, MA, and HYPO), and body position.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Cristina Toedebusch: The most important thing to remember in this protocol is to break the instructions down into small steps to simplify the procedure as much as possible for the participant [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Video editor: Step: 2.8 is associated with this shot.

  - Jennifer McLeland:  Following this procedure, a research participant or clinical patient should be able to independently apply the home sleep testing equipment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Brendan Lucey:  This procedure has allowed researchers to perform detailed sleep-wake assessments at home in older adults.  Additionally, we have used this procedure to study how sleep changes at different stages of Alzheimer’s disease [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.