## Materials & Equipments
Name of Material/Equipment | Company | Catalog/Model Number
Glucose | Sigma‐Aldrich (St. Louis, MO, USA) | G7021
NaCl | Sigma | S7653
MgCl2 | Sigma | M2670
CaCl2 | Sigma | 223506
HEPES | Sigma | H4034
KCl | Sigma | P9541
NaOH | Sigma | S8045
ATP | Sigma | A2383
HCl | ThermoFisher Scientific (Pittsburgh, PA, USA) | A466250
Collagenase (Type H Blend) | Sigma | C8051
Dithioerythritol | Sigma | D8255
Papain | Sigma | P4762
Elastase | Sigma | E7885
BSA | Sigma | A7906
Propidium iodide | Sigma | P4170
DMSO | Sigma | D8418
Fura-2 AM dye | Invitrogen, Carlsbad, CA, USA | F14185
Recirculating chiller (Isotemp 500LCU) | ThermoFisher Scientific | 13874647
Plexiglas superfusion chamber | Warner Instruments, Camden, CT, USA | RC‐27
Glass coverslip bottom (2.4 × 5.0 cm) | ThermoFisher Scientific | 12‐548‐5M
Anodized aluminum platform (diameter: 7.8 cm) | Warner Instruments | PM6 or PH6
Compact aluminum stage | Siskiyou, Grants Pass, OR, USA | 8090P
Micromanipulator | Siskiyou | MX10
Stereomicroscopes | Zeiss, NY, USA | Stemi 2000 & 2000‐C
Fiber optic light sources | Schott, Mainz, Germany & KL200, Zeiss | Fostec 8375
Nikon inverted microscope | Nikon Instruments Inc, Melville, NY, USA | Ts2
Phase contrast objectives | Nikon Instruments Inc | (Ph1 DL; 10X & 20X)
Fluorescent objectives | Nikon Instruments Inc | 20X (S‐Fluor), and 40X (Plan Fluor)
Nikon inverted microscope | Nikon Instruments Inc | Eclipse TS100
Microsyringe pump controller (Micro4 ) | World Precision Instruments (WPI), Sarasota, FL, USA | SYS-MICRO4
Vibration isolation table | Technical Manufacturing, Peabody, MA, USA | Micro‐g
Amplifiers | Molecular Devices, Sunnyvale, CA, USA | Axoclamp 2B & Axoclamp 900A
Headstages | Molecular Devices | HS-2A & HS-9A
Function generator | EZ Digital, Seoul, South Korea | FG‐8002
Data Acquision System | Molecular Devices, Sunnyvale, CA, USA | Digidata 1550A
Audible Baseline Monitors | Ampol US LLC, Sarasota, FL, USA | BM‐A‐TM
Digital Storage Oscilloscope | Tektronix, Beaverton, Oregon, USA | TDS 2024B
Fluorescence System Interface, ARC Lamp + Power Supply, Hyperswitch, PMT | Molecular Devices, Sunnyvale, CA, USA | IonOptix Systems
Temperature Controller | Warner Instruments | TC-344B or C
Inline Heater | Warner Instruments | SH‐ 27B
Valve Controller | Warner Instruments | VC‐6
Inline Flow Control Valve | Warner Instruments | FR‐50
Electronic Puller | Sutter Instruments, Novato, CA, USA | P‐97 or P‐1000
Microforge | Narishige, East Meadow, NY, USA | MF‐900
Borosilicate Glass Tubes (Trituration) | World Precision Instruments (WPI), Sarasota, FL, USA | 1B100‐4
Borosilicate Glass Tubes (Pinning) | Warner Instruments | G150T‐6
Borosilicate Glass Tubes (Sharp Electrodes) | Warner Instruments | GC100F‐10
Syringe Filter (0.22 µm) | ThermoFisher Scientific | 722-2520
Glass Petri Dish + Charcoal Sylgard | Living Systems Instrumentation, St. Albans City, VT, USA | DD-90-S-BLK
Vannas Style Scissors (3 mm & 9.5 mm) | World Precision Instruments | 555640S, 14364
Scissors 3 & 7 mm blades | Fine Science Tools (or FST), Foster City, CA, USA | Moria MC52 & 15000‐00
Sharpened fine‐tipped forceps | FST | Dumont #5 & Dumont #55

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #VALUE! | AAAAAH384Q8=