## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Instruments, Consumables, and Miscellaneous Chemicals
Multiclamp 700B | Molecular Devices Corp. |  | Patch clamp amplifier
Pneumatic Picopump | World Precision Instruments | PV820
Micropipette puller | Sutter Instrument Co | P-97
Temperature Controller | Warner Instruments | TC-324C
Vibrating blade microtome | Leica Biosystems | VT1200S
Ultrafree-MC Centrifugal Filter | MilliporeSigma | UFC30GV0S | internal solution filter
Borosilicate Glass Capillaries | World Precision Instruments | 1B150F-4 | patch and local application pipette
(-)-Nicotine hydrogen tartrate salt | Glentham | GL9693 | nicotine salt
7-carboxymethylamino-4-methyl coumarin | Janelia Research Campus |  | PA-Nic by-product
1-[7-[bis(carboxymethyl)- amino]coumarin-4-yl]methyl-nicotine | Janelia Research Campus |  | PA-Nic
Euthasol (Pentobarbital Sodium and Phenytoin Sodium) | Virbac | ANADA #200-071
Alexa FluorTM 488 Hydrazide | ThermoFisher | A10436 | green fill dye
Alexa FluorTM 568 Hydrazide | ThermoFisher | A10437 | red fill dye
6-carboxy-AF594 (Alexa Fluor 594) | Janelia Research Campus |  | red fill dye
QX 314 chloride | Tocris | 2313 | voltage-gated sodium channel blocker
Power Meter | ThorLabs | S120C
Chemicals for Solutions
N-Methyl-D-glucamine | Sigma | M2004
Potassium chloride | Sigma | P3911
Sodium phosphate monobasic monohydrate | Sigma | S9638
Sodium bicarbonate | Sigma | S6014
HEPES | Sigma | H3375
D-(+)-Glucose | Sigma | G5767
(+)-Sodium L-ascorbate | Sigma | A4034
Thiourea | Sigma | T8656
Sodium pyruvate | Sigma | P2256
Magnesium sulfate heptahydrate | Sigma | 230391
Calcium chloride dihydrate | Sigma | 223506
Sodium chloride | Sigma | S9625
Ethylene glycol-bis(2-aminoethylether)-N,N,N′,N′-tetraacetic acid | Sigma | E3889
Adenosine 5′-triphosphate magnesium salt | Sigma | A9187
Guanosine 5′-triphosphate sodium salt hydrate | Sigma | G8877
Components of 2-Photon Microscope
Ultima Laser Scanner for Olympus BX51 Microscope | Bruker Nano, Inc. |  | imaging software and galvos
Imaging X-Y galvanometers | Cambridge Technology
Mai Tai HP1040 | Spectra-Physics |  | Tuneable IR laser
Pockels cell M350-80-02-BK with M302RM Driver | Conoptics, Inc. |  | for IR laser attenuation
Integrating Sphere Photodiode Power Sensor | Thorlabs, Inc |  | laser power pick-off photodiode
Uncaging X-Y galvanometers | Cambridge Technology
Helios 2-Line Laser Launch | Bruker Nano, Inc. |  | uncaging laser components
OBIS LX/LS 405 nm (100 mW) | Coherent, Inc.
OBIS LX/LS 473 nm (75 mW) | Coherent, Inc.
Point-Photoactivation / Fiber Input Module for Limo Sidecar - Uncaging | Bruker Nano, Inc.
Upright Microscope | Olympus | BX51WIF | Upright microscope chasis
Objective: Olympus M Plan FL 10x; NA 0.3 WD 11 mm | Olympus |  | 10x objective
Objective: Olympus M Plan Fluorite 60x/1.0 WD=2mm NIR | Olympus |  | 60x water-dipping objective
X-Cite 110, four-LED LLG coupled epi-fluorescence light source | Excelitas Technologies |  | LED Light Source
Epi-Fluorescence Filter: ET-GFP (FITC/CY2) for Epi-Turret | Chroma Technologies |  | LED Filter for blue light excitation
Epi-Fluorescence Filter: ET-DsRed (TRITC/CY3) for Epi-Turret | Chroma Technologies |  | LED Filter for green light excitation
B&W CCD camera; Watec, 0.5in B/W CCD | Watec Co., LTD. |  | CCD camera for patch clamp recording
External Detectors - Dual Reflected Emission - Olympus Upright (Multi-Alkali, GaAsP) | Bruker Nano, Inc.
Multi-alkali side-on PMT | Hamamatsu | R3896 | red channel PMT
595/50m | Chroma Technologies |  | red channel emission filter
565lpxr | Chroma Technologies |  | dichroic beam splitter
GaAsP end-on PMT | Hamamatsu | 7422PA-40 | green channel PMT
525/70m | Chroma Technologies |  | green channel emission filter
High-Speed Shutter for Hamamatsu H7422 PMT | Vincent Associates / Bruker | 517329 | PMT shutter mount
Dodt Gradient Contrast Transmission Detection Module | Bruker Nano, Inc.
Multi-alkali side-on PMT | Hamamatsu | R3896 | Dodt PMT

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=