# Submission ID #: 58879

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: http://www.jove.com/files_upload.php?src=17958143

# Title: Autoradiography as a Simple and Powerful Method for Visualization and Characterization of Pharmacological Targets

# Authors and Affiliations:

Nane Griem-Krey1, Anders B. Klein1, Matthias M. Herth1,2,3, Petrine Wellendorph1

1Department of Drug Design and Pharmacology, Faculty of Health and Medical Sciences, University of Copenhagen, Copenhagen, Denmark

2Neurobiology Research Unit and CIMBI, Copenhagen University Hospital, Copenhagen, Denmark

3Department of Clinical Physiology, Nuclear Medicine & PET, Copenhagen, Denmark

# Corresponding Author:

# Petrine Wellendorph 		pw@sund.ku.dk

# Tel: +45 3533 6397

# Email Addresses for Co-authors:

# nane.krey@sund.ku.dk

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  NO

2. Does your protocol include software usage? (Y/N) YES

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

2.4, 3.4, 4.2, 4.4, 5.1, 5.3

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

5.1, 5.3

5. Will the filming need to take place in multiple locations? (Y/N) YES

If yes, how far apart are the locations? 20 metres

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Petrine Wellendorph: Autoradiography is a powerful and simple technique to study distribution of protein binding sites in tissues, using a specific radioligand for the target. It is a suitable alternative to immunohistochemistry [1].

    - INTERVIEW: Named author says the statement above while looking slightly off-camera.

  - Petrine Wellendorph: The technique visualizes protein expression with spatial resolution via digital images. It is faster than traditional film exposure. It can be used for pharmacological analysis of protein targets [1].

    - INTERVIEW: Named author says the statement above while looking slightly off-camera.

  - Petrine Wellendorph: The method involves mouse tissue slices mounted on glass but may be extended to other species or even to cells grown on cover slips [1].

    - INTERVIEW: Named author says the statement above while looking slightly off-camera.

# Introduction of Demonstrator: (Said by you on camera)

  - Petrine Wellendorph: Demonstrating the procedure will be by Nane Griem-Krey, a PhD student from my laboratory.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - All animal handling was performed in compliance with the guidelines from The Danish Animal Experimentation Inspectorate.

# Section - Protocol

- Tissue Preparation by Cryosectioning

  - To begin, submerge the tissue in powdered dry ice to snap-freeze it [1]. Transfer the frozen tissue directly to a cryostat that is set to -20 degrees Celsius [2-TXT].

    - MED: Talent submerges the tissue in powdered dry ice. TEXT: Alternatively, use CO2 or isopentane to snap-freeze tissue.

    - MED: Talent transfers the tissue to a cryostat. TEXT: Tissue can be stored at -80 °C.

  - Let the tissue acclimate to -20 degrees Celsius in the cryostat for 20 minutes [1]. Then, cover the tissue holder with embedding medium outside the cryostat [2] and quickly place the frozen tissue specimen in the desired orientation while the embedding medium is still liquid [3].

    - MED: Talent, at the cryostat, sets a timer for 20 minutes.

    - MED: Talent covers the tissue holder with medium.

    - MED: Talent places the frozen tissue specimen in the desired orientation.

  - Transfer the tissue holder back to the cryostat [1] and expose the embedding medium to temperatures below -10 degrees Celsius for hardening [2].

    - MED: Talent transfers the tissue back into the cryostat.

    - CU: Cryostat has a cooling function to speed up hardening. Please film this.  Author comment: Step 2.2.3, 2.3.1 and 2.3.2 were shot in one shoot

  - Position the tissue holder in the microtome of the cryostat [1]. Adjust the orientation of the tissue to avoid sloped sections [2]. Cut the tissue with the guidance of a stereotaxic atlas in sections of desired thickness [3] and unfold the section with a small brush if necessary [4]. Thaw-mount the section onto a microscope slide [5].

    - MED: Talent positions the tissue holder in the microtome of the cryostat.

    - CU: Close up as the talent adjusts the orientation of the tissue.

    - MED: Talent cuts the tissue.

    - MED: Talent unfolds a section of tissue with a small brush.

    - MED: Talent thaw-mounts the section onto a microscope slide.

  - Then, sequentially collect the sections from the region of interest for the desired technical repetition [1]. Allow the sections on the slides to air-dry for 1 hour before further handling [2].

    - MED: Talent collects sections from the region of interest.

    - CU: Close up of the sections, on slides, as they air-dry.

- In vitro Autoradiography

  - In a certified radioactivity laboratory [1-TXT], use a pencil to label the slides with the experimental conditions [2].

    - WIDE: Establishing shot of the talent entering the radioactivity laboratory while wearing the proper protective clothing. TEXT: Caution: Radioactivity. Follow all local regulations and wear protective clothing. Video Editor: Keep this text overlay up for 3.1.1 and 3.1.2.

    - MED: Talent labels the slides with a pencil.

  - Place the slides horizontally in plastic trays [1]. Carefully apply an appropriate volume of assay buffer, adjusted to the target in question, to the sections mounted on the slides [2-TXT]. Make sure that each section is completely covered [3]. For the determination of non-specific binding, supplement assay buffer with relevant concentration of unlabeled compound [3].

    - CU: Close up as the slides are placed in the plastic trays.

    - MED: Talent applies assay buffer to a section (for total binding treatment group). TEXT: See text for buffer composition.

    - Application of assay buffer supplemented with unlabeled compound (for non-specific binding treatment group)

    - CU: Close up the sections, showing that they are completely covered in buffer.

  - Then, cover the trays with lids to avoid evaporation [1]. Pre-incubate at a relevant temperature for 30 minutes on a plate shaker 20 rpm [2].

    - MED: Talent covers the trays with lids.

    - MED: Talent transfers the trays to a plate shaker.

  - Next, pour off the pre-incubation liquid from each slide [1], and transfer the slides back into the plastic tray [2]. Immediately cover the sections completely with the relevant concentration of radioligand in assay buffer [3-TXT]. For the determination of non-specific binding, supplement radioligand solution with relevant concentration of unlabeled compound. Cover the trays with lids [4], and incubate under the desired conditions with constant gentle shaking at 20 rpm [5].

    - MED: Talent pours off the pre-incubation liquid from each slide.

    - MED: Talent transfers the slides back into the plastic tray.

    - CU: Close up as the talent covers the sections with radioligand in assay buffer (total binding). TEXT: See text for buffer composition.

    - Added shot: Application of radioligand in assay buffer supplemented with unlabeled compound (for non-specific binding treatment group)

    - MED: Talent covers the trays with lids.

    - MED: Talent place the trays on a plate shaker.

  - After this, pour off the incubation solution [1] and transfer the slides into a microscope slide rack [2]. Immediately wash the slides. For the GHB protocol, wash twice with ice-cold assay buffer for 20 seconds [3], and then rinse twice by dipping the slide rack into trays filled with ice-cold distilled water [4].

    - MED: Talent pours off the incubation solution from the slides.

    - MED: Talent transfers the slides into a microscope slide rack. Author comment: 3.5.1 and 3.5.2 in one shoot.

    - MED: Talent washes the slides with ice-cold assay buffer twice. Author comment: Added – washing step is performed twice. Filmed as take one and two

    - MED: Talent rinses the slides by dipping the slide rack into a tray filled with ice-cold distilled water.

  - Position the slides vertically in racks, and air-dry for at least 1 hour [1-TXT]. Then, transfer the slides to a fixator containing paraformaldehyde for overnight fixation at room temperature [2].

    - CU: Close up as the slides are positions vertically in racks. TEXT: See text for alternative drying method.

    - MED: Talent transfers the slides to a fixator containing paraformaldehyde.

  - The next day, transfer the slides to a desiccator box containing silica gel at room temperature [1]. Leave the slides in the desiccator box for 3 hours to eliminate moisture [2].

    - MED: Talent transfers the slides to a desiccator box containing silica gel.

    - CU: Close up as the slides are in the desiccator box. Alternatively, film the talent setting a timer for 3 hours. Author comment: 3.7.1 and 3.7.2 in one shoot.

- Exposure to Phosphor Imaging Plates and Scanning

  - First, place the sections into a radiation-shielded imaging plate cassette with the tissue facing up [1]. Include a [3H]microscale in every cassette for subsequent quantification of radioligand binding [2].

    - MED: Talent places the sections into a radiation-shielded imaging plate cassette.

    - CU: Talent places a [3H]microscale into a cassette.

  - Immediately before usage, load the tritium-sensitive phosphor imaging plate into phosphor imaging machine [1] and expose it to visible/infrared light according to the manufacturer’s instructions to erase it [2].

    - MED: Talent loads the tritium-sensitive phosphor imaging into the phosphor imaging machine, and exposes the plate to visible/infrared light.

    - SCREEN: *To be provided by authors: Show the plate being erased by selecting “erase plate”. Authors: Please upload all screen capture videos to your project page. Author comment: It was not possible to install the software on this PC. As it is only one click and display image, we’ll provide a screenshot.

  - Then, remove the imaging plate from the phosphor imaging machine [1] and immediately place it onto the sections in the cassette [2]. Make sure that the cassette is closed completely [3].

    - MED: Talent removes the tritium-sensitive phosphor imaging plate from the machine.

    - MED: Talent places the plate onto the sections.

    - CU: Close up showing that the cassette is completely closed.

  - Expose the sections to the phosphor imaging plate for the optimized exposure time at room temperature while shielded from light [1].  After exposure, carefully open the cassette in the dark and immediately transfer the imaging plate into the dark box of a phosphor imager [2-TXT]. Scan the plate at the highest resolution possible to obtain a digital image [3].

    - MED: Talent transfers the cassettes to a dark area to be exposed for 3 days.

    - MED: Talent opens the cassette and transfers the imaging plate into the dark box of a phosphor imager (lights turned off). TEXT: Caution: Light erases signal from the imaging plate. Do not expose the plate to light.

    - SCREEN: *To be provided by authors: Scan the plate. Authors: Please upload all screen capture videos to your project page. Author comment: It was not possible to install the software on this PC. As it is only one click and display image, we’ll provide a screenshot.

- Densitometric Analysis of Digital Image

  - To begin, open an appropriate image analysis program [1].  Determine the relative optical densities for each calibration standard by selecting the menu item Region determination. Select a tool for Region creation and use it to select an area of equal size for each point of the [3H]microscale (“radioactive microscale”). Assign a number to each selected area by clicking on Number under the menu item Label [2].

    - MED: Talent, at a workstation computer, opens the appropriate image analysis program.

    - SCREEN: *To be provided by authors: Under the menu item Region determination, select a tool for Region creation. Use that tool to select an  area of equal size for each point of the [3H]microscale. Then, click on Number  to assign a number to each selected area. This is done for every point of the [3H]microscale.  Authors: Please upload all screen capture videos to your project page. Author comment: Included in the video.

  - Click File, Export, and then 2D region report to export the OD values for each point of the calibration standard [1].

    - SCREEN: *To be provided by authors: Click File, Export, and then 2D region report. Show the OD values being exported. Authors: Please upload all screen capture videos to your project page.

  - In the proprietary imaging software, use a Region creation tool to select the region of interest in every section and measure its ODs to begin performing quantification of the autoradiograms. Select the same region in every section by creating a template for the region of interest, and copy and adjust it to minor variations in brain anatomy in each autoradiogram [1].

    - SCREEN: *To be provided by authors:  In the imaging software, use a Region creation tool to select the region of interest in every section. Measure a region’s ODs. Show the template being created.

    - Template is copied and adjusted on subsequent section. Authors: Please upload all screen capture videos to your project page. Author comment: Step 5.3.1 split up into two videos.

  - After this, click File, Export, 2D region report to export the ROD values and sizes of selected areas into a spreadsheet. Determine the binding of the radioligand as outlined in the text protocol [1].

    - SCREEN: *To be provided by authors: Click File, Export, 2D region report. Show the ROD values and sizes of selected areas being exported to a spreadsheet. Authors: Please upload all screen capture videos to your project page.

# Section – Results

- Results: Visualization and Characterization of Pharmacological Targets Using Radiography

  - In this study, the anatomical distribution of the high-affinity GHB binding sites are visualized with the radiolabelled GHB analogue [3H]HOCPCA (“radioactive hock-pah” pronounce HOCPCA as if the second C is silent) in a mouse brain, which was cut into coronal, sagittal and horizontal sections [1].

    - LAB MEDIA: Figure 3.

  - High levels of binding are seen in the hippocampus and cortex, while lower binding levels are seen in the striatum and no binding is detected in the cerebellum [1]. As shown here, the anatomical structures may be visualized using different planes and anatomical integrity may be supported by cresyl violet staining [2].

    - LAB MEDIA: Figure 3. Video Editor: Emphasize all three images in the top row (which is Figure 3A and represents the radioligand binding)

    - LAB MEDIA: Figure 3. Video Editor: Emphasize all three images in the bottom row (which is Figure 3B and represents cresyl violet staining)

  - Representative autoradiograms of a rat, a mouse, and a pig illustrate the evolutionary conservation of the high-affinity GHB binding sites in the mammalian brain [1]. [3H]HOCPCA binding sites are detected in all three species, enabling comparison of gross brain anatomy between them [2].

    - LAB MEDIA: Figure 4. Video Editor: Emphasize Figure 4A when the rat is mentioned, Figure 4B when the mouse is mentioned, and Figure 4C when the pig is mentioned.

    - LAB MEDIA: Figure 4.

  - The high-affinity GHB binding sites are probed with GHB radioligands, which display different affinities for the binding sites but comparable specific activities [1]. [3H]HOCPCA is endowed with a high sensitivity and excellent signal-to-noise ratio [2].

    - LAB MEDIA: Figure 5.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize Figure 5A.

  - Due to the lower sensitivity of [3H]NCS-382, higher radioligand concentrations must be used in order to obtain similar levels of binding [1]. Even higher radioligand concentrations are necessary for [3H]GHB to achieve comparable binding levels [2].

    - LAB MEDIA: Figure 5. Video Editor: Emphasize Figure 5B.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize Figure 5C.

  - However, higher radioligand concentrations also increase the level of non-specific binding, with a consequently lower signal-to-noise ratio [1].

    - LAB MEDIA: Figure 5.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Nane Griem-Krey: It is important to optimize assay conditions like the radioligand concentration, washing time and exposure time to achieve optimal signal to noise ratios. Also, remember to erase the plate [1] [2].

    - INTERVIEW: Named author says the statement above while looking slightly off-camera.

    - Use shots from 3.5 and 4.2.

  - Petrine Wellendorph: The procedure can be extended to in vivo conditions to get an idea about compound binding in a living animal, which could be useful for drug discovery projects [1].

    - INTERVIEW: Named author says the statement above while looking slightly off-camera.

  - Petrine Wellendorph Remember to work in a laboratory certified for the use of radioactive material and to wear protective clothing while handling radioactivity and paraformaldehyde [1].

    - INTERVIEW: Named author says the statement above while looking slightly off-camera.