**TITLE:**

**Functional Magnetic Resonance Spectroscopy at 7 T in the Rat Barrel Cortex During Whisker Activation**

**AUTHORS AND AFFILIATIONS:**

Jordy Blanc1, Hélène Roumes1, Leslie Mazuel1, Philippe Massot1, Gérard Raffard1, Marc Biran1, Anne-Karine Bouzier-Sore1

1Centre de Résonance Magnétique des Systèmes Biologiques (CRMSB), Unités Mixtes de Recherche (UMR) 5536 Centre National de la Recherche Scientifique (CNRS)/Université Bordeaux, Bordeaux, France

**Corresponding Author:**

Anne-Karine Bouzier-Sore (akb@rmsb.u-bordeaux.fr)

Tel: (+33)-5-57571040

**Email Addresses of Co-authors:**

Jordy Blanc (jordy.blanc@rmsb.u-bordeaux.fr)

Hélène Roumes (helene.roumes@rmsb.u-bordeaux.fr)

Leslie Mazuel (leslie.mazuel@uca.fr)

Philippe Massot (philippe.massot@rmsb.u-bordeaux.fr)

Gérard Raffard (gerard.raffard@free.fr)

Marc Biran (marc.biran@rmsb.u-bordeaux.fr)

**KEYWORDS:**

Cerebral activation, whisker stimulation, brain metabolism, *in vivo* 1H-MRS, LCModel, rat, lactate, BOLD fMRI

**SUMMARY:**

After checking by blood-oxygen-level-dependent functional magnetic resonance imaging (BOLD fMRI) that the corresponding somatosensory barrel field cortex area (called S1BF) is correctly activated, the main goal of this study is to quantify lactate content fluctuations in the activated rat brains by localized proton magnetic resonance spectroscopy (1H-MRS) at 7 T.

**ABSTRACT:**

Nuclear magnetic resonance (NMR) spectroscopy offers the opportunity to measure cerebral metabolite contents *in vivo* and noninvasively. Thanks to technological developments over the last decade and the increase in magnetic field strength, it is now possible to obtain good resolution spectra *in vivo* in the rat brain. Neuroenergetics (*i.e.*, the study of brain metabolism) and, especially, metabolic interactions between the different cell types have attracted more and more interest in recent years. Among these metabolic interactions, the existence of a lactate shuttle between neurons and astrocytes is still debated. It is, thus, of great interest to perform functional proton magnetic resonance spectroscopy (1H-MRS) in a rat model of brain activation and monitor lactate. However, the methyl lactate peak overlaps lipid resonance peaks and is difficult to quantify. The protocol described below allows metabolic and lactate fluctuations to be monitored in an activated brain area. Cerebral activation is obtained by whisker stimulation and 1H-MRS is performed in the corresponding activated barrel cortex, whose area is detected using blood-oxygen-level-dependent functional magnetic resonance imaging (BOLD fMRI). All steps are fully described: the choice of anesthetics, coils, and sequences, achieving efficient whisker stimulation directly in the magnet, and data processing.

**INTRODUCTION:**

The brain possesses intrinsic mechanisms that allow the regulation of its major substrate (*i.e.*, glucose), both for its contribution and its utilization, depending on variations in local cerebral activity. Although glucose is the main energy substrate for the brain, experiments performed in recent years have shown that lactate, which is produced by the astrocytes, could be an efficient energy substrate for the neurons. This raises the hypothesis of a lactate shuttle between astrocytes and neurons1. Known as ANLS, for astrocyte-neuron lactate shuttle2, the theory is still highly debated but has led to the proposal that glucose, rather than going directly into neurons, may enter the astrocytes, where it is metabolized into lactate, a metabolite that is, then, transferred to the neurons, which use it as efficient energy substrate. If such a shuttle exists *in vivo*, it would have several important consequences, both for the understanding of basic techniques in functional cerebral imaging (positron emission tomography [PET]) and for deciphering the metabolic alterations observed in brain pathologies.

To study brain metabolism and, particularly, metabolic interactions between neurons and astrocytes, four main techniques are available (not including micro-/nanosensors): autoradiography, PET, two-photon fluorescent confocal microscopy, and MRS. Autoradiography was one of the first methods proposed and provides images of the regional accumulation of radioactive 14C-2-deoxyglucose in brain slices, while PET yields *in vivo* images of the regional uptake of radioactive 18F-deoxyglucose. They both have the disadvantage of using irradiative molecules while producing low-spatial resolution images. Two-photon microscopy provides cellular resolution of fluorescent probes, but light scattering by tissue limits the imaging depth. These three techniques have been used previously to study neuroenergetics in rodents during whisker stimulation3-6. *In vivo* MRS has the dual advantage of being noninvasive and nonradioactive, and any brain structure can be explored. Moreover, MRS can be performed during neuronal activation, a technique called functional MRS (fMRS), which has been developed very recently in rodents7. Therefore, a protocol to monitor brain metabolism during cerebral activity by 1H-MRS *in vivo* and noninvasively is proposed. The procedure is described in adult healthy rats with brain activation obtained by an air-puff whisker stimulation performed directly in a 7 T magnetic resonance (MR) imager but may be adapted in genetically modified animals, as well as in any pathological condition.

**PROTOCOL:**

All animal procedures were conducted in accordance with the Animal Experimentation Guidelines of the European Communities Council Directive of November 24, 1986 (86/609/EEC). The protocol met the ethical guidelines of the French Ministry of Agriculture and Forests and was approved by the local ethics committees (Comité d'éthique pour L'expérimentation Animale Bordeaux n°50112090-A).

NOTE: During the MR measurements, an adequate level of anesthesia and physiological monitoring (body temperature, respiratory rate) are indispensable requirements.

**1. Animals**

1.1. Use male Wistar rats weighing between 350 and 450 g.

1.2. Keep them on a 12:12 h light:dark cycle and provide food and water *ad libitum*.

**2. Anesthesia**

2.1. Prepare the equipment needed for anesthesia (**Figure 1A,B**, see **Table of Materials**): a 5 mL syringe containing medetomidine in physiological saline solution (240 µg/kg/h, with a perfusion rate of 20 µL/min), a 0.5 mL syringe containing atipamezole (20 μL, in 0.5 mL of saline solution), and eye ointment.

NOTE: Keep all equipment under the extractor hood, except the 5 mL syringe containing medetomidine, which is placed in the syringe pump near the magnet for anesthesia during MR acquisitions.

2.2. Place the rat in the induction chamber, start the anesthesia by delivering 4% isoflurane, and adjust the oxygen flow rate to 1.5 L/min.

2.3. Evaluate the depth of anesthesia by assessing the withdrawal of paw reflexes.

2.4. When the rat does not respond to stimulation, take it out of the anesthesia box, place it on the bench with its nose in the isoflurane mask, and maintain anesthesia by delivering 2.5% in oxygen at 1.5 L/min.

2.5. Gently massage the tail and place the tourniquet (**Figure 1C**).

NOTE: The massage can be performed in warm water, with a temperature between 38 and 42 °C, to obtain better vasodilation of the veins.

2.6. Insert the peripheral intravenous catheter (22 G), previously heparinized, in the left or right tail vein. Note that a venous return is observed (a drop of blood is visible at the distal part of the needle) when the catheter is correctly inserted (**Figure 1D**).

2.7. Blow out any air bubbles present in the catheter dead space volume using the 2 mL syringe containing physiological saline solution and heparin.

2.8. Apply the eye ointment and prepare the syringe containing atipamezole (17 µg/mL) to awaken the rat at the end of the experiment.

**3. Rat Placement in Magnet for Whisker Stimulation**

3.1. Place a breathing sensor on the magnet bed and then transfer the rat from the bench to the magnet bed. Place it in the prone position with its nose in the isoflurane mask, with the breathing sensor located between the ribcage and the magnet bed.

NOTE: All equipment that enters the MRI room should be MRI-safe.

3.2. Decrease the isoflurane (from 4% to 1.5%–2%) during rat placement and switch the anesthesia to medetomidine at the end of this procedure. Ensure that the right whiskers are free, having cut the right edge at the front of the rat MRI bed beforehand to allow movement of the whiskers.

3.3. Hold the rat in position with tape and monitor its breathing which must be between 60 and 80 breaths per minute.

3.4. Make a sail that traps all right whiskers in the paper tape (**Figure 2**). Align the flexible outlet pipe of the air-puff system along the rat MRI bed so that the part exiting the tube is perpendicular and at around 1.5 cm from the sail. Fix it with paper tape.

**4. Whisker Stimulation**

4.1. Connect the flexible inlet pipe from a compressed air source (1 bar) to a solenoid control valve input and the outlet pipe to the solenoid control valve output (**Figure 3**). Ensure that the solenoid control valve stays outside the magnet room.

4.2. Plug the pulsing device into the solenoid valve and into the magnet using the transistor-transistor logic (TTL)-port. Configure it so that the pulsing frequency = 8 Hz, the pulsing time = 20 s, and the resting time = 10 s.

NOTE: These parameters, visualized on the small liquid crystal display (LCD) screen, are adjustable *via* the three dedicated analogical potentiometers. The electronic pulsing device, which controls the paradigm, must be composed of high-quality electronic components to avoid any drift in time parameters (for correct postprocessing).

**5. BOLD fMRI Acquisition**

5.1. Place the rat brain so that it is in an upright position and use the ear bars to maintain it. Place the volume array coil above the rat’s head (**Figure 4A**) and fix it using tape. Check that the sail is moving correctly (anteroposterior movement, no rotation, and no friction of sail) when the air-puff system is turned **On**; then, switch it **Off**.

5.2. Insert the bed and the coil in the center of the magnet. Check that the sail is still moving correctly once the bed is inside the magnet when the air-puff system is **On**; then, switch it **Off**. Switch completely from isoflurane to medetomidine (perfusion rate: 20 µL/min).

5.3. Check that the rat is well located using a localization sequence (TE = 2.5 ms; TR = 100 ms; average = 1; repetition = 1; slice = 1 mm; image size = 256 x 256; field of view (FOV) = 50 x 50 mm; scan time = 12 s 800 ms). Drag the **Localizer** sequence tab into the **Instruction name** and click on **Continue**.

5.4. Drag the **T2\_Star\_FID\_EPI** sequence tab into the **Instruction name**, center the FOV on the middle of the brain, and click on the **Adjustment platform** tab to open the edited scan instruction. Record a B0 map and proceed to a scan shim.

NOTE: For a B0 map, use the following parameters: first echo time = 1.65 ms; TR = 20 ms, average = 1; flip angle = 30°; echo spacing = 3.805 ms; slice = 58 mm; image size = 64 x 64 x 64; FOV = 58 x 58 x 58 mm; scan time = 1 m 24 s 920 ms. For scan shim, use the following parameters: voxel selective excitation = STEAM Gaussian pulse; TE = 5 ms; mixing time = 10 ms; acquisition duration = 204.8 ms; bandwidth = 10,000 Hz; dwell time = 50 μs).

5.5. Start the **T2 Star\_FID\_EPI** sequence (TE = 16.096 ms; TR = 500 ms; average = 1; repetition = 600; slice = 1 mm; four consecutive slices; image size = 128 x 128; FOV = 20 x 20 mm; bandwidth = 333,333.3 Hz; scan time = 5 min 00 s).

NOTE: Due to the TTL port, an external trigger signal will start the air-puff system at the same time. The paradigm = [20 s activation + 10 s rest] x 10, for the total duration of the 600 scans, 500 ms per scan. The slices are centered on the middle of the barrel field area.

5.6. Acquire another localization sequence (same as the one described in step 5.3) to compare with the first one and check whether the rat has moved during the T2\_Star\_FID\_EPI sequence.

5.7. Bring the bed to its initial position, remove the volume array coil, and connect the surface coil.

**6. BOLD Processing**

6.1. Open the T2 Star\_FID\_EPI file and read the T2 Star\_FID\_EPI image in **Image Display**. Open the start-up window of the functional controller, called **FunController**.

6.2. In this **Processing** tab, select the functional imaging window and define the stimulation protocol (duration and alternation of **On**/**Off** periods, corresponding to the paradigm used).

6.2.1. Select the protocol window (dataset with 600 frames) and insert the value of 40 in the **On Period** tab and 20 in the **Off period** tab. Click on the **Invert Attribution** tab and drag the **Stimulation States** slider to the left to select the value **1**.

6.3. In the preprocessing window, click on the **Median filter in plane** for preprocessing and on the **Median filter (2D, 3D)** for postprocessing.

6.4. Click on the **Execute** tab and drag the cursors to adjust the overlay lookup table. Visualize the activated brain area (**Figure 4B**).

**7. Proton MRS Acquisitions**

7.1. To correctly position the surface coil, modify the position of the rat head. Rotate the head (approximately 30° clockwise) so that the surface coil (**Figure 5A**) can be placed just above the left barrel cortex while being horizontal and located at the magnet center when inside the magnet.

7.2. Plug the surface coil, fix it on the rat brain using tape (**Figure 5B**), and check that the sail is moving correctly (anteroposterior movement, no rotation, and no friction of the sail) when the air-puff system is turned **On**; then, switch it **Off** at the main switch.

7.3. Check that the sail is moving correctly once the bed is inside the magnet when the air-puff system is **On**. Then, switch it **Off**.

7.4. Check the rat is positioned correctly using a localization sequence. Set parameters as follows: TE = 2.5 ms; TR = 100 ms; average = 1; repetition = 1; slice = 1 mm; image size = 256 x 256; FOV = 50 x 50 mm; scan time = 12 s 800 ms.

7.4.1. Drag the **Localizer** sequence tab into the **Instruction name** window and click on the **Continue** tab to execute the scan program.

7.5. When the brain localization is correct, drag the **T2\_TurboRARE** sequence tab in the **Instruction name** window and click on **Continue** to execute the scan program. These anatomical images, together with the previous BOLD fMRI acquisition, will allow the correct localization of the voxel in the S1BF for MRS.

NOTE: The T2\_TurboRARE parameters are 14 slices, 2 mm per slice, FOV = 2.5 x 2.5 cm, TE = 100 ms, TR = 5,000 ms, matrix = 128 x 128, sequence time = 2 min 40 s.

7.6. Drag the **LASER** sequence tab into the **Instruction name** window, place the voxel (2 mm high, 2.5 mm long, 3 mm deep) at the center of the S1BF area.

7.6.1. Use a rat brain atlas and the BOLD fMRI enhancement to localize the zone on the T2 images (**Figure 6**). Click on the **Adjustment platform** tab to open the edited scan instruction. Click on the **Wobble** tab and change the impedance (electronic loading) of the receive coil slightly to tune it. Click on the **Apply** tab when the tuning is finished to close the instruction editor and apply the changes in the edited instruction.

7.7. Record a B0 map and proceed to scan shim and, then, perform a local shim.

NOTE: For the B0 map, use the following parameters: first echo time = 1.65 ms; TR = 20 ms, average = 1; flip angle = 30°; echo spacing = 3.805 ms; slice = 58 mm; image size = 64 x 64 x 64; FOV = 58 x 58 x 58 mm; scan time = 1 m 24 s 920 ms. For the scan shim, use the following parameters: voxel selective excitation STEAM Gaussian pulse; TE = 5 ms; mixing time = 10 ms; acquisition duration = 204.8 ms; bandwidth = 10,000 Hz; dwell time = 50 μs. For the local shim, use the following parameters: water suppression, VAPOR acquisition duration = 1,363.15 ms; points = 4,096; bandwidth in Hz = 3,004.81 Hz; bandwidth in ppm = 10 ppm; dwell time = 166.40 μs; spectral resolution = 0.37 Hz/points. The LASER parameters are: echo time = 19.26 ms; TR = 2,500 ms; averages = 128 or 32; scan time = 5 min 20 s or 1 min 20 s; acquisition points = 4,096.

7.8. Perform 1H-MRS.

7.8.1. Start the 1H-MRS acquisition first during a resting period (4 x 32 LASER scans + 128 LASER scans; 2,500 ms per scan).

7.8.2. Acquire another localization sequence (same as the one described in step 5.3) to compare with the first one recorded and ensure that the rat has not moved during the LASER acquisition.

7.8.3. Perform 1H-MRS during whisker activation using the LASER sequence (4 x 32 LASER scans + 128 LASER scans; 2,500 ms per scan) with the air-puff system **On** (paradigm = 20 s of activation and 10 s of rest).

7.8.4. Once again, perform a localization sequence to check whether the rat has moved.

NOTE: The number of scans and resting/activated periods can be adapted and modified, but always ensure that the rat is not moving by regularly performing a localization sequence.

7.9. Bring the bed to its initial position, remove the surface coil, and move the rat back to the bench. Inject atipamezole into a skin fold made in the rat’s back to reverse the anesthesia and awaken it.

**8. Proton MRS Processing**

8.1. Open the LCModel software and click on the appropriate tab to select the right data type ( **Free Induction Decay** file) and choose the right file. Click on the **OK** tab when this is done.

8.2. Optimize the quantification control parameters step by step.

8.2.1. In the **Title** section, manually enter a title and define an adequate ppm range (*e.g.*, 0.2 to 4.0 ppm) by manually typing in the necessary value in the respective fields.

8.2.2. In the **Basis file** section, select and download the required file to fit the macromolecule baseline correctly (it can be provided by the software provider).

8.2.3. Define and load the input control parameters. Prepare the save process of all useful file types beforehand (TABLE = compact tables; PS = necessary PostScript output; CSV = format for spreadsheets; COORD = coordinates for plots). Click on the **RunLCModel** tab to start the LCModel quantification.

8.3. Define selected metabolites to generate statistics.

NOTE: LCModel provides metabolite quantification and estimates errors by a value termed Cramér-Rao lower bound (CRLB). A value with a CRLB < 15 is considered as an optimal quantification. A CRLB > 25 indicates an unreliable value.

**REPRESENTATIVE RESULTS:**

This protocol allows the quantification of metabolite fluctuations during cerebral activation, which is obtained by right whisker stimulation directly in the magnet.

**BOLD fMRI**In this study, the overall goal of BOLD fMRI was to check that the whisker stimulation was efficient, to visualize the activated S1BF area, and to correctly locate the voxel for 1H-fMRS. The device built for whisker activation is efficient. Indeed, when right whiskers were stimulated using the homemade air-puff system, a positive BOLD signal was detected in the left barrel cortex (**Figure 4B**), also called the S1BF, for the somatosensory barrel field (*n* = 8). A positive signal enhancement was detected in the left barrel cortex in eight out of eight rats, whereas only background was detected in the right hemispheres. When BOLD fMRI was performed without whisker stimulation, no signal enhancement was observed either in the left or in the right S1BF.

***In vivo* localized spectroscopy**In a comparison between anatomical MR images and rat brain atlas schemes8, the activated brain area visualized by BOLD fMRI allows the voxel to be placed in the S1BF area, which is activated during whisker stimulation. This voxel is located on three consecutive slides (1 mm thick) since the barrel cortex is 3 mm long. When the brain slide is virtually separated into four quarters, the voxel is located in the upper left quarter at an approximately 45° angle (**Figure 6**).

When the paradigm for whisker stimulation was turned on, an increase in lactate content was observed in the left S1BF (**Figure 6**,typical spectra obtained in one rat). To better visualize metabolic fluctuations between resting and activated periods, a spectral subtraction was performed (**Figure 6**). From this subtracted spectrum, the increase in lactate content with brain activation was visualized much more easily, while in this rat, the N-acetylaspartate (NAA) signal was slightly decreased. Lactate increase during neuronal stimulation was also observed on the spectral deconvolution (**Figure 7A,B**). While the lactate peak was hardly detected on the *in vivo* spectrum at rest, LCModel was able to quantify it (**Figure 7A**) with accuracy and good CRLB values. Indeed, out of 23 rats, only one spectrum had a CRLB value for lactate quantification equal to 24. None were > 25. For all other spectra, the values ranged between 3 and 19.

The variations in lactate content in all 23 rats are presented in **Figure 8**. Out of 23 rats, a decrease in lactate content was observed only in one rat. There was a statistically significant difference in lactate content between resting and activated periods (0.132 ± 0.012 and 0.163 ± 0.011, respectively, values relatives to PCr + Cr content, paired *t*-test, *p* = 0.0005 [parametric, two-tailed], *n* = 23). Therefore, a 31.6% ± 7.8% increase in lactate content was measured during neuronal stimulation.

A slight decrease in NAA content can be observed in **Figure 6**, which represents typical spectra obtained in one animal. However, this NAA variation was not significant (a 1.2% ± 1.2% decrease was measured, *n* = 23).

**FIGURE LEGENDS:**

**Figure 1: Equipment and steps for anesthesia.** (**A**) Picture of the equipment to be prepared before starting anesthesia. (**B**) Isoflurane pump and induction chamber. (**C**) Tourniquet placement. (**D**) Picture shows the catheter has been correctly inserted; note the drop of blood in the catheter needle, which is a positive sign of a correct location in the vein.

**Figure 2: Whisker stimulation.** All right whiskers are trapped in a sail made with paper tape. The sail allows all right whiskers to be stimulated at the same time with the air-puff system and, therefore, maximizes the neuronal activation of the barrel cortex. The outlet of the air-puff system (black tube) should be located around 1.5 cm and perpendicular to the sail. Check outside the magnet to make sure the sail is moving correctly by turning the air-puff system on. The sail must move at 8 Hz in an anteroposterior direction (no rotation).

**Figure 3: Air-puff system for whisker stimulation.** (**A**) A flexible pipe connects the compressed air to (**B**) the solenoid control valve.A second flexible pipe brings pulsed air from the solenoid control valve output to the sail. The solenoid control valve is plugged into the pulsing device, which controls the paradigm.

**Figure 4: BOLD fMRI.** (**A**) Volume array coil placement. The rat head is in a horizontal position and blocked by ear bars. Check that the sail is moving freely and is not blocked by the coil or by the MRI bed. (**B**) A typical BOLD signal in the activated left barrel cortex (red arrow). No signal is detected in the contralateral right hemisphere (blue arrow). The threshold is set at 76.5% of the maximum of the intensity value.

**Figure 5: Surface coil.** (**A**) Picture of the surface coil used in this study. (**B**) Surface coil placement. The rat head must be slightly turned so that the left barrel cortex and, therefore, the surface coil are located in the center of the MRI bed (the head is turned at an angle of around 30°, a good compromise between the correct location of the left barrel cortex for the surface coil and free movements of the sail of the right whiskers, which should not be blocked by the MRI bed).

**Figure 6: Typical localized 1H-MRS at rest (blue spectrum) and during whisker activation (red spectrum).** The voxel (green square) is located in the left S1BF on the anatomic T2\_TurboRARE images using rat brain atlas schemes and signal enhancement on BOLD fMRI images. The spectral subtraction is plotted in black. Lactate and N-acetylaspartate (NAA) peaks are indicated at 1.32 and 2.02 ppm, respectively.

**Figure 7: Typical spectral deconvolution of MRS spectra.** (**A**) Deconvolution of a 128-scan rest spectrum. (**B**) Deconvolution of a 128-scan activated spectrum. Residue, subtraction between experimental spectrum (raw data), and the LCModel fit; MM = macromolecule; Cr = creatine + phosphocreatine; PCho + GPC = phosphocholine + glycerophosphocholine; NAA = N-acetylaspartate; Lac = lactate; GABA = γ-aminobutyric acid; Gln = glutamine; Glu = glutamate.

**Figure 8: Variations in lactate content during brain stimulation.** Blue dot: lactate content at rest, determined by LCModel and relative to the creatine + phosphocreatine content. Red dot: lactate content during whisker stimulation, determined by LCModel and relative to the creatine + phosphocreatine content. The difference between activated and rest, *p* = 0.0005, paired *t*-test (parametric, two-tailed), *n* = 23.

**DISCUSSION:**

The barrel cortex, also called S1BF for the somatosensory cortex or barrel field, is a region within the cortical layer IV that can be observed using cytochrome c oxidase staining9, and its organization is well known since it has been largely described10,11. One vibrissa is connected to one barrel, in which around 19,000 neurons are organized in a column12. The whisker-to-barrel cortex pathway has several advantages. First, it can be activated inside the magnet by using an MRI-compatible air-puff system, which can be easily homemade (to ensure that in the largest part of the S1BF area, which corresponds approximately to the size of the voxel in which MRS is performed, all whiskers are squeezed in a sail that allows the stimulation of a maximum of vibrissa). Second, right whisker activation leads to left barrel cortex activation, and this brain area is located in the somatosensory cortex, which allows the use of a high-sensitive surface coil. Third, this method of activating the somatosensory cortex is noninvasive compared to electrical paw stimulation, the latter having the disadvantage of stimulating other brain structures, including some in the right hemisphere13. Therefore, the protocol used here is the most suitable to perform an *in vivo,* noninvasive, and longitudinal study of brain metabolism under cerebral activation.

The choice of anesthetic is crucial, as many of anesthetics induce changes in neurovascular coupling, brain metabolism, and/or brain activity14,15. For example, isoflurane, the most common anesthetic used for MRI, leads to a three- to sixfold increase in brain lactate content15,16 and, therefore, should not be used in brain metabolic studies. Medetomidine is an α2-adrenoreceptor agonist, which induces reliable sedation, analgesia, muscle relaxation, and anxiolysis17. These effects can be quickly reversed using atipamezole, an α2-antagonist. Medetomidine is the best candidate to perform functional studies in rodents18 since it has a very low impact on the BOLD signal and the lowest modifications in brain metabolite contents.

It is also important to follow the whisker activation paradigm correctly. Since NMR acquisitions last several minutes, the use of successive activation/rest periods is essential to limit the desensitization of neurons in the activated brain area. The parameters of this paradigm (20 s of activation followed by a rest period of 10 s) were chosen to obtain the highest BOLD fMRI signal in the corresponding barrel cortex. Much care must be taken to respect these time windows since it is crucial to determine the activated/rest period for BOLD treatment, even if it is controlled by the TTL port. To obtain a high level of barrel cortex activation, the sail that groups the whiskers together is also important since it allows the largest portion of the S1BF area to be stimulated. Much care must be taken to place the outlet air tube in front of this sail so that it can move on an anteroposterior plane. The frequency has to be carefully calibrated since it has been shown that neurons in the barrel cortex are activated when whisker stimulation frequency is between 5 and 15 Hz19. Using a lower or higher frequency will not lead to the activation of the S1BF area.

The protocol used in this study makes it possible to compare spectra acquired in the same brain area at rest and during brain stimulation and, therefore, to monitor metabolic changes linked to cerebral activation. It is important to perform a localization sequence at the beginning and at the end of the NMR spectroscopy protocol, to ensure that that animal has not moved and that the differences in metabolic contents measured between the resting and activated states are due to brain stimulation and not to movement artifacts.

Using the protocol described herein, an increase in lactate content was measured between resting and activated periods. Lactate increase using *in vivo* NMR spectroscopy during brain activation was first observed in humans in the early 1990s20,21. However, most measurements were performed in humans rather than rodents, in which the signal-to-noise ratio is much lower. In the rat, *ex vivo* NMR quantification of lactate during rat brain activation was performed by Mazuel *et al.*22, who observed an increase in brain lactate content with neuronal activation. The results presented here show that lactate was increased during whisker activation. However, since localized MRS does not allow cellular resolution, it is still unknown from which cellular compartment lactate is coming (neurons or astrocytes). To go further in the understanding of cerebral metabolic exchanges, such as the still debated ANLSH (astrocyte-neuron lactate shuttle hypothesis), this protocol has to be applied to genetically modified animals for the key components in this shuttle, such as the monocarboxylate transporters.

In the study described here, no statistically significant difference in NAA content was observed. A decrease in NAA content during visual stimulation was previously found in humans23-25, but not confirmed by Mangia and Tkac26. In the current study, we observed an increase in NAA content during brain activation in 50% of the rats and a decrease in the other half. Therefore, NAA should be avoided as the internal reference for quantification during functional MRS. No other variation in metabolite content was detected.

Both lactate and NAA variations during neuronal activation have led to controversies23,26-29. To further our understanding of these metabolic fluctuations linked to brain activity, it would be interesting to apply this protocol to transgenic animals. This would provide further information about the underlying process. Overall, localized 1H-MRS during a task, or functional MRS29, is an emerging technique in rodents, relevant to the study of regional dynamic changes in metabolites, in normal or pathological brains.

**ACKNOWLEDGMENTS:**

This work was supported by the LabEx TRAIL grant, reference ANR-10-LABX-57, and a French-Swiss ANR-FNS grant reference ANR-15- CE37-0012. The authors thank Aurélien Trotier for his technical support.

**DISCLOSURES:**

The authors have nothing to disclose.

**REFERENCES:**

1. Pellerin, L.*, et al.* Activity-dependent regulation of energy metabolism by astrocytes: an update. *Glia*. **55**, 1251-1262 (2007).

2. Pellerin, L., Magistretti, P. J. Glutamate uptake into astrocytes stimulates aerobic glycolysis: a mechanism coupling neuronal activity to glucose utilization. *Proceedings of the National Academy of Sciences of the United States of America*. **91**, 10625-10629 (1994).

3. Cholet, N. *et al.* Local injection of antisense oligonucleotides targeted to the glial glutamate transporter GLAST decreases the metabolic response to somatosensory activation. *Journal of Cerebral Blood Flow & Metabolism*. **21**, 404-412 (2001).

4. Voutsinos-Porche, B. *et al.* Glial Glutamate Transporters Mediate a Functional Metabolic Crosstalk between Neurons and Astrocytes in the Mouse Developing Cortex. *Neuron*. **37**, 275-286 (2003).

5. Zimmer, E. R. *et al.* [18F]FDG PET signal is driven by astroglial glutamate transport. *Nature Neuroscience*. **20** (3), 393-395 (2017).

6. Haiss, F. *et al.* Improved in vivo two-photon imaging after blood replacement by perfluorocarbon. *The Journal of Physiology*. (2009).

7. Mullins, P. G. Towards a theory of functional magnetic resonance spectroscopy (fMRS): A meta-analysis and discussion of using MRS to measure changes in neurotransmitters in real time. *Scandinvian Journal of Psychology*. **59**, 91-103 (2018).

8. Rat Brain Atlas. http://Labs.gaidi.ca/rat-brain-atlas/.

9. Wong-Riley, M. T., Welt, C. Histochemical changes in cytochrome oxidase of cortical barrels after vibrissal removal in neonatal and adult mice. *Proceedings of the National Academy of Sciences of the United States of America*. **77**, 2333-2337 (1980).

10. Petersen, C. C. The functional organization of the barrel cortex. *Neuron*. **56**, 339-355 (2007).

11. Cox, S. B., Woolsey, T. A., Rovainen, C. M. Localized dynamic changes in cortical blood flow with whisker stimulation corresponds to matched vascular and neuronal architecture of rat barrels. *Journal of Cerebral Blood Flow & Metabolism*. **13**, 899-913 (1993).

12. Feldmeyer, D. Excitatory neuronal connectivity in the barrel cortex. *Frontiers in Neuroanatomy*. **6**, 24 (2012).

13. Boussida, S., Traore, A. S., Durif, F. Mapping of the brain hemodynamic responses to sensorimotor stimulation in a rodent model: A BOLD fMRI study. *PLoS One*. **12**, e0176512 (2017).

14. Heinke, W., Koelsch, S. The effects of anesthetics on brain activity and cognitive function. *Current Opinion in Anesthesiology*. **18**, 625-631 (2005).

15. Horn, T., Klein, J. Lactate levels in the brain are elevated upon exposure to volatile anesthetics: a microdialysis study. *Neurochemistry International*. **57**, 940-947 (2010).

16. Boretius, S. *et al.* Halogenated volatile anesthetics alter brain metabolism as revealed by proton magnetic resonance spectroscopy of mice in vivo. *Neuroimage*. **69**, 244-255 (2013).

17. Sinclair, M. D. A review of the physiological effects of alpha2-agonists related to the clinical use of medetomidine in small animal practice. *Canadian Veterinary Journal*. **44**, 885-897 (2003).

18. Weber, R. *et al.* A fully noninvasive and robust experimental protocol for longitudinal fMRI studies in the rat. *Neuroimage*. **29**, 1303-1310 (2006).

19. Hartmann, M. J., Johnson, N. J., Towal, R. B., Assad, C. Mechanical characteristics of rat vibrissae: resonant frequencies and damping in isolated whiskers and in the awake behaving animal. *The Journal of Neuroscience*. **23**, 6510-6519 (2003).

20. Prichard, J. *et al.* Lactate rise detected by 1H NMR in human visual cortex during physiologic stimulation. *Proceedings of the National Academy of Sciences of the United States of America*. **88**, 5829-5831 (1991).

21. Sappey-Marinier, D. *et al.* Effect of photic stimulation on human visual cortex lactate and phosphates using 1H and 31P magnetic resonance spectroscopy. *Journal of Cerebral Blood Flow & Metabolism*. **12**, 584-592 (1992).

22. Mazuel, L. *et al.* A neuronal MCT2 knockdown in the rat somatosensory cortex reduces both the NMR lactate signal and the BOLD response during whisker stimulation. *PLoS One*. **12**, e0174990 (2017).

23. Castellano, G. *et al.* NAA and NAAG variation in neuronal activation during visual stimulation. *Brazilian Journal of Medical and Biological Research*. **45**, 1031-1036 (2012).

24. Sarchielli, P. *et al.* Functional 1H-MRS findings in migraine patients with and without aura assessed interictally. *Neuroimage*. **24**, 1025-1031 (2005).

25. Baslow, M. H., Hrabe, J., Guilfoyle, D. N. Dynamic relationship between neurostimulation and N-acetylaspartate metabolism in the human visual cortex: evidence that NAA functions as a molecular water pump during visual stimulation. *Journal of Molecular Neuroscience*. **32**, 235-245 (2007).

26. Mangia, S., Tkac, I. Dynamic relationship between neurostimulation and N-acetylaspartate metabolism in the human visual cortex: evidence that NAA functions as a molecular water pump during visual stimulation. *Journal of Molecular Neuroscience*. **35**, 245-248 (2008).

27. Baslow, M. H., Hrabal, R., Guilfoyle, D. N. Response of the authors to the Letter by Silvia Mangia and Ivan Tkac. *Journal of Molecular Neuroscience*. **35**, 247-248 (2008).

28. Barros, L. F., Weber, B. CrossTalk proposal: an important astrocyte-to-neuron lactate shuttle couples neuronal activity to glucose utilisation in the brain. *The Journal of Physiology*. **596**, 347-350 (2018).

29. Bak, L. K., Walls, A. B. CrossTalk opposing view: lack of evidence supporting an astrocyte-to-neuron lactate shuttle coupling neuronal activity to glucose utilisation in the brain. *The Journal of Physiology*. **596**, 351-353 (2018).