## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.5 mL syringe with needle | Becton, Dickinson and Company, USA | 2020-10 | 0.33 mm (29 G) x 12.7 mm
1H spectroscopy surface coil | Bruker, Ettlingen, Germany | T116344
7T Bruker Biospec system | Bruker, Ettlingen, Germany | 70/20 USR
Arduino Uno based pulsing device | custom made
Atipamezole | Vétoquinol, S.A., France | V8335602 | Antisedan, 4.28 mg
Breathing mask | custom made
Eye ointment | TVM laboratoire, France | 40365 | Ocry gel 10 g
Induction chamber | custom made |  | 30x17x15 cm
Inlet flexible pipe | Gardena, Germany | 1348-20 | 4.6-mm diameter, 3m long
Isoflurane pump, Model 100 series vaporizer, classic T3 | Surgivet, Harvard Apparatus | WWV90TT | from OH 43017, U.S.A
Isoflurane, liquid for inhalation | Vertflurane, Virbac, France | QN01AB06 | 1000 mg/mL
KD Scientific syringe pump | KD sientific, Holliston, USA | Legato 110
LCModel software | LCModel Inc., Ontario, Canada | 6.2
Medetomidine hydrochloride | Vétoquinol, S.A., France | QN05CM91 | Domitor, 1 mg/mL
Micropore roll of adhesive plaster | 3M micropore, Minnesota, United States | MI912
Micropore roll of adhesive plaster | 3M micropore, Minnesota, United States | MI925
Monitoring system of physiologic parameter | SA Instruments, Inc, Stony Brook, NY, USA | Model 1025
NaCl | Fresenius Kabi, Germany | B05XA03 | 0.9 % 250 mL
Outlet flexible pipe | Gardena, Germany | 1348-20 | 4.6-mm diameter, 4m long
Paravision software | Bruker, Ettlingen, Germany | 6.0.1
Peripheral intravenous catheter | Terumo, Shibuya, Tokyo, Japon | SP500930S | 22 G x 1", 0.85x25 mm, 35 mL/min
Rat head coil | Bruker, Ettlingen, Germany
Sodic heparin, injectable solution | Choai, Sanofi, Paris, France | B01AB01 | 5000 IU/mL
Solenoid control valves, plunger valve 2/2 way direct-acting | Burkert, Germany | 3099939 | Model type 6013
Terumo 2 ml syringe | Terumo, Shibuya, Tokyo, Japon | SY243 | with 21 g x 5/8" needle
Terumo 5 mL syringe | Terumo, Shibuya, Tokyo, Japon | 05SE1
Wistar RJ-Han rats | Janvier Laboratories, France

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=