## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Scanning mobility particle sizer (SMPS) | TSI, Inc. | 3910 | NanoSMPS
Optical particle sizer (OPS) | TSI, Inc. | 3330
Stainless Steel Pipe, 4" Long | McMaster-Carr | 4830K116 | Standard-Wall 304/304L, Threaded on Both Ends, 1/8 Pipe Size
Brass Ball Valve with Lever Handle | McMaster-Carr | 4112T12 | Compact High-Pressure Rating, 1/8 NPT Female
Steel Pipe, 2" Long | McMaster-Carr | 7753K121 | Standard Wall, Threaded on One End, 1/8 Pipe Size
HEPA filter | GE Healthcare | 09-744-12 | HEPA-Cap Disposable Air Filtration Capsule
Vacuum Generator | PISCO USA | VCH10-018C
PIVEC | VCU |  | For design please contact authors
Resistive heater
1/4" barbed connectors | Zefon International, Inc. | 459743
Porous tubing | Scientific Commodities, Inc. | BB2062-1814A | Hydrophilic 10 um pores
Battery power bank
Cell culture insert | Fisherbrand | 353095 | 24 well plate insert
Filter Forceps | Fisherbrand | 09-753-50
Transfer Pipette | ThermoScientific | 13-711-27
Glass Fiber Filters | SKC | 225-7 | Binder-Free Type AE Filter 37 MM 1.00 um pore
Ultra Micro Balance | A&D | BM-22 | Housed in environmental chamber
37 mm filter cassette | SKC | 225-3250 | Filter Cassette Blank, 37 mm, Clear Styrene
Variable flow vacuum pump | SKC | 220-5000TC | AirChek TOUCH, 5 to 5000 mL/min
Copper Particles | U.S. Research Materials, Inc. | US1090 | 40 nm
Copper Particles | U.S. Research Materials, Inc. | US1088 | 100 nm
Copper Particles | U.S. Research Materials, Inc. | US1117M | 800 nm

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=