## Materials
Name of Material/ Equipment | Supplier | Catalog number or description
Fractionation
Sodium polytungstate | Sometu | SPT 0 (low C and N) is recommended. Lower grade polytungstate may contaminate samples.
Hydrometers (1-1.5, 1.5-2, 2-2.5, 2.5-3 g.cm-3) | Allafrance | Calibrated at 20 °C, e.g. 3050FG250/20-qp
Vortex mixer | Fisher | Fixed speed standard vortex mixer, e.g. 02-215-410
Sonifier | VWR | Qsonica LLC - Q500 system with standard probe 4220
Sonifier stand | VWR | Large clamp stand
Sonifier enclosure | VWR | Soundproof cabinet (optional)
Swinging-bucket centrifuge | Beckman | Able to achieve speeds of 4000 g or more, fitted with rotor accommodating 50 mL Falcon tubes
High-speed centrifuge with fixed angle rotor | Beckman | Able to achieve speeds of 7500 g or more, fitted with rotor accommodating 250 mL bottles
50 mL centrifuge Falcon tubes | Corning | e.g. 352070
250 mL centrifuge bottles | Beckman | Polycarbonate bottles (e.g. 352070) are recommended because they are clearer than other plastics.
Vaccum filtration units | Semadeni | Polusulfone reusable units, e.g. 3029
Polypropylene hose | Semadeni | To connect the filtration unit to vaccuum source
Ultrafiltration disks, 0.45 µm pore size | Millipore | e.g. HAWP04700
Dessicator cabinet | Fisher scientific | 3 shelves, e.g. 305317-0120
Drierite absorbent indicating | Millipore | Blue drierite, e.g. 10276750
Scintillation vials | Fisher scientific | HDPE - separated cap 20mL, e.g. 12341599
150 mL aluminium boats (smooth sides) | Fisher scientific | Any model.
Laboratory oven | Fisher scientific | Any model.
Recycling SPT column
Cation exchange resin | Sigma-Aldrich | Dowex® Marathon™ C sodium form, strongly acidic, 20-50 mesh
Activated charcoal | Sigma-Aldrich | Darco S-51, 4-12 mesh
Glass wool | Fisher scientific | Pyrex
Filter paper, 2.5 µm pore size | Sigma-Aldrich | Whatman grade 42, e.g. WHA1442150
Hydrogen peroxide | Sigma-Aldrich | Reagent grade.
Ethanol | Sigma-Aldrich | Reagent grade.
Polycarbonate 1000mL graduated cylinder | Semadeni | Any model.
Stand and clamp | Sigma-Aldrich | Size L - 2-prong
Polypropylene hose | Semadeni | Any model.
Polypropylene hose clamp | Semadeni | Any model.
Polypropylene funnels | Semadeni | Any model.
Polypropylene bottle (1L, 2L) | Semadeni | Any model.
Heating plate | Fisher scientific | Any model.