# Submission ID #: 58934

# Scriptwriter Name: Maja Fiket

# Project Page Link: https://www.jove.com/account/file-uploader?src=17974918

# Title: Simultaneous Electrical and Mechanical Stimulation to Enhance Cells’ Cardiomyogenic Potential

# Authors and Affiliations:

Aida Llucià-Valldeperas1,2, Ramon Bragós3, Antoni Bayés-Genís1,4,5,6

1Insuficiència Cardíaca i Regeneració Cardíaca (ICREC) Research Program, Health Science Research Institute Germans Trias i Pujol, Badalona, Spain

2Amsterdam Universitair Medisch Centrum (UMC), Vrije Universiteit Amsterdam, Pulmonology and Physiology, Amsterdam Cardiovascular Sciences, Amsterdam, The Netherlands

3Electronic and Biomedical Instrumentation Group, Departament d’Enginyeria Electrònica, Universitat Politècnica de Catalunya, Barcelona, Spain

4Cardiology Service, Germans Trias i Pujol University Hospital, Badalona, Spain

5Department of Medicine, Universitat Autònoma de Barcelona, Barcelona, Spain

6Centro de Investigación Biomédica en Red (CIBER) Cardiovascular, Instituto de Salud Carlos III, Madrid, Spain

# Corresponding Author:

# Aida Llucià-Valldeperas

# a.lluciavalldeperas@vumc.nl

# Email addresses for Co-authors:

# rbb@eel.upc.edu

# abayes.germanstrias@gencat.cat

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  N

Can you record movies/images using your own microscope camera? (Y/N) Y (but the quality is not that good, it is better if you can use your scope kit, if needed)

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Steps 2.4 (Cell seeding) and 3.4-3.8 (Electromechanical setup).

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

The success on steps 3.3 and 3.4. is achieved by experience (slow and accurate movements).

5. Will the filming need to take place in multiple locations? (Y/N) N

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Antoni Bayés-Genés: This is a method to apply electromechanical stimulation on cells. It has multiple applications: to study its effects on a cell population, pre-training before in vivo delivery, and cell maturation [1].

    - Antoni Bayés-Genís speaking, interview style

  - Aida Llucià-Valldeperas: The advantage is that electrical and mechanical stimuli can be applied with the same device, individually or simultaneously, while keeping the sterile barrier intact [1].

    - Aida Llucià-Valldeperas speaking, interview style

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Carolina Soler-Botija: This technique is an indirect approach towards therapy. If cell therapy is considered, electromechanically stimulated cells may be an interesting cell population to treat injured myocardium.

    - Carolina Soler-Botija speaking, interview style

  - Antoni Bayés-Genís: This method genuinely belongs to the cardiovascular field, but it could also be applied to the nervous system.

    - Antoni Bayés-Genís speaking, interview style

  - Aida Llucià-Valldeperas: This is an easy technique that requires patience. The most difficult part would be working with small pieces and keep the sterility throughout.

    - Aida Llucià-Valldeperas speaking, interview style

  - Aida Llucià-Valldeperas: There are little details of manipulation which are difficult to explain, so the visual demonstration is really helpful.

    - Aida Llucià-Valldeperas speaking, interview style

Protocol Interview Statement

3.4.A.   Aida Llucià-Valldeperas: These two previous steps in which you manipulate the cell seeded PDMS constructs and the electrodes, while keeping the sterility throughout the process, are the most critical [1].

3.4.A.1. Aida Llucià-Valldeperas saying the above

Video Editor: This interview statement goes between 3.4.3. and 3.5.1.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - This study uses human cardiac ATDPCs from patient samples. Their use has been approved by the local ethics committee, and all patients gave informed consent. The study protocol conforms to the principles outlined in the Declaration of Helsinki.

Section - Protocol

- Cell Seeding (Day -1)

  - Begin by transferring 12 cleaned PDMS (pronounce P-D-M-S) constructs to sterile 10-centimeter plates [1-TXT]. To ensure complete sterilization, expose the plates to UV light for 5 minutes [2]. Then transfer each construct to a separate 35-millimeter cell culture plate or 6-well plate for immediate cell seeding [3].

    - MED: Talent transferring the construct to sterile plates. Video editor: Show this text when the VO says PDMS. TEXT: polydimethylsiloxane

    - MED: Talent placing the plates under UV light.

    - CU: Talent starts transferring constructs to a new plate.

  - To start cell seeding, first wash a confluent T75 (T-75) flask of cardiac ATDPCs (A-T-D-P-sees) with 5 milliliters 1x PBS [1-TXT]. To detach the cells, add 1 milliliter of 0.05% trypsin-EDTA [2] and incubate at 37 °C for 5 min [3]. And then add 5 mL of complete medium to inactivate the trypsin-EDTA [4].

    - CU: Talent adds PBS to the flask. Video editor: Show this text when the VO says cardiac ATDPCs. TEXT: adipose tissue-derived progenitor cells of cardiac origin

    - CU: Talent adding trypsin to the cells.

    - MED: Placing the plate in the incubator.

    - MED: Talent adding cell medium.

  - Collect all detached cells in a 15 mL tube [1]. Wash the cell flask twice with 5 mL of PBS to collect any remaining cells and add them to the 15 mL tube [2]. Centrifuge at 230 x g for 5 min at 22 °C [3]. Remove the supernatant and resuspend the cells in 2 mL of complete medium and count them with the hemocytometer [4].

    - MED: Talent collecting cells in the tube.

    - MED: Talent finishes adding PBS to the flask and then adding that to the same 15 mL tube.

    - MED: Placing the tube in the centrifuge.

    - CU: Talent removing the supernatant and starts adding medium.

  - Seed 200 microliters of cardiac ATDPCs into each plate with the PDMS construct to obtain ~80% of the seeding surface covered by cells the following day [1-TXT]. Incubate at 37 °C and 5% CO2 [2].

    - CU: Talent seeding the cells on one plate. Take multiple usable shots, it will be repeated. TEXT: 2.5 x 105 cells/mL

    - MED: Talent placing the plate in the incubator.

  - Gently add 2 mL of prewarmed complete medium per plate [1-TXT]. Incubate the cells with the constructs at 37 °C and 5% CO2 overnight [2].

    - MED: Talent adding the medium. TEXT: α-MEM supplemented with 10% fetal bovine serum, 1% L-glutamine, and 1% penicillin–streptomycin

    - MED: Talent placing the plate in the incubator.

- Electromechanical Stimulation Setup (Day 0)

  - Before starting this procedure, assign six out of 12 constructs for electromechanical stimulation and keep six as non-stimulated controls [1].

    - MED: Talent prepping and labeling the plates where constructs are placed.

  - Use 70% ethanol to clean the stimulation unit [1].  Place the stimulation unit, sterile electrodes and tweezers inside the flow cabinet [2].

    - MED: Talent cleaning the unit.

    - MED: Talent placing the stimulation unit, sterile electrodes and tweezers inside the flow cabinet.

  - In order to easily manipulate the electrodes and constructs remove 90% of the medium from each culture plate [1]. Place the PDMS constructs in the right position towards the magnet to ensure magnetic attraction between both fixed and mobile magnets [2].

    - CU: Talent removing the medium from one plate.

    - CU: Talent orienting the constructs.

  - Then connect the platinum wire to the electrode connectors [1].  Orient the PTFE part of the electrodes in their designated spaces in the PDMS constructs [2]. Add 2.5 mL of fresh pre-warmed complete medium to each construct [3].

    - CU: Talent connecting the platinum wire to the electrode connectors.

    - ECU: Talent orienting the PTFE parts of the electrodes. Video editor: Show this text when the VO says PTFE. TEXT: polytetrafluoroethylene

    - CU: Talent adding the medium

  - Once all PDMS constructs are placed and electrically connected to the platform, place the platform back in the 37 °C and 5% CO2 incubator [1]. Then connect the electrical and mechanical source [2].

    - MED: Talent placing the platform in the incubator.

    - MED: Talent connecting the sources.

  - To configure the stimulation program, specify electrical and mechanical stimulation regimes through the user interfaces of the electrical stimulator and the application, which controls the mechanical stimulation [1].

    - MED or SCREEN – to be provided by the authors: Talent at the computer starting to specify electrical and mechanical stimulation regimes.

  - To set the synchronism switch on the electrical stimulator and wait for the main menu to appear in the display [1]. Then, select Option 2, Edit sequence Plus Enter [2].

    - SCREEN – to be provided by the authors: Talent switches on the electrical stimulator - the main menu appears.

    - SCREEN – to be provided by the authors: Talent selects Option 2: Edit sequence + Enter

  - To edit the sequence Menu, use the Mode tab to select current by clicking Plus and pressing Enter [1]. For the Amplitude tab, select 1 with Plus-Minus and press Enter. Next, set the pulse duration to 2 with Plus-Minus and press Enter (moved from below).

    - SCREEN – to be provided by the authors: Talent uses the Mode tab to select current and clicks + and press Enter.

    - SCREEN – to be provided by the authors: Talent selects 1 for the Amplitude tab, with +/- and presses Enter, then for the Tw talent selects 2 with +/- and presses Enter.

# Video editor: Show TEXT1 when the VO says “select 1”, then TEXT2 when the VO says “the Period” and TEXT3 when the VO says “select 1000“  TEXT1: 1 mA, TEXT2: pulse duration=Tw, TEXT3: 2 ms

  - For the Period, select 1000 with Plus-Minus and press Enter [2-TXT]. And for Trigger mode tab, select External by software and press Enter [1-TXT]. Then, back in the main menu, select Option 4 and then Generate sequence and press Enter [2].

    - SCREEN – to be provided by the authors: Talent selects Period talent selects 1000 with +/- and presses Enter, and for Trigger mode tab talent selects External by software and presses Enter. Video editor: Show TEXT1 when the VO says “pulse duration”, show TEXT2 when they say “to 2” TEXT1: Period=T, TEXT2: 1000 ms

    - SCREEN – to be provided by the authors: In the main menu talent selects Option 4 and then Generate sequence and presses Enter.

  - In the mechanical stimulation section of the control application panel first write 1000 in the Pulse Period text control [1-TXT], then write 500 in the ON (pronounce “on”) time text control to set the mechanical pulse duration [2-TXT]. Finally, write 2000 in the Excursion text control to deliver a 10% construct elongation [3-TXT].

    - SCREEN – to be provided by the authors: Talent in the mechanical stimulation section of the control application panel writes 1000 in the Pulse Period text control. Video editor: Show TEXT when the VO says “write 1000“  TEXT: 1000 ms

    - SCREEN – to be provided by the authors: Talent writes 500 in the ON time text control. Video editor: Show TEXT1 when the VO says “write 500” and TEXT2 when they say “ON time” TEXT1: 500 ms TEXT2:  ON time=Tw

    - SCREEN – to be provided by the authors: Talent write 2000 AU in the Excursion text control. Video editor: Show TEXT when the VO says “write 2000“ TEXT: 2000 AU

  - Change the cell media twice a week, by first removing the old media [1], and then adding the warm fresh media on the sides of the PDMS support [2]. On day 7, at the end of the experiment, collect the samples as described in the manuscript [3].

    - CU: Talent removing old media.

    - CU: Talent adding fresh media.

    - MED: Talent starts collecting the samples.

Section – Results

- Results: Gene and Protein Expression of the Main Cardiac Markers after the Electromechanical Stimulation of Cardiac and Subcutaneous ATDPCs

  - Electromechanically stimulated cardiac ATDPCs enhanced their cardiomyogenic potential. This was indicated by real-time PCR showing increased expression of early and late cardiac genes, specifically, the cardiac transcription factor GATA-4 (pronounce gata-4), the structural marker β-myosin heavy chain and the calcium-related gene Cx43 (pronounce conn-exin 43) [1].

    - LM: Figure 3A Video editor: Emphasize black bar graphs above these specific genes when they are mentioned, β-MyHC for the structural marker β-myosin heavy chain.

  - Phalloidin (phal·​loi·​din) staining against actin fibers showed that the majority of cells aligned according to the vertical pattern. Connexin 43 distribution was mostly in the cytoplasm and at the plasma membrane, contributing to intercellular communication through gap junctions [1

    - LM: Figure 3B-E Video editor: Emphasize red staining in all images when the VO says: “Phalloidin staining against actin fibers showed that the majority of cells aligned according to the vertical pattern” and green staining where possible when they say: “Connexin 43 distribution was mostly in the cytoplasm and at the plasma membrane, contributing to intercellular communication through gap junctions”.

  - MEF2 (pronounce as one word “meff” 2) and GATA-4 transcription factors were located at the nuclei in cardiac ATDPCs, but GATA-4 was not detected in subcutaneous ATDPCs [1].

    - LM: Figure 3F-M Video editor: Emphasize F, G, H and I when VO mentions MEF2, and J and K when they mention GATA-4 transcription factors, and L and M when they say: “GATA-4 was not detected in subcutaneous ATDPCs”.

  - The cytoplasmic markers SERCA2 (pronounce as one word “serca” 2) and sarcomeric α-actinin (pronounce sar-kuh-meeric alfa ak-tuh-nin) did not show a mature sarcomere (sar-kuh-meer) organization typical for cardiomyocytes, and beating was not observed in control and stimulated cell populations [1].

  - LM: Figure 3F-M Video editor: Emphasize red staining in F, G, H and I when the VO says: “The cytoplasmic markers SERCA2” and emphasize red staining in J, K, L and M when they say: “sarcomeric α-actinin” and then emphasize red staining in all when they say: “did not show a mature sarcomere organization typical for cardiomyocytes”.

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Aida Llucià-Valldeperas: A healthy cell monolayer at the beginning of this protocol [1] and keeping the sterility throughout the procedure are crucial [2].

    - Reuse 2.4.1.

    - Aida Llucià-Valldeperas speaking, interview style.

  - Carolina Soler-Botija: After sample collection, standard gene and protein expression techniques can be performed [1].

    - Aida Llucià-Valldeperas speaking, interview style

  - Aida Llucià-Valldeperas: This technique helps to better understand the effects of cell electrical and/or mechanical stimuli. Until recently, it was impossible to use the same device for both stimulations, which made results harder to compare [1].

    - Aida Llucià-Valldeperas speaking, interview style

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.