# Submission ID #: 58954

# Scriptwriter Name: Leila Shokri

# Project Page Link: http://www.jove.com/files_upload.php?src=17981018

# Title: Ultra-long Read Sequencing for Whole Genomic DNA Analysis

# Authors and Affiliations: Liang Gong1, Chee-Hong Wong1, Jennifer Idol1, Chew Yee Ngan1, Chia-Lin Wei1

# 1Genome Technologies, The Jackson Laboratory for Genomic Medicine, Farmington, CT, USA

# Corresponding Author:

Chia-Lin Wei

chia-lin.wei@jax.org

# Email addresses for Co-authors:

# liang.gong@jax.org

# cheehong.wong@jax.org

# jennifer.idol@jax.org

# chewyee.ngan@jax.org

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N) N

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

The protocol involves running a sequencer that is connected to a monitor. We will need to show the monitor for how to start a run in the video.

3. Which steps from the protocol section below are the most important for viewers to see?

HMW DNA Extraction: Step 2.3 (DNA purification) and Step 2.4 (DNA precipitation)

Library Construction: Step 3.1 (Mechanical shearing), Step 3.2 (Gentle DNA Cleanup) and Step 4.2 (Transposase Fragmentation)

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

The most difficult aspect of this procedure is how to prepare ultra-long DNA templates for following sequencing library constructions.

We omit pipetting in the entire process of HMW DNA extraction (Step 2.3).

We apply gentle rotation in HMW DNA precipitation (Step 2.4).

5. Will the filming need to take place in multiple locations? (Y/N) N, same building

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)

Why is your protocol significant? OR What key questions can this method help answer?

  - Liang Gong: This protocol fulfils a technical gap in our ability to generate ultra-long sequence reads and enable us to examine genome complexity limited by the current short-read approaches in genomics [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# What is the main advantage of this technique?

  - Liang Gong: The method is unique in performance robustness, versatility and potential to integrate with promising new applications. It is applicable to different materials and can be modulated for different insert size [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Chee-Hong Wong: This technique has begun revolutionizing the clinical landscape. Its diagnosis utility in repeat expansion disorders has overcome many current shortcomings. Some transplant registries have utilized high-resolution HLA typing for better clinical outcome [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# Are there any specific areas of research that this method could provide insight into?

  - Chee-Hong Wong: This method provides previously inaccessible long-range information such as phasing and complex structural variants. Coupled with epigenetic read out in a single test, it will enable precision medicine [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Jennifer Idol: It’s a long protocol with many new techniques and it’s hard to know if it’s working until final sequencing. I recommend practicing loading on old flow cells before running samples [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# Why is visual demonstration of this method critical?

  - Jennifer Idol: Collaborators have said some techniques are confusing compared with short-read approaches. Specifically, the extraction is gentler due to the high quality, high molecular weight DNA [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- High-molecular Weight (HMW) DNA Extraction

  - To begin the extraction of HMW DNA, first add 200 microliters of the cell suspension …to 10 milliliters of lysis buffer in a 50-mililiter tube [1-TXT]. Then, vortex at the highest speed for 3 seconds, and incubate the solution at 37 degrees Celsius for 1 hour [2].

    - CU: Talent pipettes 200 microliters of the cell suspension into the lysis buffer in a 50-mililiter centrifuge tube. TEXT: See manuscript for cell and buffer preparation Video editor: Please show text overlay when VO says: “cell suspension …to 10 milliliters of lysis buffer”.

    - MED: Talent puts the tube in a vortex mixer for seconds and transfers the tube to an incubator. Show a timer set to count down from 1 hour in the shot.

  - At the end of incubation, add 2 microliters of RNase A to the lysate [1-TXT]. Gently rotate the 50-mililiter tube to mix the sample and incubate at 37 degrees Celsius for 1 hour [2].

    - CU: Talent pipettes 2 microliters of RNase A into the 50-mililiter tube. TEXT: 100 mg/ml Video editor: Please show text overlay when VO says: “2 microliters of RNase A”.

    - MED: Talent gently rotate the 50-mililiter tube by hand, and then transfers the tube to an incubator. Show a timer set to count down from 1 hour in the shot.

  - After incubation, add 10 milliliters of the phenol layer of phenol-chloroform-isoamyl (pronounced: “iso·​amyl”) alcohol mixture to the lysate [1-TXT], and put the tube on a rotator at 20 rpm for 10 minutes, under a fume hood [2-TXT].

    - ECU: Talent pipettes out 10 milliliters of the phenol layer with a transfer pipette and adds it to the lysate. TEXT: 25:24:1 vol/vol/vol Video editor: Please show text overlay when VO says: “phenol-chloroform-isoamyl alcohol mixture”.

    - MED: Talent puts the tube on a rotator under a fume hood at room temperature. Show a timer set to count down from 10 minutes in the shot. TEXT: Wrap the tube cap with parafilm to prevent leakage Video editor: Please show text overlay when VO says: “rotate the tube on a rotator”.

  - After centrifugation with gel tubes, carefully pour the supernatant into a new 50-milliliter tube [1]. Then, add 25 milliliters of ice-cold 100 percent ethanol and gently rotate the tube by hand until the DNA precipitates [2][3]. TEXT: See manuscript for centrifugation with gel tubes

    - ECU: Talent pours out the supernatant into a new 50-milliliter tube.

    - CU: Talent adds 25 ml ethanol to the tube and rotates the tube by hand few times.

    - LM: Figure2. Video editor: Please emphasize the white arrow and the cotton-like precipitate when VO says: “until the DNA precipitates”.

  - Bend a 20-microlliter tip to make a hook. Using the hook, carefully take out the HMW DNA, and let the liquid drop off [1].

    - CU: Talent bends the tube tip to form a hook and use it to take out the precipitated DNA.

  - Then, place the DNA into a 50-milliliter tube containing 40 milliliters of 70 percent ethanol, and gently invert the tube 3 times to wash the DNA [1]. TEXT: See manuscript for DNA resuspension

    - CU: Talent transfers the DNA into a 50 ml tube containing 70% ethanol and inverts the tube few times.

- Ultra-long DNA Library Construction - Mechanical Shearing-based Protocol

  - To prepare the mechanical shearing-based library, first use a 1-milliliter needle-free syringe to aspire all the DNA [1-TXT]. Then, put a 27-gauge needle onto the syringe and eject all the DNA into the cap gently and slowly. Repeat 29 times [2-TXT].

    - CU: Talent uses a 1 ml syringe without needle to aspirate all DNA. TEXT: See manuscript for the DNA prepared for Mechanical Shearing-based Protocol Video editor: Please show text overlay when VO says: “all the DNA”.

    - CU: Talent puts the needle onto the syringe and ejects all the DNA. TEXT: A total of 30 passes through the needle Video editor: Please show text overlay when VO says: “Repeat 29 times”.

  - Next, add 143 microliters of the re-suspended magnetic beads… and 143 microliters of the DNA repair reaction mixture to a tube. Flick the tube 6 times to mix gently and put the tube on a rotator at 20 rpm for 30 minutes [1-TXT].

    - CU: Talent vortex the magnetic beads and then adds both magnetic beads and DNA repair reaction to a tube and flicks the tube few times. TEXT: See manuscript for media composition Video editor: Please show text overlay when VO says: “the DNA repair reaction mixture”.

  - Centrifuge the tube at 1,000 x g for 2 seconds at room temperature to spin down the sample, and then place the tube on a magnetic rack for 10 minutes [1].

    - MED: Talent transfers the tube to a centrifuge and places the tube on a magnetic rack. Show a timer set to count down from 10 minutes in the shot. Videographer: Obtain multiple takes, this is repeated.

  - Next, discard the supernatant while the tube is still on the rack. Add 400 microliters of the freshly prepared 70 percent ethanol…wait for 30 seconds [1-TXT], and then remove the ethanol [2-TXT].

    - CU: Talent pipettes off the supernatant, and then pipettes the ethanol solution into the tube. TEXT: Do not disturb the pellet Video editor: Please show text overlay when VO says: “Add 400 microliters of the freshly prepared 70 percent ethanol”. Show a timer set to count down from 30 seconds in the shot.

    - CU: Talent pipettes off the ethanol. TEXT: Repeat the washing step one more time.

  - Then, centrifuge the tube at 1,000 x g for 2 seconds at room temperature to spin down the sample [1]. Place the tube back on the magnetic rack and remove any residual ethanol. Air dry the pellet for 30 seconds [2-TXT].

    - MED: Talent transfers the tube to a centrifuge.

    - CU: Talent places the tube on a magnetic rack and removes ethanol and then leaves the cap open. Show a timer set to count down from 30 seconds in the shot. TEXT: Do not over dry the pellet Video editor: Please show text overlay when VO says: “Air dry the pellet”

  - Next, remove the tube from the magnetic rack and add 103 microliters of TE buffer [1-TXT]. Then, flick the tube gently to ensure that beads are covered in the buffer and put the tube on the rotator at room temperature for 30 minutes [2-TXT].

    - CU: Talent removes the tube from the magnetic rack and adds the buffer. TEXT: 10 mM Tris and 1 mM EDTA, pH 8.0 Video editor: Please show text overlay when VO says: “add 103 microliters of TE buffer”.

    - CU: Talent flicks the tube and puts it back on the rotator at room temperature. Show a timer set to count down from 30 seconds in the shot. TEXT: Flick the tube every 5 min to aid resuspension of the pellet Video editor: Please show text overlay when VO says: “put the tube on the rotator at room temperature for 30 minutes”.

  - Finally, place the tube back on the magnetic rack for 10 minutes to pellet the beads [1]. Use a P200 wide bore tip to transfer 100 microliters of the eluate to a 0.2-milliliter tube [2] and proceed to end-repair-dA-tailing and adapter ligation reactions. TEXT: See manuscript for end-repair/dA-tailing and adapter ligation reactions.

    - CU: Talent puts the tube back on the magnetic rack. Show a timer set to count down from 10 minutes in the shot.

    - ECU: With the P200 wide bore tip, talent pipettes off the eluate and adds it to a 0.2 ml tube.

- Ultra-long DNA Library Construction - Transposase Fragmentation-based Protocol

  - To prepare the transposase fragmentation-based library, first make a DNA tagmentation reaction by adding 22 microliters of the HMW DNA, 1 microliter of 10-millimolar Tris, pH 8 with 0.02 percent Triton X-100, and 1 microliter of the fragmentation mix … to a 0.2 milliliter tube [1-TXT].

    - CU: Talent pipettes all the reagents into a 0.2-milliliter tube. TEXT: See manuscript for more details Video editor: Please show text overlay when VO says: “fragmentation mix from the transposase kit”.

  - Next, use a P200 wide bore tip to mix the reaction 6 times [1-TXT], and incubate at 30 degrees Celsius for 1 minute followed by 80 degrees Celsius for 1 minute. Hold at 4 degrees Celsius [2].

    - CU: Talent uses a P200 wide bore tip to pipette up and down few times. TEXT: Avoid introducing bubbles!

    - CU: Talent transfers the tube to a thermal cycler to incubate 30 °C incubator and then 80 °C and then hold at 4 °C.

  - Finally, use a P200 wide bore tip to transfer the reaction to a 1.5 milliliter tube, and quickly add 1 microliter of rapid adapter mix [1-TXT]. Use a P200 wide bore tip to mix the reaction 6 times [2-TXT] and proceed to sequencing.

    - CU: Talent transfers the reaction into a 1.5 ml tube, and quickly adds the rapid adapter. TEXT: See manuscript for more details Video editor: Please show text overlay when VO says: “rapid adapter from the transposase kit”.

    - CU: Talent uses a P200 wide bore tip to pipette up and down few times. TEXT: Avoid introducing bubbles!

- Sequencing on the Nanopore Device

  - To begin sequencing, first, insert a new flow cell into one of the channels of the nanopore device [1]. Then, on the accompanying sequencing control software, check the location box of the flow cell [2].

    - MED: Talent inserts a new flow cell into a nanopore device.

    - SCREEN (to be provided by the authors): On the sequencing control software, check the location of the flow cell (X1 to X5) Authors: please upload this screen capture to your project page.  [Author’s Note]: We uploaded a combined screen recording for Step 5.1.2 and 5.2.1. But we didn’t see it in the link page after uploading. Please let us know if you can't find the mp4 file.

  - Select the correct flow cell type and click on the Check Flow Cells workflow. Click on the Start Test button to start the flow cell QC analysis [1].

    - SCREEN (to be provided by the authors): On the sequencing control software, select the flow cell type, then click on the “Check Flow Cells workflow”, and click on the “Start” button. Authors: please upload this screen capture to your project page.

  - Next, with a P1000 (pronounced: “p•thousand”) pipette set to100 microliters, draw back less than 30 microliters of buffer to remove bubbles from the flow cell [1-TXT].

    - CU: Talent inserts the pipette tip into the importing port and draws back some of the buffer. TEXT: Stop pipetting if yellow fluid enters the tip Video editor: Please show text overlay when VO says: “remove bubbles from the flow cell”.

  - Add 30 microliters of the priming mix to cover the top of the priming port to avoid introducing bubbles [1]. Then, pipette 800 microliters of the priming mix into the priming port to load the flow cell [2]. [Shots 5.4.1, 5.4.2 and 5.5.1 are combined]. [Author Note]: After discussed with Jimmy, we have made a combined filming for Step 5.4 and Step 5.5 (5.4.1, 5.4.2 and 5.5.1). It’s hard to split them into different steps because they are continuous in real processing.

    - ECU: Talent adds 30 l to cover the top of the priming port.

    - CU: Talent pipettes 800 l of the priming mix into the priming port.

  - Take out the tip when there is about 50 microliters of the priming mix left, and add the rest of the priming mix on the top of the priming port [1].

    - CU: Talent removes the tip and pipettes the rest of the priming mix on the top of the importing port.

  - Next, with a P1000 pipette, add 200 microliters of the priming mix into the flow cell [1-TXT]. Then, just prior to loading, use a P200 pipette, set to 80 microliters … to pipette up and down the DNA library 6 times [2-TXT].

    - CU: Talent adds 200 l of the priming mix into the flow cell. TEXT: Load flow cell through priming port, not sample port

    - CU: Talent pipettes up and down the library few times. TEXT: Use a wide bore tip Video editor: Please show text overlay when VO says: “use a P200 pipette”.

  - Finally, load the library mix dropwise into the flow cell, through the sample port [1-TXT], and proceed to the data analysis.

    - ECU: Talent adds the library dropwise. TEXT: Wait until each drop is completely loaded into the port Video editor: Please show text overlay when VO says: “dropwise into the flow cell”.

# Section – Results

- Results: Ultra-long DNA Sequencing Protocol

  - QC analysis of DNA ready for mechanical shearing-based library construction [1-TXT] resulted in the 260 to 280 purity ratio of approximately 1.9 and the 260 to 230 ratio of approximately 2.3, showing a good DNA sample [2].

    - LM: Figure 3A. Video Editor: Please emphasize three curves. TEXT: Use DNA from 3 different locations in the tube

    - LM: Figure 3A. Video Editor: Please emphasize column 3 when VO says: “260 to 280 purity ratio of approximately 1.9”, and emphasize column 4 when VO says: “260 to 230 purity ratio of approximately 2.3”.

  - Same result was seen using DNA ready for transposase fragmentation-based library construction [1].

    - LM: Figure 3B

  - Size quality control of the needle sheared HMW DNA by pulsed-field gel electrophoresis, showed that the majority of the HMW DNA was larger than 50 kilobase [1].

    - LM: Figure 4. Video Editor: Please emphasize column 4 to 8.

  - The results of four runs using the HG00733 (pronounced: “h•g•zero•zero•seven•three•three”) cell showed that the N50 (pronounced: “n•fifty”) of a mechanical shearing-based library was shorter than a transposase fragmentation-based library [1].

    - LM: Table 1. Video Editor: Please emphasize row 4, columns B and C when VO says: “a mechanical shearing-based library” and emphasize row 4, columns D and E when VO says: “transposase fragmentation-based library”.

  - Also, all four runs had over 2,300 reads with length longer than 100 kb [1]. The maximum length was longer in the transposase fragmentation-based libraries with its shorter preparation time, compared to the mechanical shearing-based libraries [2].

    - LM: Table 1. Video Editor: Please emphasize row 5, columns B to E.

    - LM: Table 1. Video Editor: Please emphasize row 7, columns D and E, when VO says: “longer in the transposase fragmentation-based libraries” and emphasize row 7, columns B and C when VO says: “the mechanical shearing-based libraries”.

  - The mechanical shearing-based libraries produced more total reads, compared to the transposase fragmentation-based libraries, indicating a higher yield [1].

    - LM: Table 1. Video Editor: Please emphasize row 6, columns B and C, when VO says: “the mechanical shearing-based libraries” and emphasize row 6, columns D and E when VO says: “the transposase fragmentation-based libraries”.

  - Both libraries showed consistent high quality [1], and more than 97 percent of their total bases were aligned to the human reference genome [2].

    - LM: Table 1. Video Editor: Please emphasize row 10, columns B to E.

    - LM: Table 1. Video Editor: Please emphasize row 13, columns B to E.

  - The expected size distributions showed that all 4 runs had a large proportion of data above 50 kilobase while transposase fragmentation-based libraries had a higher ratio of ultra-long reads [1].

    - LM: Figure 5. Video Editor: Please emphasize green and orange curves when VO says: “transposase fragmentation-based libraries have a higher ratio of ultra-long reads”.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera)

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Liang Gong: The overall goal is to maintain the intactness of the DNA. It’s important to avoid any harsh handling of the DNA. (Gentle rotation in Step 2.4 and wide bore tips in Step 3.7) [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Liang Gong: The key factor that can maximize the value of the method is the computational analysis. We have developed a long-read pipeline, Picky, can detect a full-range of SVs with high sensitivity [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Liang Gong: It will open new avenues to exciting areas like the complexity of SVs and phasing rearrangements and modifications at single molecule level, which will greatly help understanding of genome architecture [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take.

  - Liang Gong: Phenol is very corrosive. It is required to work with it in a fume hood with personal protective equipment including gloves, safety glasses, a lab coat, long pants and shoes [1].

    - INTERVIEW: Heidi A. Rossow says the statement above in an interview-style shot, looking slightly off-camera.