## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
7100 Capillary Electrophoresis System | Agilent Technologies Inc. | G7100A | CE instrument used for separation of drug mixtures, desalting and anotation
6230 Series Time-of-Flight Mass Spectrometer | Agilent Technologies Inc. | G6230B | HRMS mass analyzer used for drug detection and anotation
CE-ESI-MS Sprayer Kit | Agilent Technologies Inc. | G1603A | CE/MS coaxial sheath liquid interface and capillary casette
1260 Infinity Isocratic Pump and Degasser | Agilent Technologies Inc. | G1310B | Isocratic pump to deliver sheath liquid/mass calibrant
MassHunter Workstation Data Acquisition Software (B.06.01) | Agilent Technologies Inc. | -- | Software used for control of CE-MS system
MassHunter Qualitative Analysis Software (B.06.01) | Agilent Technologies Inc. | -- | Software used for processing of CE-MS data
Shortix Capillary Cutter | Agilent Technologies Inc. | 5813-4620 | Cutting tool with diamond blade used to cut capillaries
Capillary Window Maker | Microsolv Inc. | 07200-S | Burner with 7 mm window size to remove polyimide coating from CE capillary
Flexible Fused-silica Capillary Tubing | Polymicro Technologies Inc. | TSP05375 | Standard polyimide coated fused-silica capillary for CE separation (50 micron ID; 360 micron OD)
Drug standards, deuterated internal standards, synthetic urine matrix (SURINE) | Cerilliant Inc. | Miscellaneous | Certified drugs of abuse reference standards (86 drug panel) with 48 deuterated internal standards and negative urine control (Surine)

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=