## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
BIOPAC data acquisition system | BIOPAC | MP150 | Analog to digitial conversion
BIOPAC general purpose transducer amplifiers | BIOPAC | DA100C | Pressure monitoring
BIOPAC System skin temperature amplifier | BIOPAC | SKT100B | temperature monitoring
Compact Universal 1- and 2- Channel LED Controllers | Mightex | SLC-MA02-U | External light source power supply
Disposable pressure sensors | BIOPAC | RX104A | Pressure monitoring
Dual Syringe, Infusion Pump | KdScientific | KDS 200 / 200P LEGACY SYRINGE PUMP | drug injection
Flow-through probes | Transonic | 4PXN | perusate flow monitoring
Glass Syringe | FORTUNA Optima | 30 CC | Air tight fluid injection
High power fiber-coupled LED white light source | Mightex | Type-A FCS-0000 | External light source
Perfused heart system | Radnoti | 120101BEZ | This system was heavily modified to provide adequate flow (see manuscript)
Phase fluorimeter | Ocean Optics | NeoFox-GT | oxygen concentration
Pickup fiber optic | Thor labs | BF20HSMA01 | Fiber for collecting transmitted light (pick up fiber)
PowerLab unit | AD Instruments | PowerLab 8/35 | Analog to digitial conversion
Pressure transducers | BIOPAC | TSD104A | pressure monitoring
Programming environment | LABViEW | N/A | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request | Software for driving spectrometer, digitiziing data and analysis. Code available on request
Rapid scanning spectrophotometer | Ocean Optics | QE65PRO | Rapid scanning spectrometer for spectral analysis
Side firing fiber optic | Polymicro Technologies Molex, LLC 18019 North 25th Av, Phoenic AZ 85023-1200 | JTFLH200230500/1.5M | side firing fiber optic 200 microns core
Sodium cyanide | Sigma-Aldrich | 380970 | Metabolic inhibitor
Temperature probe | BIOPAC | TSD102A | temperature monitoring
Tubing flow modules | Transonic | TS410 | perusate flow monitoring

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=