## Sheet1
Equipment | Measurement | Method of Measurement | Sampling Resolution
Quad lumen bolt kit | NA | NA | NA
ICP/PbtO2 probe | ICP | Mini-strain guage | 125 Hz
| PbtO2 | Fiberoptic | 125 Hz
| ICT | Thermistor | NA
rCBF probe | rCBF | Distal thermistor | 1 Hz
| ICT | Proximal thermistor | 1 Hz
| K | Distal thermistor | per recalibration
Depth electrode | EEG | Platinum electrodes | ≥ 256 Hz
70 Microdialysis bolt catheter | Lactate, pyruvate, glucose, glycerol, and glutamate | Enzymatic measurement of interstitial fluid | Hourly