## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments
disposable scalpel (size 11, Präzisa Plus) | Dahlhausen, Germany |  | a
small curved smooth (anatomical) clamps | B. Braun Aesculap, Germany |  | b
toothed (surgical) forceps | B. Braun Aesculap, Germany |  | c
surgical scissors | B. Braun Aesculap, Germany |  | d
holder for scalpel blade (size 10) | B. Braun Aesculap, Germany |  | e
fine smoth (anatomical) forcep | B. Braun Aesculap, Germany |  | f
sponge-holding clamp | B. Braun Aesculap, Germany |  | g
clipping device | Fumedica, Switzerland |  | h
18 Gauge cannula (Sterican) | B. Braun, Germany |  | i
light handle | Simeon Medical, Germany |  | j
needle holder | B. Braun Aesculap, Germany |  | k
tissue retractor | B. Braun Aesculap, Germany |  | l
Redon needle | B. Braun Aesculap, Germany |  | m
adhesive hook and loop fastener | Mölnlycke, Germany |  | n
extended length endoscope | Karl Storz, Germany |  | o
optical cable | Karl Storz, Germany |  | p
transparent drap camera cover | ECOLAB Healthcare, Germany |  | q
connection cable for electrocauterisation | Maquet, Getinge Group, Germany |  | r
gas insufflation set | Dahlhausen, Germany |  | s
Fred Anti-Fog Solution | Medtronic, USA |  | t
bipolar electrocoagulation device | Maquet, Getinge Group, Germany |  | u
monitor (WideView) | Karl Storz, Germany |  | v
light source (xenon 300) | Karl Storz, Germany |  | w
gas insufflation controller (Endoflator) | Karl Storz, Germany |  | x
half-cylindrical foam roller | Almatros, Gebr. Albrecht KG, Germany |  | y
full-cylindrical foam roller | Almatros, Gebr. Albrecht KG, Germany |  | z
bulldog clamp | B. Braun Aesculap, Germany |  | aa
flexible vessel cannula | Medtronic, USA |  | ab
vessel loop (Mediloops) | Dispomedica, Germany |  | ac
Heparin-Natrium (5000 U) in 200ml saline | B. Braun, Germany |  | ad
Langenbeck hooks | B. Braun Aesculap, Germany |  | ae
sutures (polygalctin 910, Vicryl 2-0, 4-0; poly ethylene terephthalate, Ethibond 2-0) | Ethicon, Johnson & Johnson, USA |  | af
Endoscopic vessel harvesting system, Vasoview Hemopro II | Maquet, Getinge Group, Germany |  | ag
Octenidindihydrochloride, Octeniderm | Schuelke & Mayr GmbH , Germany

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=