Line-by-Line Response to Editor’s Comments

We thank the editor’s careful review of our manuscript. We have revised the manuscript to include further details requested by the editor. Here, we provide a line-by-line response to the editor’s comments and describe changes we made in the revised manuscript.

Editorial Comments:

Comment #1: (Line 149) For how long? And at what temperature?

Response to Comment #1: The cell suspension is centrifuged for 3 minutes at room temperature.

Text Changes: (Line 149-150) Transfer the cell suspension into a 15 mL centrifuge tube and centrifuge for 5 minutes at room temperature, with the speed of 500 x g.

Comment #2: (Line 152) Supernatant?

Response to Comment #2: Thank you for the comment. We have changed it in the text.

Text Changes: (Line 152) Remove the supernatant and resuspend cells with 4 mL, pre-warmed, culture medium.

Comment #3: (Line 151) How much culture medium (an estimate)

Response to Comment #3: About 4 mL.

Text Changes: (Line 152) Remove the supernatant and resuspend cells with 4 mL, pre-warmed, culture medium.

Comment #4: (Line 153) Mention cell counting technique

Response to Comment #4: We use hemocytometer for cell counting.

Text Changes: (Line 153) Pipette one drop of sample on the hemocytometer for cell counting to determine cell concentration.

Comment #5: (Line 154) What is the appropriate concentration?

Response to Comment #5:  The appropriate concentration for seeding depends on cell lines and the culture plate.

Text Changes: (Line 154) Dilute the cells to appropriate concentration for seeding (3000 cells/mL).

Comment #6: (Line 159) How many cells per well? What is the plate size, i.e. how many wells? In how much total volume (of media) should you seed per well?

Response to Comment #6: We add 200 µL of cells suspension in each well with the concentration of 3000 cells/ mL. Therefore, it is 600 cells / well.

Text Changes: (Line 159) Seed cells into an ultra-low attachment (ULA) round-bottomed multi-well plate. Add 200 µL of cells suspension in each well with the concentration of 3000 cells/mL. Each well has about 600 cells.

Comment #7: (Line 162) Using a plate centrifuge?

Response to Comment #7: We use a centrifuge with a plate adapter.

Text Changes: (Line 162) Centrifuge the whole plate right after seeding, using a plate adapter, at a speed of 350 x g or the lowest speed available.

Comment #8: (Line 162) For what duration and at what temperature?

Response to Comment #8: Centrifuge for 7 minutes and at room temperature.

Text Changes: (Line 162) At room temperature, centrifuge the whole plate for 7 minutes right after seeding, using a plate adapter, at a speed of 350 x g or the lowest speed available.

Comment #9: (Line 261) Where is this set? Mention any button clicks if you set this up in software

Response to Comment #9: Set the scanning range in the custom software.

Text Changes: (Line 261) Set a proper OCT scanning range (e.g., 1 mm x 1 mm) in the custom software to cover the whole tumor spheroid according to its development stages. Click “Save parameters” to save the setting.

Comment #10: (Line 265) Please mention explicit button clicks for software actions.

Response to Comment #10: Click “Preview” button to view the preview image and click “Acquire” button to acquire OCT image.

Text Changes: (Line 266) Click “Preview” button to view the preview image and click “Acquire” button to acquire OCT image.

Comment #11: (Line 274) Can you show a screenshot of the output? This can be added as a supplementary file for JoVE’s internal use. Without this there is nothing to film in this step.

Response to Comment #11: We have presented the output of this step in Figure 4A.

Text Changes: (Line 275) See Figure 4A for the output of the generated OCT structural images.

Comment #12: (Line 287) Can you show a screenshot of the output? This can be added as a supplementary file for JoVE’s internal use. Without this there is nothing to film in this step. Unclear how the collage is generated, do you run a script? Can a reference be cited?

Response to Comment #12: We have presented the output of this step in the Figure 3 C-E.  The collage is realized by arranging each subfigure of 2D OCT images in a predefined location by running a script. No reference is related.

Text Changes: (Line 289) See Figure 3C– E for the representative output of collages of spheroid images.

Comment #13: (Line 292) Can you show a screenshot of the output? This can be added as a supplementary file for JoVE’s internal use. Without this there is nothing to film in this step. Unclear how this is done, do you run a script? Can a reference be cited?

Response to Comment #13: We included a step-by-step button-click screenshot for the 3D rendering for JoVE’s internal use. Protocol 3.7.1) – 3.7.3) have illustrated the steps to show the 3D rendered image of tumor spheroid. No script is required.

Comment #14: (Line 292) Please remove the product name from the text and add it to the table of materials.

Response to Comment #14: Thank you for the comment. We have removed this product name from the text.

Text Changes: (Line 294) The following steps show how to obtain the 3D rendering of tumor spheroids using a commercial software.

Comment #15: (Line 295) Unclear which mode is chosen

Response to Comment #15: We used the “Blend” Mode to visualize the 3D rendered images.

Text Changes: (Line 301) Choose the Blend mode to use for 3D rendering.

Comment #16: (Line 302) By using the mouse pointer?

Response to Comment #10: Yes, we adjust the viewing angle using mouse pointer.

Text Changes: (Line 304) Adjust the viewing angle by dragging the image using the mouse pointer.

Comment #17: (Line 401) Voxels?

Response to Comment #10: Thank you for the comment. We have revised in the text.

Text Changes: (Line 403) Each OCT data consisted of 400×400×1024 voxels.

Comment #18: (Line 438) From 2d slices?

Response to Comment #10: From cross-sectional 2D images.

Text Changes: (Line 439) we can also obtain the physiological information of the distribution of dead-cells within the tumor spheroids by analyzing the voxel-by-voxel optical attenuation from 2D cross-sectional images.

Comment #19: (Line 468) Please increase the font size.

Response to Comment #19: See the updated Figure 2 for the adjustment of the font size.

Comment #20 (Line 490) Do you wish to include the video as a supplementary file? If so please add a legend and cite it in the text.

Response to Comment #20: Yes, we would like to include the video as a supplementary file. We have added a legend in the text.

Text Changes: (Line 498) Video1: High-throughput OCT imaging of tumor spheroids. A workflow of 3D OCT imaging, basic OCT processing and stage movement was presented in the video with a 5× speed. Previews of processed OCT structural images of spheroids were also presented.