## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Custom Spectral Domain OCT imaging system |  |  | Developed in our lab
Superluminescent Diode (SLD) | Thorlabs | SLD1325 | light source
2×2 single mode fused fiber coupler, 50:50 splitting ratio | AC Photonics | WP13500202B201
Reference Arm
Lens Tube | Thorlabs
Adapter | Thorlabs
Collimating Lens | Thorlabs | AC080-020-C
Focusing Lens | Thorlabs
Kinematic Mirror Mount | Thorlabs
Mirror | Thorlabs
1D Translational Stage | Thorlabs
Continuous neutral density filter | Thorlabs
Pedestrial Post | Thorlabs
Clamping Fork | Thorlabs
Sample Arm
Lens Tube | Thorlabs
Adapter | Thorlabs
Collimating Lens | Thorlabs | AC080-020-C
Galvanometer | Thorlabs
Relay Lens | Thorlabs | AC254-100-C | two Relay lens to make a telescope setup
Triangle Mirror Mount | Thorlabs
Mirror | Thorlabs
Objective | Mitutoyo
Pedestrial Post | Thorlabs
Clamping Fork | Thorlabs
Polarization Controller | Thorlabs
30mm Cage Mount | Thorlabs
Cage Rod | Thorlabs
Stage
3D motorized translation stage | Beijing Mao Feng Optoelectronics Technology Co., Ltd. | JTH360XY
2D Tilting Stage
Rotation Stage
Plate Holder |  |  | 3D printed
Spectrometer
Lens Tube | Thorlabs
Adapter | Thorlabs
Collimating Lens | Thorlabs | AC080-020-C
Grating | Wasatch |  | G = 1145 lpmm
F-theta Lens | Thorlabs | FTH-1064-100
InGaAs Line-scan Camera | Sensor Unlimited | SU1024-LDH2
Cell Culture Component
HCT 116 Cell line | ATCC | CCL-247
Cell Culture Flask | SPL Life Sciences | 70025
Pipette | Fisherbrand | 14388100
Pipette tips | Sorenson Bioscience | 10340
Gibco GlutaMax DMEM | Thermo Fisher Scientific | 10569044
Fetal Bovine Serum, certified, US origin | Thermo Fisher Scientific | 16000044
Antibiotic-Antimycotic (100X) | Thermo Fisher Scientific | 15240062
Corning 96-well Clear Round Bottom Ultra-Low Attachment Microplate | Corning | 7007
Gibco PBS, pH 7.4 | Thermo Fisher Scientific | 10010023
Gibco Trypsin-EDTA (0.5%) | Thermo Fisher Scientific | 15400054
Forma Series II 3110 Water-Jacketed CO2 Incubators | Thermo Fisher Scientific | 3120
Gloves | VWR | 89428-750
Parafilm | Sigma-Aldrich | P7793
Transfer pipets | Globe Scientific | 138080
Centrifuge | Eppendorf | 5702 R | To centrifuge the 15 mL tube
Centrifuge | NUAIRE | AWEL CF 48-R | To centrifuge the 96-well plate
Microscope | Olympus
Histology & IHC
Digital slide scanner | Leica | Aperio AT2 | Obtain high-resolution histological images
Histology Service | Histowiz |  | Request service for histological and immunohistological staining of tumor spheroid
List of Commerical OCTs
SD-OCT system | Thorlabs | Telesto Series
SD-OCT system | Wasatch Photonics | WP OCT 1300 nm
Software for Data Analyses
Basic Image Analysis | NIH | ImageJ | Fiji also works.
3D Rendering | Thermo Fisher Scientific | Amira | Commercial software. Option 1
3D Rendering | Bitplane | Imaris | Commercial software. Option 2. Used in the protocol
OCT acquisition software |  |  | custom developed in C++.
Stage Control | Beijing Mao Feng Optoelectronics Technology Co., Ltd. | MRC_3 | Incorporated into the custom OCT acquisition code
OCT processing software |  |  | custom developed in C++. Utilize GPU. Incorporated into the custom OCT acquisition code.
Morphological and Physiological Analysis |  |  | custom developed in MATLAB

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=