## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
200 Proof Pure Ethanol | Koptec | V1001
5 Channels Duplex CWDM | Fiber Store | 5MDD-ABS-FSCWDM
Butterfly Laser Diode Mounts | Tholabs | LM14S2
CastAway CTD | Yellow Springs Instrument
CTD | Seabird | SBE 19plus
Current Meter | Nortek | Vector
Data Acquisition Device | National Instruments | NIUSB4366
Digital Oscilloscope | RIGOL | DS1204B | 200 MHz 2 GSa/s
Diode Laser | Thorlabs | LM9LP | Wavelength: 632 nm
Fixed BNC Terminator Kit | Thorlabs | FTK01
Function Waveform Generator | RIGOL | DG4162 | 160 MHz 500 GSa/s
High Precision Cleaver | Fujikura | CT-32
High Reflection Dielectric Coating | Evaporated Coating INC (ECI) |  | Materials and structure of the coating are unknown
I-MON 512 Spectrometer | Ibsen Phtonics | P/N: 1257110
InGaAs Biased Detector | Tholabs | DET01CFC | FC/PC output:0-10V; Quantity: 2
Laser Diode | Qphotonic | QFLD-405-20S | Wavelength: 405 nm
Laser Diode Current Controller | Tholabs | LDC 210C | 1 A and 100 mA range
Laser Diode Temperature Controller | Tholabs | TEC 200C | Quantity: 2
Latex Examination Gloves | HCS
Micro Slides | Corning Incorporated
Narrow Linewidth DFB Laser | Eblana | EP1550-NLW-B06-100FM | Wavelength:1550 nm
Optical Fiber Fusion Splicer | Sumitomo electric industries, LTD | 3822-2
Optical Microscope and Monitor | Ikegami Tsushinki Company | PM-127
Optical Spectrum Analyzer | Yokogawa | AQ6370C | wavelength range: 600-1700 nm
Polish Machine | ULTRA TEC | 41076
Post-mountable Irises | Thorlabs |  | Quantity: 2
Pump Laser | Gooch and Housego | 0400-0974-SM | Wavelength: 980 nm
Si Amplified Photodetector | Thorlabs | PDA36A | Wavelength: 350-1100 nm
Silicon wafer | University Wafer |  | thickness: 10 µm, 200 µm, 75 µm, 40 µm
Single mode fiber | Corning | SMF-28
Single Mode Fused Fiber Coupler | Thorlabs |  | Wavelength: 1550 nm
SM 125 interogrator | Micron Optics
Submersible Aquarium Pump | Songlong | SL-403
Superluminscent LED | Denselight Semiconductors | DL-BP1-1501A | wavelength range:1510-1590 nm
Syringe Pump | Cole Parmer | 74905-02
Travel Translation Stage | Thorlabs | LT1
UV curable glue | Epoxy Technology | PB109077
UVGL-15 Compact UV Lmap | UVP | P/N:95-0017-09 | 254/365 nm
Variable Optical Attenuators | Tholabs | M-VA/00016951 P/N: VOA50-APC

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=