# Submission ID #: 59030

# Scriptwriter Name: Melissa Ceo

# Project Page Link: https://www.jove.com/account/file-uploader?src=18004198

Title: Reactive Inkjet Printing and Propulsion Analysis of Silk-based Self-propelled Micro-stirrers

Authors and Affiliations: David A. Gregory1, Piyush Kumar1, Ana Jimenez-Franco1, Yi Zhang1, Yu Zhang2, Stephen J. Ebbens1, Xiubo Zhao1

1Department of Chemical and Biological Engineering, The University of Sheffield

2School of Engineering, University of Liverpool

# Corresponding Authors:

# Xiubo Zhao

xiubo.zhao@sheffield.ac.uk

# David A. Gregory

# d.a.gregory@sheffield.ac.uk

# Email addresses for Co-authors:

s.ebbens@sheffield.ac.uk

pkumar2@sheffield.ac.uk

ajimenezfranco1@sheffield.ac.uk

yi.zhang@sheffield.ac.uk

yu.zhang@liverpool.ac.uk

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see? 2.5, 3.4, 4.4, 6.5, 7.3, 7.4

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? There is not really any particularly difficult step, however it is vital that during the silk dissolution the silk is dissolved properly to avoid gelation of the ink during printing so particular care should be taken to ensure all protocol steps are carried out accurately and solution concentrations and temperature are correct. Steps 3.1 and 3.4.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Xiubo Zhao: We are able to produce versatile biocompatible, biodegradable silk-micro-motors for use in micro mixing applications such as enzyme assay enhancement, lab on a chip diagnostics, and environmental monitoring and remediation [1].

    - INTERVIEW: Xiubo Zhao says the statement above in an interview-style shot, looking slightly off-camera.

  - David Gregory: Utilizing reactive inkjet printing to create enzyme- and Marangoni- powered silk-micro-stirrers allows us to alter shapes, sizes, catalyst distribution and blend other moieties into the structures rapidly and easily, thereby controlling trajectory behavior and functions [1].

    - INTERVIEW: David Gregory says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Piyush Kumar: Reactive inkjet printing can also be applied to produce micro-motor devices with other aqueous reactive inks apart from silk, which demonstrates the great versatility of this method [1].

    - INTERVIEW: Piyush Kumar says the statement above in an interview-style shot, looking slightly off-camera.

# Introduction of Demonstrator: (Said by you on camera)

  - Xiubo Zhao: The person demonstrating the procedure will be PhD student Ana Jimenez-Franco from my laboratory [1].

    - INTERVIEW: Xiubo Zhao saying the above.

    - MED: Ana Jimenez-Franco looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Extraction and Drying of Fibroin

  - First, cut 5 grams of cleaned silk cocoons into 1 centimeter squared small pieces using scissors [1].

    - MED: Talent cuts the cleaned silk cocoons into small pieces with the scissors.

  - In an extraction hood, boil 2 liters of deionized water in a 2 liter beaker on a magnetic hot plate [1].

    - MED: Talent places a beaker of deionized water on a magnetic hot plate and turns the heat on.

  - Add a magnetic stir bar to the beaker of deionized water [1]. Then, slowly add 4.24 grams of sodium carbonate to the water to avoid boiling over and allow it to dissolve [2].

    - MED: Talent adds a magnetic stir bar to the beaker of deionized water and turns the stirring on.

    - MED: Talent slows adds the sodium carbonate to the boiling water.

  - Once the solution starts to boil again, add the cut pieces of the silk cocoons to the solution [1]. Ensure that all the silk is submerged and heat the solution with constant stirring for 90 minutes [2]. Cover the beaker with aluminum foil [3-TXT].

    - MED: Talent adds the cut pieces of the silk cocoons to the solution.

    - MED: Talent checks that all the silk is submerged in the stirring solution.

    - MED: Talent covers the beaker with aluminum foil. TEXT: Regularly replenish with hot DI H2O.

  - After 90 minutes, remove the extracted fibroin fibers from the sodium carbonate solution with a glass rod [1]. Wash the fibroin fibers 3 times with 1 liter of preheated deionized water, gradually decreasing the temperature for each washing [2-TXT].

    - MED: Talent removes the extracted fibroin fibers from the sodium carbonate solution with a glass rod and places them into a crystallization dish.

    - MED: Talent fills the crystallization dish with preheated deionized water, stirs the fibers, and removes the water from the dish. TEXT: 60 °C, 40 °C, 25 °C.

  - Spread out the fibroin fibers on a 750 milliliter borosilicate glass crystallizing dish and place them in a drying oven overnight at 60 degrees Celsius under atmospheric pressure [1]. Once dry, store the fibroin fibers in a closed container at room temperature [2].

    - MED: Talent spreads out the fibroin fibers on a borosilicate glass crystallizing dish and places the dish in the oven.

    - MED: Talent removes the dish from the oven and places the dried fibroin fibers in a closed container.

- Dissolution of Fibroin

  - Prepare a ternary solution containing 4.8 grams of deionized water, 3.7 grams of ethanol, and 3.1 grams of calcium chloride, first dissolve the calcium chloride in deionized water and then add the ethanol. [1-TXT].

    - MED: Talent mixes the reagents together in a beaker. TEXT: Ajisawa’s reagent. Video Editor: Overlay should appear at mention of “ternary solution”.

  - Place a 100 milliliter two-neck round bottom flask into a water bath on top of a magnetic hot plate [1]. Then, add the ternary solution to the flask [2].

    - MED: Talent places a round bottom flask into a water bath previously placed on a magnetic hot plate.

    - MED: Talent adds the ternary solution to the round bottom flask.

  - Next, place a thermometer in one of the necks of the flask to accurately monitor the solution temperature [1-TXT]. Cover the other neck with aluminum foil to prevent drying out of the solution due to evaporation [2]. Then, heat the solution to 80 degrees Celsius [3].

    - MED: Talent places a thermometer in the round bottom flask. TEXT: Ensure bulb is submerged.

    - MED: Talent covers the other neck of the round bottom flask with aluminum foil.

    - MED: Talent turns the heat on.

  - When the temperature of the solution is stable at 80 degrees Celsius, remove the aluminum foil and add 1 gram of dried fibroin to the solution [1]. Add a small magnetic stir bar to ensure that the solution is mixed well throughout the dissolution process [2]. Cover the second neck of the flask with aluminum foil to minimize evaporation and leave to dissolve for 90 minutes [3].

    - MED: Talent checks the temperature of the solution, removes the aluminum foil from the round bottom flask, and adds the dried fibroin to the solution.

    - CU: Close-up shot of fibroin solution as talent adds magnetic stir bar and turns the stirring on.

    - CU: Close-up shot of stirring fibroin solution as talent covers the second neck of the flask with aluminum foil and observes the stirring solution.

- Dialysis of Fibroin Solution

  - After 90 minutes of dissolution, allow the fibroin solution to cool to room temperature for 10 minutes [1].

    - MED: Talent removes fibroin solution from the magnetic hot plate to cool.

  - Tie a knot on one of the ends of a 15 centimeter long dialysis tube [1-TXT]. Wash the tube for a few minutes with running deionized water from the tap [2].

    - MED: Talent ties a knot on one of the ends of a dialysis tube. TEXT: 12,000 – 14,000 kDa. Video Editor: Overlay should appear at mention of “15 centimeter long dialysis tube”.

    - MED: Talent places the dialysis tube under the tap and turns it on.

  - Open the other end of the dialysis tube and add the fibroin solution [1]. Using a metal clamp, close the other end of the dialysis tube ensuring that it is closed as tightly as possible [2]. Attach one of the ends of the dialysis tube via a screw cap to an empty 30 milliliter plastic vial to allow the dialysis tube to float in water [3].

    - MED: Talent opens the dialysis tube and adds the fibroin solution.

    - MED: Talent closes the dialysis tube with a metal clamp and checks that the tube is tightly closed.

    - MED: Talent attaches the dialysis tube to an empty plastic vial.

  - Next, place the dialysis tube in a 2 liter beaker containing 2 liters of deionized water [1]. Change the water at regular intervals and check the conductivity of the water every time it is changed to follow the dialysis process [2-TXT].

    - MED: Talent places the dialysis tube in a beaker containing deionized water.

    - MED: Talent checks the conductivity and changes the water in the beaker if the conductivity is above 10 S/cm. Videographer: Show conductivity reading in frame if possible. TEXT: Dialysis complete once conductivity 10 S/cm.

  - After dialysis is complete, cut one end of the dialysis tube with scissors and pour the solution into a series of 1.5 milliliter tubes [1]. Centrifuge for 5 minutes at 16,000 x g to remove any particles inside the fibroin solution [2]. Then, collect the supernatant in a 30 milliliter plastic vial and store it at 4 degrees Celsius [3].

    - MED: Talent cuts one end of the dialysis tube with scissors and pours the solution into the 1.5 milliliter tubes.

    - MED: Talent places the 1.5 milliliter tubes in centrifuge and closes the centrifuge lid.

    - MED: Talent collects the supernatant in a vial and places the vial in a refrigerator.

- Preparation of Inks for Printing

  - For printing the main body of the artificial self-propelled micro-stirrers, or SPMSs, mix the fibroin solution, polyethylene glycol 400 and deionized water to make 1.5 milliliters of ink A [1-TXT].

    - MED: Talent mixes the fibroin solution, polyethylene glycol 400 and Di-Water in a tube. TEXT: 40 mg/mL fibroin, 14 mg/mL PEG400.

  - For printing the catalytic engine of the SPMSs, mix the fibroin solution, polyethylene glycol 400, catalase and deionized water to make 1.5 milliliters of ink B [1-TXT].

    - MED: Talent mixes the fibroin solution, polyethylene glycol 400, catalase and Di-water in a tube. TEXT: 40 mg/mL fibroin, 12 mg/mL PEG400, 6 mg/mL catalase.

  - Prepare 1.5 milliliters of ink C by dissolving 0.05 milligrams per milliliter of Coomassie brilliant blue in methanol [1].

    - MED: Talent mixes Coomassie brilliant blue and methanol in a tube. Videographer: Show Coomassie brilliant blue container label in frame if possible.

- Reactive Inkjet 3D Printing

  - Use jetting devices with 80 micrometer nozzle diameter…[1] for printing the inks on a silicon substrate placed on the stage at a working distance between the nozzle and the silicon-wafer substrate of around 5 millimeters [2].

    - MED: Shot of the jetting devices.

    - CU: Close-up shot of the silicon substrate as talent places it on the stage.

  - Load inks A, B, and C into three reservoirs and then adjust the backpressure using the backpressure valve for each individual channel to ensure that the ink is not dripping from the jetting devices [1].

    - MED: Talent loads the inks into the reservoirs and adjusts the backpressure using the backpressure valves.

  - Next, adjust the jetting parameters for each channel to ensure that each ink gives a good stable droplet formation [1][2].

    - MED: Talent adjusts the jetting parameters for each channel. Videographer: Show jetting parameters in frame if possible.

    - SCREEN: To be submitted by the authors – show jetting parameters as talent adjusts them in the software. Video Editor: Show this shot instead of 6.3.1 if adjustment of the jetting parameters is clearer in the screen capture. Authors, please upload this screen capture to your project page. Author comment: Screenshot of parameters has been uploaded: 6-3-2-jetting-parameters.png

  - Print the silk fibroin ink layer-by-layer alternating with methanol on a clean polished silicon-wafer substrate [1-TXT].

    - MED: Talent places the clean silicon-wafer substrate onto the printer stage and starts the printing process. TEXT: Stages 1-4: inks A, C, B, C. Stage 5: repeat.

  - Print two batches of fibroin SPMSs with 200 layer and 100 layer thickness, respectively [1].

    - CU: Close-up shot of jetting devices printing on the silicon-wafer substrate. Author comment: We have uploaded a Screen cap video of the jetting from the device as the actual droplet cannot be seen in the video due to the droplet velocity and size: 6-5-1-Time-Laps-Video-Jetting-On-Si-Wafer.avi

  - To remove the samples off the silicon wafers, immerse them in deionized water and gently agitate until detachment occurs [1].

    - MED: Talent places the silicon wafers in a beaker of deionized water and gently agitates the beaker.

- Data Acquisition/tracking and Trajectory Analysis of Self-propelled Stirrers

  - Clean a 9 centimeter glass petri dish with deionized water and ensure that the surface is dust free [1].

    - MED: Talent cleans a glass petri dish with deionized water and checks that the surface is dust free.

  - Add 10 milliliters of pre-filtered 5 percent hydrogen peroxide to the clean and dry petri dish and leave to settle [1]. Light up the bottom of the petri dish with a cool white LED light source [2]. Then, use a high-speed camera with macro zoom lens to capture the motion from above [3-TXT].

    - MED: Talent adds the hydrogen peroxide solution to the petri dish.

    - MED: Talent positions the petri dish on top of the LED light source and turns the light on.

    - MED: Talent sets up the high speed camera above the petri dish. TEXT: Save videos as .avi files.

  - Now, wash the printed silk stirrers for 10 minutes by submerging them in deionized water to remove any unbound polyethylene glycol 400 [1]. Carefully take one washed stirrer with the tip of a sterile syringe needle and place it in the center of the petri dish [2]. When the washed stirrer touches the hydrogen peroxide fuel, bubbles start forming around the engine and circular motion of the stirrer is observed [3].

    - MED: Talent places the printed silk stirrers in a beaker of deionized water.

    - CU: Close-up shot of beaker and petri dish as talent removes one of the stirrers from the beaker and places it in the center of the petri dish.

    - SCREEN: To be submitted by the authors – Show the bubbles forming and the stirrer rotating after being places in the hydrogen peroxide solution. Authors, please upload this screen capture to your project page. Author comment: We have uploaded a video showing the stirrer being placed in the petri dish and starting to bubble: 7-3-3-video-showing-stirrer-being-placed-in-the-petri-dish.mp4.  It might also be worthwhile to show one of the tracking videos such as Video 2 (200Layers)

  - When the system appears stable, press record in the recording software to start capturing the video [1].

    - MED: Talent at computer presses record in the recording software.

  - Perform tracking of the micro stirrers on a frame by frame basis, tracking each end of the stirrers [1-TXT].

    - LAB MEDIA: Video 1. TEXT: See Figure 3.

# Section – Results

- Results: Analysis of Silk-based Self-propelled Micro-stirrers

  - Stable droplets formed from the jetting devices will enable the higher definition of the printed samples, as shown here [1]. Depending on the inkjet printers used and the droplet size, the distance between each printed droplet needs to be adjusted in such a way that they overlap to generate connected lines [2].

    - LAB MEDIA: To be submitted by the authors – Time laps videos of a droplet coming from the jetting device. Authors, please upload this screen capture to your project page. Author comment: Two videos have been uploaded Version A and B. Personally A might be better but you may decide which is most suitable: 8-1-1-Time-Laps-Video-Version-A; 8-1-1-Time-Laps-Video-Version-B

    - LAB MEDIA: Figure 4

  - When the silk micro-stirrers are placed in the hydrogen peroxide fuel solution, the surface morphology of the stirrers is altered due to the bubbles being released from the inner structures generating small pores [1].

    - LAB MEDIA: Figure 5 – Video Editor: Highlight figure B.

  - Still video frames of two representative 100-layer and 200-layer micro-stirrers in 5 percent hydrogen peroxide fuel are shown here [1]. The red and green lines indicate the trajectories tracked [2].

    - LAB MEDIA: Figure 6 – Video Editor: Highlight figure A at mention of 100-layer and figure B at mention of 200-layer.

    - LAB MEDIA: Figure 6

  - The rotational velocity can be determined by the rate of change of orientation as shown here [1]. Comparison of 100-layer and 200-layer catalase doped micro-stirrers shows a distinctive increase in rotational velocity of approximately 0.6 fold from 60 plus or minus 6 rpm to 100 plus or minus 10 rpm [2].

    - LAB MEDIA: Figure 7

    - LAB MEDIA: Figure 7 – Video Editor: Highlight 100 Layers figure at mention of “60 plus or minus 6 rpm” and 200 Layers figure at mention of “100 plus or minus 10 rpm”.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ana Jimenez-Franco: To produce printable inks for this procedure it is important that the silk fibers are completely dissolved during the dissolution process [1].

    - INTERVIEW: Ana Jimenez-Franco says the statement above in an interview-style shot, looking slightly off-camera.

    - Use 3.4.2.

  - David Gregory: This technique has allowed us to produce micro-stirrers powered by various mechanisms suitable for stirring and contamination detection studies as recently published by us in the journal “Small” [1].

    - INTERVIEW: David Gregory says the statement above in an interview-style shot, looking slightly off-camera.