# fSubmission ID #: 59042

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18007858

Title: A Simple Migration/Invasion Workflow Using an Automated Live-Cell Imager

Authors and Affiliations: Xiajie Zhang1,2, Brianna C. Morten1,2, Rodney J. Scott1,2,3, and Kelly A. Avery-Kiejda1,2,

1Medical Genetics Hunter Medical Research Institute

2Priority Research Centre for Cancer Research, Innovation and Translation, School of Biomedical Sciences and Pharmacy, Faculty of Health and Medicine, University of Newcastle

3Pathology North, John Hunter Hospital

# Corresponding Author:

Kelly A. Avery-Kiejda

kelly.kiejda@newcastle.edu.au

Phone: +61 2 40420309

Email addresses for Co-authors:

xiajie.zhang@uon.edu.au

brianna.morten@newcastle.edu.au

# rodney.scott@newcastle.edu.au

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see?

4.2., 4.4., 4.6., 4.7.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.2., Ensure the top and bottom parts of the scratch tool is well aligned. 4.7, when handling ECM gel, stop pipetting at the first stop to minimize bubbles, or aspirate 70% ethanol spray to eliminate bubbles.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Xiajie Zhang: Cancer cell mobility is crucial for the initiation of metastasis. Therefore, investigation of the cell movement and invasive capacity of tumor cells is of great interest [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Brianna Morten: This integrated method for investigating cancer cell migration and invasion on a single platform in real-time provides an easily reproducible and time-efficient option for studying cell mobility and morphology [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Kelly Avery-Kiejda: This method can provide insight into cancer cell invasion through the extracellular matrix and can also be applied to other cell types [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Kelly Avery-Kiejda: To achieve an optimal scratch time, ensure that the cell seeding density is optimized and do not prolong the incubation period after the cell monolayer reaches approximately 100% [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Optimal Migration Assay Seeding Density

  - To determine the optimal number of seeded cells for a migration assay, plate the cells at a range of densities in triplicate in a 96-well plate [1-TXT].

    - WIDE: Talent adding cells to well(s) TEXT: e.g., 4-9 x 104

  - Place the plate into the live-cell imager [1-TXT] and select Schedule scans from the task list in the imager software [2].

    - MED: Talent placing plate into imager TEXT: See text for cell preparation details

    - MED-over the shoulder: Talent selecting Schedule scans, with monitor visible in frame

  - In the Drawer setup pane, determine the position of the plate and click Add vessel to select the plate type [1].

    - 2.3.1.mp4: Plate position being determined, then Add vessel being clicked and plate type being selected

  - In the Scan Setup pane, select or edit the scan pattern according to the experimental plate setup and set the Scan Type as Standard [1].

    - 2.4.1.mp4: Scan pattern being selected to edited, then Scan Type being set as Standard

  - Right-click on the Timeline and select Set Intervals [1].

    - 2.5.1_2.6.1.mp4: Timeline being clicked, then Set Intervals being selected

  - Then set Add Scans Every to 2 hours for 24 hours and click Apply [1].

    - 2.5.1_2.6.1.mp4: Add Scans Every being clicked, then set to every 2 hours for 24 hours and Apply being clicked

  - After 24 hours, open the Drawer Setup to allow the experimental plate to be selected and click Remove Vessel [1].

    - 2.7.1.mp4: Drawer setup being opened, then plate being selected and Remove Vessel being clicked

  - Select 3-6 representative images and place them in a new Image Collection [1].

    - 2.9.1.mp4: Image(s) being selected, then images being placed in new Image Collection

  - To determine a proper processing definition, use Segmentation Adjustment, Cleanup, and Filters to apply an appropriate Confluence Mask and use Preview current/all to view the accuracy of the masks [1].

    - 2.10.1.mp4: Segmentation Adjustment, Cleanup, and Filters being used to apply Confluence Mask, then Preview/current all being selected

  - Launch the analysis job and determine an optimized cell density according to an approximate 100% confluence against time within 6-18 hours, depending on when the migration assay commences [1-TXT].

    - 2.8.1_2.11.1mp4: Analysis job being launched, then shot of data indicating optimal cell density TEXT: Time to confluency dependent on seeding dilution

  - Then apply the Confluence processing analysis tool to the high definition-phase contrast images automatically collected to generate a cell proliferation curve against time [1].

    - 2.8.1_2.11.1mp4: Confluence processing analysis tool being applied to HD-phase contrast images, then cell proliferation cuvre being generated

- Migration and Invasion Assay Preparation

  - Before beginning the assay, coat the plate for the invasion assay with 50 microliters of extracellular matrix gel diluted in ice-cold cell culture medium to a 100 micrograms/milliliter concentration [1].

    - WIDE: Talent adding ECM to wells, with ECM container visible in frame

  - Then place the plate in a cell culture incubator overnight [1].

    - MED: Talent placing plate into incubator

  - The next afternoon, gently aspirate the excess medium [1] and plate the cells at the optimized density in triplicate into the appropriate wells [2] of the extracellular matrix-coated plate and into an additional uncoated 96-well plate [3].

    - MED: Talent aspirating medium

    - CU: Cells being added to coated plate, with cell container label visible in frame

    - CU: Cells being added to uncoated plate, with cell container label visible in frame

  - The place the plates in the cell culture incubator overnight [1].

    - MED: Talent placing plate into incubator

- Wound Scratch

  - The next morning, place the uncoated, migration assay plate into the base plate holder of the scratch tool [1] and use the guiding dowels to carefully place the top of the holder onto the base [2].

    - WIDE: Talent placing plate into holder TEXT: See text for scratch tool disinfection details

    - MED: Talent using dowels to plate holder top onto base

  - Press and hold the black lever [1] while carefully lifting the pin block to make the scratches [2].

    - CU: Black lever being pressed/held

    - CU: Pin block being lifted

  - The scratches in each well should be visible with the naked eye as well as under the microscope [1].

    - ECU: Shot of gap in at least one well A gap being showed through digital camera imaging

  - Then wash the plate 1-2 times with pre-warmed culture medium to remove any detached cells or cell sheets [1].

    - CU: Plate being washed, with medium container label visible in frame

  - For an invasion assay, scratch the coated plate as just demonstrated [1-TXT].

    - MED: Talent placing plate into holder TEXT: Soak pins in H2O between plates

  - After removing any detached cells and sheets, use a pre-chilled coolbox to equilibrate the plate at 4 degrees Celsius for 5 minutes [1] before carefully aspirating the cold medium [2].

    - MED: Talent placing plate onto 4 °C-coolbox

    - CU: Medium being aspirated (Author Comment: The shot includes media aspirating and adding, of which the latter should be removed.)

  - Next, add 50 microliters of diluted extracellular matrix gel into the appropriate wells [1] and place the plate into the cell culture incubator for 30 minutes [2].

    - MED: Talent adding ECM to well(s), with ECM container visible in frame

    - MED: Talent placing plate into cell culture incubator

  - Xiajie Zhang: Bubbles are common when working with extracellular matrix gel, but they can be eliminated by aspirating 70% ethanol [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Then add 100 microliters of fresh, warm medium with or without the test compound to the appropriate wells of either the migration or invasion assay plate [1] and place the plate onto the live-cell imaging platform [2].

    - MED: Talent adding medium to plate, with medium container visible in frame

    - MED: Talent placing plate onto platform

  - To clean the scratch tool, place the top pin block in in individual 45-milliliter wash boats containing 0.5% detergent 1, 1% detergent 2, sterile distilled water, or 70% ethanol for 5 minutes per wash [1] before placing the scratch tool back onto its base plate for storage in a dust-free environment [2].

    - MED: Talent placing top pin block in one wash boat, with other wash boats and wash reagent containers visible in frame

    - MED: Talent placing tool back onto base plate

- Wound Assay Imaging and Data Analysis

  - For imaging of the wound assays, after allowing the plate to equilibrate for 5 minutes [1], select Vessel Type as the imagelock plate [2] and set the Scan Type as Scratch Wound [3].

    - WIDE: Talent setting timer for 5 minutes with imager and plate one imager platform visible in frame

    - MED: Talent selecting Vessel Type, with monitor visible in frame

    - 5.1.3_5.2.1.mp4: Scat Type being set to Scratch Wound

  - Select or edit the Scan Pattern according to the experimental plate setup and schedule 24 hours of repeat scanning every 1-2 hours for 72 hours or until the wounds are healed as demonstrated [1].

    - 5.1.3_5.2.1.mp4: Scan Pattern being selected or edited, then scan schedule being set

  - When all of the wounds have healed, stop the scan [1] and select 3-6 representative images spanning a range of sound percentages, including images right after the wound has been made and wound closures by 10% and 50% [2].

    - MED: Talent stopping scan, with monitor visible in frame

    - 5.3.2.mp4: Image(s) being selected

  - To determine a proper processing definition, apply an appropriate Scratch Wound Mask and Confluence Mask as demonstrated and use Preview current/all to view the accuracy of the masks [1].

    - 5.4.1.mp4: Mask(s) being applied

  - Then launch the analysis job [1].

    - 5.5.1.mp4: Analysis job being launched

# Section – Results

- Results: Representative Migration and Invasion Assay Analyses

  - In a migration assay, the wound width is the average distance between the cell sheets beside the wound [1]. The wound confluence is the confluence within the wounding area [2]. The ideal initial wound confluence should be close to 0% [3].

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize Initial wound width and Remaining wound width texts and arrows in Blended view image

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize Wound confluence text and brackets in Blended view image

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize lack of wound confluence in 0 h Blended image

  - The relative wound density [1] and wound confluence suggest the speed of the cells occupying the scratch wound area [2]. These data almost overlap in both of these representative cell lines [3].

    - LAB MEDIA: Figure 4: please emphasize blue data lines in both graphs

    - LAB MEDIA: Figure 4: please emphasize red data lines in both graphs

    - LAB MEDIA: Figure 4: please emphasize areas of overlap in red and blue data lines in both graphs

  - Different cell lines demonstrate very different wound healing abilities [1], indicating differential migratory abilities between the cell lines [2].

    - LAB MEDIA: Figure 4: please emphasize green data lines in left graph

    - LAB MEDIA: Figure 4: please emphasize green data lines in right graph

  - For example, lamellipodia are observed in this breast adeoncarcinoma cell line at the migration front at the beginning of the migration [1], whereas this mucin-1-producing breast cancer cell line exhibited no sign of cell migration at the same time-point [2].

    - LAB MEDIA: Figure 5 no arrow: JoVE Video Editor: please emphasize cells emphasized by red arrows in original Figure 5

    - LAB MEDIA: Figure 5 no arrow: JoVE Video Editor: please emphasize ZR75-1 image

  - Further, the relative wound density of the breast adeoncarcinoma cell line was saturated after 50 hours [1], whereas the relative wound density of the mucin-1-producing breast cancer line did not change over time [2], underscoring the highly invasive phenotype of the adenocarcinoma cells and the non-invasiveness of the mucin-1-producing breast cancer cells [3].

    - LAB MEDIA: Figure 6: JoVE Video Editor: please emphasize 50 h data point in right graph

    - LAB MEDIA: Figure 6: JoVE Video Editor: please emphasize data line in right left

    - LAB MEDIA: Figure 6

  - The adenocarcinoma cells also behaved differently while invading through the extracellular matrix gel [1], demonstrating an elongated morphology with leading protrusions [2] compared to mucin-1-producing breast cancer cells with a bleb at the migration front [3].

    - LAB MEDIA: Figure 7 no arrow

    - LAB MEDIA: Figure 7 no arrow: JoVE Video Editor: please emphasize cells in Invasion 6 h image as in original Figure 7

    - LAB MEDIA: Figure 7 no arrow: JoVE Video Editor: please emphasize cells in Migration 6 h image as in original Figure 7

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Xiajie Zhang: When plating, remember that if too few cells are seeded, the scratch will not form properly and, if too many cells are seeded, there will be overcrowding (Step: 2.11) [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Xiajie Zhang: Following this procedure, drug treatments can be added, allowing this method to be adapted for high-throughput drug screening [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Brianna Morten: This method allows researchers to perform these assays in a single platform at a higher throughput and to monitor the cells in real-time rather than at an experimental end-point [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Xiajie Zhang: The disinfectants used for sterilizing the scratch tool may be hazardous. Please collect and dispose of the solutions according to the relevant MSDS and the regulatory guidelines of your facility [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.