# Submission ID #: 59057

# Scriptwriter Name: Petti Pang

# Project Page Link: http://www.jove.com/files_upload.php?src=18012433

# Title: Multimodal Signals for Analyzing Pain Responses to Thermal and Electrical Stimuli

# Authors and Affiliations:

Sascha Gruss1, Mattis Geiger2, Philipp Werner3, Oliver Wilhelm2, Harald C. Traue1, Ayoub Al-Hamadi3, Steffen Walter1

1Department of Medical Psychology, Ulm University

2Department of Individual Differences and Psychological Assessment, Ulm University

3Department of Neuro-Information Technology, University of Magdeburg

# Corresponding Author:

# Sascha Gruss

# sascha.gruss@uni-ulm.de

# Email addresses for Co-authors:

# mattis.geiger@uni-ulm.de

# philipp.werner@ovgu.de

# oliver.wilhelm@uni-ulm.de

# harald.traue@uni-ulm.de

# ayoub.al-hamadi@ovgu.de

# steffen.walter@uni-ulm.de

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

Step 2.2.(2.)
Step 3.1.
Step 3.9.(2.)
Step 3.11.
Step 3.12.(3.)

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

Step 3.9.(2.)
Step 3.11.(3.)

5. Will the filming need to take place in multiple locations? N

Section - Introduction

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Sascha Gruss: The data acquired via the presented method may shed light on how to recognize pain intensities independently of the underlying pain model. It may also help to assess the pain duration [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sascha Gruss: The main advantage of this technique is its multi-modality in terms of signal recording and pain stimulation. It significantly broadens the scope of pain research [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Steffen Walter: This technique can be applied to monitor therapy process and pathology treatment for more efficient pain management [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Mattis Geiger: The execution of the protocol requires many complex manual actions, such as electrode application, which are faster and easier to learn through visual demonstration [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Introduction of Demonstrator: (Said by you on camera)

  - Mattis Geiger: Demonstrating the procedure will be Sandra Gebhardt [1], a student from my laboratory who was trained as an experimenter for this study [2].

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the ethics committee of the University of Ulm, Germany.

Section - Protocol

- Preparation of the Pain Stimulation Experiment

  - To prepare for the procedure, welcome the arriving subject and lead her to the calibration room [1]. Inform her in detail about the calibration procedure and the following pain stimulation [2-TXT].

    - WIDE: Talent leading the subject into the calibration room

    - WIDE: Talent and subject sitting at a table. Talent talks to the subject while pointing at papers. TXT: Calibration procedure: See Section 3 and 4 in the accompanying manuscript

  - Next, conduct the pain stimulation in a camera-monitored, temperature-controlled, and low-noise experimental room next to the calibration/monitoring room [1]. Use appropriate recording computers, software, and recording devices for capturing physiological data, audio, videos, and thermal and electrical stimulator outputs during the experiment [2-TXT].

    - WIDE: Talent leading the subject to the experimental room

    - BROLL: Videographer, please take footage of the recorder, cameras and microphone. TXT: 1 biosignal recorder, 3 high-resolution color cameras, 1 thermal camera, 1 directional microphone

  - Enter the values of the phasic electrical and heat pain intensities, and the tonic electrical and heat intensities calculated based on the performed calibration in the thermal and electrical stimulator [1-TXT]. Set the baseline temperature to 32 degrees Celsius and the temperature rate to 8 degrees Celsius per second, then save all settings [2].

    - MED: Talent entering the values of the phasic electrical and heat pain intensities and tonic electrical and heat intensities. Text: See Sections 3 and 4 in the accompanying manuscript for calibration

    - MED: Talent sets the baseline temperature to 32 degrees Celsius and the temperature rate of increase to 8 degrees Celsius per second, then save all settings

  - Subsequently, prepare the pain elicitation script as shown here [1]. Set the number of each phasic stimulus intensity to 30 and the number of each tonic stimulus intensity to 1 [2].

    - LAB MEDIA: Figure_3.pdf

    - MED: Talent sets the number of each phasic stimulus intensity to 30 and the number of each tonic stimulus intensity to 1

  - Then, set the duration of each phasic stimulus to 5 seconds and the duration of each tonic stimulus to 60 seconds [1]. Randomize the order of all stimuli and the pauses between the phasic stimuli to 8 to12 seconds [2]. After that, set the pauses after the tonic stimuli to 300 seconds [3].

    - CU: Close up of the thermal stimulator as the duration of each phasic stimulus is set to 5 seconds and the duration of each tonic stimulus is set to 60 seconds

    - CU: Close up of the thermal stimulator as the order of all stimuli is randomized and the pauses between the phasic stimuli are set to 8 to12 seconds

    - CU: Close up of the thermal stimulator as the pauses after the tonic stimuli are set to 300 seconds

- Pain Stimulation

  - To begin pain stimulation, ask the subject to lie down comfortably on the examination couch [1]. Clean all skin areas where the electrodes will be attached with alcohol solution [2]. Remove any dead skin cells on the surface of the left cheek, behind the left ear, and above the left eyebrow with abrasive gel [3]. Then, reclean these areas with an alcohol solution [4].

    - MED: Subject lies down on the examination couch

    - CU: Close up of the skin areas as they are cleaned

    - CU: Close up of the cheek surface as dead skin cells are removed

    - CU: Close up of the skin areas as they are cleaned with alcohol solution

  - For the measurement of the skin conductance level, attach two pregelled, nonpolarizable silver /silver chloride electrodes to the underside of the distal phalanx of the right index and middle finger with Velcro straps [1-TXT].

    - MED: Talent attaching 2 pregelled electrodes to the underside of the distal phalanx of the right index and middle finger with Velcro straps. Text: SCL: Skin Conductance Level

  - To record ECG, use three pregelled, adhesive silver /silver chloride snap electrodes with circular contact areas [1-TXT]. Place the cathode electrode on the chest, approximately 6 centimeters below the right collarbone, and the anode electrode on the left ninth and tenth rib [2]. Attach the reference electrode to the right-side waist next to the pelvic bone [3].

    - CU: Close up of the 3 pregelled, adhesive silver /silver chloride snap electrodes with circular contact areas. Text: ECG: Electrocardiogram

    - MED: Talent places the cathode electrode on the chest, 6 cm below the right collarbone, and the anode electrode on the left ninth and tenth rib of the subject

    - MED: Talent attaches the reference electrode to the right-side waist next to the pelvic bone of the subject

  - To record EMG of Musculus trapezius, also use three pregelled, adhesive silver /silver chloride snap electrodes with circular contact areas [1]. Place the cathode and anode electrodes side by side on the trapezius muscle at the left side of the neck [2]. Then, place the reference electrode below on the left collarbone [3].

    - CU: Close up of the 3 pregelled, adhesive silver /silver chloride snap electrodes with circular contact areas. Text: EMG: Electromyography

    - MED: Talent places the cathode and anode electrodes side by side on the trapezius muscle at the left side of the neck

    - MED: Talent places the reference electrode below on the left collarbone

  - Use six reusable, shielded silver /silver chloride electrodes to measure the EMGs of Musculus corrugator supercilii and Musculus zygomaticus major [1]. Attach one side of the double-sided adhesive collars to the electrodes [2]. Subsequently, fill the cavities of the electrodes with electrolyte gel [3].

    - CU: Close up of the shielded silver /silver chloride electrodes

    - MED: Talent attaches one side of a double-sided adhesive collar to an electrode.

    - MED: Talent fills the cavities of the electrodes with electrolyte gel

  - Remove the paper backings on the other side of the double-sided adhesive collars. [1]. For Musculus corrugator supercilii, place the anode electrode directly above the left eyebrow, next to the glabella line [2].

    - MED: Talent removes the paper backings on the other side of the double-sided adhesive collars.

    - CU: Close up of the anode electrode as it is placed directly above the left eyebrow

  - Then, place the cathode electrode 1 centimeter lateral to the anode electrode [1]. Attach the reference electrode to the middle of the frontal bone just below the hairline [2].

    - CU: Close up of the cathode electrode as it is placed 1cm lateral to the anode electrode

    - CU: Close up of the reference electrode as it is attached to the middle of the frontal bone

  - For Musculus zygomaticus major, draw an imaginary line from the left oral commissure to the left earlobe [1]. Place the anode electrode slightly below the middle of the line and the cathode electrode 1 centimeter medial next to it [2]. Attach the reference electrode to the left mastoid [3].

    - MED: Talent using the finger to point out a line from the left oral commissure to the left earlobe

    - MED: Talent places the anode electrode slightly below the middle of the line and the cathode electrode 1 cm medial next to it

    - CU: Close up as the reference electrode is attached to the left mastoid

  - Then, connect all the electrodes to the corresponding inputs of the biosignal recording device [1]. Perform a visual check using the biosignal recording software [2] to make sure all physiological signals are of good/excellent quality [3].

    - MED: Talent connects all the electrodes to the corresponding inputs of the biosignal recording device

    - MED: Talent shows subject to smile, and subject smiles

    - CU: Close up of the biosignal recorder screen showing the changes in EMG signal

  - Next, place the silver /silver chloride anode electrode on the upper side of the intermediate phalanx of the left index finger and the cathode electrode on the upper side of the proximal phalanx of the left middle finger [1]. Connect the electrodes to the electrical stimulator [2].

    - CU: Close up of the hand as the anode electrode is placed on the upper side of the intermediate phalanx of the left index finger and the cathode electrode is placed on the upper side of the proximal phalanx of the left middle finger

    - MED: Talent connects the electrodes to the electrical stimulator

  - Apply the thermode to the upper side of the subject’s left forearm about 30 millimeters proximal to the wrist with a Velcro strap [1].  Start all the cameras [2]. Ensure that the participant is perfectly visible in the camera [3].

    - MED: Talent applies the thermode to the upper side of the subject’s left forearm about 30 mm proximal to the wrist with a Velcro strap

    - MED: Talent starts all the cameras

    - CU: Close up of the camera to show that the participant is perfectly visible

  - Then, start all the recording devices complying with the requirements for data synchronization [1]. Run the pain elicitation script [2]. Carefully monitor the subject and the progress of the pain stimulation part [3].

    - MED: Talent starts the cameras, microphone, and biosignal recorder

    - WIDE: Talent leaves the experimental room and enters the calibration/monitoring room.

    - MED: Talent starts the pain elicitation script by clicking the start button, then looks at the monitoring screens (which are showing video or biosignals or progress of the pain elicitation script)

  - After the ending of the pain elicitation script, stop all the recording devices [1]. Check if the participant is alright, and detach all the electrodes and the thermode [2].

    - MED: Talent stops all the recording devices

    - MED: Talent detaches all the electrodes and the thermode

  - Next, wrap a hygienic non-woven towel around a cold gel pack [1]. Ask the participant to apply it on the skin area where the thermode was placed for at least 5 minutes [2]. Then, apply ointment to the skin area where the thermode was placed [3].

    - MED: Talent wraps a hygienic non-woven towel around a cold gel pack

    - MED: Subject places the wrapped gel pack on the skin area

    - CU: Close up of the skin area as ointment is applied

  - Afterward, thank the participant and say goodbye [1]. Dispose all the disposable electrodes, clean all the reusable electrodes and the examination couch [2].

    - MED: Talent shakes the hand of the subject

    - MED: Talent disposes the electrodes and cleans the examination couch

Section – Results

- Results: Example Data from a Successful Experiment

  - Shown here are the images of the subject before, during and after an intense pain stimulus [1]. All the recorded signals are non-filtered and synchronized in time. For clarity, only representative screenshots of the video signals are shown [2].

    - LAB MEDIA: Figure_4.pdf – Video Editor: Show the photos of “frontal & side view face camera” and “body & thermal camera” (left panels, then add the middle panels, then add the right panels)

    - LAB MEDIA: Figure_4.pdf – Video Editor: Add the graphs below the photos (left panels, then add the middle panels, then add the right panels)

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Sascha Gruss: While attempting this procedure, it’s important to ensure all signals are optimized before starting the pain stimulation. Also ensure that all the recording devices are on before running the pain elicitation script [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Steffen Walter: Following this procedure, other methods like implementing a near-infrared night-vision camera or the recording of further biosignals can be performed in order to recognize pain more efficiently in a nightly environment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Steffen Walter: This technique allows for recognizing pain objectively without the need to communicate with the patient. It may help to distinguish different pain properties and provide insight to the underlying source of pain [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Mattis Geiger: Pain stimulators can cause serious injuries if not operated by trained personnel. Always follow the ethical and safety restrictions regarding stimulus intensity cutoffs to ensure the participant’s safety [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.