## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
PATHWAY Model ATS | Medoc Ltd., Ramat Yishai, Israel |  | Thermal Stimulator
30 mm x 30 mm ATS Thermode | Medoc Ltd., Ramat Yishai, Israel |  | Thermode
PATHWAY Software Arbel 6.3.7.22.1 | Medoc Ltd., Ramat Yishai, Israel |  | Thermal Stimulator Software
Digitimer DS7A Current Stimulator | Digitimer Ltd., Hertfordshire, UK |  | Electrical Stimulator
Inquisit 5 | Millisecond Software, Seattle, WA, USA |  | Software for triggering electrical stimuli
Analogue-To-Digital Converter | Wissenschaftliche Werkstatt Elektronik, University of Ulm, Ulm, Germany | custom built
BIOPAC MP150 System | BIOPAC Systems, Inc., Goleta, CA, USA |  | Biosignal Recording Hardware
AcqKnowledge Software 4.1.1 | BIOPAC Systems, Inc., Goleta, CA, USA |  | Biosignal Recording Software
NTG-2 Dual Powered Directional Condenser Microphone | RØDE Microphones, Silverwater, Australia |  | Audio Recording Microphone
Kinect v2 | Microsoft, Redmond, WA, USA |  | Body View Camera
AV Pike F-145C | Allied Vision Technologies GmbH, Stadtroda, Germany |  | Face Camera (frontal view)
AV Prosilica GT 1600C | Allied Vision Technologies GmbH, Stadtroda, Germany |  | Face Camera (side view)
PIR uc 180 Thermal Camera | InfraTec GmbH, Dresden, Germany |  | Thermal Face Camera
Synchronization Hardware | Werkstatt, IIKT, University of Magdeburg, Magdeburg, Germany | custom built | Hardware triggering of cameras, trigger signal is recorded by BIOPAC and Audacity
Recording and Synchronization Software | Philipp Werner, Neuro-Information Technology, University of Magdeburg, Magdeburg, Germany | custom software | Real-time recording, offline video encoding, and offline synchronization
Examination Couch | ClinicalCare GmbH, Bremen, Germany
Ag-AgCl Electrodes EL254 / EL254S (Reusable, 4mm recording diameter) | BIOPAC Systems, Inc., Goleta, CA, USA |  | Used to record EMG M. corrugator and M. zygomaticus
Ag-AgCl Electrodes BlueSensor P (Disposable, skin contact size: 34 mm diameter, measuring area 154 mm2) | Ambu GmbH, Bad Nauheim, Germany |  | Used to record ECG and EMG M. trapezis. Also used for electrical stimulation
Audacity 2.1.2 | Dominic Mazzoni (Audacity) |  | Audio Recording Software
Cold Gel Pack | C+V Pharma Depot GmbH, Versmold, Germany
Panthenol 50mg/g | ratiopharm GmbH, Ulm, Germany |  | Ointment
Alumnium Profiles | item Industrietechnik GmbH, Solingen, Germany |  | Used to install all cameras and microphone
Electrode Gel GEL1 | BIOPAC Systems, Inc., Goleta, CA, USA
ELPREP Skin Preparation Gel | BIOPAC Systems, Inc., Goleta, CA, USA

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=