## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
25 Pin Cables | Med Associates | SG-213F | Connect smart control cards to smart control panels
40 Pin Ribbon Cable | Med Associates | DIG-700C | Connects the computer with the interface cabinet
Computer | Dell Computer Company | T8P8T-7G8MR-4YPQV-96C2F-7THHB | For controlling and monitoring protocols’ processes
Conductor Cables | Med Associates | SG-210CP-8 | Provide power to the smart control panels via the rack mount power supply
Food dispenser with pedestal | Med Associates | ENV-203M-45 (12937) | Silently provides 45 mg food pellets
Head-Entry Detector | Med Associates | ENV-254-CB | Uses an infrared photo-beam to detect head entries into the food receptacle
House Light | Med Associates | ENV-215M | For providing diffuse illumination inside the chamber
Interface Cabinet | Med Associates | SG-6080D | Pod that can hold up to eight smart control cards
Med-PC IV Software | Med Associates | SOF-735 | Translate codes into commands for operating outputs and recording/storing input information
Multiple tone generator | Med Associates | ENV-223 (597) | For controlling the frequency of the tones
Panel fillers | Med Associates | ENV-007-FP | For filling modular walls when devices are not used
Pellet Receptacle | Med Associates | ENV-200R2M | Receives and holds food pellets delivered by the dispenser
Rack Mount Power Supply | Med Associates | DIG-700F | Provides power to the interface cabinet
Retractable Lever | Med Associates | ENV-112CM (10455) | Detects lever-pressing responses; projects into the chamber or retracts as needed
Smart Control Cards | Med Associates | DIG-716 | Controls up to eight inputs and four outputs of a conditioning chamber
Smart Control Panels | Med Associates | SG-716 (3341) | Connect smart cards to the devices within the conditioning chambers
Speaker | Med Associates | ENV-224AM | For providing tones inside the chamber
Standard Modular Chambers for Rat | Med Associates | ENV-008 | Made of aluminum channels designed to hold modular devices
Standard sound-, light-, and temperature isolating shells | Med Associates | ENV-022MD | Serve to harbor each conditioning chamber
Stimulus Light | Med Associates | ENV-221M | For providing a round focalized light stimulus
Three Pin Cables | Med Associates | SG-216A-2 | Connects smart control panel with each of the input and output devices in the conditioning chambers

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=