Supplementary Methods

1. Bacterial Transformation

1.1 Add 3 µL ligation or TOPO reaction mix to 40 µL of chemically competent E. coli cells (see Table of Materials) and leave on ice for 30 min.

1.2 Heat shock the bacteria at 42 °C for 45 s, then leave on ice for 2 min.

1.3 Add 250 µL of Super Optimal broth with Catabolite repression (SOC) media and recover the bacteria in a 37 °C incubator-shaker for 1 h.

1.4 Spread 80 µL transformed bacterial cells on a pre-warmed Luria broth (LB) agar plate with the appropriate antibiotics. Incubate the plate at 37 °C overnight.

NOTE: Check which antibiotic-resistant cassette is present in the cloning plasmid. Ampicillin is commonly used, but some plasmids may rely on kanamycin, gentamycin, chloramphenicol, or spectinomycin.

NOTE: If ampicillin is used, the transformed bacteria may be directly plated onto antibiotic-containing agar plates immediately after heat shock without the 1 h recovery at 37 °C.

2. Western blot

2.1 Dissociate the cells as described in steps 5.1‒5.3 of protocol and aspirate the supernatant.

2.2 Wash the pellet once with cold PBS, and spin them down in a bench top centrifuge at maximum speed (18,000 x g) for 5 min. Discard the supernatant and resuspend the cell pellet in cold RIPA buffer. Add protease inhibitor (see Table of Materials) to protect the proteins from degradation. Sonicate the cells for 10 cycles (30 s ON, 30 s OFF).

NOTE: Different protease inhibitors can be used, including aprotinin, leupeptin, pepstatin-A, and phenylmethylsulfonyl fluoride (PMSF). Commercially available cocktail tablets may also be used.

2.3 Determine the protein concentration using bovine serum albumin as a standard. Different methods can be used, including the Bradford assay and the bicinchoninic acid (BCA) assay.

2.4 Boil each cell lysate in 4x Laemmli sample buffer at 100 °C for 5 min.

2.5 For each sample, load 10 µg of protein into one empty well of an sodium dodecyl sulfate (SDS)-PAGE gel. Run the gel for 1‒2 h at 100 V using 1x tris-glycine-SDS (TGS) buffer.

2.6 Transfer the electrophoresed proteins onto a nitrocellulose or polyvinylidene fluoride (PVDF) membrane using 1x tris-glycine (TG) buffer with 10% ethanol.

2.7 Stain the membrane with Ponceau S solution to check that the proteins have been properly transferred. Wash off the stain with water. Block the membrane for 1 h at room temperature using 5% skimmed milk (blocking buffer) and then remove the blocking buffer.

2.8 Dilute the primary antibody with blocking buffer and add it to the membrane. Incubate the membrane at 4 °C overnight with gentle shaking. The dilution factor depends on the antibody and may have to be optimized.

2.9 Remove the primary antibody solution. Wash three times with 0.1% polysorbate in tris-buffered Saline (TBST) at 10 min intervals.

2.10 Remove the 0.1% TBST. Dilute the conjugated secondary antibody with blocking buffer based on supplier’s recommendations, then add it to the membrane. Incubate the membrane at room temperature for 2 h with gentle shaking.

2.11 Remove the secondary antibody solution. Wash three times with 0.1% TBST at 10 min intervals. Add a chemiluminescent reagent (see Table of Materials) to the membrane according to manufacturer’s instructions and visualize the membrane using an appropriate imaging system.