# Submission ID #: 59087

# Scriptwriter Name: Melissa Ceo

Project Page Link: http://www.jove.com/files_upload.php?src=18021583

Title: Improving High Viscosity Extrusion of Microcrystals for Time-resolved Serial Femtosecond Crystallography at X-ray Lasers

Authors and Affiliations:  Daniel James1, Tobias Weinert1, Petr Skopintsev1, Antonia Furrer1, Dardan Gashi1,2, Tomoyuki Tanaka3,4,  Eriko Nango3,4, Przemyslaw Nogly1,5, Jörg Standfuss1

﻿

1Division of Biology and Chemistry - Laboratory for Biomolecular Research, Paul Scherrer Institut

2Photon Science Division - SwissFEL, Paul Scherrer Institut

﻿3RIKEN SPring-8 Center

4Department of Cell Biology, Graduate School of Medicine, Kyoto University

5Department of Biology, ETH Zürich, Zürich, Switzerland

# Corresponding Author:

# Jörg Standfuss

# joerg.standfuss@psi.ch

# Email addresses for Co-authors:

# daniel.james@psi.ch

# tobias.weinert@psi.ch

# petr.skopintsev@psi.ch

# antonia.furrer@psi.ch

# dardan.gashi@psi.ch

# ttanaka@spring8.or.jp

# enango_kuma@me.com

# przemyslaw.nogly@psi.ch

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? Y

Can you record movies/images using your own microscope camera? Y

2. Does your protocol include software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see? 2.7, 2.8, 2.10, 3.6, 3.7

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? 2.7, success is confirmed by subsequent steps, via visual inspection, etc.

5. Will the filming need to take place in multiple locations? Y

If yes, how far apart are the locations? Different rooms in the same building.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jörg Standfuss: This protocol is designed to ensure that problems frequently encountered in time-resolved serial femtosecond crystallography experiments won’t compromise the data collection [1].

    - INTERVIEW: Jörg Standfuss says the statement above in an interview-style shot, looking slightly off-camera.

  - Daniel James: One major advantage of this method is its adaptability to individual crystal systems. The high-speed camera extrusion test also allows us to directly measure the extrusion stability [1].

    - INTERVIEW: Daniel James says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Protein Crystal Sample Preparation

  - First, load 50 microliters of crystal-laden monoolein based LCP in a 100 microliter syringe about 30 minutes before the injection [1-TXT].

    - MED: Talent loads the crystal-laden monoolein based LCP in the syringe. TEXT: LCP: lipidic cubic phase.

  - For injection into a vacuum environment. load 5 microliters of MAG 7.9 and 5 microliters of liquid paraffin into the back of a second syringe [1]. Holding the syringe vertically, expel the air bubbles from the syringe [2].

    - MED: Talent loads MAG 7.9 and liquid paraffin in the syringe.

    - MED: Talent expels the air bubbles from the syringe.

  - Connect the syringe with MAG 7.9 and paraffin to a standard syringe coupler…[1] and purge the air from the coupler by gently pressing on the plunger until a small volume of the mixture is visible at the tip of the coupler needle [2].

    - MED: Talent connects the syringe with MAG 7.9 and paraffin to the syringe coupler.

    - CU: Close-up shot of the syringe as talent presses the plunger until a small volume of the mixture is visible at the needle tip.

Steps 2.3 and 2.4 were filmed out of order. That is to say the footage where the clapboard is labeled 2.3.1 should have been labeled 2.4.1. The problem was discovered after the shots were filmed so just note that: 2.3.1 is 2.4.1, 2.3.2 is 2.4.2, 2.4.1 is 2.3.1, 2.4.2 is 2.3.2

  - Connect the sample syringe to the syringe coupler, taking care to not introduce any air into the sample [1]. Mix in the lipid and paraffin by passing the sample through the coupler multiple times [2].

    - MED: Talent connects the sample syringe to the syringe coupler.

    - CU: Close-up shot of the coupler as talent passes the sample through it.

  - Next, load 20 microliters of premixed LCP in another 100 microliter syringe [1-TXT].

    - MED: Talent loads the premixed LCP in the syringe. TEXT: 27% PEG, 100 mM Sorensen pH 5.6 + MO. Video Editor: Overlay should appear at mention of “premixed LCP”.

  - Remove the empty syringe from the coupler and attach the premixed LCP to the crystal containing syringe using a standard syringe coupler [1]. Then, pass the sample through the coupler 100 times [2-TXT].

    - MED: Talent removes the empty syringe from the coupler and attaches the syringe with the premixed LCP to the crystal containing syringe.

    - MED: Talent passes the sample through the syringe coupler. TEXT: Mix at slow rate.

  - To bring the sample into the cubic phase, add 3 microliters of monoolein and mix 50 times [1]. Repeat this procedure just until a transparent phase has formed to avoid an excess of monoolein [2-TXT].

    - MED: Talent adds the monoolein and passes the sample through the syringe coupler.

    - CU: Close-up shot of coupler as talent passes the sample through it to show the transparent phase forming. TEXT: Best results slightly above 20 C.

  - As a preliminary test for sample stiffness and extrudability, detach the empty syringe from the syringe coupler and, holding the syringe vertically, squeeze a small amount of sample through the coupler [1]. If the extruded sample forms an upright cylinder, then the sample is ready for extrusion testing [2].

    - MED: Talent removes the empty syringe from the syringe coupler, holds the syringe vertically, and starts squeezing a small amount of the sample through the coupler.

    - CU: Close-up shot of the syringe as the sample is pushed out to show its appearance as an upright cylinder.

  - Adjust the total volume of the sample to 100 microliters by adding more premixed LCP [1].

    - MED: Talent loads more premixed LCP in the syringe.

  - Attach the sample syringe and two empty syringes to the three-way syringe coupler [1]. Mix at least 50 times by passing half of the sample into the second syringe and then pressing both halves of the sample into the third syringe simultaneously [2].

    - MED: Talent attaches the sample syringe and two empty syringes to the three-way syringe coupler.

    - CU: Close-up shot of coupler as talent passes half the sample into the second syringe and then presses both halves of the sample into the third syringe.

  - Place the syringe containing the mixed sample under a stereo microscope to verify a homogenous distribution of crystals [1].

    - LAB MEDIA: To be provided by authors – microscope image of homogeneous crystals.

- Testing Sample Extrusion Using a High-Speed Camera Setup

  - Purge an HPLC pump and all water lines to ensure the flowrates are accurate [1]. Then, purge the hydraulic stage of the injector [2].

    - MED: Talent starts purging the HPLC pump and water lines.

    - MED: Talent purges the hydraulic stage of the injector

  - Next, turn on and connect the camera to the supplied software [1]. With a live video running for visual feedback, position the nozzle tip in the center of the frame, and bring it into focus with the three-axis stage [2].

    - MED: Talent turns on the camera and connects it to the supplied software

    - SCREEN: To be provided by authors – show positioning of the nozzle tip in the center of the frame. Authors, please upload this screen capture to your project page. Author note: There is a significant amount of screen capture required in our video. Unfortunately, the high-speed camera equipment we need during the screen capture will not be available for the next two weeks. I will upload the screen cap files ASAP after the camera becomes available.

  - Set frame rate on the camera to 1000 frames per second. Then, set the resolution to 512 by 512 pixels [1].

    - SCREEN: To be provided by authors – show setting of the frame rate and resolution in the software. Authors, please upload this screen capture to your        project page.

  - With the exposure time now set by the frame rate, adjust the illumination level until the nozzle is visible. Reposition the nozzle tip so that it is centered left to right and is located in the top third of the frame [1].

    - SCREEN: To be provided by authors – show the nozzle as the illumination level is being adjusted and the nozzle tip being repositioned in the software. Authors, please upload this screen capture to your project page.

  - Set up the camera in time-lapse mode. Set the interval to 30 seconds and the repeats to 40 times,  set the trigger mode to random, and enter the number of frames to record to 1000 [1].

    - SCREEN: To be provided by authors – show the interval, repeats, trigger mode, and number of frames being set/input in the software. Authors, please upload this screen capture to your project page.

  - Now, load the reservoir with 20 microliters of the test sample and attach the capillary nozzle [1].

    - MED: Talent loads the reservoir with the test sample and attaches the capillary nozzle.

  - Attach the filled reservoir to the injector [1]. Then, attach the gas line to the port on the nozzle and start the gas flow [2].

    - MED: Talent attaches the filled reservoir to the injector.

    - MED: Talent attaches the gas line to the port on the nozzle and starts the gas flow.

    - Added shot: MED The talent starts the gas flow.

  - Following this, simultaneously start the pump and the camera recording [1].

    - MED: Talent starts the pump and camera recording at the same time.

  - Monitor the extrusion until the pump pressure sharply ramps up near the expected end time [1]. Then, stop recording, shut off the pump, and vent the system pressure by opening the relief valve [2].

    - MED: Talent monitors the pump pressure on the control panel of the pump.

    - MED: Talent stops recording, shuts off the pump, and opens the relief valve.

  - Following this, open the video file with the analysis software and calibrate the measurement tools [1].

    - SCREEN: To be provided by authors – show the video file being opened and the measurement tools being calibrated in the software. Authors, please upload this screen capture to your project page.

  - Find a frame in the video where there is a trackable feature visible in the extrusion. Record the frame number [1].

    - SCREEN: To be provided by authors – show searching for a frame in the video and recording the frame number in a spreadsheet. Authors, please upload this screen capture to your project page.

  - Next, advance the video to a frame where the same feature is visible but has moved from its position in the previous step. Record the frame number [1].

    - SCREEN: To be provided by authors – show advancing to a frame in the video and recording the frame number in a spreadsheet. Authors, please upload this screen capture to your project page.

  - Using the straight line measurement tool, measure the distance from the feature start and endpoint via Analyze | Measure [1].

    - SCREEN: To be provided by authors – show measuring the distance from the feature start to the endpoint. Authors, please upload this screen capture to your project page.

  - Repeat the previous steps a few times for every segment of the video [1].

    - SCREEN: To be provided by authors – show repeating of the previous steps for another segment of the video. Authors, please upload this screen capture to your project page.

  - Finally, plot the data series [1].

    - SCREEN: To be provided by authors – show the data being plotted in the software. Authors, please upload this screen capture to your project page.

# Section – Results

- Results: Extrusion of Protein Microcrystals from a High Viscosity Micro-extrusion Injector

  - The ideal starting material for the procedure described here are high densities of microcrystals incorporated into a viscous carrier medium for the injector [1]. Protein crystals were used to collect TR-SFX data on the proton pump bacteriorhodopsin, which revealed the ultrafast changes that occur after photon absorption [2].

    - LAB MEDIA: Figure 4 – Video Editor: Highlight figure B.

    - LAB MEDIA: Figure 5

  - After sample preparation using a three-way coupler, visual inspection of the material in the syringe shows sample homogeneity, and microscope images can confirm the density of the crystals [1].

    - LAB MEDIA: Figure 6 – Video Editor: highlight figures A and B at mention of “after sample preparation using a three-way coupler”. Highlight figures C and D at mention of “visual inspection of the material in the syringe shows sample homogeneity”.

  - The sample is in the cubic phase when the delivery medium is clear and viscous [1]. Turbid mixtures are an indication that the sample is in a sponge or lamellar phase, but are not conclusive as high crystal density may obscure the LCPs clarity [2]. A low-pressure test to identify the sponge phase can be performed by pulling the syringe plunger away from the sample [3].

    - LAB MEDIA: Figure 7 – Video Editor: highlight figure B.

    - LAB MEDIA: Figure 7 – Video Editor: highlight figure A.

    - LAB MEDIA: Figure 7 – Video Editor: highlight figures C and D.

  - During the jet test, the sample should extrude a long continuous column of LCP that moves at a nearly constant velocity [1]. Samples that run in a dripping mode indicate that the viscosity is too low [2]. Data from samples that form a column should show that the extrusion stays above a minimum speed dictated by the experimental parameters [3].

    - LAB MEDIA: Figure 2 – Video Editor: highlight figure B.

    - LAB MEDIA: Figure 2 – Video Editor: highlight figure A.

    - LAB MEDIA: Figure 2 – Video Editor: highlight figure D.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jörg Standfuss: After sample optimization using this protocol, time-resolved serial diffraction data can be collected at an XFEL facility. This reveals structural changes in the target protein as it performs its function [1].

    - INTERVIEW: Jörg Standfuss says the statement above in an interview-style shot, looking slightly off-camera.