# Submission ID #: 59102

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18026158

Title: Spore Adsorption as a Nonrecombinant Display System for Enzymes and Antigens

# Authors and Affiliations: Rachele Isticato1, Ezio Ricca1, and Loredana Baccigalupi2

1Department of Biology, Federico II University

2Department of Molecular Medicine and Medical Biotechnology, Federico II University

# Corresponding Author:

Ezio Ricca

ericca@unina.it

Tel: +39-081-679036

Email addresses for Co-authors:

isticato@unina.it

lorbacci@unina.it

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see?

2.2.2., 2.3.2., 5.8.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

A reliable quantification of the adsorption efficiency is based on an accurate calibration curve. (step 5.12.)

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Ezio Ricca: Live bacterial spores displaying antigens or enzymes are functionally active nanoparticles that can be used as mucosal vaccines or biocatalysts. In principle, any protein can be efficiently adsorbed to spores [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Loredana Bacciagalupi: This technique is simple and does not require any genetic manipulation. Therefore, no release of recombinant organisms into the environment is involved [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Rachele Isticato: Antigen-bearing spores have the potential for use as mucosal vaccines and have proved effective in various cases, for example in protecting mice against tetanus toxin or shrimp against viral infections [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Rachele Isticato: In addition to mucosal vaccinology for humans and animals, spores displaying enzymes can be developed as re-usable biocatalyzers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Adsorption Reaction

  - Begin by labeling 2 x 109 B. subtilis wild-type purified spores with 2-, 5-, or 10-microgram concentrations of model RFP (R-F-P) [1-TXT] in 200 microliters of binding buffer supplemented with 50 millimolar sodium citrate for 1 hour at 25 degrees Celsius on a rocking shaker [2].

    - WIDE: Talent adding mRFP to spores, with mRFP and binding buffer containers visible in frame TEXT: See text for all reagent preparation details

    - MED: Talent placing spores onto shaker

  - At the end of the incubation, pellet the binding mixtures by centrifugation [1-TXT] and transfer the supernatants into new conical tubes for subsequent adsorption efficiency analysis [2].

    - MED: Talent adding tube(s) to centrifuge TEXT: 10 min, 13,000 x g, 25 °C

    - CU: Shot of pellet(s), then supernatant being removed from one tube, with mRFP tube label concentrations visible in frame

  - Then wash the spore pellets two times with 200 microliters of binding buffer per wash [1], resuspending the pellets in 100 microliters of fresh binding buffer after the second wash [2].

    - MED: Talent washing pellets, with buffer container visible in frame

    - CU: Shot of pellet(s) if visible, then one pellet being resuspended in binding buffer, with binding buffer container label visible in frame

- Direct Adsorption Efficiency Evaluation

  - For surface protein extraction, add 50 microliters of each adsorbed spore resuspension to 50 microliters of 2x sodium dodecyl sulfate-dithiothreitol to solubilize the surface spore proteins [1-TXT].

    - WIDE: Talent adding supernatant to tube, with SDS-DTT container visible in frame TEXT: Positive control: free, purified mRFP; Negative control: extracts of same # spores not adsorbed to protein

  - After 45 minutes at 65 degrees Celsius, collect the mixtures by centrifugation [1] and run 10 microliters of each volume of extracted protein-supernatant on a western blot [2], using a monoclonal anti-His antibody recognizing the His tag present at the N-terminus of mRFP to identify the labeled surface proteins [3].

    - MED: Talent placing tube(s) into centrifuge

    - CU: Sample being added to gel, with sample tube label(s) visible in frame

    - CU: Antibody being added to blot, with antibody container label visible in frame

  - To localize and quantify the adsorbed molecules by fluorescence microscopy, add 5 microliters of the adsorbed spore resuspension to 95 microliters of PBS (P-B-S) [1] and add 5 microliters of each resulting suspension onto individual microscope slides [2].

    - MED: Talent adding suspension to PBS, with PBS container visible in frame

    - MED: Talent adding mixture to slide, with mixture container visible in frame

  - Place a poly-L-lysine-treated coverslip onto each slide [1] and place one slide onto a fluorescence microscope stage [2].

    - CU: Coverslip being placed

    - MED: Talent placing slide onto stage

  - Then, for each field, save the phase-contrast [1] and fluorescence microscopy images [2].

    - LAB MEDIA: Phase contrast image

    - LAB MEDIA: Fluorescence microscopy image

- Data Analysis

  - For image analysis, open the fluorescence microscopy images in ImageJ [1] and select Image and Type to confirm that all of the images are in 8-bit format [2].

    - WIDE: Talent opening image(s) in ImageJ, with monitor visible in frame

    - SCREEN: 4.1.2.mp4: Image and Type being selected, then shot of 8 bit selected/being selected

  - From the Analyze menu, select Set measurements and confirm that Area, Integrated Density, and Mean Gray Value are selected [1].

    - SCREEN: 4.3.mp4: Analyze menu being opened, then Set measurements being selected and shot of Area, Integrated Density, and Mean Gray Value selected

  - Use a drawing or selection tool to draw a line around the spore of interest and select Measure from the Analyze menu. A popup box with a stack of values for the selected spore will appear [1-TXT].

    - SCREEN: 4.4.1.mp4: Line being drawn around spore, then Measure being selected and popup box appearing TEXT: Repeat for ≥50 spores

  - After at least 50 spores have been selected, select several regions without any spores and repeat the measurement to obtain a reading for the background fluorescence [1].

    - SCREEN: 4.5.1.mp4: At least one ROI w/o spore being selected and measured

  - After obtaining several background measurements, copy all of the data in the Results window into a spreadsheet and calculate the mean of the Integrated Density and the Area of the selected spores and the background fluorescence values to obtain the corrected total-per-cell fluorescence [1].

    - SCREEN: 4.6.1.mp4: Data being copied, then Integrated Density and Area means being calculated, then CTCF being calculated

- Indirect Adsorption Efficiency Evaluation

  - For indirect adsorption efficiency evaluation, perform six, twofold serial dilutions of purified mRFP at a 0.5 nanogram/microliter concentration to a final volume of 250 microliters per dilution in binding buffer [1] and an appropriate experimental number of twofold serial dilutions of 100 microliters of each reserved supernatant sample containing the unbound mRFP fraction of the adsorption reaction with 100 microliters of binding buffer per dilution [2].

    - WIDE: Talent adding mRFP to binding buffer, with dilution tubes and binding buffer container visible in frame

    - MED: Talent adding supernatant to tube(s), with dilution and supernatant tubes and binding buffer container visible in frame

  - Next, cut a nitrocellulose membrane with a 0.45-micrometer cutoff to a 9- x 10-centimeter size to cover a 5-sample x 6-dots of dilution area without extending beyond the edge of the gasket of the dot blot apparatus [1] [2].

    - CU: Shot of pre-cut membrane

    - CU: Side shot of membrane not extending beyond edge of gasket  (Move below 5.3.1)

  - Place the prewet membrane in the dot blot apparatus [1], check the correct size of the membrane [5.2.2] and remove any air bubbles trapped between the membrane and the gasket [2].

    - MED: Talent placing prewet membrane into apparatus

5.2.2. CU: Side shot of membrane not extending beyond edge of gasket (moved from above)

    - CU: Bubble(s) being removed

  - Assemble the dot blot apparatus as described by the manufacturer [2] and cover the unused portion of the apparatus to prevent air from moving through those wells [1].

5.4.2    MED: Talent assembling apparatus

    - CU: Well(s) being covered with tape or paraffin film

    - MED: Talent assembling apparatus (Move above 5.4.1)

  - When the apparatus is ready, load the standard in the two most external lanes [1] and the samples in the middle lanes with 100 microliters of each appropriate dilution per well [2].

    - CU: Standard being loaded, with standard container label visible in frame

    - CU: Sample(s) being loaded, with sample container label visible in frame

  - When all of the samples have been loaded, turn on the vacuum pump for 2 minutes [1] before stopping the vacuum and allowing the samples to filter through the membrane by gravity [2].

    - MED: Talent turning on vacuum

    - CU: Vacuum being stopped/samples being filtered

  - After 10 minutes, wash each well with 100 microliters of PBS [1]. When the washing buffer has completely drained from the apparatus [3], run the vacuum pump for another 5 minutes [2].

    - CU: Well(s) being washed, with PBS container visible in frame

5.7.3.  MED: Talent turning on vacuum

    - CU: Shot of buffer completely drained from apparatus

    - MED: Talent turning on vacuum (Move above 5.7.2)

  - While the vacuum is on, loosen the screws [1] and carefully open the dot blot apparatus [2].

    - CU: Screw being loosened

    - MED: Talent opening apparatus

  - Then process the membrane according to standard western blot protocols [1].

    - MED: Talent adding blot to blocking buffer

  - For densitometric analysis of the filter, open ImageJ [1] and outline each dot to measure the integrated density using the Analyze-Measure command as demonstrated [2].

    - MED: Talent opening ImageJ

    - SCREEN: 5.10.2.mp4: Dot(s) being circled, then Analyze and Measure being selected

  - To make a background correction of the image, draw a circle in an empty area and measure its integrated density as demonstrated [1].

    - SCREEN: 5.11.1.mp4: Circle being drawn in empty area, then Analyze and Measure being selected

  - Correlate the integrated density of the standard dots with the amount of loaded protein to obtain a calibration line [1-TXT] and use the calibration curve to extrapolate the concentration of mRFP of each sample dot [2].

    - SCREEN: 5.12.1.mp4: Integrated density being correlated w/ loaded protein/calibration line being obtained TEXT: R2 values should be >0.95

    - SCREEN: 5.12.2.mp4: Calibration curve being extrapolate to extrapolate mRFP of at least one dot

  - The concentration of the mRFP remaining in the unbound fractions can then be calculated [1].

    - SCREEN: 5.13.1.mp4: mRFP concentration being calculated for at least one unbound fraction

# Section – Results

- Results: Representative Direct and Indirect Adsorption Efficiency Analysis

  - The presence of proteins of the expected size only in the lanes loaded with an extract of the adsorbed spores is indicative of a successful adsorption reaction [1].

    - LAB MEDIA: Figure 2A: JoVE Video Editor: please emphasize P2, P5, and P10 bands

  - Direct evaluation of the adsorption efficiency depends on the heterologous protein that has been used and can be performed by fluorescence microscopy [1] and cytofluorimetry of the pellet fraction after the fractionation of the adsorption reaction [2].

    - LAB MEDIA: Figure 2B

    - LAB MEDIA: Figure 2C

  - Quantification of the fluorescent signals present on the spores can then be performed using ImageJ as demonstrated [1].

    - LAB MEDIA: Figure 3

  - An indirect analysis of the adsorption efficiency can be performed by a dot blotting analysis of the supernatant fraction containing the unbound protein [1] and subsequent densitometric analysis of the unbound protein allows the indirect calculation of the amount of protein adsorbed onto the spores [2].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5B

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ezio Ricca: (Step: 2.1) Although in principle any protein can be adsorbed for use as mucosal vaccines or biocatalysts, in practice, the efficiency of the adsorption depends on the protein size and chemical properties [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera