| DAY ONE |  |  |
| --- | --- | --- |
| Embryos divided |  |  |
| Water bath: 70°C no shaking |  |  |
| Rehydrate 5min/step | 100% MeOH |  |
|  | 25% PBT |  |
|  | 50% PBT |  |
|  | 75% PBT |  |
|  | 100% PBT |  |
| 1µl of PK added to 2 ml of PBT |  |  |
| Aliquots of 4% PFA thawed |  |  |
| Aliquots of HYB+ and HYB- placed in water bath |  |  |
| Embryos digested in PK for 12 minutes |  |  |
| Brief PBT Rinse |  |  |
| PBT for 5 min |  |  |
| Post-fix with 4% PFA for 20 min |  |  |
| Brief PBT Rinse |  |  |
| PBT Washes (5 min/wash) |  |  |
| Warm HYB- added (5 min) NO SHAKING |  |  |
| HYB- removed |  |  |
| Warm HYB+ added (4 hr or O/N) |  |  |

| DAY ONE or TWO |  |
| --- | --- |
| Aliquots of HYB+ placed in water bath (if not done previously) |  |
| HYB+ removed |  |
| HYB+ added |  |
| Probe added |  |
| Probe made contact with all embryos |  |
| Incubate in water bath O/N |  |

Gene 1: Label and tape color

Gene 2: Label and tape color

Initials and date:

| DAY THREE |  |  |
| --- | --- | --- |
| Water bath turned on 70°C, 40rpm |  |  |
| Blocking solutions prepared |  |  |
| HYB+ with probe removed and saved |  |  |
| HYB+ with probe stored and Label: |  |  |
| Solutions prepared: *Place in water bath | HYB-* |  |
|  | 25% SSC* |  |
|  | 50% SSC* |  |
|  | 75% SSC* |  |
|  | 2xSSC* |  |
|  | 0.2xSSC* |  |
|  | 25% PBT |  |
|  | 50% PBT |  |
|  | 75% PBT |  |
|  | 100% PBT |  |
| Decreasing HYB- rinse series (10 min/step) | HYB- (briefly) |  |
|  | 25% SSC |  |
|  | 50% SSC |  |
|  | 75% SSC |  |
| 2x SSC for 10 min |  |  |
| 0.2x SSC for 30 min |  |  |
| Water bath turned off |  |  |
| Increasing PBT rinse series (10 min/step) | 25% PBT |  |
|  | 50% PBT |  |
|  | 75% PBT |  |
|  | 100% PBT |  |
| Wash with MABT (5 min/step) |  |  |
| Blocking solution fully dissolved |  |  |
| Incubate in blocking solution for 4 hours |  |  |
| Add 2μL Anti-DIG to blocking solution |  |  |
| Incubate in BS w/ Anti-DIG O/N at 4°C |  |  |

| DAY FOUR |  |
| --- | --- |
| NGS thawed |  |
| Add 100µl of NGS to 900µl of MABT |  |
| MABT Washes (30 min/step) AT LEAST 12 washes |  |
| Incubate O/N in 4°C in walk-in |  |

| DAY FIVE |  |  |
| --- | --- | --- |
| Make up AP Buffer |  |  |
| Pull off MABT |  |  |
| Wrap drams in foil |  |  |
| 100% AP Buffer for 5 minutes |  |  |
| Incubate in 1mL of AP Buffer/NBT/BCIP for 1 hour. Switch out every hour. |  |  |
| Pull off AP Buffer/NBT/BCIP |  |  |
| 100% AP Buffer for 5 minutes |  |  |
| Increasing PBT dilutions | 25% PBT |  |
| for 5 minutes each | 50% PBT |  |
|  | 75% PBT |  |
|  | 100% PBT |  |
| Terminate reaction by rinsing in PBT until clear (5mL). Switch out every hour. |  |  |
| Rinse in PBS (5min/step) |  |  |
| Thaw aliquots of 4% PFA |  |  |
| Fix embryos either for 1 hour at RT or O/N in 4°C |  |  |
| 100% PBS for 5 minutes |  |  |
| Store embryos in 100% PBS at 4°C |  |  |

Exposure time gene 1:

Exposure time gene 2: