# Submission ID #: 59117

# Scriptwriter Name: Brigid Stadinski

# Project Page Link: http://www.jove.com/files_upload.php?src=18030733

Title: Simultaneous Eye Tracking and Single-Neuron Recordings in Human Epilepsy Patients

# Authors and Affiliations:

Shuo Wang1, Nand Chandravadia2, Adam N. Mamelak2, and Ueli Rutishauser2,3,4

1 Department of Chemical and Biomedical Engineering, and Rockefeller Neuroscience Institute, West Virginia University, Morgantown, WV, USA

2 Departments of Neurosurgery and Neurology, Cedars-Sinai Medical Center, Los Angeles, CA, USA

3 Center for Neural Science and Medicine, Department of Biomedical Sciences, Cedars-Sinai Medical Center, Los Angeles, CA, USA

4 Division of Biology and Biological Engineering, California Institute of Technology, Pasadena, CA, USA

# Corresponding Author:

Shuo Wang 		(shuo.wang@mail.wvu.edu)

Adam N. Mamelak 	(Adam.Mamelak@cshs.org)

Ueli Rutishauser 	(Ueli.Rutishauser@cshs.org)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  N

Can you record movies/images using your own microscope camera? (Y/N)

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

2. Does your protocol include software usage? (Y/N)

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

Yes. Three computers are involved, on each of which software is used by following specific steps in our protocol. - Unfortunately, the eye tracking computer uses a specialized operating system (Realtime DOS) so we cannot install any special software on it. But we can film its screen directly. The same goes for the computer that displays the stimulus to the subject – this uses psychophysics toolbox in fullscreen mode, so I doubt this can be screen captured. It is better to film this directly of the screen.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

Sections 3.2, 4.2, 4.5, 5.4 are most important for viewers to see.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Sections 3.2, 4.5 are most difficult aspects. We discussed the critical steps in Discussion.

5. Will the filming need to take place in multiple locations? (Y/N) N; single location (Cedars-Sinai Simulation Center)

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, the interview statements were edited to meet our 30 word limit for each statement. Also, only one optional interview statement is allowed per author, and that author cannot also be speaking in the required interview portion.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ueli Rutishauser: A principle advantage of our technique is that it allows the simultaneous recording of gaze position, pupil size, and single neurons in patients implanted with depth electrodes at the bedside [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.

  - Ueli Rutishauser: This allows us to determine whether there are neurons in the human brain whose activity is sensitive to eye movements and if they are sensitive to the identity of the currently fixated stimulus [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Adam N. Mamelak: While this technique is not specifically designed to study a particular disease, it is well suited to study neurological diseases that result in abnormal eye movements or other oculomotor abnormalities [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.

# Introduction of Demonstrator: (Said by you on camera)

  - Ueli Rutishauser: Demonstrating the procedure will be Nand Chandravadia, a research associate from my laboratory [1]/[2].

    - Interview style: Author saying the above

    - Nand Chandravadia looks up from workbench or desk and acknowledges the camera.

# Videographer: On the day of filming, there may be additional demonstrators. Please add them in if so and have Ueli list their names.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Institutional Review Boards (IRBs) of the Cedars-Sinai Medical Center and the California Institute of Technology [1].

    - Title Card

# Section - Protocol

- Experimental Setup

# Videographer – the authors cannot obtain screen capture movies with their operating system, so there are several shots where you will need to film the screen. If the authors wish to point anything out for reference, make sure that you also get footage of those steps with a clean view of the screen.

# 2.0.	To begin, connect the electrodes to the recording system [1-3] and position the patient sitting upright [4].
2.0.1	Added shot: Talent plugs in macro electrodes to headbox
2.0.2	Added shot: Talent plugs in micro electrodes to headbox
2.0.3	Added shot: Talent connects headbox to cables that go to the recording system
2.0.4	Added shot: Talent tells the patient to sit up and adjusts the bed. NOTE: Videographer does not have shot 2.0.4 on his log list.

  - Then, connect the stimulus computer to the electrophysiology system and eye tracker [1-TXT].

    - MED: Talent works to connect the stimulus computer to the electrophysiology system and eye tracker. TEXT: See Figure 1 in text

  - Place the remote non-invasive infrared eye tracking system on a robust mobile cart [1]. Then, attach a flexible arm that holds an LCD display to the cart [2].

    - MED: Cart holding the eye tracking system

    - CU: Arm that holds the LCD display

  - Place a fully charged uninterrupted power supply on the eye tracking cart and connect all devices related to eye tracking to the power supply rather than to an external power source [1]. Make sure the IV device connected to the patient is running on battery and is not plugged into the wall [2].

    - CU: Pan power supply and connection to the eye tracking devices.

    - Added shot: Disconnect power from IV device.

  - Start the eye-tracking software [4.1.1.]. Adjust the distance between the patient and the LCD screen to between 60 and 70 centimeters [1]. Also adjust the angle of the LCD screen so that the surface of the screen is approximately parallel to the patient’s face. Place the sticker on the patient’s forehead so that the eye tracker can adjust for head movements [2].

# 4.1.1. Talent starts eye-tracking software. NOTE: Authors and videographer noted that 4.1 was moved to 2.4

    - MED: LCD screen and patient as talent puts the screen in front of the patient and adjusts the distance between the two to 60-70 centimeters.

    - CU or MED: LCD screen as talent adjusts it so that the surface of the screen is parallel to the patient’s face.

  - Now, adjust the height of the screen relative to the patient’s head such that the camera of the eye tracker is approximately at the height of the patient’s nose [1].

    - MED or CU: LCD screen as talent adjusts the height so that the camera of the eye tracker is at the height of the patient’s nose.

  - Provide the patient with the button box or keyboard [1].

    - MED: Talent provides the patient with the button box.

  - Verify that triggers and button press are recorded properly before starting the experiment [1].

    - CU: Screen of the system as the arriving button presses appear.

- Single-Neuron Recording

  - Start the acquisition software. First visually inspect the broadband local field potentials and make sure they are not contaminated by line noise. Otherwise, follow standard procedures to remove noise [1-TXT].

    - CU: Screen as talent starts the acquisition software and visually inspects the broadband local field potentials and make sure they are not contaminated by line noise. TEXT (video editors, please show as the second sentence is narrated): Broadband = 0.1 Hz-8 kHz

  - To identify single neurons, band-pass filter the signal from 300 hertz to 8 kilohertz. Select one of the eight microwires as a reference for each microwire bundle [1].

    - CU: Screen as talent selects one of the eight microwires as a reference for each microwire bundle. Videographer: the authors consider this an important step for filming. NOTE: DNU take 1

  - [1].

    - CU: Screen as talent tests different references and adjust the reference so that the other 7 channels show clear neurons, and the reference does not contain neurons. Talent sets the input range to be ±2500 µV.

  - Enable saving the data as an NRD file before recording. Set the sampling rate to 32 kilohertz [1].

    - CU: Screen as talent enables saving the data as an NRD file before recording the data. Talent sets the sampling rate to 32 kHz.

- Eye Tracking

  - [1].  NOTE: This step was moved to 2.4

    - MED: Talent starts the eye tracking software.

  - Adjust the distance and angle between the eye tracker and patient so that the target marker, head distance, pupil, and corneal reflection are marked as ready. This is shown in green in the eye tracking software. Click on the eye to be recorded and set the sampling rate to 500 hertz [1].

    - CU: Screen as talent adjusts the distance and angle between the eye tracker and patient so that the target marker, head distance, pupil, and corneal reflection are marked as ready. Then talent clicks on the eye to be recorded and sets the sampling rate to 500 hertz. Videographer: the authors consider this an important step for filming. – Video editors, please use an arrow on-screen to point out the green rectangle showing it is ready as the second sentence is narrated.

  - Use the auto-adjustment of the pupil and corneal reflection threshold [1-TXT].

    - CU: Screen as talent uses the auto-adjustment of pupil and corneal reflection threshold. TEXT: See text for patients wearing glasses

  - Calibrate the eye tracker with the built-in grid method at the beginning of each block. Confirm that eye positions register nicely as a grid. Otherwise, redo the calibration [1].

    - CU: Screen as talent calibrates the eye tracker with the built-in 9-point grid method at the beginning of each block.

  - Accept the calibration and do the validation. Accept the validation if the maximal validation error is less than 2 degrees and the average validation error is less than 1 degree. Otherwise, redo the validation [1]. Then, perform drift correction and proceed to the actual experiment [2].

# Videographer: the authors consider this an important step for filming.

    - CU: Screen as talent accepts the calibration and does the validation. Then talent accepts the validation with a maximal validation error of < 2° and an average validation error of < 1°. NOTE: Video Editor: Use take 4

    - CU: Screen as talent does the drift correction.

- Task

  - In this visual search task, use the stimuli from a previous study performed by this group and follow the task procedure as described before [1-TXT].

    - MED-over the shoulder: Talent sets up the visual search task. TEXT: See text for references

  - Provide task instructions to participants. Instruct the participants to find the target item in the search array and respond as soon as possible [1].

    - WIDE: Talent explains the task instructions to the patient, using hand motions whenever possible/appropriate (this will be the visual and the narration will but the audio).

  - Instruct the participants to press the left button of a response box if they find the target, and press the right button if they think the target is absent [1]. Explicitly instruct the participants that there will be target-present and target-absent trials [2].

    - CU: Response box as talent shows the patient where to press. NOTE: Video Editor: Only 1 take, 5.2.1. can also be used.

    - MED or WIDE:  Talent explains to the patient that there will be target-present and target-absent trials, using hand motions whenever possible/appropriate (this will be the visual and the narration will be the audio). NOTE: Video Editor: Did not shoot, 5.2.1. can also be used.

  - Start stimulus presentation software and run the task. Present a target cue for 1 second and present the search array using the stimulus presentation software [1]. Record the button presses and provide trial-by-trial feedback to participants [2].

# Videographer: the authors consider this an important step for filming.

    - CU: Screen as talent starts stimulus presentation software and runs the task.

    - MED or CU: Participant pressing buttons. NOTE: 5.4.1.- 5.4.2. Second half of take 4 is really take 5

# Section – Results

- Results: Firing Rate of Neurons can Differentiate Fixations on Targets vs. Distractors

  - To illustrate the usage of this method, 228 single neurons were recorded from the human medial temporal lobe while the patients were performing a visual search task, as shown here. During this task, it was investigated whether the activity of neurons differentiated between fixations on targets and distractors [1].

    - Movie_1_Demo.mp4

  - When responses were aligned at the button press, neurons were found that showed differential activity between target-present trials and target-absent trials [1]. Black lines represent the onset and offset of the search cue [2].

    - LAB MEDIA: Figure 3CD.pdf - Video editors, please emphasize the grey vertical  lines as “aligned with the button press” is narrated.

    - LAB MEDIA: Figure 3CD.pdf – Video editors, please emphasize the black lines.

  - This neuron increased its firing rate for target-present trials, but not for target-absent trials [1].

    - LAB MEDIA: Figure 3CD.pdf – Video editors, please emphasize the left panel.

  - Conversely, this neuron decreased its firing rate for target-present trials, but not for target-absent trials [1].

    - LAB MEDIA: Figure 3CD.pdf – Video editors, please emphasize the right panel.

  - A subset of medial temporal lobe neurons showed significantly different activities between fixations on targets versus distractors [1-TXT].

    - LAB MEDIA: Figure 3EF.pdf TEXT: 50/228; 21.9%; binomial P < 10−20

  - Furthermore, one type of such target neuron had a greater response to targets relative to distractors… [1] whereas the other had a greater response to distractors relative to targets [2].

    - LAB MEDIA: Figure 3EF – Video editors, please emphasize the left panel.

    - LAB MEDIA: Figure 3EF – Video editors, please emphasize the right panel.

  - Together, this result demonstrates that a subset of medial temporal lobe neurons encode whether the present fixation landed on a target or not [1].

    - LAB MEDIA: Figure 3EF

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Ueli Rutishauser: It is critical to make sure that the eye tracker does not introduce noise into the recording. Any noise must be removed before the experiments are performed [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.

  - Ueli Rutishauser: If noise persists, ensure the screen used to display the stimulus to the subject has an external power supply. Exchange power supplies for more high-quality power supplies typically used for high-end audio applications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.

  - Adam N. Mamelak: Following this procedure, analysis of spikes and eye movement are performed to extract information from the data that will allow a researcher to investigate the neuronal response to eye movements [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.

  - Adam N. Mamelak: This method paves the way to explore many unanswered questions that require analysis of fixations, such as how neurons collectively direct fixations to interesting objects in the scene [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking toward camera.