# Submission ID #: 59122

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18032258

Title: Experimental Methods for Efficient Solar Hydrogen Production in Microgravity Environment

Authors and Affiliations: Katharina Brinkert1,2, Ömer Akay3, Matthias H. Richter1,4, Janine Liedtke2, Katherine T. Fountaine5,6, Thorben Könemann7, Hans-Joachim Lewerenz8, Michael Giersig3,9

1Division of Chemistry and Chemical Engineering, California Institute of Technology, Pasadena, CA, USA

2European Space Agency/ ESTEC, Noordwijk, The Netherlands

3Department of Physics, Freie Universität Berlin, Berlin, Germany

4Brandenburg University of Technology Cottbus, Applied Physics and Sensors, Cottbus, Germany

5Resnick Sustainability Institute, California Institute of Technology, Pasadena, California, USA

6NG Next, Northrop Grumman Corporation, Redondo Beach, CA

7ZARM Drop Tower Operation and Service Company, Universität Bremen, Bremen, Germany

8Division of Engineering and Applied Science and Joint Center for Artificial Photosynthesis, California Institute of Technology, Pasadena, CA, USA

9International Academy of Optoelectronics at Zhaoqing, South China Normal University, Guangdong, P. R. China

# Corresponding Author:

Katharina Brinkert

brinkert@caltech.edu

Michael Giersig

giersig@physik.fu-berlin.de

# Email addresses for Co-authors:

oemer.akay@fu-berlin.de

mrichter@caltech.edu

janine.liedtke@nmbu.no

katherine.fountaine@ngc.com

thorben.koenemann@zarm.uni-bremen.de

lewerenz@caltech.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (N)

2. Does your protocol include software usage? (N) N

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.2, 2.4, 3.2, 4.1, 5.5

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Depositing the PS mask on the electrode surface (as described in section 3.2).

5. Will the filming need to take place in multiple locations? (N)

If yes, how far apart are the locations? Theoretically, yes, at FU Berlin (where the samples are prepared) and ZARM, Bremen, where the samples are tested in the drop tower. Fortunately, ZARM also has a laboratory, so are able to demonstrate sample preparation as well at ZARM.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Katharina Brinkert: This protocol provides a step-by-step instruction for constructing nanostructured photoelectrodes for efficient light-assisted hydrogen production in microgravity environment using shadow nanosphere lithography. The protocol also includes a description of the electrode testing procedure at the Bremen Drop Tower, where 10-6g are generated for 9.2s of free fall [1].

    - INTERVIEW

  - Ömer Akay: It is observed by us and other research teams that electrochemically generated gas bubbles stick to the electrode surface in microgravity environment due to the absence of buoyancy. Nanostructuring the electrocatalyst on the electrode surface facilitates gas bubble release due to the formation of catalytic hot spots on the electrode surface. This leads to an improved efficiency of light-assisted hydrogen generation in microgravity environment [1].

    - INTERVIEW

# Introduction of Demonstrator: (Said by you on camera)

  - Katharina Brinkert: The procedures will be demonstrated by Ömer Akay, a grad student from our laboratory at FU Berlin [1] [2].

    - Interview style: Author saying the above

    - The named student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Preparation of p-InP (p-type Indium Phosphide) Photoelectrodes

  - To begin [1], apply silver paste to attach the ohmic contact to a thin-plated copper wire [2]. Thread the wire to a glass tube [3], and use black, chemical resistant epoxy to encapsulate the p-InP (pronounce as p-type Indium Phosphide) sample and seal it to the glass tube [4].

    - WIDE: Shot of the talent prepares experiment.

    - ECU: Talent applies silver paste to attach contact to wire.

    - CU: Talent threads wire to glass tube

    - CU: Talent use epoxy to seal sample to glass tube.

  - Under a fume hood [1], place the 0.5 square centimeter polished indium face of p-InP (pronounce as p-type Indium Phosphide) in 10 milliliters of bromine methanol solution for 30 seconds to etch for removing native oxides [2-TXT]. Then, rinse the surface with ethanol and ultrapure water for 10 seconds each [3-TXT] and dry the sample under nitrogen flux [4].

    - MED: Talent prepares in the fume hood.

    - CU: Talent etches the p-InP. TEXT: 0.05 % w/v Important Step

    - CU: Talent rinses the surface. TEXT: Use analytical grade chemicals with an organic impurity level below 50 ppb.

    - CU: Talent dries the sample.

  - Use a borosilicate glass cell with a quartz window as a photoelectrochemical cell [1], and place the p-InP electrode in the cell in a standard three-electrode potentiostatic (pronounce as po’tentio s’tatic) arrangement [2].

    - CU: Talent shows the glass cell.

  - Use a white-light tungsten halogen lamp to illuminate the sample during the conditioning procedure [1-TXT]. Adjust the light intensity with a calibrated silicon reference photodiode [2].

    - MED: Talent places the lamp. TEXT: 100 mW/cm2

    - MED: Talent adjusts light intensity. Important Step

  - After purging the hydrochloric acid with nitrogen, photoelectrochemically condition the sample with potentiodynamic cycling at a scan rate of 50 millivolts per second for 50 cycles [1-TXT] under continuous illumination [2].

    - MED: adjusts setting of potentiostat. TEXT: -0.44 V ~ +0.31 V; 50 mV s-1

    - CU: Shot of the sample under illumination.

- Fabrication of Rhodium Nanostructures

  - In this procedure, shadow nanosphere lithography is applied for forming rhodium nanostructures on the p-InP photoelectrode [1]. Obtain a ready-made mixture of 300 microliters of 784-nanometer polystyrene beads and 300-microliters ethanol containing 1 weight volume percent styrene and 0.1% sulphuric acid [1]. Use a Pasteur pipette with a curved tip to apply the solution onto the water surface [2].

    - CU: Talent pipettes solution to surface. Important Step

  - Turn the Petri dish gently to increase the area of the monocrystalline structures [1]. Carefully distribute the solution to cover 50% of the air-water interface with a hcp (pronounce as Hexagonal-close-packed) monolayer [2].

    - CU: Talent turns the dish.

    - CU: Shot of the solution in the dish.

  - Protect the copper wire of the photoelectrochemically conditioned p-InP electrodes with parafilm [1]. Carefully tape them to a microscope slide [2] and place the electrodes under the floating closed packed polystyrene sphere mask. Prevent the samples from rotating [3].

    - CU: Talent wraps parafilm on the wire.

    - CU: Talent tapes wire to slide.

    - CU: Talent places electrode under mask.

  - After that, use a pipette to gently remove residual water, and wait for it to dry [1]. This causes the mask to be subsequently deposited onto the electrode surface [2]. Then, take the electrode out of the Petri dish and gently dry the surface with nitrogen [3]. Store the electrode under nitrogen in a desiccator [4].

    - CU: Talent removes water.

    - CU: Shot of the mask deposited onto the electrode surface.

    - MED: Talent takes the electrode out and dries it.

- Photoelectrodeposition of Rhodium Nanoparticles

  - To photoelectrochemically deposit rhodium nanoparticles, place the electrode in an electrolyte solution containing rhodium chloride, sodium chloride, and isopropanol [1-TXT]. With a potentiostat, apply a constant potential of +0.01 volts for 5 seconds under simultaneous illumination with a W-I (pronounce as tungsten-iodine) lamp [2-TXT].

    - MED: Talent places electrode in solution. TEXT: 5 mM RhCl3, 0.5 M NaCl and 0.5% (v/v) 2-propanol

    - MED: Talent applies potential and illumination. TEXT: 100 mW/cm2  Important Step

  - Then, rinse the photoelectrode with ultrapure water [1] and dry it under a gentle flow of nitrogen [2]. To remove the polystyrene-spheres from the electrode surface, place the electrodes in a beaker with 10 milliliters of toluene and gently stir for 20 minutes [3].

    - CU: Talent rinses electrode.

    - CU: Talent dries the electrode.

    - MED: Talent places electrodes in a beaker and stirs.

  - Subsequently, rinse the electrode with acetone and ethanol for 20 seconds each [1].

- Photoelectrochemical Experiments in Microgravity

  - For gas bubble investigations, attach two cameras to each photoelectrochemical cell [1] to record gas bubble evolution via optical mirrors and beamsplitters [2] [3-LM].

    - MED: Talent attaches the first camera.

    - MED: Shot of the setup.

    - Figure 1B. Video editor: Use Figure 1B as an inset. And emphasize mirrors and beamsplitters.

  - Mount the photoelectrochemical set-up and the cameras onto an optical board and attach it to one of the middle boards in the capsule [1] [2-LM]. Use the remaining boards for installment of additional equipment such as potentiostats and shutter controls [3-LM], light sources, and the board computer [4-LM].

    - MED: Talent mounts the set-up to optical board and to the capsule.

    - Figure 1A Video editor: Use Figure 1A as an inset. And emphasize the photoelectrochemical set up.

    - Figure 1A Video editor: Enlarge Figure 1A to the whole screen. And emphasize the (1) part.

    - Figure 1A Video editor: emphasize the (3) part.

  - Attach a battery supply at the bottom board of the capsule to power the set-up during free fall [1].

    - MED: Talent attaches battery supply at the bottom.

  - Write an automated drop sequence for the experimental steps [1] to be controlled and carried out in microgravity environment [2-LM]. Maintain the Argon atmosphere during the 1.5-hour evacuation time of the drop shaft [3], the experiment in free fall [4] as well as the 45-minute capsule recovery after the drop [5].

    - MED: Talent writes sequence on the computer.

    - Table 1

    - Table 1- Video editor: emphasize row 4

    - Table 1- Video editor: emphasize row 9-13

# 5.4.4.1 CU: Shot of the photoelectrochemical set-up. Important Step

    - MED: Shot of the drop capsule.

  - To investigate light-assisted hydrogen production on the samples, carry out cyclic voltammetry and chronoamperometry [1]. In cycling voltammetry experiments, set up scan rates for the two potentiostats at 218 millivolts per second to 235 millivolts per second for optimal resolutions in J - V (pronounce as photocurrent-voltage) measurements [2].

    - SCREEN: Talent adjusts parameters on the computer.

  - Use voltage ranges of 0.25 volts to negative 0.3 volts versus the silver silver chloride reference electrode [1]. Employ the initial potential at 0.2 volts versus the silver silver chloride reference electrode and a finishing potential at 0.2 volts verse silver silver chloride reference electrode [2].

    - SCREEN: Talent sets electrochemical ranges.

  - In chronoamperometric measurements, use the time scale of generated microgravity environment, 9.3 seconds [1-LM], to record the photocurrent produced by the sample [2]. Apply potential ranges of negative 0.3 volts to negative 0.6 volts verse silver silver chloride reference electrode to compare produced photocurrents [3].

    - Table 1- Video editor: emphasize cell A12

  - Run 3 scan cycles [1]. To compare the recorded J - V (pronounce as photocurrent-voltage) measurements, take the second scan cycle of each experiment for analysis [2].

  - After retrieving the capsule from the deceleration container, remove the capsule protection shield [1]. Remove the samples from the pneumatic stative [2], rinse them with ultrapure water and dry them under gentle nitrogen flux [3]. Store them under nitrogen atmosphere until optical and spectroscopic investigations are carried out [4].

    - CU: Talent removes protection shield.

    - CU: Talent removes samples.

    - CU: Talent rinses and dries samples.

    - MED: Talent stores sample under N2.

# Section – Results

- Results: p-InP Surface Modification

  - Tapping-mode atomic force microscopy of the p-InP surface [1] before modification [2], after etching in bromine methanol solution [3], and after electrochemical cycling in hydrochloric acid [4] show the etching procedure removes the native oxide remaining on the surface [5].

    - Figure 2- Video editor: Emphasize Figure 2A

    - Figure 2- Video editor: Emphasize Figure 2B

    - Figure 2- Video editor: Emphasize Figure 2C

    - Figure 2

  - Electrochemical cycling in hydrochloric acid causes a considerable increase in the fill factor of the cell performance, accompanied by a flat band shift of the p-InP from 0.56 volts to 0.69 volts [1]

    - Figure 2- Video editor: Emphasize Figure 2D, red line

  - The deposited polystyrene particle monolayer on the p-InP substrate [1], and the surface after deposition of rhodium and removal of the polystyrene particles are shown through AFM (pronounce as A-F-M) topography [2].

    - Figure 3- Video editor: Emphasize Figure 3A

    - Figure 3- Video editor: Emphasize Figure 3B

  - The application of shadow nanosphere lithography results in a nanosized, two-dimensional periodic rhodium structure with a homogenous array of holes in the metallic, transparent rhodium film [1]. The high-resolution AFM image illustrates the hexagonal unit cell structure [2] with recognizable grains of rhodium [3].

    - Figure 3- Video editor: Emphasize Figure 3B

    - Figure 3- Video editor: Emphasize Figure 3C

    - Figure 3- Video editor: Emphasize Figure 3C, the three white rectangles

  - The height profile of three spots on the electrode surface shows the rhodium mesh is homogenously distributed on the p-InP surface with a height of about 10 nm, forming a catalytic layer [1].

    - Figure 3- Video editor: Emphasize Figure 3D

  - The J-V characteristics [1] and chronoamperometric measurements [2] of nanostructured p-InP rhodium photoelectrodes [3] in terrestrial [4] and microgravity environments [5] do not show significant differences [6].

    - Figure 6- Video editor: Emphasize Figure 6A

    - Figure 6- Video editor: Emphasize Figure 6B

    - Figure 6

    - Figure 6- Video editor: Emphasize red lines in both images.

    - Figure 6- Video editor: Emphasize blue lines in both images.

    - Figure 6

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Katharina Brinkert: Most importantly, before the drop capsule is closed, look for loose screws, cables which are not tightened etc. Remaining screws in the capsule can destroy the instruments and experimental set-up during free fall [1].

    - INTERVIEW

  - Ömer Akay: Instead of photoelectrodepositing rhodium, one could also use vapor deposition to deposit rhodium. This results in different surface nanostructures and allows variations of the electrocatalyst nanostructure which can been investigated as well in microgravity. In terrestrial experiments, we could show that different rhodium nanostructures result in different half-cell efficiencies – this is very likely as well the case in microgravity environment [1].

    - INTERVIEW

  - Katharina Brinkert: The demonstration of efficient photoelectrochemical hydrogen production in microgravity environment opens up new pathways for oxygen and solar fuel production in space which could contribute to the realization of long-term space travel [1].

    - INTERVIEW