## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Acqity ultra-high performance liquid chromatography system | Waters Corporation |  | Modified with PFCs analysis kit (176001744); equivalent UPLC system is acceptible if PFAS background is checked and confirmed to be low
Ammonium acetate | Fluka | 17836 | Mass spectrometry grade >99% pure
Ammonium Hydroxide | Sigma-Aldrich | 338818
Balance | Mettler | AB204S
BEH C18 reverse phase UPLC column, 2.1×50 mm, 1.7 μm | Waters Corporation | 186002350
Dual piston syringe pump | Waters Corporation | SPC10-C
Glacial Acetic Acid | Sigma-Aldrich | ARK2183
Glass Microfiber Filters | Whatman | 1820-070
High density polyethelye sample bottle | Nalgene | 2189-0032
High Resolution Mass Spectrometer | Various |  | Mass Spectrometer should be capable of providing accurate mass to <10ppm and collecting MS/MS data. Agilent 6530 qTOF and Thermo Fisher Orbitrap Fusion were used in this work
Methanol | Sigma-Aldrich
Nitric Acid (35% w/w) | Thermo Fisher Scientific | SVCN-5-1 | Can be prepared in house using concentrated nitric acid and reagent water
Polypropylene Buchner funnel | ACE Glass | 12557-09
Polypropylene cenitrfuge tube and cap | BD Falcon | 352096
Polypropylene Vacuum Flask (1 L) | Nalgene | DS4101-1000
Quattro Premier XE triple quadrupole mass spectrometer | Waters Corporation |  | Equivalent triple-quadrupole or better system can be used instead, should provide high sensitivity and stability for targeted analysis
Reagent Water |  |  | Any source determined to be PFAS free
Sodium Acetate | Sigma-Aldrich | W302406
TurboVap nitrogen evaporator | Caliper Life Sciences | 103198 | Equivalent systems or rotary vacuum evaporator may be used instead
Weak anion exchange SPE cartridge (Oasis WAX Plus) | Waters Corporation | 186003519
Standard Solutions
2,3,3,3-Tetrafluoro-2-(1,1,2,2,3,3,3-heptafluoropropoxy)propanoic acid (HFPO-DA) | Wellington | HFPO-DA
Additional targeted compound standards of interest |  |  | to be determined based on preliminary analysis and standard availability
Mass labeled HFPO-DA | Wellington | M2HFPO-DA
Native PFCA/PFAS Mixture (2 ug/mL) | Wellington | PFAC-MXA | or PFAC-MXB; or individually prepared mixture containing compounds of interest
Stable Isotope Labeled PFCA/PFAS Mixture (2 ug/mL) | Wellington | MPFAC-MXA | or MPFAC-MXB; or individually prepared mixture containing compounds of interest as appropriate for Native PFASs
Software
Mass Profiler Professional | Agilent |  | Or open source software packages
Profinder | Agilent |  | Or open source software packages

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=