# Submission ID #: 59146

# Scriptwriter Name: Qingyun Ping

Project Page Link: http://www.jove.com/files_upload.php?src=18039578

Title: Stimulus-Specific Cortical Visual Evoked Potential Morphological Patterns

# Authors and Affiliations:  Julia Campbell1,2, Mashhood Nielsen1,2, Alison LaBrec1,2, Connor Bean1,2

1Department of Communication Sciences and Disorders, The University of Texas at Austin, TX, USA

2Central Sensory Processes Laboratory, The University of Texas at Austin, TX, USA

# Corresponding Author:

# Julia Campbell

Julia.Campbell@austin.utexas.edu

# Email addresses for Co-authors:

mashhood.nielsen@utmail.utexas.edu

alisonlabrec@utexas.edu

connormariebean@gmail.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

3.5, 3.7, 4.3, 4.4, 4.5

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

3.5, 3.7

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Julia Campbell: Using this protocol in future studies with larger sample sizes may determine whether variable cortical visual evoked potential morphology is dependent upon stimulus type (extrinsic) or the viewer (intrinsic) [1].

    - INTERVIEW

  - Julia Campbell: Variable visual evoked potential morphology can only be viewed using the high temporal resolution of EEG, which is cost-effective, non-invasive, and requires minimal recording time versus other methodologies [1].

    - INTERVIEW

# Introduction of Demonstrator: (Said by you on camera)

  - Julia Campbell: Demonstrating the procedure will be Mashhood Nielsen, the Lab Manager and an undergraduate research assistant from my laboratory [1] [2].

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

All methods described here have been approved by the Institutional Review Board (IRB) for Human Research at the University of Texas at Austin.

Videographer comment: Shot numbers 4.6.1 - 4.10.2 Called for screen shots only but I thought I would have the researcher go through the complete computer procedure so that you would have the option to cut back and forth between screen shots so it wouldn’t become so visually monotonous.
There is one shot that was missed. It is 1.3.2 where the research assistant looks up at the camera and acknowledges it. If it is crucial I will of course go back and shoot it or look through the footage to see if there is anything close. Just let me know how you would like to proceed.

- EEG (electroencephalography) Preparation

  - After escorting the participant into the EEG (pronounce as E-E-G) recording room [1], measure the head circumference of the participant in centimeters and select the appropriate EEG net size [2]. Measure and mark the midpoint of the scalp for the placement of the reference electrode [3-TXT].

    - WIDE: Talent and the participant enter the EEG room.

    - MED: Talent measures head size of the participant.

    - CU: Talent marks midpoint. TEXT: midway between nasion/inion and right and left mastoids

  - Prepare 1 liter of warm water mixed with 5 milliliters of baby shampoo and 1100 grams of potassium chloride [1]. Place the EEG net in the solution and allow the net to soak in the solution for 5 minutes [2].

    - MED: Talent prepares warm water with shampoo and potassium chloride.

    - MED: Talent puts the EEG net in the solution.

  - Turn on the stimulus-presentation computer and the EEG acquisition computer [1]. Check the impedance values [2].

    - MED: Talent turns on the computers.

  - Place a towel or other absorbent material around the participant’s neck to prevent the solution from dripping onto his or her clothes [1], and instruct the participant to close his or her eyes [2].

    - MED: Talent places towel on the participant’s neck.

    - CU: Shot of the participant’s eyes closing.

  - Then firmly grip the EEG net with both hands and place onto the participant’s head [1]. Ensure that the net is placed symmetrically on the scalp head [2], with the reference electrode at the scalp midline point that was measured [3].

    - MED: Talent puts EEG net on the participant’s head. Focus on the hand and the head. Video editor: Take multiple shots as this will be used later.

    - MED: Talent checks the net position.

    - CU: Close up of the electrode at the scalp midline point.

  - Tighten the chin and ocular net lines to ensure a secure connection between the scalp and electrodes [1]. Ask the participant if he or she is comfortable and if anything needs to be adjusted [2]. Connect the EEG net to the amplifier [3].

    - MED: Talent tightens lines.

    - MED: Talent asks the participant questions.

    - MED: Talent connects the EEG net to amplifier.

  - Check for the proper electrode impedance values, with an average target of 10 kilo-ohms [1]. To reduce impedance values, use a 1 milliliter pipette to apply the potassium chloride solution onto the scalp and electrodes that have a high impedance [2].

    - MED: Talent checks impedance values on the computer.

    - CU: Talent applies solution on the scalp and electrodes. Close up of the pipette tip and scalp. Video editor: Take multiple shots as this will be used later.

  - Continue this process until adequate impedances values across the electrodes are achieved [1].

    - SCREEN: screen shows adequate impedances values.

- EEG Recording

  - Instruct the participant to focus on the visual stimuli that will appear on the monitor [1]. The viewing distance is approximately 65 inches [2].

    - MED: Talent instruct the participant to focus on the monitor.

    - MED: Side shot of the participant and the monitor.

  - Use a pseudorandom number generator to determine the order of presentation for the four visual paradigms [1], and begin the visual tasks and EEG recording [2].

    - MED: Talent determines the order of presentation on the computer.

    - MED: Talent begins the task. Focus on both the participant and the monitor.

  - If ongoing EEG shows high myogenic or exactly 60 Hertz activity [1], pause the experiment to recheck electrode-scalp connectivity [2].

    - SCREEN: screen shows abnormal activity.

    - SCREEN: Talent checks impedances values.

  - Repeat the visual tasks and EEG recording for the visual object paradigm, the visual object with the temporal jitter paradigm, the visual motion paradigm, and the visual motion with temporal jitter paradigm [1].

    - SCREEN: Screen recordings of the four paradigms accordingly.

  - At the conclusion of the experiment, instruct the participant to close his or her eyes in order to prevent the solution from entering his or her eyes when removing the net [1]. Begin by loosening the chin and ocular net lines [2].

    - MED: Talent instructs the participant to close eyes.

    - CU: Talent loosens net lines.

  - Then slowly remove the net by gently pulling the chin strap up and over the participant’s head [1]. Disconnect the EEG net from the amplifier [2].

    - MED: Talent pulls the chin strap up.

    - MED: Talent disconnects net from amplifier.

  - Begin the disinfection process by placing the EEG cap in and out of a bucket filled with water [1] and rinsing under a faucet [2]. Then, prepare the disinfectant solution by adding approximately 2 liters of water to the disinfectant bucket and mixing 15 milliliters of disinfectant with the water [3].

    - MED: Talent washes EEG cap in a bucket.

    - MED: Talent rinses the cap under a faucet.

    - MED: Talent adds water and disinfectant into the bucket.

  - Immerse the sensor end of the net in the disinfectant [1]. Set a timer. For 2 minutes, continuously plunge the net up and down [2]. Leave the net soaking for another 8 minutes [3].

    - CU: Talent immerses the sensor end of the net.

    - MED: Talent plunges the net.

    - MED: Shot of the net in the bucket.

  - After that, remove EEG cap from disinfectant solution [1]. Place the EEG net in and out of the electrode bucket filled with water and under running water to rinse [2]. Repeat the washing four times and allow the net to air dry [3].

    - MED: Talent plunges the net.

    - MED: Talent washes net in the bucket and under running water.

    - WIDE: Talent transfers the net to a surface to dry.

- EEG Analyses

  - To start EEG analyses, using a 1 Hertz high-pass filter, transfer EEG files for analyses into MATLAB (pronounce as Mat-Lab) [1] via the EEGLAB (pronounce as E-E-G-Lab) toolbox [2].

    - MED: Talent exports EEG files from acquisition computer.

    - SCREEN: Talent shows EEGLAB toolbox on the screen.

  - Choose the File option from the drop-down menu and click on Import data [1].  Select using EEGLAB Functions and plugins from the menu.  Next click on the appropriate export file format [2].

    - SCREEN: Talent clicks import data.

    - SCREEN: Talent imports data.

  - Choose Edit from the drop-down menu and select Channel locations to re-assign channel locations based on the type of electrode montage [1]. Click on Look up locations and select the ellipses to locate the path of the electrode montage file of interest [2].

    - SCREEN: Talent re-assign channel locations.

    - SCREEN: Talent locates the path of electrode montage.

  - To assign pre- and post-stimulus times, enter a value of -0.1 seconds in the Start time box [1]. To baseline-correct data according to the pre-stimulus interval, select pre-stimulus baseline correct. Remove bad channels using probability at a Z-score threshold of 2.5 [2].

    - SCREEN: Talent enters value in the start time box.

    - SCREEN: Talent uses probability tool to identify and remove bad channels.

  - Verify identification or removal of bad channels by plotting all electrodes [1]. If needed, manually remove channels with mean voltage amplitudes outside of the range of 30 to -30 microvolts [2].

    - SCREEN: Talent plots electrodes.

    - SCREEN: Talent removes additional bad channels.

  - Then, perform artifact rejection by entering values of minus 100 microvolts and plus 100 microvolts [1], and highlight the channels with voltages outside the range for the entire segments [2]. If they constitute 60% or more of the rejected trials, manually remove these bad channels. Repeat this step as many times as necessary [3].

    - SCREEN: Talent performs artifact rejection; artifacts are highlighted in red by EEGLAB.

    - SCREEN: Talent checks to see if any specific channels are generating artifacts for 60% or more of the recording.

    - SCREEN: Talent removes bad channels.

  - Following the artifact removal steps, ensure that a minimum of 100 sweeps are accepted [1]. Then, plot the channels of interest to categorize morphological patterns [2].

    - SCREEN: Talent checks the sweeps.

    - SCREEN: Talent plots the channels.

  - If CVEP (pronounce as C-V-E-P) morphology is characterized by a large positive peak at approximately 100-115 milliseconds, P-1 [1], followed by a negative peak at approximately 140-180 milliseconds, N-1 [2] and a positive peak at approximately 165-240 milliseconds, P-2 [3], choose pattern A [4].

    - SCREEN: Talent points to first peak.

    - SCREEN: Talent points to second peak.

    - SCREEN: Talent points to third peak.

    - SCREEN: Talent chooses pattern A.

  - If CVEP morphology is characterized by alternately positive and negative peaks at approximately 100-115 milliseconds, P-1 [1], 140-180 milliseconds, N-1-A [2], 180-240 milliseconds, P-2-A [3], 230-280 milliseconds, N-1-B [4] and 260-350 milliseconds, P-2-B [5], choose pattern B [6].

    - SCREEN: Talent points to first peak.

    - SCREEN: Talent points to second peak.

    - SCREEN: Talent points to third peak.

    - SCREEN: Talent points to fourth peak.

    - SCREEN: Talent points to fifth peak.

    - SCREEN: Talent chooses pattern B.

  - To create a group average, append individual datasets together according to the morphological pattern visually observed [1]. Name and save the newly merged dataset file [2].

    - SCREEN: Talent appends datasets together.

    - SCREEN: Talent saves new file.

# Section – Results

- Results: Representative Object-onset and Motion-onset CVEP Data

  - The object-onset CVEP results of five participants, aged 19-24 years, who passively viewed each visual paradigm are obtained [1]. In the objects with no temporal jitter condition [2], two participants were found to present with pattern A [3], while three presented with pattern B [4].

    - Figure 3- Video editor: put TEXT: Object-onset on this figure.

    - Figure 1A&2A- Video editor: Show Figure 1A&2A at the same time.

    - Figure 3- Video editor: emphasize figure 3A black lines.

    - Figure 3- Video editor: emphasize figure 3A red lines.

  - Similarly, in the objects with temporal jitter condition [1], two subjects presented with pattern A [2] and three with pattern B [3]. It may also be observed that jitter affects amplitude and latency in each object-onset CVEP pattern [4].

    - Figure 1B&2B- Video editor: Show Figure 1B&2B at the same time.

    - Figure 3- Video editor: emphasize figure 3B black lines.

    - Figure 3- Video editor: emphasize figure 3B red lines.

    - Figure 3- Video editor: emphasize figure 3C&D.

  - However, in contrast to the object-onset CVEPs, motion-onset CVEP morphological patterns for each participant were consistent across jitter condition [1]. Furthermore, the pattern B group average shows no clear evidence of the multiple peak components typically present for both with and without temporal jitter [2].

    - Figure 4- Video editor: put TEXT: Motion-onset on this figure.

    - Figure 4- Video editor: emphasize figure 4A&B red lines.

  - Similar to the object’s paradigm, jitter in the motion paradigm appears to affect motion-onset CVEP characteristics in both morphological patterns [1].

    - Figure 4- Video editor: emphasize figure 4C&D red lines.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Julia Campbell: If electrodes are positioned inappropriately and/or impedances are high, interpretation of data will be difficult and possibly meaningless [1] [2].

    - Use 2.5.1 & 2.7.2.

    - INTERVIEW.

  - Julia Campbell: Magnetoencephalography (MEG) may provide complementary temporal information regarding visual evoked potentials, while simultaneous fMRI assessment could provide high spatial resolution concerning differential cortical network activation related to morphology [1].

    - INTERVIEW.

  - Julia Campbell: Categorization of CVEP morphology is not currently performed, but morphological patterns can reflect specific visual cortical processes. Consideration of these patterns may clarify underlying neurophysiological function related to behavior [1].

    - INTERVIEW.

  - Julia Campbell: When disinfecting the net, remember to be careful with the disinfectant and do not get it close to the eyes. Dispose of it properly [1].

    - INTERVIEW.