# Submission ID #: 59152

# Scriptwriter Name: Bridget Colvin

Project Page Link:  http://www.jove.com/files_upload.php?src=18041408

Title: Preparation of Fungal and Plant Materials for Structural Elucidation Using Dynamic Nuclear Polarization Solid-State NMR

Authors and Affiliations: Alex Kirui1*, Malitha C. Dickwella Widanage1*, Frederic Mentink-Vigier2, Ping Wang3, Xue Kang1, and Tuo Wang1

*These authors contribute equally to the work

1Department of Chemistry, Louisiana State University

2National High Magnetic Field Laboratory

3Departments of Pediatrics, and Microbiology, Immunology and Parasitology, Louisiana State University Health Sciences Center

# Corresponding Author:

Tuo Wang

tuowang@lsu.edu

Tel: (225)-578-3922

Xue Kang

xkang@lsu.edu

Email addresses for Co-authors:

akirui1@lsu.edu

dcath1@lsu.edu

fmentink@magnet.fsu.edu

# pwang@lsuhsc.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

2.1., 2.2., 4.1.-4.3.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.2. growth of the fungal materials, is the most difficult in the procedure. We carefully prepared the growth medium, controlled tightly the growing conditions, and closely inspected the culture on a daily basis in order to obtain consistent and qualified samples, which are essential and critical for success.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Tuo Wang: This protocol can be used to prepare fungal and plant materials for solid-state nuclear magnetic resonance, or NMR, and dynamic nuclear polarization, or DNP, experiments for complex biosystem characterization [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Tuo Wang: This technique allows us to investigate biomaterials to an atomic resolution level in their native environment, for example, in whole cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Alex Kirui: The acquisition of high-resolution structural information about fungal materials will aid in the development of antifungal drugs [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Alex Kirui: The method provides insight into the composition and structure of complex carbohydrates in fungal cell walls and can be applied to many carbohydrate-rich organisms, including plants, fungi, algae, and bacteria [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Malitha C. Dickwella Widanage: Some investigators may struggle with fungal contamination in their cell cultures. My advice is to sterilize the medium and the equipment thoroughly before use to prevent this contamination [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

  - Malitha C. Dickwella Widanage: This demonstration will help investigators with little experience in NMR or cell culture to learn how to implement these techniques in fungal and plant systems [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- 13C, 15N-Labeled Aspergillus fumigatus Liquid and Growth Media Preparation

  - To prepare unlabeled liquid growth medium, dissolve 6.5 grams of Yeast Extract Peptone Dextrose, or YPD (Y-P-D), powder in 100 milliliters of water [1] and autoclave the resulting solution for 25 minutes at 121 degrees Celsius [2].

    - WIDE: Talent adding powder to water, with YPD container visible in frame

    - MED: Talent placing medium into autoclave

  - To prepare unlabeled solid growth medium, add [1] 6.5 grams of YPD-agar powder to 100 milliliters of distilled water [2] and autoclave the medium for 25 minutes at 121 degrees Celsius [3] before cooling the medium to approximately 50 degrees Celsius [4].

    - MED: Talent adding agar to water, with agar container visible in frame (Author Comment: The 1.5 grams of agar was not added, instead, 6.5 grams of YPD-agar mixture was added)

    - CU: YPD being added to water, with YPD container label visible in frame

    - MED: Talent placing medium in autoclave

    - MED: Talent placing medium to cool

  - Then transfer 13-15 milliliters of the melted solid growth medium into individual sterile plastic Petri dishes [1] and immediately place the lids onto the dishes [2].

    - CU: Medium being added to dish

    - CU: Dish being covered

  - To prepare carbon-13, nitrogen-15-labeled liquid growth medium [1-TXT], adjust a 100-milliliter volume of isotope-containing minimal medium to a pH of 6.6 with acid or base as necessary [2] [3].

    - MED: Talent adding acid or base to minimal medium TEXT: See text for minimal medium preparation details

    - CU: Shot of pH being pulled out of medium showing a 6.6 pH reading

    - MED: Talent placing medium into autoclave (Author Comment: This step was not performed at this stage. Autoclaving was performed at step 2.5 after adding trace elements)

  - Next, dissolve the salts listed in the Table in 100 milliliters of distilled water, add to the carbon-13, nitrogen-15-labeled liquid growth medium [1] and autoclave the resulting solution for 25 minutes at 121 degrees Celsius [2].

    - LAB MEDIA: Table 2

    - MED: Talent placing solution into autoclave (Author Comment: The autoclaving was done at this step for the liquid medium plus the trace elements together.)

  - When the solution has cooled to room temperature [1-TXT], add 100 microliters of trace elements solution to the entire volume of carbon-13, nitrogen-15-labeled minimal medium [2].

    - MED: Talent placing solution onto bench TEXT: Store trace elements solution at 4 °C for short-term use

    - MED: Talent adding solution to medium, with solution container visible in frame

- Fungal Materials Growth

  - To grow the fungal materials, use an inoculating loop to transfer a small amount of fungi from storage onto a YPD plate [1] and culture the fungus for two days in a 30-degree Celsius incubator [2].

    - WIDE: Talent at hood, adding fungus to plate

    - MED: Talent placing plate at 30 °C

  - At the end of the incubation, use a new inoculating loop [1] to transfer an active growing fungal edge to the carbon-13, nitrogen-15-labeled liquid growth medium [2] and place the culture at 30 degrees Celsius and 220 rotations per minute for 3-5 days in a shaking incubator [3].

    - CU: Fungal edge sample being collected

    - CU: Sample being added to medium

    - CU: Culture in shaking incubator

  - When large quantities of the fungus cover the flask bottom and float in the liquid, collect the fungi by centrifugation[1-TXT] and discard the supernatant [2].

    - MED: Talent adding tube(s) to centrifuge TEXT: 20 min, 4000 x g, RT

    - CU: Shot of pellet, then supernatant be discard/aspirate

  - Hydrate the pellet with an appropriate solution [1] and use forceps to collect about 0.5 grams of the well-hydrated pellet for NMR and DNP analyses [2-TXT].

    - MED: Talent adding PBS or water to container, with container visible in frame

    - CU: Shot of pellet, then pellet being collected. TEXT: Hydrate the pellet in ddH2O or PBS buffer.

  - Then mix the remaining material with a 20% glycerol solution in a conical tube [1] and place the fungal sample at -80 degrees Celsius for long-term storage [2].

    - CU: Glycerol being added to tube/being mixed with excess pellet, with glycerol container visible in frame

    - MED: Talent placing tube at -80 °C

- A. fumigatus Preparation for Solid-State Nuclear Magnetic Resonance (NMR) and Dynamic Nuclear Polarization (DNP) Studies

  - To prepare the A. fumigatus for solid-state NMR analysis, first use a dialysis bag with a 3.5 kilodalton molecular weight cutoff [1] to dialyze the 0.5-gram carbon-13, nitrogen-15-labeled fungal sample against 1 liter of 10 millimolar phosphate buffer at 4 degrees Celsius for 3 days to remove small molecules from the growth medium [2-TXT].

    - WIDE: Talent adding pellet to bag

    - MED: Talent adding buffer to bag TEXT: Change buffer 2x/d

  - At the end of the dialysis, transfer the sample into a 15-milliliter tube for centrifugation [1-TXT] and pack 70-80 milligrams of the uniformly carbon-thirteen-labeled and well-hydrated sample paste into a 4-millimeter zirconium dioxide rotor [2-TXT].

    - MED: Talent adding sample to tube TEXT: 5 min, 10,000 x g, RT

    - CU: Sample being packed into rotor TEXT: Alternative: 30-50 mg to 3.2-mm rotors for NMR experiments

  - Use a metal rod to gently and repetitively squeeze the sample [1], using paper to absorb the excess water [2].

    - CU: Sample being squeezed

    - CU: Water being absorbed

  - Then tightly cap the rotor [1] … and insert the sample into the spectrometer for solid-state NMR characterization [2].

    - MED: Talent capping rotor

    - MED: Talent inserting sample into spectrophotometer

  - To prepare the A. fumigatus for DNP analysis, add 100 microliters of DNP matrix into one 1.5-milliliter microcentrifuge tube per carbon-13, carbon-15-labeled fungal sample [1] and dissolve 0.7 milligrams of polarizing agent to each tube to form a 10 millimolar radical stock solution [2].

    - MED: Talent adding DNP to tube

    - CU: Polarizing agent being added to tube, with polarizing agent container label visible in frame

  - After vortexing for 2-3 minutes to ensure that radicals are fully dissolved in the solution [1], soak 10-milligrams of dialyzed carbon-13, carbon-15-labeled fungal sample in 50 microliters of the polarizing agent solution [2] and use a pestle and a mortar to mildly grind the mixture to ensure penetration of the radicals into the porous cell walls [3].

    - CU: Solution being vortexed

    - MED: Talent adding pellet to solution

    - CU: Mixture being ground

  - Add another 30 microliters of the radical solution to the ground pellet to further hydrate the fungal sample [1] and pack the pellet into a 3.2-millimeter sapphire rotor [2-TXT].

    - MED: Talent adding solution to pellet

    - MED: Talent packing pellet into rotor TEXT: 5-30 mg/rotor

  - Squeeze mildly and remove the excess DNP solvent as demonstrated [1] and add a 3.2-millimeter silicone plug to prevent the loss of hydration [2].

    - CU: Sample being squeezed/solvent being wiped

    - CU: Plug being added

  - Then add the rotor to a DNP spectrophotometer for measurement of the DNP-enhanced spectrum under microwave irradiation [1].

    - MED: Talent adding rotor to spectrophotometer

- Plant Biomass Preparation for DNP Analysis

  - To prepare plant materials for DNP studies, use a razor blade to cut the uniformly carbon-13-labeled plant material into 1-2-millimeter pieces [1] [2].

    - WIDE: Talent cutting plant

    - MED: Talent adding pieces to balance

  - Use a mortar and pestle to grind the pieces into smaller particles [1] until the final powder has a homogenous appearance [2].

    - MED: Talent grinding pieces

    - CU: Shot of homogenous powder

  - Add 40 microliters 10-millimolar radical stock solution to the plant material [1] and lightly grind the sample for an additional 5 minutes to ensure homogeneous mixing with the radical [2].

    - CU: Radical stock solution being added to sample, with stock solution container label visible in frame

    - CU: Solution being ground

  - Hydrate the ground sample with another 20 microliters of radical stock solution [1] and pack the equilibrated plant sample into a 3.2-millimeter sapphire rotor for DNP analysis [2].

    - MED: Talent adding solution to sample, with solution container visible in frame

    - CU: Sample being packed into rotor

  - Then insert a silicone plug to avoid the loss of hydration [1] and load the sample onto the DNP spectrophotometer [2].

    - CU: Plug being inserted

    - MED: Talent loading sample onto spectrophotometer

# Section – Results

- Results: Fungal Cell Wall Structure Characterization by Solid-State NMR

  - Isotope labeling substantially enhances the NMR sensitivity [1] and makes it possible for measuring a series of two-dimensional carbon-13-carbon-13 and carbon-13-nitrogen-15 correlation spectra [2] to analyze the composition, hydration, mobility, and packing of the polymers [3] for their integration for construction of a three-dimensional model of cell wall architecture [4].

    - LAB MEDIA: Figure 1: JoVE Video Editor: please emphasize first panel (1a)

    - LAB MEDIA: Figure 1: JoVE Video Editor: please emphasize second panel (1b)

    - LAB MEDIA: Figure 1: JoVE Video Editor: please emphasize third panel (1c)

    - LAB MEDIA: Figure 1: JoVE Video Editor: please emphasize last panel (1d)

  - If off-diagonal signals are difficult to obtain in the 2D carbon-13-carbon-13 spectrum, statistical labeling might have occurred [1].

    - LAB MEDIA: Figure 1b

  - The two carbon-13 peaks at 96 and 92 parts per million are signature carbon 1 signals of glucose [1], therefore, their strong intensities in the quantitative carbon-13 direct polarization spectra measured with long recycle delays of 35 seconds typically indicate the dominance of small molecules due to incomplete dialysis or washing [2].

    - LAB MEDIA: Figure 1a: JoVE Video Editor: please emphasize peaks at 92 and 96 ppm

    - LAB MEDIA: Figure 1a

  - With well-labeled samples, long-range correlations can be further measured to detect the spatial proximities of biomolecules [1] and to construct a structural model of the intact cell walls [2].

    - LAB MEDIA: Figure 1c: JoVE Video Editor: please emphasize bottom graph

    - LAB MEDIA: Figure 1d

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Alex Kirui: This technique allows structure-function relationships in many naturally occurring and engineered materials to be explored, facilitating future studies of carbohydrate-rich biomaterials and functionalized polymers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Malitha C. Dickwella Widanage: As some fungi may cause infection or systemic diseases in humans, be sure to handle the fungal materials in a laminar flow hood for protection and to minimize exposure [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera