# Submission ID #: 59154

# Scriptwriter Name: Anthony Iannazzi

# Project Page Link: https://www.jove.com/account/file-uploader?src=18042018

# Title: Xylem Water Distribution in Woody Plants Visualized with a Cryo-Scanning Electron Microscope

# Authors and Affiliations:

Kenichi Yazaki1, Mayumi Y. Ogasa2, Katsushi Kuroda3, Yasuhiro Utsumi4, Peter Kitin5, Yuzou Sano6

1Department of Plant Ecology, Forestry and Forest Products Research Institute (FFPRI), Tsukuba, Ibaraki, Japan

2Kansai Research Center, Forestry and Forest Products Research Institute (FFPRI), Kyoto, Kyoto, Japan

3Department of Wood Properties and Processing, Forestry and Forest Products Research Institute (FFPRI), Tsukuba, Ibaraki, Japan

4Faculty of Agriculture, Kyushu University, Ashoro, Hokkaido, Japan

5Department of Bacteriology, University of Wisconsin, Madison, WI, USA.

6Research Faculty of Agriculture, Hokkaido University, Sapporo, Hokkaido, Japan

# Corresponding Author:

# Kenichi Yazaki		kyazaki@ffpri.affrc.go.jp

# Email Addresses for Co-authors:

# mayumiogasa@ffpri.affrc.go.jp

# kurodak@affrc.go.jp

# utsumi@forest.kyushu-u.ac.jp

# kitin@wisc.edu

# pirika@for.agr.hokudai.ac.jp

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  N

2. Does your protocol include software usage? (Y/N) N

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

2.3, 2.5, 3.2, 4.4, 4.5, 5.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

4.5, 5.2

5. Will the filming need to take place in multiple locations? (Y/N) Y

If yes, how far apart are the locations?

1. Outside of building of our facility for sampling and freeze fixation (2 and 3).

2. SEM room (4–6)

It takes about 10 minutes on foot between two locations.

Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Dr. Kenichi Yazaki: The overall goal of this protocol is providing evidence with electron microscopy resolution of the water distribution in various kinds of xylem cells in situ [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Dr. Kenichi Yazaki: This method has been used to observe the water in xylem in order to clarify water distribution under changing water regimes, the seasonal variation of water distribution, the effect of freeze-thaw cycles, the distribution of water in wet wood, and cavitation induced by certain biotic stresses [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Dr. Mayumi Y. Ogasa: Freeze-fixation of a living trunk under high hydraulic tension sometimes causes artificial cavitations which are observed by cryo-SEM as fractured ice crystals in the lumen of conduits. This updated procedure focuses on obtaining high-quality electron micrographs of xylem without the artifacts during sampling procedure [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Dr. Kenichi Yazaki: Visual demonstration is critical because there are a number of important details that cannot be easily explained. At the same time, obtaining training is not easy because only a few laboratories around the world practice this method [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Section - Protocol

- Sampling: Tension Relaxation within Water Column of Xylem Conduits

  - To begin this procedure, enclose a branch and leaves for sampling [1] with a black plastic bag to equilibrate the water potential between xylem and leaves, more than two hours before sampling [2].

    - MED: Talent approaches the work area with a black plastic bag in hand. The branch/leaves for sampling should be clearly on the lab bench.

    - CU: Talent wraps the branch/leaves with the black plastic bag.

  - Using a pressure chamber, determine the water potential of at least two leaves from the sample [1]. When the water potential is higher than approximately -0.5 megapascals, a sample can be harvested after freezing [2]. When the water potential is lower than -0.5 megapascals, proceed with the treatment for relaxation [3].

    - MED: Talent uses a pressure chamber to determine the water potential of a leaf from the sample. Any action in this process can be filmed for this shot.

    - MED: Talent observes a leaf with a water potential higher than -0.5 megapascals.

    - MED: Talent observes a leaf with a water potential lower than -0.5 megapascals

  - Fix a watertight collar around the stem which will be filled with water [1]. Using pruning shears or a saw, cut the stem under the water’s surface [2] and keep the cut end of the sample under water [2]. Transfer the sample to another container of water as quickly as possible to minimize exposing the cut end to air. [3]

    - CU: Talent attaches a watertight collar around the stem and runs water into the collar. Add new scene 2.3.1 A Adding water

    - MED: Talent uses shears to cut the stem under the water’s surface.

    - CU: Close up shot of the cut end of the sample still under water. This scene shows talent moving sample quickly to another container of water.

  - For broadleaved species, ensure that the length from the spot where a cryo-sample for SEM will be obtained to the cut edge of the harvested stem is longer than the samples' maximum vessel length in order to prevent tension–induced artifacts within the cryo sample [1-TXT].

    - MED: Talent ensures the length from the spot where a cryo-sample for SEM will be obtained to the cut edge of the harvested stem is longer than the samples' maximum vessel length. Any action in this process can be filmed for this shot. TEXT: See text for determining the maximum vessel length in advance.

  - Next, cover the sample with a black plastic bag to reduce transpiration [1]. Keep the cut end of the sample in the water and maintain this condition for approximately 30 minutes in order to relax the xylem tension [2-TXT].

    - MED: Talent covers the sample with a black plastic bag.

    - MED: Talent sets the sample aside, and then sets a timer for 30 minutes. TEXT: Avoid relaxation times > 1h.

  - After this, measure the water potential again to confirm the relaxation of the xylem tension [1].

    - MED: Talent uses the pressure chamber to measure the water potential of the sample again. second try is better

- Freeze Fixation with Liquid Nitrogen

  - First, use scissors or a utility knife to cut and open one side of a watertight collar [1]. Attach the collar tightly around the stem with adhesive tape while holding the aperture horizontally [2].

    - MED: Talent uses a knife to cut open one side of a watertight collar.

    - CU: Close up as the talent attaches the collar around the stem with adhesive tape.

  - Put on insulating gloves and safely hold the vessel of liquid nitrogen. Run liquid nitrogen into the collar until it is full [1] and keep it filled by steadily adding additional liquid nitrogen to completely freeze the water in the xylem [2-TXT].

    - MED: Talent puts on insulating gloves, then picks up the vessel of liquid nitrogen and runs liquid nitrogen into the collar. Revised:

    - 3.2.1 to 3.2.3 were merged as 3.2.1.

    - CU: Close up as the talent keeps the collar filled by steadily adding additional liquid nitrogen. TEXT: See text for freezing small twigs/seedlings.

  - After sufficient freezing time, detach the collar from the frozen portion of the sample stem in order to remove the liquid nitrogen [1-TXT]. Immediately use a fine handsaw to harvest the sample [2].

    - MED: Talent detaches the collar from the frozen portion of the sample. TEXT: Wear insulating gloves; Avoid contact with the liquid nitrogen.

    - MED: Talent uses a fine handsaw to harvest the sample.

  - Then, cover the frozen sample with a piece of aluminum foil [1-TXT] or put it back into a sample tube [2]. Rapidly place the harvested sample into a container filled with liquid nitrogen [3-TXT]. Store the samples at -80 degrees Celsius until ready to perform the observation [4].

    - MED: Talent covers the frozen sample with a piece of aluminum foil. TEXT: Either container should be labeled with sample ID numbers. Video Editor: Show this text overlay for 3.4.1 and 3.4.2.

    - MED: Talent places a frozen sample into a sample tube. Cut this scene because the sample is already in aluminum foil and there is no need to put in sample tube.

    - MED: Talent place the sample into a container filled with liquid nitrogen. TEXT: Alternatively, pack sample into an insulated box filled with dry ice.

    - MED: Talent places the samples into a freezer.

- Specimen Preparation

  - To begin, set the temperature of the specimen chamber of the cryostat to -30 degrees Celsius, which is usually cold enough to keep the xylem sap of most plants in a frozen state [1].

    - MED: Talent sets the temperature of the specimen chamber of the cryostat.

  - Using a sharp knife or fine-toothed saw to trim a sample into a small piece that can be adjusted for the specimen holder of a cryo-SEM [1-TXT]. Mount the trimmed piece to a chuck, a holder for a cryostat, with tissue freezing embedding medium for cryo-sectioning [2].

    - MED: Talent uses a knife/saw to trim a sample into a small piece. TEXT: Piece height < 2 cm; Piece width/diameter < 1cm.

    - CU: Talent mounts the trimmed piece to a chuck with tissue freezing embedding medium.

  - Attach the chuck to a specimen holder of a microtome of the cryostat [1].

    - MED: Talent attaches the chuck to a specimen holder.

  - Trim the surface by repeatedly shaving off 5 – 7 micrometer thick sections. Cutting away more than 1000 to 2000 micrometers in total depth from the initial surface is useful for eliminating the damaged portion of the sample caused by pre-cutting [1].

    - CU: Close up of the surface as the talent shaves of sections. Make sure this shot is long enough – showing several repetitions of the shaving – to cover the lengthy voiceover narration.

  - After roughly trimming a surface of the sample, adjust an unused portion of the microtome blade above the specimen’s surface [1-TXT]. Slightly widen the distance between the surface of the specimen and the blade [2], and cut the surface only once or twice [3].

    - MED: Talent adjusts an unused portion of the microtome blade above the specimen’s surface. TEXT: Do not let the blade touch the sample. This shot includes 4.5.2 and 4.5.3.

    - CU: Close up showing the talent widening the distance between the surface of the specimen and the blade.

    - MED or CU: Talent cuts the surface of the sample.

  - Then, slide the blade again and position an unused portion of the blade onto the specimen’s surface [1]. Repeat this cutting processing three to four times to obtain a clear surface without “knife marks” [2].

    - CU: Talent slides the blade and positions an unused portion of the blade onto the specimen’s surface.

    - MED: Talent repeats the cutting process. Any action in the cutting process can be filmed for this shot.

  - After the final cut, set the blade’s position far from the sample to prevent dust from sticking onto the sample and detach the chuck from the microtome. [1]. Use a sharp knife to remove the frozen embedding medium and detach the specimen from the chuck [2]. Place the specimen into the cryostat chamber to protect its planed surface from frost dust [3].

    - MED: Talent set the blade’s position far from the sample and detaches the chuck.

    - MED: Talent uses a sharp knife to remove the frozen embedding medium and detach the specimen from the sample holder.

    - MED: Talent places the specimen into the cryostat chamber. Cut this shot because the specimen is already in the chamber.

  - Next, attach the specimen to a cryo-SEM specimen holder with tissue freezing embedding medium in the cryostat chamber [1].

    - MED: Talent attaches the specimen to a cryo-SEM specimen holder with tissue freezing embedding medium.

- Transfer to the Cryo-SEM Specimen Chamber

  - First, use liquid nitrogen to maintain a temperature under -120 degrees Celsius in the cryo-SEM specimen chamber, according to the equipment's user manual [1]. Next, place the specimen holder with the prepared specimen into an insulating container filled with liquid nitrogen [2].

    - MED: Talent uses liquid nitrogen to maintain the temperature in the cryo-SEM specimen chamber.

    - MED: Talent places the specimen holder with the prepared specimen into an insulating container filled with liquid nitrogen.

  - Use a specimen-exchanging rod to hold the specimen holder beneath the liquid nitrogen [1-TXT]. Rapidly transfer the specimen holder to the pre-evacuation chamber of the cryo-SEM specimen chamber [2], and place the specimen holder on the cold stage after the air is fully evacuated [3].

    - MED or CU: Talent uses a specimen-exchanging rod to hold the specimen holder beneath the liquid nitrogen. TEXT: Minimize exposing the specimen holder to air.

    - MED: Talent transfers the specimen holder to the pre-evacuation chamber of the cryo-SEM specimen chamber.

    - MED: Talent places the specimen holder on the cold stage.

- Freeze-etching

  - To begin, turn on the acceleration voltage of the electric gun [1-TXT]. Next, raise the temperature of the specimen stage to -100 degrees Celsius [2].

    - MED: Talent turns on the acceleration voltage of the electric gun. TEXT: Recommended: Conduct freeze-etching while observing the specimen.

    - MED: Talent raises the temperature of the specimen stage.

  - Wait several minutes for the frost dust to be removed and for the surface level of the ice in the xylem cells to decrease slightly compared to the cell walls [1]. Then, lower the temperature of the specimen stage to -120 degrees Celsius [2].

    - CU: Close up of the sample during the waiting period. Alternatively, film the talent setting a time for a few minutes.

    - MED: Talent lowers the temperature of the specimen stage.

Section – Results

- Results: Xylem Water Distribution in Woody Plants

  - In this study, cryo-SEM observation methods are used to clearly visualize water distribution on a cellular scale [1]. At low magnification, the black area in the images indicates the cavities from which water entirely or partly disappears, while the gray area indicates xylem cell walls, cytoplasm, and water [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figure 2A.

  - At high magnification, it becomes apparent that the water is not entirely lost from the lumina of three tracheids, indicating the occurrence of macro bubbles in the xylem sap in situ [1].

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figure 2B.

  - With respect to broadleaved species, cavitation occurrence is easily detected within vessels, while water existence is hard to distinguish within fibers, especially at low magnification [1]. Cytoplasm in axial parenchyma can be distinguished from water within vessels through ice plain textures [2].

    - LAB MEDIA: Figure 2. Video Editor: Emphasize Figure 2C.

    - LAB MEDIA: Figure 2.

  - Analysis of the effect of temperature on the freeze-etching process [1] reveals that frost dust is gradually sublimated and intertracheary pit membranes become clearer through the progression of sublimation with increasing temperature [2]. Remaining large frost dust particles can be eliminated by further freeze-etching but this can be problematic as it unnecessarily decreases the surface-level of ice in xylem conduits [3].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3.

  - The high quality of observation is largely achieved through accurate specimen preparation [1]. The smoothing of the surface with the sharp blade of the microtome is especially important [2]. Insufficient smoothing by a used-blade can sometimes create rough surface that resembles “knife marks”, or can create numerous occurrences of dust from the cuts [3].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4.

  - Sample freezing without the relaxation of negative water column pressure will cause artifactual induction of cavitation in xylem conduits [1]. Clustered ice crystals are observed in vessels of specimens where the sample was not relaxed [2]. Contrastingly, no clustered ice crystals are observed in the relaxed sample specimens with a similar water potential [3].

    - LAB MEDIA: Figure 5.

    - LAB MEDIA: Figure 5. Video Editor: In Figure 5A, emphasize the arrowheads.

    - LAB MEDIA: Figure 5. Video Editor: Emphasize Figure 5B.

Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Dr. Mayumi Y. Ogasa: The application of freeze fixation to transpiring living trunks or suffering drought may induce results with artifacts, such as clustered ice crystals. Those artifacts lead to misinterpretations of the water status in xylem conduits. So, it is important to first confirm the water potential of samples before freeze fixation [1] [2].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

    - Use shots from 2.5. Use whichever look best.

  - Dr. Kenichi Yazaki: Although this procedure provides fine images of water status in xylem conduits, a living tree must be destroyed for the observation. Combining other noninvasive observation methods such as MRI or µXCT with subcellular level images by cryo-SEM observation will deepen our understanding of the nature of tree water transport and usage [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera

  - Dr. Kenichi Yazaki: The observation of water status introduced by this paper will also provide a method for the clarification of the relationship of water dynamics in cells and other anatomical responses to abiotic or biotic stress [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Dr. Kenichi Yazaki: Cryo-SEM equipped with energy dispersive X-ray spectrometry or TOF-SIMS have been used to study element distribution over the surface of a specimen containing water. Combining elemental analysis and this procedure in similar plane can give us profound knowledge of the xylem cell behavior related to water status [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Dr. Mayumi Y. Ogasa: When using liquid nitrogen for freeze fixation of samples in a room, do not forget to ventilate the room to avoid oxygen deficiency [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.