# Submission ID #: 59156

# Scriptwriter Name: Qingyun Ping

Project Page Link: http://www.jove.com/files_upload.php?src=18042628

# Title: Biological Sample Preparation by High-pressure Freezing, Microwave-assisted Contrast Enhancement, and Minimal Resin Embedding for Volume Imaging

# Authors and Affiliations:

Anna M. Steyer1,2, Torben Ruhwedel1, Wiebke Möbius1,2

1Electron Microscopy Core Unit, Department of Neurogenetics, Max Planck Institute of Experimental Medicine, Göttingen, Germany

2Center Nanoscale Microscopy and Molecular Physiology of the Brain (CNMPB), Göttingen, Germany

# Corresponding Author:

Wiebke Möbius

moebius@em.mpg.de

# Email addresses for Co-authors:

steyer@em.mpg.de

ruhwedel@em.mpg.de

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Y (binocular)

Can you record movies/images using your own microscope camera? N

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Leica binoculars (M60)

2. Does your protocol include software usage? Y (touch screen)

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.1

2.2

3.1

4.2

4.3

5.1

5.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.1/2.2 Nerve preparation for high-pressure freezing. Gentle handling of the specimen to not damage the sample. Quick workflow from animal to freezing of the specimen to reduce degradation of the sample.

5. Will the filming need to take place in multiple locations?

N (one laboratory, three rooms next to each other)

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Wiebke Möbius: This sample preparation technique is designed to combine the best quality of ultrastructural preservation with the most suitable contrast for the imaging modality in a focused ion beam-scanning electron microscope [1].

# 1.1.1. INTERVIEW

  - Wiebke Möbius: This protocol is especially useful for samples that require preparation by high-pressure freezing for a reliable ultrastructural preservation but do not gain enough contrast during the freeze-substitution for volume imaging [1].

# 1.2.1. INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Anna Steyer: For the minimal resin embedding it is essential to remove as much resin as possible to allow proper targeting later on in the focused ion beam-scanning electron microscope [1].

# 1.3.1. INTERVIEW

# Section - Protocol

All experiments including samples from animals described here have been approved by the Institutional Animal Care and the Lower Saxony State Office for Customer Protection and Food Safety (LAVES).

- High-pressure Freezing

  - To begin, use the pipette [1] to drip one drop of 20% PVP PBS on the cutting mat [2-TXT]. Immerse the dissected nervus tibialis in the droplet. Use a knife to cut 2-millimeter length of the sample [3].

# 2.1.1. WIDE: Establishing shot of the talent preparing the experiment.

# 2.1.2. CU: Talent prepares the droplet. Close up of the droplet. TEXT: PVP PBS: polyvinylpyrrolidone phosphate buffered saline; See manuscript for all media preparation.

# 2.1.3. CU: Talent immerses the nervus tibialis and cuts the sample.

  - Use fine forceps to place the sample in a 0.2-millimeter deep Type A metal sample carrier [1]. Transfer the carrier into the middle plate of the cartridge. Place the hexadecane coated Type B carrier on the top as a lid [2]. Close the assembly by lowering the upper half of the cartridge [3].

# 2.2.1. CU: Talent transfers the sample to the carrier.

# 2.2.2. MED: Talent puts on the lid. Time: 00:45

# 2.2.3. MED: Talent puts the sample carrier into the cartridge. Time: 00:25 Author comment: Comes before 2.2.2

  - Close the three-piece cartridge in the loading station of the high-pressure freezer [1]. Press the process button and proceed according to the manufacturer’s operating instructions [2].

# 2.3.1. MED: Talent closes the cartridge. Use shot 2.2.3

# 2.3.2. CU: Close up of the hand and button when talent presses the button.

- Freeze Substitution

  - In a bath of liquid nitrogen, place sample carriers into cryovials containing 2 milliliters of frozen 0.1% tannic acid in acetone and close the caps [1-TXT]. Place the cryovials into the freeze substitution unit set at -90 degrees Celsius, start the program, and keep the samples there for 100 hours [2].

# 3.1.1. CU: Talent does the transfer in the nitrogen bath. TEXT: CAUTION: DO NOT SPILL LIQUID NITROGEN INTO THE VIALS

# 3.1.2. MED: Talent transfers the vials into the freeze unit.

  - In the freeze substitution unit, wash the samples with 2 milliliters of acetone 3 times for 30 minutes [1]. Place 2% osmium tetroxide and 0.1% uranyl acetate into the freeze substitution unit for cooling down and add it to the samples [2-TXT] for 7-hour continued staining at – 90 degrees Celsius [3].

# 3.2.1. CU: Talent washes the samples.

# 3.2.2. CU: Talent places the vial into the freeze substitution unit. . TEXT: CAUTION: Osmium tetroxide is toxic.

# 3.2.3. MED: Talent adds the chemicals to the sample.

# 3.2.4. [Added Shot] MED: Talent closes the lid.

  - When the programmed temperature in the freeze substitution unit reaches -20 degrees Celsius, keep the samples in there for another 16 hours [1].

# 3.3.1. CU: Close up of the temperature monitor of the unit.

  - When the temperature rises to 4 degrees Celsius [1], discard the liquid in the vials and fill in pure acetone [2]. Remove the cryovials from the freeze substitution unit [3].

# 3.4.1. CU: Close up of the temperature monitor of the unit.

# 3.4.2. MED: Talent discards and fills in acetone.

# 3.4.3. MED: Talent removes the vials from the unit.

- Microwave-assisted Processing

  - Anna Steyer: Sample handling, before freezing and after osmification is critical, since the sample can be severely damaged [1].

# 4.1.1. INTERVIEW

  - In a fume hood, use fine forceps to remove the metal carriers out of the cryovials [1-TXT] and transfer the samples from the carriers to submerse them in a 150-millimeter deep watch glass dish filled with acetone [2].

# 4.2.1. MED: Talent takes out the carrier from the vials. TEXT: Perform all of the following steps at room temperature

# 4.2.2. CU: Talent transfers the samples into glass dish.

  - Use fine forceps to transfer the samples into 2 milliliter reaction tubes filled with acetone [1]. Set the microwave at 250 Watts for 40 seconds and start the microwave to wash the samples and repeat four times. [2-TXT].

# 4.3.1. MED: Talent transfers the samples into tubes.

# 4.3.2. MED: Talent sets the microwave and starts the microwave. Videographer: take multiple usable shots, as this will be repeated later. TEXT: ATTENTION: A household microwave will not yield the same results.

  - Pipette 1 milliliter of 1% thiocarbohydrazide (pronounce as Thio- (θʌɪəʊ) carbo- (kar.bo) hydrazide (hī′drə-zīd′)) solution into the reaction tube [1-TXT] and put it in the microwave [2]. Turn on the vacuum function with 2 minutes on and 2 minutes off iterating for a total of 14 minutes and set it at 150 Watts. Start the microwave [3].

# 4.4.1. MED: Talent pipettes solution into reaction tube. TEXT: CAUTION: Thiocarbohydrazide is toxic.

# 4.4.2. MED: Talent puts the tube in the microwave.

# 4.4.3. CU: Talent puts in the settings on the microwave.

  - Wash the sample 4 times in acetone as previously [1]. Pipette 1 milliliter of 2% osmium tetroxide solution into the reaction tube [2]. Place the sample in the microwave and use the same microwave settings as with thiocarbohydrazide [3].

# 4.5.1. Videographer: Use 4.3.2. For shots showing washing with acetone the lid of the vacuum chamber inside the microwave is open, for the osmium tetroxide and TCH-steps the lid has to be closed.

# 4.5.2. MED: Talent pipettes solution into reaction tube.

# 4.5.3. MED: Talent puts the tube in the microwave.

  - Wash the sample 4 times in acetone as previously [1]. Pipette 1 milliliter of 25% resin into the reaction tube [2] and put it in the microwave. Turn on the vacuum function for 3 minutes and set it at 250 watts. Start the microwave [3-TXT].

# 4.6.1. Videographer: Use 4.3.2.

# 4.6.2. MED: Talent pipettes resin into reaction tube.

# 4.6.3. MED: Talent puts the tube in the microwave and puts in the settings. TEXT: Repeat this infiltration step with 50%, 75%, 90%, 100%, and 100% resin.

# 4.6.4. [Added Shot] MED: Talent pipettes with resin tubes in the back.

- Minimal Resin Embedding

  - Use a toothpick to remove the nervus tibialis out of the reaction tube and place them on a piece of plastic film [1]. Place a halogen lamp close to the samples to heat up the resin [2-TXT].

# 5.1.1. CU: Talent transfers the samples out of the tube. Close up of the toothpick and sample.

# 5.1.2. MED: Talent places a halogen lamp close to the sample. TEXT: CAUTION: Be careful not to burn hands.

  - Using toothpick, gently push the sample around on the plastic film until no remaining resin is detected [1].

# 5.2.1. CU: Talent uses the toothpick to push the sample.

  - Put the plastic film with the sample on top in the oven [1] and set the temperature at 60 degrees Celsius to polymerize the samples for at least 48 hours [2].

# 5.3.1. MED: Talent puts the plastic film into the oven.

# 5.3.2. MED: Talent sets up the temperature on the oven and start the oven.

- Preparation for FIB-SEM (Focused Ion Beam Scanning Electron Microscope)

  - Use a razor blade to cut out the polymerized samples together with the plastic film at a size fitting the SEM (pronounce as S-E-M) stub [1]. Use a toothpick to add conductive silver resin on the SEM stubs and attach the cut samples to it [2], then add resin around the samples [3].

# 6.1.1. CU: Talent cuts the samples.

# 6.1.2. CU: Talent adds resin and puts the samples on SEM stubs

# 6.1.3. CU: Talent puts resin around the samples.

  - Put the SEM stubs in the oven to polymerize at 60 degrees Celsius for at least 4 hours or overnight [1].

# 6.2.1. MED: Talent puts the samples in the oven and starts the oven.

  - After polymerization, position the SEM stubs in a sputter coater [1]. Set the sputter coater at 35 milliamps and use 10 nanometer thick gold coating to coat for 1 minute [2-TXT]. After coating, place the SEM stubs inside the focused ion beam-scanning electron microscope [3-TXT].

# 6.3.1. MED: Talent puts the stubs in sputter coater.

# 6.3.2. MED: Talent puts settings on the sputter coater and starts it. TEXT: Platinum or Palladium coatings can also be used.

# 6.3.3. MED: Talent puts the stubs inside the SEM. TEXT: See text for data acquisition and visualization steps.

# Section – Results

- Results: Enhanced Membrane Contrast and High-quality Volume Data

  - In this study, an enhanced protocol was performed for nervus tibialis of the mouse as well as C. elegans (pronounce as C-elegans) to illustrate the optimal preservation and contrast to perform 3D volume imaging with a focused ion beam scanning electron microscope [1].

# 7.1.1. Figure 2e

  - Standard protocols often suffer from a lack of membrane contrast, whereas the enhanced protocol provides a strong membrane contrast. The cross-section images of C. elegans with enhanced protocol [1] and standard protocol show a distinctive difference [2].

# 7.2.1. Figure 3f & 3g– Video Editor: Show both Figure 3f and 3g at the same time. Emphasize Figure 3g when the VO says “C. elegans with enhanced protocols”

# 7.2.2. Figure 3f & 3g– Video Editor: Emphasize Figure 3f when VO says “and standard protocol”

  - As well as for the cross-section images of nervus tibialis, the enhanced protocol [1] helps to show a stronger membrane contrast compared with standard protocol [2].

# 7.3.1. Figure 3b & 3d– Video Editor: Show both Figure 3b and 3d at the same time. Emphasize Figure 3d when the VO says” the enhanced protocol”.

# 7.3.2. Figure 3b & 3d– Video Editor: Emphasize Figure 3b when VO says “standard protocol”.

  - After post-processing, the Electron Microscope data are visualized using IMOD (pronounce as I-Mod), an image processing and modelling program. Virtual reslicing of the data is used to achieve a better understanding of the 3D information [1].

# 7.4.1. Figure 4a

  - The blue highlighted area shows segmented axons, the red highlighted area shows the remak (pronounce as ɹiːˈmɑk) bundles, the yellow and orange highlighted areas show myelin sheets, and the turquoise highlighted area shows mitochondria [1]. The three-dimensional model shows a better visualization [2].

# 7.5.1. Figure 4b– Video Editor: Emphasize the different color areas when the VO mentions them.

# 7.5.2. Figure 4c& 4d

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Anna Steyer: Other volume scanning electron microscopy methods can be used as well for example serial block-face scanning electron microscopy or array tomography. This protocol can also be used for transmission electron microscopy and other samples for example from the central nervous system [1].

# 8.1.1. INTERVIEW

  - Anna Steyer: Osmium tetroxide, thiocarbohydrazide and uranyl acetate are toxic chemicals and should be used carefully. The resin is harmful and should be handled with care as well. Personal protective equipment such as gloves and lab coat should be worn for the full protocol [1].

# 8.2.1. INTERVIEW