## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
#10 Scalpel Blades | Roboz | RS-9801-10 | For use with the scalpel.
1 mL Syringes | Becton, Dickinson and Company | 309659 | For anesthetic IP injection, potential anesthetic booster shots, and antibiotic injections.
10mL Syringes | Becton, Dickinson and Company | 309604 | For injecting saline into the animal, post-surgery.
4.0 Chromic Catgut Suture | DemeTECH | NN374-16 | To re-bind muscle during closing.
48000 Micropipette Beveler | World Precision Instruments | 32416 | Used to bevel the tips of the pulled glass capillary tubes to form functional glass needles.
5% Iodine Solution | Purdue Products L.P. | L01020-08 | For use in sterilzation of the surgical site.
70% Ethanol | N/A | N/A | For sterilization of newly prepared glass needles, animal models during surgical preparation, and surgeon's hands during surgery, as well as all other minor maintainances of sterility.
Anesthetic (Ketamine/Xylazine Solution) | Zoetis | 240048 | For keeping the animal in the correct plane of consciousness during surgery.
Antibiotic (Cefazolin) | West-Ward Pharmaceuticals | NPC 0143-9924-90 | To be injected subcutaneously to prevent infection post-surgery.
Bead Sterilizer | CellPoint | 5-1450 | To heat sterilize surgical instruments.
Bonewax | Fine Science Tools | 19009-00 | To seal up bone in the case of bone bleeding.
Cauterizer | Fine Science Tools | 18010-00 | To seal any arteries or veins severed during surgery to prevent excessive blood loss.
Digital Scale | Okaus | REV.005 | For weighing the animal during surgical preparation.
Flexible Needle Attachment | World Precision Instruments | MF34G-5 | For cleaning glass needles and loading red oil into glass needles.
Gelfoam | Pfizer | H68079 | To seal up bone in the case of bone bleeding.
Glass Capillary Tubes | World Precision Instruments | 4878 | For pulled glass needles - should be designed for nanoliter injectors.
Hair Clippers | Oster | 111038-060-000 | For clearing the surgical site of hair.
Hemostats | Roboz | RS-7231 | For general use in surgery.
Kimwipes | Kimtech | 34155 | For general use in surgery.
Medium Point Curved Forceps | Roboz | RS-5136 | For general use in surgery.
Micromanipulator with a Vernier Scale | Kanetec | N/A | For precise targeting during surgery.
Microscissors | Roboz | RS-5621 | For cutting glass whisps off of freshly pulled glass capillary tubes.
Microscope with Light and Vernier Scale Ocular | Leitz Wetzlar | N/A | Used to visualize and measure beveling of pulled glass capillary tubes into functional glass needles.
MicroSyringe Pump Controller | World Precision Instruments | 62403 | To control the rate of injection.
Nanoliter 2000 Pump Head Injector | World Precision Instruments | 500150 | To load and inject virus in a controlled fashion.
Needle Puller | Narishige | PC-100 | To heat and pull apart glass capillary tubes to form glass needles.
Ophthalamic Ointment | Dechra Veterinary Products | RAC 0119 | To protect the animal's eyes during surgery.
Parafilm | Bemis | PM-996 | To assist with loading virus into the nanoinjector.
PrecisionGlide Needles (25G x 5/8) | Becton, Dickinson and Company | 305122 | For use with the 1mL and 10 mL syringes to allow injection of the animal model.
Rat Tooth Forceps | Roboz | RS-5152 | For griping spinous processes.
Red Oil | N/A | N/A | To provide a front for visualization of virus entering tissue during injection.
Retractors | Roboz | RS-6510 | To hold open the surgical wound.
Rimadyl Tablets | Bio Serv | MP275-050 | For pain management post-surgery.
Rongeurs | Roboz | RS-8300 | To remove muscle from the spinal column during surgery.
Scalpel Blade Handle | Roboz | RS-9843 | To slice open skin and fat pad of animal model during surgery.
Scissors | Roboz | RS-5980 | For general use in surgery.
Stainless Steal Wound Clips | CellPoint | 201-1000 | To bind the skin of the surgical wound during closing.
Staple Removing Forceps | Kent Scientific | INS750347 | To remove the staples, should they be applied incorrectly.
Sterile Cloth | Phenix Research Products | BP-989 | To provide a sterile surface for the operation.
Sterile Cotton-Tipped Applicators | Puritan | 806-WC | To soak up blood in the surgical wound while maintaining sterility.
Sterile Gauze | Covidien | 2146 | To clean the surgical area and surgical tools while maintaining sterility.
Sterile Saline | Baxter Healthcare Corporation | 281324 | For use in blood clearing, and for replacing fluids post-surgery.
Surgical Gloves | N/A | N/A | For use by the surgeon to maintain sterile field during surgery.
Surgical Heating Pad | N/A | N/A | For maintaining the body temperature of the animal model during surgery.
Surgical Microscope | N/A | N/A | For enhanced visualization of the surgical wound.
Surgical Stapler | Kent Scientific | INS750546 | To apply the staples.
T/Pump Heat Therapy Water Pump | Gaymar | TP500C | To pump warm water into the water convection warming pad.
Water Convection Warming Pad | Baxter Healthcare Corporation | L1K018 | For use in the post-operational recovery area to maintain the body temperature of the unconscious animal.
Weighted Hooks | N/A | N/A | To hold open the surgical wound.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=