# Submission ID #:  59183

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18050863

# Title:   Isolation of Adipose Derived Regenerative Cells for the Treatment of Erectile Dysfunction Following Radical Prostatectomy

# Authors and Affiliations:

Sabrina T Hansen1, Charlotte H Jensen2,3, Jens A Sørensen3,4,5, Søren P Sheikh2,3, Lars Lund1,3,5

1Department of Urology, Odense University Hospital, Odense, Denmark

2Laboratory of Molecular and Cellular Cardiology, Department of Clinical Biochemistry and Pharmacology, Odense University Hospital, Odense, Denmark

3Center for Vascular Regeneration, Odense University Hospital, Denmark

4Research Unit for Plastic Surgery, Odense University Hospital, Odense, Denmark

# 5Clinical Institute, University of Southern Denmark, Odense, Denmark

# Corresponding Authors:

# Sabrina Toft Hansen 	(sabrina.toft.hansen@rsyd.dk)

# Email Addresses for All Authors:

charken@health.sdu.dk

jens.sorensen@rsyd.dk

soeren.sheikh@rsyd.dk

# lars.lund@rsyd.dk

# sabrina.toft.hansen@rsyd.dk

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 100 meters

Current Protocol Length

Number of Steps: 24

Number of Shots: 49

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Sabrina T Hansen: This isolation technique can be used to explore whether adipose stem cells can help patients regenerate erectile function following radical prostatectomy.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Sabrina T Hansen: This method is not limited to a specific disease and it can be used within all areas of adipose stem cell research.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Sabrina Hansen: The isolated stem cells are used to treat erectile dysfunction, but the isolation technique is a general procedure, and the stem cells can be useful in other areas within stem cell research.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - Procedures involving human subjects were approved by the Danish National Ethics Committee, The Danish Health and Medicines Authority, and the Danish Data Protection Agency.

# Protocol

- Liposuction

  - Begin by disinfecting the skin of the abdomen and scrotum with 0.5% chlorhexidine [1]. Use a surgical marker to draw up the areas on the abdomen were the liposuction is going to be performed, usually the area between the symphysis and the umbilicus [2].

    - WIDE: Establishing shot of talent disinfecting the patient’s skin.

    - Talent drawing up the area for liposuction.

  - Make two 6-millimeter wide incisions in the skin of the abdomen with a number 11 scalpel. Place the incisions symmetrically and laterally from the updrawn area of liposuction [1].

    - Talent making the 2 incisions.

  - Put a bit of lubricant on the incisions to make sure that the infiltration cannula slides in and out of the incisions easily during the liposuction [1], then introduce a size 14-gauge infiltration cannula through the incisions in the skin [2].

    - Talent putting lubricant on the incision.

    - Talent inserting the infiltration cannula.

  - Inject modified Kleins solution subcutaneously in the marked areas parallel to the skin surface until the targeted tissue becomes swollen and firm, or tumescent [1].

    - Talent injecting Kleins solution.

  - Inject a volume of modified Kleins solution at a 1 to 1 ratio to the adipose tissue. Wait for 10 minutes to maximize the effect of adrenalin and reduce the amount of blood in the harvested adipose tissue [1].

    - Talent injecting Kleins solution into the adipose tissue.

  - Perform a standard jet infusion liposuction to harvest 200 to 300 milliliters of adipose tissue. Use blunt cannulas that are hollow with an integrated infusion tube and nozzle [1]. Attach the cannula to a suction device for liposuction [2].

    - Blunt cannula with infusion tube and nozzle.

    - Talent attaching the cannula to the suction device.

  - Introduce a 3-millimeter syringe with a blunt tip through the incisions on the abdomen and collect the adipose tissue in a lipo-collector to preserve the lipoaspirate in a sterile environment [1]. The lipoaspirate will start to separate from the water phase [2]. Videographer: This step is difficult and important!

    - Talent introducing the syringe and collecting the adipose tissue.

    - Lipoaspirate separating from the water.

  - Use 50-milliliter sterile syringes to suck up the lipoaspirate from the lipo-collector, minimizing the volume of water sucked up in the syringes [1]. Screw a plug on the tip of the syringes to keep the adipose tissue sterile [2].

    - Talent sucking the lipoaspirate from the lipo-collector.

    - Talent screwing a plug on the tip of the syringe.

  - Place syringes with tip downwards in a sterile plastic bag to start the separation of lipoaspirate from the water phase [1], then place the bag in a sterile container [2]. Cover the container with sterile drape to secure the sterile environment during transportation [3].

    - Talent placing the syringes in a bag.

    - Talent placing the bag in a sterile container.

    - Talent covering the container with a sterile drape.

  - Close the skin incisions with the surgeons preferred suture material [1]. Place a compression garment around the abdomen to reduce postoperative edema [2].

    - Talent closing the skin incisions.

    - Talent placing a compression garment on the patient.

  - Make a penile block by injecting 20 milliliters of 5-milligram per milliliter bupivacaine containing 5 micrograms of adrenaline. Use a 20 milliliters syringe and a 23-gauge, 1.25-inch long needle to apply 5 milliliters of bupivacaine in each quadrant in the subcutis [1].

    - Talent preparing the syringe with anesthesia.

  - Inject the bupivacaine at two sites, one placed ventrally and the other dorsally. Introduce the whole needle in the subcutaneous tissue, pointing it laterally to the right, and inject the anesthesia as the needle is retracted. Repeat the injection pointing the needle to the left [1].

    - Talent injecting the anesthesia.

- Isolation of ADRCs

  - Place all consumables and enzymes aseptically on a table covered by a sterile disposable surgical towel [1]. Wipe down the device with ethanol and load the consumable set [2], then connect a bag of Lactated Ringers to the system [3]. Perform the series of semi-automatic tests before adding the lipoaspirate [4].

    - Consumables on the table.

    - Talent wiping down the device and loading the consumables.

    - Talent connecting a bag of Lactated Ringers.

    - Talent starting the tests.

  - While the device is being prepared, let the lipoaspirate stand in a 50-milliliter tube to allow the fat to separate from the liquid phase [1]. Note the total amount of fat tissue and use this to ensure that the amount of loaded fat will be in the range of the device capacity [2].

    - Lipoaspirate sitting in the conical tube.

    - Talent writing down the total amount of fat tissue.

  - Load the tissue when prompted to by the device. The machine will drain off excess fluid, weigh the amount of fat tissue, and wash it with Lactated Ringers [1]. When the tissue has been washed and drained, connect a new infusion bag with 37 to 39-degree Celsius Lactated Ringers [2]. Videographer: This step is important!

    - Talent loading the tissue.

    - Talent connecting a new bad of Lactated Ringers.

  - Reconstitute the commercially available enzyme containing collagenase and protease blend in 5 milliliters Lactated Ringers [1]. Ensure that the device displays the amount of enzyme to inject into the canister with the fat tissue [2]. Once injected, the enzymatic digestion will last around 20 minutes [3]. Videographer: This step is important!

    - Talent reconstituting the enzyme blend.

    - Device displaying the amount of enzyme.

    - Talent injecting the enzyme blend.

  - After tissue digestion, check that the content is separated into an upper lipid-containing yellow phase and a lower pink layer that contains the adipose-derived regenerative cells, or ADRCs [1]. Let the pink layer drain into the cell processing chamber of the consumable set, leaving the lipid layer behind [2].

    - Two layers of the lipoaspirate.

    - Pink layer draining.

  - Allow the ADRCs to concentrate in the cell processing chamber during multiple rounds of centrifugation [1], then add 10 milliliters of Intravase reconstituted in Lactated Ringers. The enzymatic reaction lasts for 10 minutes and the ADRCs are washed afterwards [2].

    - Device concentrating the ADRCs.

    - Talent adding the Intravase.

  - When the isolation of ADRCs is completed, resuspend the cells in 5 milliliters of Ringer Lactate [1] and aspirate the solution into a 5-milliliter syringe [2]. Mount a 3-way stopcock female Luer-lock on the syringe [3] and aspirate 4 milliliters of ADRCs into another 5-milliliter sterile syringe [4]. Videographer: This step is important!

    - Talent resuspending the cells.

    - Talent aspirating the solution into a syringe.

    - Talent mounting the Luer-lock on the syringe.

    - Talent aspirating the ADRCs into another syringe.

  - Transfer the last 1 milliliter of ADRCs into a 1-milliliter syringe. Use this aliquot for ADRC characterization analyses such as cell count, cell viability, analysis of surface markers by flow cytometry, and ADRC differentiation ability [1]. Videographer: This step is important!

    - Talent collecting ADRCs into a 1mL syringe.

  - Put a 25-gauge needle on the 5-milliliter syringe containing the 4 milliliters of ADRCs [1], then pack it in a sterile drape. This solution of ADRCs will be injected into the recipient and should on average contain 8.4 to 32.7 million cells [2].

    - Talent putting a needle on the syringe.

    - Talent packing the syringe in a drain.

- Implantation of the ADRCs into Corpora Cavernosum

  - Make sure that the solution of ADRCs remains homogeneous by tilting the syringe gently until it is injected into the corpora cavernosum [1].

    - Talent tilting the syringe.

  - Place an aperture drape over the penis [1] and a tourniquet at the root of the penis with a silicone vessel loop [2]. Tighten the loop and secure it with forceps, making the tourniquet tight enough to stop the blood flow from the penis [3].

    - Talent placing a drape over the penis.

    - Talent placing the tourniquet.

    - Talent tightening the tourniquet.

  - Use two antiseptic swabs to disinfect the penile skin at the injection site [1], then inject 1 milliliter of the ADRC solution in a direct angle into the corpora cavernosum on the right side at two different places [2]. Repeat this step in the left corpora cavernosum, injecting a total volume of 4 milliliters [3]. Videographer: This step is important!

    - Talent disinfecting the injection site.

    - Talent injecting ADRCs into the corpora cavernosum on the right side.

    - Talent injecting ADRCs into the corpora cavernosum on the left side.

# Results

- Results: Differences in Significant Effect of the Treatment between Continent and Incontinent Patients

  - This method was tested in an open-label Phase 1 clinical trial on 21 men with a mean age of 60 years and a normal erection and active sex life before radical prostatectomy [1]. Six of the men also suffered from incontinence [2].

    - LAB MEDIA: Table 1.

    - LAB MEDIA: Table 1. Video Editor: Emphasize the cell with 6.

  - All men received a single intracavernous injection of isolated ADRCs and were followed up with 4 visits in the outpatient clinic at 1,3,6 and 12 months after the injection [1].

    - LAB MEDIA: Table 1.

  - No serious events occurred during the time of observation. Eight men reported transient redness and swelling at the injection sites and three reported reaction in the penile area [1].

    - LAB MEDIA: Table 1.

  - Eight men experienced reversible minor events related to the liposuction such as light abdominal discomfort and minor abdominal hematomas. No patients reported discomfort at the 1 month follow up [1].

# 5.3.1. LAB MEDIA: Table 1.

  - Their sexual function was evaluated with the International Index of Erectile Function-5 and the Erection Hardness Score [1]. Eight out of fifteen men in the continent group reported that their erectile function was sufficient for intercourse at 12 months [2]. The group of 6 incontinent men did not show any improvement of erectile function [3].

    - LAB MEDIA: Table 1.

    - LAB MEDIA: Table 1. Video Editor: Emphasize the cell with 8.

    - LAB MEDIA: Table 1. Video Editor: Emphasize the cell with 0.

# Conclusion

- Conclusion Interview Statements

  - Sabrina T Hansen: When attempting this protocol, keep in mind that the enzymes that are used during the procedure of isolation must be taken out of the freezer or fridge 2 hours before the procedure is started.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.4.1 and 3.6.2.

  - Sabrina T Hansen: The results from this technique have paved a way for an RCT, where the effects of adipose stem cells are explored on a bigger scale.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.