# Submission ID #: 59198

# Scriptwriter Name: Bridget Colvin

# Videographer Name: Jim Wrocklage

# Film date: 02/12/2019

Project Page Link: http://www.jove.com/files_upload.php?src=18055438

Title: Automated Measurements of Sleep and Locomotor Activity in Mexican Cavefish

Authors and Affiliations: James B. Jaggard1,2, Evan Lloyd1,2, Arthur Lopatto2,3, Erik R. Duboué2,3, and Alex C. Keene1,2

1Department of Biological Sciences, Florida Atlantic University

2Jupiter Life Science Initiative, Florida Atlantic University

3Harriet L. Wilkes Honors College, Florida Atlantic University

# Corresponding Author:

Alex C. Keene

KeeneA@FAU.edu

Email addresses for Co-authors:

jjaggard2015@fau.edu

elloyd2015@FAU.edu

alopatto2016@fau.edu

eduboue@fau.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y, Noldus/Ethovision XT

3. Which steps from the protocol section below are the most important for viewers to see?

1.4-1.6, construction of recording box

1.7-1.13, Construction of webcam

3.2-3.3, Recording fish

4.7-4.10 Analyzing data

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

I think the most difficult part (and most useful for the readers) will be constructing the recording chambers.  The reviewers specifically commented on the need for this to be clearly documented by video.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - James Jaggard: This protocol can be used to quantify sleep and activity in any fish population and has the potential to expand the number of model systems used to study sleep regulation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - James Jaggard: The advantage of this technique is its flexibility. For example, fish can be tracked in a variety of arena sizes or in singly-housed or group-housed experiments [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Evan Lloyd: A strength of measuring sleep in this system is the amenability of the method for high-throughput drug or genetic screening [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Evan Lloyd: We have applied this method to the study of the evolution of sleep in two different populations of cavefish that demonstrate dramatically different sleep phenotypes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Evan Lloyd: Although it can be difficult to establish the system for behavioral the imaging, our system provides herein we demonstrate a cost-effective method for studying larval and adult fish [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Florida Atlantic University.

# Section - Protocol

- Sleep System Construction and Locomotor Activity Recording

  - To build a system to accurately track locomotor behavior for studying sleep and circadian rhythms in larval A. mexicanus [1], use 0.33-centimeter-thick white sign acrylic to construct a platform for the larval tracking system [2].

    - 2.1.2 MED: Talent placing acrylic materials onto bench [2.1.1 and 2.1.2 have been switched]

    - 2.1.1 WIDE: Talent placing lighting system onto bench/approaching bench upon which lighting system is resting

  - Place the recording platform on top of the lighted square heatsink upon which fish-containing arenas will reside during the behavioral tracking experiments [1] and place a second acrylic inside the box between the lights and the animal housing to diffuse the infrared for optimal lighting and contrast [2-TXT].

    - MED: Talent placing recording platform on top of lighter square heatsink

    - CU: Second acrylic being placed inside box between lights and animals TEXT: See text for full system setup details

  - Place the entire larval tracking stage and lighting setup within an enclosed plastic tube [1] and use a rotary tool to remove the lens from an experimentally suitable webcam [2].

    - CU: Shot of stage and setup in tube

    - CU: Lens being removed

  - Use a rotary tool to remove the lens from an experimentally suitable webcam [1]. Remove the small screws on the back of the camera to remove the inner housing [2] and remove the small screws inside the body of the camera to loosen the remainder of the lens [3].

    - Cutting-removing lens [Added shot]

    - CU: Screw(s) being removed

    - CU: Screw(s) being removed

  - Use a small screwdriver to remove any portions of the lens housing that are left after cutting the lens [1] and remove the blue light emitting diode on the top part of the charged coupled device, or CCD (C-C-D), housing [2].

    - CU: Lens housing being removed

    - CU: LED being removed

  - Next, return the inner housing to its original orientation [1] before screwing the two outer screws back into their original positions [2].

    - CU: Housing being returned

    - CU: Screw(s) being re-inserted

  - Use a small saw to route the inside of the camera [1] to allow the camera to be fitted with a rounded plastic routing bit [2], smoothing down the extra plastic until it can accompany a lens adapter [3].

    - CU: Camera being routed

    - CU: Routing bit being attached to camera

    - CU: Plastic being smoothed

  - Install an infrared-pass filter inside the camera as close to the CCD as possible without making direct contact with the camera [1-TXT] and screw the adaptor of a 35-millimeter fixed lens in the front of the camera into the back of the lens [2].

    - CU: Pass-filter being installed TEXT: Caution: Do not damage CCD chip

    - CU: Adaptor being attached

  - Then place the camera and lens into the hole drilled into the lid at the top of the tube that houses the stage and lights [1] and attach the USB to the computer on which the animals will be recorded [2].

    - MED: Talent placing camera and lens into hole on top of tube

    - MED: Talent attaching USB to computer

  - To construct a sleep system for adult fish, first cut infrared strips at approximately 46-centimeter-intervals [1] and place a 46- x 5- x 0.32-centimeter, 9% light-pass white sign acrylic sheet directly in front of each infrared light strip to diffuse the infrared light [2].

    - WIDE: Talent cutting strips

    - MED: Talent placing sheet in front of strip

  - Then place all of the tanks on a rack that supports rear-mounted infrared lighting [1] and use opaque plastic dividers in 10-liter glass tanks to create individual arenas [2].

    - MED: Talent placing tank onto rack

    - CU: Divider being placed between tanks

  - To record the locomotor activity of the Mexican tetra fish, place day 4-6 post fertilization fish into individual wells of a 24-well tissue plate [1] and days 20-30 post fertilization in individual wells of a 12 6-well tissue plate [2[.

    - MED: Talent placing fish into 24-well plate

    - CU: Fish being placed into 12 6-well plate

  - To record adult tetra sleep and activity in a social setting, house up to five adults per 10-liter tank with or without the dividers [1].

    - CU: Fish being added to tank, with at least one other fish visible in tank

# Section – Results

- Results: Representative Larval and Adult A. mexicanus Sleep and Circadian Behavior

  - In this representative experiment, larval fish from three independent cavefish populations [1] displayed a significant reduction in sleep compared to surface fish [2].

    - LAB MEDIA: Figure 1D: JoVE Video Editor: please emphasize Pachon, Malina, Tinaja data bars and/or add bracket and asterisks over data bars

    - LAB MEDIA: Figure 1D: JoVE Video Editor: please emphasize Surface data bar

  - This sleep reduction is consistent across all of the ages tested, as sleep was also significantly reduced in adult Pachón, Molino, and Tinaja cavefish [1] compared to surface fish [2].

    - LAB MEDIA: Figure 2D: JoVE Video Editor: please emphasize Pachon, Malina, Tinaja data bars and/or add bracket and asterisks over data bars

    - LAB MEDIA: Figure 2D: JoVE Video Editor: please emphasize Surface data bar

  - Notably, social housing robustly reduced sleep in surface fish [1] without affecting sleep in Pachón cavefish [2], likely due to a basement effect in the cavefish populations [3].

    - LAB MEDIA: Figure 2G: JoVE Video Editor: please add asterisk and/or emphasize orange Surface data bar

    - LAB MEDIA: Figure 2G: JoVE Video Editor: please emphasize Pachon data bars

    - LAB MEDIA: Figure 2G

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - James Jaggard: (Step: 3.2.-3.3.) When recording the fish, care should be taken to ensure that the camera lighting is optimal to enhance the signal of the fish relative to the background [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Evan Lloyd: Some basic command-line coding is required for this protocol that is fully described in the text and should be amenable to any lab setting [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - James Jaggard: This methodology could be repurposed for numerous other behavioral assays that require the ability to track freely behaving animals [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Evan Llyod: This protocol has led to numerous questions about sleep evolution and is currently being used to perform drug screens, track sleep behavior, and understand how social behavior affects sleep [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera