# Submission ID #: 59206

# Scriptwriter Name: Bridget Colvin

# Videographer Name: Kevin Larson (Orange Chair Productions)

# Film date: 02/18/2019

Project Page Link: http://www.jove.com/files_upload.php?src=18057878

Title: A Reliable and Reproducible Critical-Sized Segmental Femoral Defect Model in Rats Stabilized with a Custom External Fixator

Authors and Affiliations: Benjamin Kerzner1*, Hannah L. Martin2*, Michael Weiser1, Gianluca Fontana1, Nicholas Russell1, William L. Murphy1,2, Erik A. Lund3, and Christopher J. Doro1

*These Authors contributed equally to the work

1Department of Orthopedics and Rehabilitation, University of Wisconsin-Madison

2Department of Biomedical Engineering, University of Wisconsin-Madison

3Summit Orthopedics

# Corresponding Author:

# Christopher J. Doro

# Doro@ortho.wisc.edu

Email addresses for Co-authors:

benkerzner@gmail.com

hlmartin4@wisc.edu

mweiser@wisc.edu

fontana@ortho.wisc.edu

nrussell4@wisc.edu

erikaustinlund@gmail.com

# wlmurphy@ortho.wisc.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see?

3.4., 3.6., 3.8., 3.9., 3.10., 3.12.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.6., 3.8. Placement of the most distal and proximal pins can be challenging and relies on keeping the jig firmly in place along the flat lateral aspect of the femur. It is important to take care when angling the drill so that the pins are all perpendicular to the femur and do not cause fracture.

5. Will the filming need to take place in multiple locations? Y, same building different floors

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Hannah Martin: This surgical protocol uses a consistent and reproducible externally-fixed segmental defect model to evaluate the healing mechanisms of bone and the use of potential regenerative therapies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Hannah Martin: We have streamlined a challenging surgery for the creation and stabilization of a segmental bone defect model that is accessible and cost-effective while remaining appropriate for longitudinal healing studies [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Michael Weiser: This technique is particularly translatable to the treatment of traumatic, critical-sized, diaphyseal bone defects that may benefit from stabilization with external fixation, although the model requires further study [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Michael Weiser: To prevent a fracture while drilling the pins, use high rotations per minute and a low pressure to puncture the lateral cortex. Then decrease the rotations per minute to advance [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at the University of Wisconsin-Madison. This demonstration was performed on a humanely euthanized animal.

# Section - Protocol

- Bone Morphogenetic Protein-2 (rhBMP-2)-Soaked Sponge Scaffold and Surgical Preparation

  - After preparing the scaffold from a bone morphogenetic protein-2 bone graft kit according to the manufacturer’s instructions [1], use sterile scissors and a sterile ruler to trim the bone morphogenetic protein-2-soaked collagen sponge to fit a 5- x 3- x 3-millimeter defect [2].

    - WIDE: Talent opening kit, taking out reagents

    - CU: Shot of sponge, then sponge being trimmed

  - Then use a syringe to distribute the bone morphogenetic protein-2 solution evenly over the surface of the sponge until the entire volume of solution is absorbed [1].

    - CU: Solution being applied to sponge

  - Next, shave the area around the hindleg of an anesthetized rat using the 13th rib, hind paw and dorsal and ventral midlines as margins [1-TXT] followed by four, sequential, alternating scrubs of the exposed skin with sterile gauze soaked in 10% povidone-iodine and 70% ethanol [2].

    - CU: Fur being shaved TEXT: Anesthesia: 4% isoflurane; Analgesia: cefazolin 20 mg/kg i.m.

    - CU: Skin being scrubbed with povidone-iodine, with povidone-iodine and ethanol containers visible in frame

- Segmental Femoral Defect Induction

  - To induce the femoral defect, extend the shaved leg through a fenestrated, clear sticky drape [1] and cover the surgical bench in sterile towels to create a sterile field [2].

    - WIDE: Talent pulling leg through drape Videographer: More Talent than rat in shot

    - MED: Talent covering bench with towels Videographer: More Talent than rat in shot

  - Palpate the femur and use a #15 blade to create an anterolateral incision [1] through the skin extending from the patella to the greater trochanter at the proximal femur [2].

    - CU: Femur being palpated

    - CU: Incision being made

  - Carefully incise the lateral leg fascia along the intermuscular septum to separate the vastus lateralis muscle of the quadriceps anteriorly from the hamstrings posteriorly until the lateral femur is exposed [1-TXT].

    - CU: Fascia being incised/femur being exposed TEXT: Preserve abductor gluteal tendon insertion on greater trochanter

  - Keeping a #15 scalpel blade parallel against the contour of the bone surface, gently cut the muscle away from the underlying bone to perform a careful, atraumatic circumferential soft tissue dissection [1] and, starting on the lateral surface, expose the femur at its mid-diaphysis [2].

    - CU: Blade being placed against bone, then gently cutting away muscle

    - CU: Shot of exposed femur

  - Use a periosteal elevator to lift the muscle away from the exposed bone as it is dissected [1] and proceed around the femoral shaft until 7-10 millimeters of central diaphysis has been cleared of soft tissue on all sides [2-TXT].

    - CU: Muscle being lifted w/ elevator

    - CU: Tissue being cleared TEXT: Avoid injury to medial femoral neurovascular bundle

  - Next, place one pin just at the level of the lateral epicondyle [1] followed by placement of a jig flush to the lateral distal femur [2] and insert one 1-millimeter, threaded-tip Kirschner wire [3-TXT].

    - CU: Pin placement being approximated

    - CU: Jig being placed

    - CU: Wire being placed TEXT: Ensure pin engages both cortices

  - Next, maintaining the position of the jig on the bone [1], identify where the most proximal pin will enter the bone based on the jig holes [2].

    - CU: Jig position being secured

    - CU: Most proximal pin position being identified for forceps tips or similar

  - Carefully incise parallel to the fibers of the gluteal tendon as needed to create a small gap in the tissue for the proximal pin to pass through, minimizing iatrogenic damage to the tendon [1].

    - CU: Incision being made

  - Drill a 1-millimeter, non-threaded k-wire into gap [1] and compare the height of the drilled pin with a loose pin to confirm that the pin engages both cortices [2].

    - CU: Gap being drilled

    - CU: Loose pin being held near drilled pin to confirm appropriate height/engagement

  - Maintain the position of the jig in contact with the bone [1] and drill two 1-millimeter threaded k-wires, one on either side of the future defect site, ensuring that the pins engage both cortices [2], and place the external fixator bar level 1 centimeter above the skin [3].

    - CU: Jig being secured

    - CU: One k-wire being drilled

    - CU: Fixator bar being placed

  - Screw tightly, locking the bar in place [1], and clip the excess pin lengths [2].

    - CU: Bar being locked into plate

    - CU: Pin lengths being clipped

  - Place a small, curved retractor around the anterior and posterior femur to protect the surrounding soft tissue, muscle, and neurovascular bundle [1-TXT] and use an approximately 5-millimeter sagittal oscillating saw blade and light, even pressure to very carefully create a 5-millimeter segmental defect through the mid-diaphysis [2-TXT].

    - CU: Retractor being placed TEXT: Alternative: Use hemostat

    - CU: Saw being applied/defect being created TEXT: Cool w/ 0.9% normal saline as necessary

  - Flush the wound with 10 milliliters of 0.9% normal saline after creating the defect [1] and administer 0.1 milliliters of 0.25% bupivacaine with epinephrine to the wound as an analgesic and vasoconstrictor [2].

    - CU: Saline being applied

    - CU: Analgesic being administered

  - Insert the bone morphogenetic protein-2-soaked sponge scaffold into the defect [1] and use a 4-0 absorbable suture in a simple, interrupted pattern to close the muscle plane [2].

    - CU: Defect being placed

    - CU: Muscle being sutured

  - Then close the skin layer using a 4-0 absorbable suture in a running subcuticular pattern and skin glue to close any gaps around the protruding pins [1] and obtain an anterior-posterior radiographic image of the femur immediately and 4 and 12 weeks after the surgery [2-TXT].

    - CU: Glue being applied, with sutures visible in frame

    - MED: Talent imaging rat TEXT: Use tape/gauze to achieve consistent imaging at consecutive time points

# Section – Results

- Results: Representative Segmental Femoral Defect Bone Recovery Analyses

  - Negative control defects containing only a collagen sponge show no evidence of bridging osteogenesis between the proximal and distal bone edges [1].

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize bone edges in top row of images

  - A small amount of new bone remodeling can be seen directly adjacent to the cut femur edge [1], while the defect itself shows a lack of bony material [2], the presence of cartilage [3], and some residual hematoma [4].

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize NB text in Sponge Only Cut Femur Edge image

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize Sponge Only Within Defect Image

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize C text in Sponge Only Within Defect Image

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize H text in Sponge Only Within Defect Image

  - Defects containing bone morphogenetic protein-2-soaked sponge demonstrate significant bone healing as early as 4 weeks after surgery [1], as evidenced by the radiopaque callous bridging across the defect [2].

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize 4 Weeks Sponge with rhBMP-2 image

    - LAB MEDIA: Figure 3: JoVE Video Editor: please emphasize callous between bone pieces in 4 Weeks Sponge with rhBMP-2 image

  - By 12 weeks, significant new mineral deposition has formed throughout the defect [1], significant new periosteal bone can be observed in the callous extending from the cut femur edge [2], and spicules of woven and lamellar bone have developed throughout the defect [3].

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize NB text in Cut Femur Edge Sponge with rhBMP-2 Defect image

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize PC text in Cut Femur Sponge with rhBMP-2 Defect image

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize NB text in Within Defect Sponge with rhBMP-2 Defect Image

  - Further, cartilage deposition is not seen [1].

    - LAB MEDIA: Figure 4: JoVE Video Editor: please emphasize Sponge with rhBMP-2 Defect images

  - Imaging via in vivo imaging system after the removal of the external fixator allows visualization of the bioluminescent transfected cells within the defect [1].

    - LAB MEDIA: Figure 6

  - For example, cells in the medullary cavity luminesce after transfection with complexed mRNA encoding for Gaussia luciferase and could be used to measure biological changes in the expression of a gene or protein of interest during the healing process [2].

    - LAB MEDIA: Figure 6: JoVE Video Editor: please emphasize signal in center of image

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Michael Weiser: Pin placement is important for ensuring a stable, lasting external fixation. The pins should be directly perpendicular to the femur and parallel to each other to minimize breakage and infection (Step: 6.5-6.8) [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Hannah Martin: Using this model, biological mechanisms, such as specific protein expressions, may be monitored to better understand healing and different scaffold biomaterials or therapies may also be tested for therapeutic efficacy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Hannah Martin: We hope this technique will allow future researchers to more efficiently and effectively study orthopedic healing with external fixation so that their findings may be translated to improved clinical successes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Michael Weiser: Avoid inhaling anesthetic gases, wear proper personal protective equipment when handling formalin and EDTA, and take care when handling the surgical instruments, particularly the drill and oscillating bone saw [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera