## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1XPBS | Any
1XTBST | Any |  | 5X solution made from 30g Tris, 43.8g NaCl, 5 mL Tween-20 and 1.0g NaN3 pH7.5, and brought to 1L with PCR grade water
Bleach | Clorox |  | Any household bleach will work as long as it can be diluted to 0.83% Sodium hypochlorite
Clear nail polish | Any
DAPI dilactate | Santa Cruz Biotechnology | sc300415
Ethanol | Any |  | Dilute to 70% EtOH
Fluorescent microscope | Nikon |  | Nikon Eclipse 50i was used in this experiment, but any fluorescent microscope with 340/380 nm excitation filter and at least 4-10X magnification can be used
Glacial acetic acid | Mallinckrodt | UN2789
Glycerol | Any
Microscope | Wild |  | A Wild M5A microscope was used for this experiment, but any microscope where the operator can clearly see the whitefly eggs can be used
Microscope slide covers | Any |  | Methods are for 18mm x 18mm sized slide covers. More mounting media will need to be added for larger slide covers.
Microscope slides | Any
Minuten nadel pins | BioQuip | 1208SA | Minuten nadel pins are optional for fashioning as probes with pipette tips
NaCl | Any
NaN3 | Any
n-propyl-gallate | Sigma/Santa Cruz Biotechnology | P3130/sc-250794
Parafilm | Bemis
Pasteur pipettes | Fisher Scientific | 13-678-20A | Fisherbrand Disposable Borosilicate glass Pasteur pipettes 5.75 in. A Bunsen burner may also be needed if operator would like to lengthen and narrow pipettes
PCR grade water | Any
Pipette tips | Any |  | Pipette tips are optional for fashioning as probes with minuten nadel pins
Small dropper bulb | Any |  | Must fit on Pasteur pipette
Tris | Any
Tween-20 | Any

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=