# Submission ID #: 59219

# Scriptwriter Name: Melissa Ceo

# Project Page Link: http://www.jove.com/files_upload.php?src=18061843

Title: Using the Open-Source MALDI TOF-MS IDBac Pipeline for Analysis of Microbial Protein and Specialized Metabolite Data

Authors and Affiliations: Chase M. Clark*1, Maria S. Costa*1,2, Erin Conley*1, Emma Li1, Laura M. Sanchez1, Brian T. Murphy1

1Department of Medicinal Chemistry and Pharmacognosy, College of Pharmacy, University of Illinois at Chicago

2Faculty of Pharmaceutical Sciences, University of Iceland

# Corresponding Author:

# Brian T. Murphy

# btmurphy@uic.edu

# Email addresses for Co-authors:

# cclark42@uic.edu

# marysofs@gmail.com

# econle3@uic.edu

# eli8@uic.edu

# sanchelm@uic.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol include software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see? All steps from the protocol below are performed on the computer. We should include a few laboratory shots, we may consider adding sections from the original manuscript: (“Preparation of MALDI target plates”) 2.3, 2.5, 2.6, and (“Data acquisition”) 3.4. Note to Authors: These steps have been added to the video protocol and are 2.1, 2.2, 2.3 and 2.4, respectively.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? To ensure success, we recommend following steps in sections from the original manuscript: (“Preparation of MALDI target plates”) 2.3, 2.5, 2.6.

5. Will the filming need to take place in multiple locations? Y

If yes, how far apart are the locations? The majority of filming will be in one location. The instrument that is used is a few buildings (~5 minute walk) away. We will likely film a few shots of data acquisition (see answer to question 3), however the majority of the video protocol will focus on using the software for post-acquisition analysis.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Brian Murphy: IDBac couples mass spectrometry data from protein and specialized metabolite regions of unknown bacterial colonies to rapidly discriminate between isolates based on both their identity and potential environmental function [1].

    - INTERVIEW: Brian Murphy says the statement above in an interview-style shot, looking slightly off-camera.

  - Chase Clark: Our open-source software extends the utility of existing MALDI-TOF based microbial identification strategies. This extension includes analysis of specialized metabolism as an additional way to differentiate between colonies with similar phenotypes [1].

    - INTERVIEW: Chase Clark says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Chase Clark: A major challenge in characterizing unknown microorganisms is distinguishing closely related isolates. IDBac provides researchers an easy and fast way to characterize isolates through protein profiling [1].

    - INTERVIEW: Chase Clark says the statement above in an interview-style shot, looking slightly off-camera.

  - Erin Conley: IDBac provides a visual comparison of specialized metabolite production within a bacterial sample and can provide insight into a broad range of research areas, from ecological studies to drug-lead discovery [1].

    - INTERVIEW: Erin Conley says the statement above in an interview-style shot, looking slightly off-camera.

  - Chase Clark: There are many ways that MALDI data can be saved between and among instruments. If you have trouble getting files to work with IDBac, submit an issue to IDBac’s GitHub [1].

    - INTERVIEW: Chase Clark says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Preparation of MALDI Target Plates and Data Acquisition

  - Using a sterile toothpick, transfer a small portion of a bacterial colony to the appropriate spot on a clean MALDI plate [1]. Spread the bacterial colony evenly over the spot so the spot appears as flat as possible [2].

    - MED: Talent transfers the bacterial colony to a MALDI plate.

    - CU: Close-up shot of MALDI plate as talent spreads the bacterial colony evenly over the spot.

  - Overlay 1 microliter of 70 percent mass spectrometry grade formic acid onto the sample and matrix control spots, and allow the acid to air dry in a chemical fume hood [1].

    - MED: Talent overlays formic acid onto each spot and allows it to dry.

  - Next, add 1 microliter of previously prepared MALDI matrix solution to the sample and matrix/media control spots, and allow to air dry completely [1].

    - CU: Close-up shot of MALDI plate as talent adds the previously prepared MALDI matrix solution onto each spot and allows it to dry.

  - After setting up the MALDI-TOF mass spectrometer, acquire the spectra [1]. Save the protein spectra in one folder and the specialized metabolite spectra in a second, separate folder [2].

    - MED: Talent places the MALDI plate in the spectrometer and starts the acquisition in the computer software.

    - MED: Talent at the computer saves the spectra in separate folders.

- Installing the IDBac Software and Starting with Raw Data

  - To begin this procedure, download the IDBac software [1].

    - MED: Talent at the computer starts downloading the software.

  - Double-click the downloaded “Install_IDBac” to initiate the installer [1].

    - SCREEN: 59219_2.2.1.mp4. Video Editor: Show up to the start of the download.

  - Next, double-click the IDBac desktop shortcut to launch IDBac, which will open on the Introduction tab by default [1].

    - SCREEN: 59219_2.3.1.mp4

  - Click on the Starting with Raw Data tab and choose from the Create an IDBac experiment menu the type of data to be used with IDBac [1].

    - SCREEN: 59219_2.4.1-2.5.1.mp4. Video Editor: Show up to 0:06.

  - When setting-up the conversion and processing of data files, input a descriptive name for the experiment where prompted and click on Raw Data Folder and select the appropriate folder. Then, click on Process Data [1].

    - SCREEN: 59219_2.4.1-2.5.1.mp4. Video Editor: Show from 0:06 to end.

- Work with Previous Experiments

  - After converting the files and processing them with IDBac, navigate to the Work with previous experiments page and Select an experiment to work with [1].

    - SCREEN: 59219_3.1.1.mp4

  - Add information about samples using the menu Click here to modify the selected experiment. Input information into the auto-populated spreadsheet and press Save [1].

    - SCREEN: 59219_3.1.1-3.2.1.mp4. Video Editor: Show from 0:08 to end.

  - When ready to begin the analysis, ensure the experiment to work with is selected. Then, select Protein Data Analysis [1].

    - SCREEN: 59219_3.3.1-4.4.1.mp4. Video Editor: Show up to 0:08.

- Setting up Protein Data Analysis and Creating Mirror Plots

  - In the Protein Data Analysis page, choose the peak-picking settings and evaluate the protein spectra of samples via the displayed mirror plots [1].

    - SCREEN: 59219_3.3.1-4.4.1.mp4. Video Editor: Show from 0:08 to 0:23.

  - Adjust the percentage of replicates in which a peak must be present in order for it to be included for analyses [1].

    - SCREEN: 59219_3.3.1-4.4.1.mp4. Video Editor: Show from 0:23 to 0:26.

  - Using the mirror plots as visual guidance, adjust the signal to noise cutoff that retains the most “genuine” peaks and the least noise, noting that more replicates and a higher “percentage peak presence” value will allow selection of a lower signal to noise cutoff [1].

    - SCREEN: 59219_3.3.1-4.4.1.mp4. Video Editor: Show from 0:26 to 0:32.

  - Following this, specify the lower and upper mass-to-charge cutoffs, dictating the range of mass values within each spectrum to be used in further analyses by IDBac [1].

    - SCREEN: 59219_3.3.1-4.4.1.mp4. Video Editor: Show from 0:32 to end.

- Clustering Samples using Protein Data

  - Within the Protein Data Analysis page, select the Dendrogram tab to allow for grouping samples into a dendrogram according to user-selected distance measures and clustering algorithms [1].

    - SCREEN: 59219_5.1.1-5.51.mp4. Video Editor: Show from 0:08 to 0:13.

  - Click Select Samples on the menu and follow the instructions to select samples to include in the analyses. Only samples that contain protein spectra will be displayed within the Available Samples box [1].

    - SCREEN: 59219_5.1.1-5.51.mp4. Video Editor: Show from 0:13 to 0:23.

  - Use the default values for the Distance and Clustering algorithms and select Intensities as the input [1].

    - SCREEN: 59219_5.1.1-5.51.mp4. Video Editor: Show from 0:23 to 0:26.

  - To display bootstrap values on the dendrogram, enter a number between 2 and 1000 under Bootstraps [1].

    - SCREEN: 59219_5.1.1-5.51.mp4. Video Editor: Show from 0:26 to end.

- Customizing the Protein Dendrogram and Inserting Samples from a Separate Experiment into the Dendrogram

  - To begin customizing the dendrogram, open the Adjust the dendrogram menu [1].

    - SCREEN: 59219_6.1.1-6.2.1.mp4. Video Editor: Show up to 0:04.

  - To color the dendrogram’s lines, select Click to modify lines and select the desired options [1].

    - SCREEN: 59219_6.1.1-6.2.1.mp4. Video Editor: Show from 0:04 to end.

  - To plot information from the spreadsheet next to the dendrogram, select the button Incorporate info about samples. This will open a panel where a category will self-populate based on the entered values [1].

    - SCREEN: 59219_6.3.1.mp4. Video Editor: Show from 0:06 to end.

  - To insert samples from another experiment, select the menu button Insert Samples from Another Experiment and follow the directions in the newly-opened panel [1].

    - SCREEN: 59219_6.4.1.mp4

- Analyzing Specialized Metabolite Data and Metabolite Association Networks (MANs)

  - Proceed to the Small Molecule Data Analysis page to enable data visualization by principle components analysis and Metabolic Association Networks, which use bipartite networks to display the correlation of small molecule mass-to-charge values with samples [1].

    - SCREEN: 59219_7.1.1-7.3.1.mp4. Video Editor: Show up to 0:10.

  - Click-and-drag on the dendrogram to highlight select samples of interest to be analyzed. If no samples are highlighted or no protein dendrogram was created, a Metabolite Association Network of either a random subset or all samples will appear, respectfully [1].

    - SCREEN: 59219_7.1.1-7.3.1.mp4. Video Editor: Show from 0:10 to 0:20.

  - To subtract a matrix/media blank in the Metabolite Association Network, open the menu Select a Sample to Subtract and choose the appropriate sample to use as a blank [1].

    - SCREEN: 59219_7.1.1-7.3.1.mp4. Video Editor: Show from 0:20 to end.

  - Open the menu Show/Hide MAN Settings to select the desired values for percentage of peak presence in replicates, signal to noise, and upper and lower mass cutoffs. Use the Small Molecule Mirror Plots to guide the selection of these settings [1].

    - SCREEN: 59219_7.4.1.mp4

  - For reporting results, copy the text within the Suggestions for Reporting MAN Analysis paragraph to provide the user-defined settings used to generate the created Metabolic Association Network [1].

    - SCREEN: 59219_7.5.1.mp4

# Section – Results

- Results: Analysis of Microbial Protein and Specialized Metabolite Data by IDBac

  - Six strains of Micromonospora chokoriensis and two strains of Bacillus subtilis were analyzed using data in the IDBac software [1]. Following directions in the Starting with Raw Data tab, the option Click here to convert Bruker files was selected and the IDBac-provided instructions were followed for each dataset [2].

    - LAB MEDIA: Figure 14

    - LAB MEDIA: Figure 14 – Video Editor: Highlight Click here to convert Bruker files when mentioned and make the inset appear.

  - After the automated conversion and preprocessing/peak-peaking steps, a combined IDBac experiment was created by transferring Bacillus and Micromonosopora samples from the two experiments into a single experiment [1]. The resulting analysis involved comparing protein spectra using mirror plots, which was useful for evaluating spectra quality and adjusting peak-picking settings [2].

    - LAB MEDIA: Figure 15

    - LAB MEDIA: Figure 16

  - A screenshot of the protein clustering results with default settings selected is shown here [1]. The dendrogram was colored by adjusting the threshold on the plot [2]. Of note is the clear separation between genera, with both M. chokoriensis and B. subtilis isolates clustering separately [3].

    - LAB MEDIA: Figure 17

    - LAB MEDIA: Figure 17 – Video Editor: Highlight dotted line.

    - LAB MEDIA: Figure 17 – Video Editor: Highlight the orange Micromonospora lines to the right of the dotted line at mention of “M. chokoriensis” and highlight the black Bacillus lines to the right of the dotted line at mention of “B. subtilis”.

  - By clicking and dragging across the protein dendrogram, it was possible to rapidly create Metabolic Association Networks to compare only the B. subtilis strains, only the M. chokoriensis strains, and all the strains simultaneously [1]. The primary function of these networks is to provide researchers with a broad overview of the degree of specialized metabolite overlap between bacteria [2].

    - LAB MEDIA: Figures 18, 19, 20 – Video Editor: Show figure 18 at mention of “the B. subtilis strains”, show figure 19 at mention of “M. chokoriensis strains”, and show figure 20 at mention of “all the strains simultaneously”. If possible, show all three figures at the same time (right side of each figure showing the protein dendrogram/small molecule MAN) and highlight each figure as mentioned above.

    - LAB MEDIA: Figure 20

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Chase Clark: When working with new data, use IDBac’s mirror plots to ensure your data makes sense and spectra are high-quality. Critically evaluate your experimental design and results at every step [1].

    - INTERVIEW: Chase Clark says the statement above in an interview-style shot, looking slightly off-camera.

  - Chase Clark: IDBac allows researchers to build small, diverse libraries of microorganisms for further investigation. This greatly reduces costs associated with traditionally large, redundant microbial libraries [1].

    - INTERVIEW: Chase Clark says the statement above in an interview-style shot, looking slightly off-camera.

  - Brian Murphy: Because IDBac allows you to visualize specialized metabolite overlap within highly similar phylogenetic groups of microorganisms, it can be used to generate research questions and hypotheses that link two typically disconnected fields [1].

    - INTERVIEW: Brian Murphy says the statement above in an interview-style shot, looking slightly off-camera.

  - Erin Conley: Formic acid is caustic and should be handled in a chemical fume hood. Some environmental isolates may pose potential health hazards, and all strains should be treated as biosafety level 2 [1].

    - INTERVIEW: Erin Conley says the statement above in an interview-style shot, looking slightly off-camera.