## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Acetonitrile | Fisher | 60-002-65 | LC-MS Ultra CHROMASOLV
Autoflex Speed LEF MALDI-TOF instrument | Bruker Daltonics
Bruker Daltonics Bacterial test standard | Fisher | NC0884024 | Bruker Daltonics 8604530
Bruker Peptide Calibration standard | Fisher | NC9846988 | Bruker Daltonics 8206195
Formic Acid | Fisher Chemical | A117-50 | 99.5+%, Optima LC/MS Grade
MALDI-TOF target Plate | Bruker Daltonics
Methanol | Fisher Chemical | A456-500 | Optima LC/MS Grade
Toothpicks |  |  | any is ok
Trifluoroacetic acid | Fisher | AC293810010 | 99.5%, for biochemistry, ACROS Organics
Water | VWR | 7732-18-5 | LC-MS
α-Cyano-4-hydroxycinnamic acid | Sigma | 28166-41-8 | (C2020-25G) ≥98% (TLC), powder