## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
(RS)-3,5-Dihydroxyphenylglycine (DHPG) | Tocris | #0342
0.5% DNase I stock solution | Sigma-Aldrich | #11284932001 | Prepare 0.5% DNase I (w/v) in Hanks' Balanced Salt Solution supplemented with 120 mM MgSO4. Prepare 160 µL aliquots and store at -30°C.
0.5% Trypsin-EDTA solution | Thermo Fisher Scientific | #25300054
100 mM L-glutamine (×100 stock) | Thermo Fisher Scientific | #25030081 | Preparing small aliquots of 250--750 µL and store at -30°C.
100 mM Sodium pyruvate (×100 stock) | Thermo Fisher Scientific | #11360070 | Aliquots (10 mL) can be stored at -20°C. After thawing, the solution can be maintained at 4°C for 2 months.
12-Well multiwell culture plates with low-evaporation lid | Falcon | #353043 | Low-evaporation lid is critical for culturing neuron-glia mixed culture. For cell line cells, alternative culture dishes can be used.
18-mm diameter circular coverslips | Karl Hecht "Assistent" | #41001118 | Thickness 1, 18-mm diameter circular coverslips; alternative coverslips can be used.
1M HEPES | Thermo Fisher Scientific | #15630080 | pH 7.2 - 7.6
2.5% Trypsin stock solution (×20 stock) | Sigma-Aldrich | #T4674 | Prepare 150 µL aliquot and store at -30°C.
50% Poly(ethyleneimine) (PEI) solution | Sigma-Aldrich | #P3143 | Prepare 2% (V/V) PEI stock solution (×50) with distilled water sterilized by filtration. Store stock solution at -30°C after preparing small aliquots of 250-750 µL. Prepare 0.04% PEI solution with distilled water on the day of coverslip coating.
70% Ethanol |  |  | Kept in a spray bottle to be used for surface disinfection.
Adeno-associated virus (AAV) for Lck-GCaMP6f, Lck-RCaMP2, and OER-RCaMP2 expression under the direction of the EF1a promoter |  |  | AAV can be prepared using AAV Helper Free System (Agilent Technologies) and HEK293 cells, or alternative methods. pAAV.EF1a.Lck-GCaMP6f, pAAV.EF1a.Lck-RCaMP2, and pAAV.EF1a.OER-GCaMP6f are available upon request.
B-27 supplement (×50 stock) | Thermo Fisher Scientific | #17504044 | This can be replaced by B-27 plus supplement (Thermo Fisher Scientific; #A3582801) or MACS NeuroBrew-21 (Miltenyi Biotec, Bergisch Gladbach, Germany; #130-093-566).
B57BL/6 | Japan SLC, Inc.
Camera for microscopic image recording |  |  | The following cameras were available for use: cooled-CCD camera (e.g., Hamamatsu Photonics, OECA-ER), EM-CCD camera (e.g., Hamamatsu Photonics, ImagEM; Andor, iXon) or CMOS camera (e.g., Hamamatsu Photonics ORCA-Flash4.0)
Cell freezing container | Sarstedt K.K. | #95.64.253 | Alternative cell freezing container can be used.
Cell strainer | Falcon | #352350
CO2 incubator |  |  | Maintain at 37°C, 5% CO2.
Cryogenic tube | Corning | #430661 | Alternative cryogenic tubes can be used.
Cryopreservation medium | Zenoaq |  | "CELLBANKER1"
Culture medium (for HeLa cells) |  |  | Dulbecco's modified Eagle's medium (DMEM) supplemented with 10% heat-inactivated fetal bovine serum, and penicillin-streptomycin solution (final concentration: Penicillin 100 units/mL and Streptomycin 100 µg/mL)
Dissection medium |  |  | One milliliter of 1 M HEPES (final concentration 20 mM) to 49 mL DMEM
DMEM | Nacalai | #08456-65 | Alternative DMEM can be used.
DMEM | Nacalai | #08456-65 | Low glucose
DNA transfection reagent | Sigma-Aldrich | #6366244001 | "X-tremegene HP DNA transfection reagent" Alternative transfection reagents can be used.
Glass jar with a lid |  |  | 500 mL jar (for mouse) or 1500 mL jar (for rat) to anesthetize the animal
HBSS | Thermo Fisher Scientific | #14170161 | HBSS free of calcium and magnesium
Heat inactivated bovine serum | Thermo Fisher Scientific | #10100147
HeLa cells | RIKEN BioResource Center | #RCB0007
Histamine | Sigma-Aldrich | #H7125
Image analysis software |  |  | Such as Metamorph (Molecular Devices), Image J (NIH), and TI Workbench14 (custom made)
Image splitting optics | Hamamatsu Photonics | #A12801-01 | W-view GEMINI
Image splitting optics dichroic mirror | Semrock | #FF560-FDi01-25×36 | For separation of green fluorescent protein/red fluorescent protein (GFP/RFP) signal
Image splitting optics emission filters | Semrock | #FF01-512/25-25, #FF01-630/92-25 | For emission of GFP/RFP signal, respectively
Imaging medium and buffer |  |  | Use optimal medium or buffer for the experiment. When medium is used, medium without phenol red is desirable to reduce background fluorescence. Add 20 mM HEPES to maintain pH outside of CO2 incubator.
Incubation saline |  |  | Add 1 mL of 1 M HEPES (20 mM) to 49 mL HBSS
Inverted fluorescence microscope |  |  | Such as IX73 (Olympus) or Eclipse TI (Nikon Instech)
Isoflurane | Pfizer |  | Used for anesthesia
Maintenance medium (for 4 × 12 well dishes) |  |  | 48.5 mL Neurobasal-A medium supplemented with 1 mL B-27, 500 µL of L-glutamine stock and 25 µL Penicillin-Streptomycin solution.
Maintenance medium for frozen cortical cells (for 1 × 12 well dishes) |  |  | 12.2 mL Neurobasal plus medium supplemented with 250 µL B-27, 125 µL of L-glutamine stock and 6.2 µL Penicillin-Streptomycin solution.
MEM (Minimum Essential Medium) | Thermo Fisher Scientific | #11090-081
Microscope filter set for GCaMP6f imaging |  |  | Appropriate filter for GFP (excitation, 480 ± 10 nm; emission, 530 ± 20 nm)
Microscope filter set for RCaMP2 imaging |  |  | Appropriate filter for RFP (excitation, 535 ± 50 nm; emission, 590 nm long pass)
Microscope filter sets for double imaging of RCaMP2 and GCaMP6f | Semrock | #FF01-468/553-25, #FF493/574-FDi01-25×36, #FF01-512/630-25 | Dual excitation filter, Dual dichroic mirror, and emission filter for GFP/RFP imaging.
Microscope heating system |  |  | A heating system to maintain cells at 37°C during the imaging. To avoid drift caused by thermal expansion, heating systems covering the entire microscope itself (e.g., Tokai Hit, Thermobox) are recommended.
Microscope light source for excitation |  |  | Mercury lamp (100 W), xenon lamp (75 W), Light-emitting diode (LED) illumination system (e.g., CoolLED Ltd., precisExcite; Thorlabs Inc., 4-Wavelength LED Source; Lumencor, SPECTRA X light engine). In case of mercury lump and xenon lamp, use ND filter to reduce the excitation intensity.
Microscope objective lens |  |  | Plan-Apochromat oil immersion objective with numerical aperture higher than 1.3 is highly recommended for the recording of spontaneous Ca2+ activity in neurons and astrocytes.
Neurobasal plus medium | Thermo Fisher Scientific | #A3582901
Neurobasal-A Medium | Thermo Fisher Scientific | #10888022 | Neurobasal plus medium (Thermo Fisher, A3582901) can be used instead of Neurobasal-A medium.
PBS(-): Phosphate-buffered saline free of Ca2+ and Mg2+ | Fujifilm Wako Pure Chemical Cooperation | #164-23551 | The absence of Ca2+ and Mg2+ is critical not to inhibit the trypsin activity. An alternative to PBS(-) can be used.
PC and image acquisition software |  |  | Such as Metamorph (Molecular Devices); Micromanager; TI Workbench14.
Penicillin-Streptomycin solution | Thermo Fisher Scientific | #15140122 | Penicillin 10,000 units/mL and Streptomycin 10,000 µg/mL
Plasmid for Lck-GCaMP6f, Lck-RCaMP2, and OER-RCaMP2 expression under cytomegalovirus promoter 7-9 |  |  | Available upon request
Plating medium (for 4 × 12 well dishes) |  |  | 48 mL MEM supplemented with 1 mL B-27 supplement, 500 µL L-glutamine stock (final concentration: 2 mM), 500 µL of sodium pyruvate stock (1 mM) and 25 µL Penicillin-Streptomycin solution (penicillin 5 u/mL, streptomycin 5 µg/mL). This concentration of Penicillin-Streptomycin, which is 1/20 of the concentration recommended by the manufacturer, is critical for neuronal survival.
Recording chamber | Elveflow | Ludin Chamber | This recording chamber is for 18 mm diameter round coverslips.
Reduced serum media | Thermo Fisher | #11058021 | Opti-MEM
Stereomicroscope |  |  | Used to dissect hippocampi. Olympus SZ60 or equivalent stereomicroscopes are available.
Surgical instruments |  |  | Standard dissecting scissors to cut the abdomen of a mouse or a rat, tweezers to pinch the uterus, delicate dissecting scissors to cut the uterus and the head of embryo, ring forceps to pinch the embryos, 13-cm curved Semken forceps (Fine Science Tools #11009-13) to extract brains, 3 forceps with fine tips (Dumont Inox #5)
Transfection reagent for neuron | Thermo Fisher Scientific | #L3000008 | "Lipofectamine 3000" reagent. It is composed of the the "supplement (P3000)" that should be mixed with plasmid DNA in the step 2.2.3, and the "transfection reagent (lipofectamine 3000)" used in the step 2.2.4.
Trypan blue (0.4%) | Thermo Fisher Scientific | #15250061
Wash medium for frozen cortical cells |  |  | 25 mL DMEM, supplemented with 250 µL heat-inactivated fetal bovine serum + 12.5 µL Penicillin Streptomycin.
Wistar rats | Japan SLC, Inc |  | Pregnant rats (E18)
Note on A7: A: lid?
Note on D7: A: lid?
Note on D22: A: Correct full term for DMEM?

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=