TITLE:

Sample Preparation of Woodboring Beetle Appendages for Electron Microscopy

AUTHORS AND AFFILIATIONS:

Yan-Ru Zhang1,2, Li-Li Ren1, Rong Wang3, Peng-Fei Lu1, Hai-Li Qiao4

1The Key Laboratory for Silviculture and Conservation of the Ministry of Education, School of Forestry, Beijing Forestry University, Beijing, People’s Republic of China

2 School of Forestry, Inner Mongolia Agricultural University, Hohhot, People’s Republic of China

3School of Forestry, Fujian Agriculture and Forestry University, Fuzhou, People’s Republic of China

4Institute of Medicinal Plant Development, Chinese Academy of Medical Sciences and Peking Union Medical College, Beijing, People’s Republic of China

Corresponding Authors:

Peng-Fei Lu 	(lpengfei224@126.com)

Hai-Li Qiao, 	(qhl193314@sina.com)

Email Addresses of Co-authors:

Yan-Ru Zhang 	(zhangyanru4479@126.com)

Li-Li Ren 	(lily_ren@bjfu.edu.cn)

Rong Wang 	(442828653@qq.com)

KEYWORDS:

insect, olfactory, gustatory, sensilla, ultrastructure, scanning electron microscope, transmission electron microscope, fluorescence microscope, chemical ecology

SUMMARY:

Scanning and transmission electron microscopy sample preparation protocols for the observation of the ultrastructure of insect sensilla are presented. Tween 20 was added to the fixative to avoid sample deformation in scanning electron microscopy. Fluorescence microscopy was helpful for improving slicing accuracy in transmission electron microscopy.

ABSTRACT:

This report describes sample preparation methods for scanning and transmission electron microscope observations of the woodboring beetle, Chlorophorus caragana. The methods are confirmed by preparing beetle appendages for both types of electron microscopy. The scanning electron microscopy (SEM) sample preparation protocol is based on sample chemical fixation, dehydration in a series of ethanol baths, drying, and sputter-coating. By adding Tween 20 (polyoxyethylene sorbitan laurate) to the fixative and the wash solution, the insect body surface of the woodboring beetle was clearer in SEM. This study’s transmission electron microscopy (TEM) sample preparation involves a series of steps including fixation, ethanol dehydration, embedding in resin, positioning using fluorescence microscopy, sectioning, and staining. Fixation with Tween 20 enables easier penetration into the insect body wall to more easily fix tissues and organs in the body, thus yielding clear transmission electron microscope observations of insect sensilla ultrastructures. The next step of this preparation is determining the positions of insect sensilla in the sample embedded in the resin block using fluorescence microscopy to increase the precision of target sensilla positioning. This improved slicing accuracy.

INTRODUCTION:

SEM is an important tool in many morphology studies because it shows surface structures1-2. TEM shows inner structures and can be used to study a wide range of biological structures at the nanometer scale3-5.

Coleoptera is the largest group of insects, including about 182 families and 350,000 species. Most of the coleopteran insects, particularly the woodboring beetle, are serious pests in forests and fruit trees, causing devastating damage to plants6. At present, prevention and controlling the population of pests based on chemical ecology theory have received increasing attention7. Efficient, low-toxic, pollution-free pheromone control methods have become an effective technique8. Studying the sensilla morphology and ultrastructure of insects is an important part of insect chemical ecology research. SEM and TEM are important in studying insect morphology and internal anatomy. However, during the preparation of insect samples for electron microscopy, the objectivity and authenticity of the observation site may be affected9. In general, SEM sample preparation of insects requires cleaning, tissue fixation, dehydration, metathesis, drying, and sputter-coating10. Woodboring beetle appendages often have many fine long sensilla or bristles. Also, due to the complex environment in which they live, the body surface often has various pollutants. Some woodborers are not available from laboratory breeding but are collected directly in the field and then put into fixing fluid to ensure freshness and subsequently washed in the laboratory. If the sample is first fixed and then washed, it is obviously much more difficult to remove debris because glutaraldehyde strongly fixes it to the sample. Tween 20 is a surfactant11-14 that plays an important role in the washing process, including reducing the surface tension of water and improving wettability. In this study, Tween 20 was added to the fixing solution and the PBS cleaning solution to reduce the surface tension of the liquid and prevent debris from accumulating on the body surface of the woodboring beetle to make the body surface cleaner in SEM.

Using TEM, sensilla on different organs of insects can be sliced to reveal the clear structures inside them, thus providing a basis for analyzing sensilla functions. When the subject insect, such as the woodboring beetle, is large and its body wall has a substantial degree of sclerotization, the fixative may not fully saturate the organ tissues inside the insect body. Tween 20 can enhance the dispersion and suspension capacity of the debris. In this study, Tween 20 was added to the fixative to enhance fixative fluid penetration into the insect body wall of the woodboring beetle, avoiding deformation and collapse of the epidermis11-13. In addition, using general slicing technology, it is difficult to accurately locate different types of sensilla, especially small sensilla15. Based on traditional TEM sample preparation, this study combined fluorescence microscopy and SEM to determine the position of insect sensilla in the embedded block, thus improving slicing accuracy.

PROTOCOL:

CAUTION: Consult the material safety data sheets of reagents before using them. Several of the chemicals used during sample preparation are toxic, mutagenic, carcinogenic, and/or reprotoxic. Use personal protective equipment (gloves, lab coat, full-length pants, and closed-toe shoes) and work under a fume hood while handling the samples.

- SEM sample preparation and imaging

  - Sample fixation and cleaning

    - Working in an area where C. caragana live, attract adults into field traps baited with plant attractants, such as isophorone16. Preserve the clean bodies of adult C. caragana in 0.1 Mol/L phosphate-buffered saline (PBS, pH 7.2), 2.5% (wt/vol) glutaraldehyde (anhydrous EM grad), and 0.06% (vol/vol) Tween 20. Fix the sample at 4 °C for ~3 days.

    - Remove the bodies from the preservation liquid and rinse in the phosphate buffer. Using a stereomicroscope, remove the appendages and clean them ultrasonically (40 kHz) in a 0.1 Mol/L phosphate-buffered saline (pH 7.2) with 0.06% (vol/vol) Tween 20 (PBST). After cleaning for 100 s, transfer the sample to the microscope to check if it is clean. Under normal circumstances, clean for 400 s to ensure that the sample is clean enough to observe and is not damaged.

  - Sample dehydration, mounting, and drying

    - Dehydrate the samples by using 20 min successive treatments in 50%, 60%, 70%, 80%, 85%, 90%, 95%, 100%, and 100% (all vol/vol) ethanol. Under a stereomicroscope, use carbon double-sided adhesive tape to separately fix three observation surfaces (dorsal, ventral, and lateral) onto stubs. Note that all viewing surfaces must be kept clean and free of contamination. Place the sample stage in a Petri dish containing a silica gel desiccant for 48 h.

  - Sputter-coating and sample insertion

    - Using an ion sputtering instrument (see Table of Materials), rotate the MAIN VALVE to the OPEN position, remove the sample chamber cover, and put the sample into chamber. Turn the POWER switch on, and ensure the READY light is on.

    - Set the sputtering time as 45 s, and the coating thickness as 70.875 Å. Once the mechanical pump vacuum dial index drops below 7, press DISCHARGE and start spraying platinum.

    - At the end of the procedure, turn off the power supply and take the sample out of the chamber. The spray film thickness should be d = KIVt, where d = the thickness of the film (Å); K = a constant, determined by the sputtered metal and gas (e.g., K of air is 0.07); I = plasma flow (mA); V = voltage applied (kV); and t = time (seconds).

    - Insert the stub containing the sample onto the stage of the SEM. Make sure the sample stage with the sample stub has enough height to allow a good image. Open the SEM software and select a desired operating voltage, beginning at 20 kV.

- TEM sample preparation and imaging

  - Cleaning, secondary fixation, and dehydration

    - After obtaining and fixing the sample as in section 1.1., remove adult C. caragana from the preservation liquid. Using a stereomicroscope, remove the appendages, wash the samples in PBST for 3 h, and then post-fix them in 1% (wt/vol) osmium tetroxide in PBS for 1 h at 25 °C.

    - Dehydrate the samples by using 20 min successive treatments in 50%, 60%, 70%, 80%, 85%, 90%, 95%, 100%, and 100% (all vol/vol) ethanol at room temperature.

  - Resin embedding and polymerization

    - Embed the samples in resin in a flat embedding mold. Ensure that the sample is at the bottom of the plate and placed as close as possible to the edge of the recessed groove. Label and then incubate the plate containing the sample at 60 °C for 72 h.

    - Remove the capsule from the incubator and verify that the resin has polymerized.

  - Sample sectioning and staining

    - Once the sample is solidified, place each resin block under a fluorescence microscope and photograph them under blue light. Move the microscope’s fluorescent light source so it irradiates the sample from above. Make sure the sensilla in the resin block are clearly visible.

    - Photograph and measure distances to target the sensilla (Figure 1).

[Place Figure 1 here]

    - Refer to the SEM image of the palps (Figure 2A) and roughly cut the resin block with a razor blade close to the target receptor (Figure 2B).

[Place Figure 2 here]

    - Next, using blue-light fluorescence microscopy, photograph the roughly cut resin block, adjusting the light source from above so that the sensilla are observed clearly. Green light excited by the blue light will create good observation conditions.

    - When imaging, add the objective micrometer to the fluorescence microscope stage, and then measure the distance of the target using ImageJ (Figure 2C).

    - Cut 50–60 nm thick sections using an ultramicrotome until the target position has been reached. Use the fluorescence microscopy images to pinpoint the target receptor.

    - Mount the sections on Formvar-coated, 100-mesh copper grids and then double-stain with uranyl acetate and lead citrate.

      - First, add 3.75 g of uranyl acetate to 50 mL of 50% methanol. Stain the grids with a saturated solution of uranyl acetate filtered with a 0.45 µm syringe at room temperature for 10 min. Cover sections during staining to block light-induced precipitates.

      - Rinse 2x in 50% methanol then 2x in filtered degassed water.

      - Add 0.02 g of lead citrate to 10 mL of degassed distilled water in a centrifuge tube. Add 0.1 mL of 10 N sodium hydroxide, seal, and shake to dissolve. Briefly centrifuge before use. Place drops of the stain on the squares of the plastic Petri dishes, and let sit for 8 min.

NOTE: Staining must be done in a carbon dioxide free environment to prevent the formation of lead carbonate precipitates.

      - Rinse in degassed filtered water and dry17.

    - Examine sections using a TEM at 80 kV.

REPRESENTATIVE RESULTS:

Using cleaning and fixative solution with Tween 20, a clearer SEM image was observed than that without Tween 20 (Figure 3). The Tween 20 fixing solution allowed the glutaraldehyde fixing solution to penetrate the tissue. Microtubule structures were clearly seen. The TEM image of the internal structure of the sample prepared without Tween 20 was blurry (Figure 4).

[Place Figure 3 here]

[Place Figure 4 here]

We used SEM to study the types and ultrastructures of sensilla on the palps of C. caragana, finding four types of sensilla including 10 subtypes: one Böhm’s bristles (BB.), three sensilla chaetica (Ch.1-Ch.3), one digitiform sensilla (Dig.), and five sensilla twig basiconica (S.tb.1-S.tb.5) (Table 1). Sensilla identification and ultrastructure was based on their morphology and size18-23. Our sample preparation methods rendered clear images of the surfaces and internal ultrastructures of insect sensilla.

[Place Table 1 here]

To examine the ultrastructure inside the sensilla on C. caragana palps, we used TEM. One example of these studies was continuous cross-sectional views of the peg of the S.tb.1 on the maxillary palps. The views show that the dendritic sheath surrounded the outer dendritic segments and extended to the tip pore (Figure 5A-D). Seven unbranched outer dendritic segments existed inside the inner receptor lymph cavity, which was surrounded by an outer cavity (Figure 5D). The tubular body was separated by a dendritic sheath from other outer dendritic segments at each sensillar socket base (Figure 5E). In the ciliary region, we noted eight dendrites of different diameters, indicating the presence of eight bipolar neurons. Finally, the ciliary segment contained nine peripheral microtubule doublets (Figure 5F).

[Place Figure 5 here]

FIGURE AND TABLE LEGENDS:

Figure 1: A fluorescent microscope photograph of a resin block enclosing the appendage of Chlorophorus caragana. (A) Antenna resin block. (B) Resin block at the end of the ovipositor. The arrow indicates the edge of the resin block. The dotted circle indicates the target sensilla.

Figure 2: Procedures of the precise sensilla location method. (A) The fourth subsegment of a maxillary palp of Chlorophorus caragana. The dotted circle shows the sensilla targeted by SEM. (B) The fourth subsegment of a maxillary palp of C. caragana viewed by fluorescence microscopy. The white arrow shows the roughly cut edge of the resin block and the dotted circle shows the target location. (C) The marked distance from the edge of the resin block to the maxillary palp target location (28 μm in this sample).

Figure 3. Locating the sensilla on a Chlorophorus caragana antenna under SEM. Comparison of SEM image with Tween 20 (A) and without Tween 20 (B), which shows that picture A is clearer than picture B in general.

Figure 4. Chlorophorus caragana viewed by TEM of sensilla twig basiconica on the labial palps. Comparison of TEM image with Tween 20 (A) and without Tween 20 (B). The microtubule structure of picture A is clear, while that of picture B is blurry.

Figure 5: TEM views of sensilla type 1 twig basiconica (S.tb.1) on a Chlorophorus caragana maxillary palp. (A) S.tb.1 with dotted lines marking regions close to the cross sections taken for panels B-E. (B) Cross section of finger-shaped protrusions showing scattered cuticula. (C) Cross section of the basal region of finger-shaped protrusions showing inner receptor lymph cavities without outer dendritic segments. (D) Cross section of the middle region of the peg showing the dendritic sheath dividing the sensillum-lymph cavity into both inner and outer cavities with seven outer dendritic segments in the inner cavity. (E) Basal region of the peg showing the tubular body surrounded by a dendritic sheath and separated from outer dendritic segments. A tormogen cell forms the outside of the dendritic sheath. (F) Cross section of the ciliary region showing eight dendrites of different diameters. Abbreviations: bb = basal body; cs = ciliary segment; CW = cuticular wall; DS = dendritic sheath; iRL = inner receptor lymph cavity; M = microtubule; Mi = microvilli; oD = outer dendritic segment; oRL = outer receptor lymph cavity; S.tb.1 = type 1 sensilla twig basiconica; TB = tubular body; TH = thecogen cell; TO = tormogen cell; TR = trichogen cell. This figure has been adopted with permission from Zhang et al. 201830.

Table 1. Morphological characteristics of maxillary and labial palps sensilla of Chlorophorus caragana. BB. = Böhm’s bristles; Ch.1–3 = type 1–3 sensilla chaetica; Dig. = digitiform sensilla; S.tb.1–5 = type 1–5 sensilla twig basiconica. aValues are means (± standard deviations) of the lengths and diameters of at least 30 sensilla of each type from both sexes, except for Ch. 3 (n = 24).

DISCUSSION:

In this article, we present a sample preparation scheme for scanning and transmission electron microscopy for the woodboring beetle. Using insect appendages as a representative study subject, we demonstrated several improvements over traditional sample preparation methods.

The liquid oil detached from the solid surface is emulsified into small droplets, which can be well dispersed and suspended in the washing medium to reduce redeposition on the surface of the object. The washing performance of the surfactant includes all the important characteristics such as wettability, permeability, emulsification, dispersibility, solubilization11-14. The effects of different detergents on the electron microscopic sample preparation of golden nematodes showed that Tween 20 had the best cleaning effect, followed by sodium bicarbonate, and distilled water24. In this study, we found that Tween 20 can be used to reduce the surface tension of the liquid and prevent debris from depositing on the body surface of the insect, especially for woodboring beetles collected directly in the field. Insect body surface was cleaner and more visible in SEM. Fixative with Tween 20 penetrated the insect body wall more easily, and subsequently better fixed tissues and organs in the body are observed in TEM. The advantages of surfactants in electron microscopy sample preparation have been extensively studied24-31.

Also, we adopted a modified air-drying method for SEM sample preparation in which the dehydrated sample was placed in a Petri dish containing a silica gel desiccant that gradually evaporates the dehydrating agent. The biggest advantage of this method is that it is simple, easily maintained, no special equipment is required, and it keeps the microenvironment air dry. The natural drying method is a simple, practical, and effective method for seed, nut, and long-term preservation of insect specimens. Although the sample volume shrinks during the natural drying process, the basic morphology of the sample is retained32. In general, Coleoptera insects have relatively low water content, and their surface is surrounded by hard chitin walls. Thus, air-drying is suitable. However, this drying method is not suitable for the drying of tissues with a large water content, such as louse, mites, and larvae, because the surface tension will deform the sample during the drying process.

In order to observe and calculate the type and number of sensilla distributed across the surface of the appendage, dorsal, ventral, and lateral sides of the appendage must be considered. Some sensilla were few, small, and sometimes covered. Careful scanning and analysis from all angles is necessary to find those sensilla fully protruding the epidermis or arising from the depressions. Since many sensilla were relatively long and hair-like, the tip effect can be significant. Therefore, the electron microscope acceleration voltage must not be too high. We used 20 kV and found that 5–20 kV was best.

In the TEM sample embedding, the sample should be close to the edge of the flat embedding mold groove in order to save time when roughening the resin block. The traditional TEM method for continuously cutting the resin is long, and it is usually blindly cut using an optical microscope17,33. To improve this method, we first explored an insect sensilla localization technique in resin-embedded blocks using fluorescence microscopy to view and measure the target distance to the cut. Compared with the traditional TEM trimming method, this technology can save sample preparation time and more accurately locate the target sensor. In the absence of measurement software, a scaled ruler can be placed in the field of view to roughly measure the target distance. The combination of an ultramicrotome with a fluorescence microscope provides clear observations of the cutting process, yielding accurate cuts of target sensilla and other appropriate subjects.

ACKNOWLEDGMENTS:

We appreciate the generous assistance of the Beijing Vocational College of Agriculture, the Institute for the Application of Atomic Energy (Chinese Academy of Agricultural Science), the Bioresearch Center of Beijing Forestry University and Professor Shan-gan Zhang of the Institute of Zoology, Chinese Academy of Sciences. This research was supported by National Key R&D Program of China (2017YFD0600103), the National Natural Science Foundation of China (Grant No. 31570643, 81774015), Forest Scientific Research in the Public Welfare of China (201504304), Inner Mongolia Agricultural University High-level Talent Research Startup Plan (203206038), and Inner Mongolia Autonomous Region Higher Education Research Project (NJZZ18047), Inner Mongolia Autonomous Region Linxue "Double First-class" Construction Project (170001).

DISCLOSURES:

We have no conflicts of interest to disclose.

REFERENCES:

1. Song, Y. Q., Dong, J. F., Sun, H. Z. Scanning Electron Microscope Technology of Insect Material. Hubei Agricultural Sciences. 52, 1064–1065 (2013).

2. Liu, C. The development of the scanning electron microscopy (sem) and its application in polymer materials research. Journal of the Graduates Sun Yat-Sen University (Natural Sciences Medicine). 34, 7–12 (2008).

3. Gan, L., Jensen, G. J. Electron tomography of cells. Quarterly Reviews of Biophysics. 45, 27–56 (2011).

4. Lucic, V., Rigort, A., Baumeister, W. Cryo-electron tomography: the challenge of doing structural biology in situ. The Journal of Cell Biology. 202, 407–419, (2013).

5. Trepout, S., Bastin, P., Marco, S. Preparation and Observation of Thick Biological Samples by Scanning Transmission Electron Tomography. Journal of Visualized Experiments. 121, e55215 (2017).

6. Zhang, X. J. et al. Research progress of coleopteran insect species antennal sensilla. Journal of Anhui Agricultural Sciences. 41, 2932–2935 (2013).

7. Aldrich, J. R., Bartelt, R. J., Dickens, J. C., Knight, A. L., Light, D. M., Tumlinson, J. H. Insect chemical ecology research in the United States Department of Agriculture-Agricultural Research Service. Pest Management Science. 59, 777–787 (2003).

8. Thomas, C. B.，Marlin, E. R. Pheromone mating disruption: Novel, non-toxic control of the European corn borer. Leopold Center. 8, 57–60 (1999).

9. Chen, X. F., Hu, M. Y. Studies on the specimen preparation techniques of scanning electron microscope of. Journal of Zhongkai Agrotechnical College. 14, 68–70 (2001).

10. Zhou, W., Apkarian, R., Wang, Z. L., Joy, D. Fundamentals of Scanning Electron Microscopy (SEM). Scanning Microscopy for Nanotechnology, Springer. 1–40 (2006).

11. Kothekar, S. C., Ware, A. M., Waghmare, J. T., Momin, S. A. Comparative Analysis of the Properties of Tween-20, Tween-60, Tween-80, Arlacel-60, and Arlacel-80. Journal of Dispersion Science and Technology. 28, 477–484 (2007).

12. Chai, J. L. et al. Compositions and Physicochemical Properties of Tween Type Surfactants-Based Microemulsions. Journal of Dispersion Science and Technology. 35, 441–447 (2014).

13. Zhang, L. D., Zhao L., Han, F., Xu, B. C. Performance and applications of surfactants (XV) Detergency of surfactants and its applications. China Surfactant Detergent and Cosmetics. 45, 132–137 (2015).

14. Waghmare, P. R., Das, S., Mitra, S. K. Under-water superoleophobic glass: unexplored role of the surfactant-rich solvent. Scientific Reports. 3, 1–25 (2013).

15. Zhang, Y. R., Ren, L. L., Luo, Y. Q. Microtomy of insect sensilla embedded in resin blocks for transmission electronic microscopy. Chinese Journal of Applied Entomology. 50, 1479–1483 (2013).

16. Zong, S. X. et al. Development of semiochemical attractants for monitoring and controlling Chlorophorus caragana. Zeitschrift für Naturforschung. 68, 243–252 (2013).

17. Sumner, M. J. Epoxy resins for light and transmission electron microscopy. Plant Microtechniques and Protocols. 83–101 (2015).

18. Schneider, D. Insect antennae. Annual Review of Entomology. 9, 103–122 (1964).

19. Zacharuk, R. Antennae and sensilla. Comprehensive Insect Physiology, Biochemistry and Pharmacology. Pergamon Press, Oxford. 6, 1–69 (1985).

20. Zacharuk, R., Albert, P., Bellamy, F. Ultrastructure and function of digitiform sensilla on the labial palp of a larval elaterid (Coleoptera). Canadian Journal of Zoology. 55, 569–578 (1977).

21. Shanbhag, S., Müller, B., Steinbrecht, R. Atlas of olfactory organs of Drosophila melanogaster: 1, Types, external organization, innervation and distribution of olfactory sensilla. International Journal of Insect Morphology and Embryology. 28, 377–397 (1999).

22. Tarumingkeng, R. C., Coppel, H. C., Matsumura, F. Morphology and ultrastructure of the antennal chemoreceptors and mechanoreceptors of worker Coptotermes formosanus Shiraki. Cell Tissue Research. 173, 173–178 (1976).

23. Zacharuk, R. Y. Ultrastructure and function of insect chemosensilla. Annual Review of Entomology. 25, 27–47 (1980).

24. Li, Y. Z., Zhong, G. Q. Screening of detergents and floating carriers for treating potato golden nematode cysts to improve the original appearance of electron microscopy. Plant quarantine. 8, 72–75 (1994).

25. Marzio, L. D., Marianecci, C., Petrone, M., Rinaldi, F., Carafa, M. Novel pH-sensitive non-ionic surfactant vesicles: comparison between tween 21 and tween 20. Colloids and Surfaces B: Biointerfaces. 82, 18–24 (2011).

26. Ren, L.L., Wu, Y., Shi, J., Zhang, L., Luo, Y. Q. Antenna morphology and sensilla ultrastructure of Tetrigus lewisi Candèze (Coleoptera: Elateridae). Micron. 60, 29–38 (2014).

27. Ren, L., Shi, J., Zhang, Y., Luo, Y. Antennal morphology and sensillar ultrastructure of Dastarcus helophoroides (Fairmaire) (Coleoptera: Bothrideridae). Micron. 43, 921–928 (2012).

28. Teng, X. H. et al. Morphology and distribution of ovipositor sensilla of female Helicoverpa armigera (Lepidoptera: Noctuidae). The 11th Henan Plant Protection Society, the 10th Henan Insect Society, and the 5th Member Congress and Academic Symposium of Henan Plant Pathology Society. 138–142 (2017).

29. Yang, R. et al. Insect specimens for scanning electron microscopy. Journal of Beijing University of Agriculture. 29, 33–36 (2014).

30. Zhang, Y. R. et al. Ultrastructure and distribution of sensilla on the maxillary and labial palps of Chlorophorus caragana (Coleoptera: Cerambycidae). Journal of Morphology. 279, 574–588 (2018).

31. Harrison, J. D. G. Cleaning and preparing adult beetles (Coleoptera) for light and scanning electron microscopy. African Entomology. 20, 395–401 (2012).

32. Xiao, Y. et al. Drying methods of biological sample preparation for scanning electron microscope. Research and Exploration Laboratory. 32, 46–53 (2013).

33. Graef, M. D. Introduction to Conventional Transmission Electron Microscopy. Cambridge University Press, Cambridge. (2003).