# Submission ID #: 59257

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18073433

# Title: Measurement of Aerosols Optical Thickness of the Atmosphere using the GLOBE Handheld Sun Photometer

# Authors and Affiliations:  Maryssa Bradley1 and Morewell Gasseller1

1Department of Physics, Xavier University of Louisiana, USA.

# Corresponding Author:

# Morewell Gasseller

# mgassell@xula.edu

# Tel.: +1-504-520-7644

# Email addresses for Co-authors:

# mbradle6@xula.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? No

2. Does your protocol include software usage? No

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.1, 2.5, 2.6, 2.7, 3.1 and 3.4

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.1, 2.5

For step 2.5, the aligning of the sun photometer to the sun, sitting down on a stable chair ensures success.

5. Will the filming need to take place in multiple locations? No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Morewell Gasseller: Using this protocol, we can measure the aerosol optical thickness of the atmosphere using the handheld Globe sun photometer with an accuracy that is acceptable to the atmospheric science community [1].

    - INTERVIEW

  - Maryssa Bradley:  Advantage of this technique is that it can be used by everyone from high school students to college students. The Globe sun photometer is robust and can be used in remote and hard to access areas [1].

    - INTERVIEW

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Morewell Gasseller: The aerosol optical thickness protocols are clearly outlined here and are easy to follow. When taking AOT measurements, it is always best to work in pairs [1].

    - INTERVIEW

  - Maryssa Bradley: A visual demonstration helps to understand the technique of aligning the sun photometer with the sun [1].

    - INTERVIEW

# Introduction of Demonstrator: (Said by you on camera)

  - Morewell Gasseller: Demonstrating the procedure will be Maryssa Bradley, an undergraduate student here at Xavier and co-author of this manuscript [1] [2].

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Photometer Operation

  - At the site [1], activate the GPS by choosing sensor set-up from the sensor menu and select GPS [2]. Once the GPS has acquired enough satellites, latitude and longitude values are displayed [3]. Then, press collect data and press save [4].

    - WIDE: Talent stands at the site.

    - CU: Talent activates GPS.

    - CU: Talent shows the longitude and latitude on the GPS.

    - CU: Talent presses collect data and presses save.

  - If outside temperature is more than 5 degrees below room temperature, keep the sun photometer wrapped in thermal foam when not in use [1-TXT]. When taking measurements during hot summer months, keep the sun photometer in the shade when not in use [2].

    - MED: Shot of the sun photometer wrapped in foam. TEXT: NOTE: The electronics of the sun photometer are sensitive to temperature.

    - MED: Shot of the sun photometer in the shade

  - Check if the sun photometer produces a stable voltage [1] of about 0.03 Volts indoors [2] and up to 5 Volts when light is directed on the detector [3].

    - WIDE: Talent checks the sun photometer indoor.

    - CU: Close up of the photometer showing 0.03 V.

    - CU: Talent places the photometer in the sunlight, and shows it reads up to 1.00 to 5.00 V.

  - To record the air temperature, turn the rotary switch to T and record the voltage reading on the voltmeter [1]. Multiply the voltage reading by 100 gives the air temperature in degrees Celsius [2].

    - CU: Talent turns switch to T, and shows the voltage recording.

    - CU: Talent converts voltage number to temperature on paper.

  - Then, set the rotary switch to the green channel of the sun photometer [1]. With one person sitting on the chair and resting his or her arms on the table [2], align the sun photometer so that the light passing through the hole on the top bracket produces a sunlight spot centered over the colored dot on the bottom bracket [3].

    - CU: Talent sets switch to green channel.

    - WIDE: One talent sits on the chair, holds the photometer and rests arms on the table. Videographer: Take multiple shots, as this will be used later.

    - CU: Shot of the bottom bracket with sunlight spot centered over the dot.

  - Have the second person record the reading on the voltmeter [1], making sure the sun spot is stable on the dot. If voltage reading is fluctuating, record the maximum value [2]. Record the time within 30 seconds [3].

    - WIDE: Another talent checks the photometer to record reading.

    - CU: Close up of the photometer with view of the sun spot, and voltage reading fluctuating.

    - CU: Talent records reading and time on paper.

  - To obtain the dark voltage, have the person sitting down keep the sun photometer aligned to the sun with one hand and then cover the hole on the top bracket with a finger from the other hand [1]. Have the second person record the voltage reading [2].

    - MED: The talent sitting down covers the hole on the top bracket. Focus on the finger.

    - WIDE: Another talent checks the photometer to record reading.

  - Next, set the rotary switch to the red channel [1], and repeat recording light and dark voltages [2]. Obtain five voltages readings for the green channel and five voltage readings for the red channel [3]. Measure the air temperature again [4].

    - CU: Talent sets switch to red channel.

    - Use 2.4.2.

    - CU: Talent records 5 readings for both green and red channels on paper.

    - Use 2.3.1.

- Collection of Metadata

  - Observe the clouds near the sun [1], and use the Globe cloud chart to check off observed features [2]. Visible cirrus clouds are easy to observe because of their characteristic thin wispy strands [3].

    - WIDE: Shot of the clouds near the sun.

    - MED: Talent checks off features on paper.

    - MED: Talent points to cirrus clouds. Videographer: Take multiple shots as this will be used later.

  - On an apparently clear day, if the cirrus clouds are not visible [1], but the sunlight voltage reading is less than 0.5 Volts, it is recommended to infer invisible cirrus clouds [2].

    - WIDE: Shot of the sky with no cirrus clouds.

    - CU: Talent shows the voltage reading less than 0.5 V.

  - To measure the relative humidity, hold the hygrometer with an extended arm away from the body, leave it in the air for about 3 minutes [1], and then take the dry bulb reading first followed by the wet bulb reading [2]. Find the difference in the two readings and use the relative humidity chart to establish the relative humidity [3].

    - WIDE: Talent holds the hygrometer in the air away from the body.

    - CU: Talent shows the dry bulb reading and then the wet bulb reading.

    - SCREEN: Talent calculates the difference, and points to the value on the relative humidity chart.

  - Then, use a barometer to measure and record atmospheric pressure [1]. Calculate the aerosol optical thickness by plugging the measured values and the constants into the AOT equation [2].

    - MED: Talent measures pressure.

    - CU: Talent does calculation on paper.

# Section – Results

- Results: Aerosol Optical Thickness (AOT) Variation

  - The monthly average AOT values measured at Xavier University of Louisiana over the 12-month period [1] indicate AOT peaks in February and in May [2].

    - Figure 2 – Video editor: emphasize Figure 2a

    - Figure 2 – Video editor: emphasize Figure 2a, and the two arrows.

  - The seasonal variation of AOT at the Xavier University of Louisiana site [1] categorizes December, January and February as winter [2], March, April and May as spring [3], June, July and August as summer [4], September, October and November as fall [5].

    - Figure 2 – Video editor: emphasize Figure 2b

    - Figure 2 – Video editor: emphasize Figure 2b, and winter.

    - Figure 2 – Video editor: emphasize Figure 2b, and spring.

    - Figure 2 – Video editor: emphasize Figure 2b, and summer.

    - Figure 2 – Video editor: emphasize Figure 2b, and fall.

  - Based on extrapolation [1-TXT], AOT for 4 wavelengths, 667 nanometers, 551 nanometers, 532 nanometers and 490 nanometers, at the Xavier University of Louisiana site was compared with the data at the AERONET station [2]. The arrows show the AOT peaks in February and in May for both sites [3].

    - Figure 3 – TEXT:

    - Figure 3

    - Figure 3 – Video editor: emphasize the arrows in both graphs.

  - The reliability of the GLOBE sun photometers was checked by comparing two independently calibrated instruments against each other [1]. The agreement between the two sun photometers is stronger for the 505-nanometer red channel [2] than the 625-nanometer green channel [3].

    - Figure 4

    - Figure 4 – Video editor: emphasize the R-square value for 505 nm.

    - Figure 4 – Video editor: emphasize the R-square value for 625 nm.

  - This difference is due to the red LED has stronger sensitivity to temperature than the green LED [1].

    - Figure 4

  - The daily variation of AOT was between 0.265 in the morning and 0.06 in the evening for the red channel, which corresponds to about 77% variation [1]. The data shows a peak at 9:00 AM of 0.265 and another peak at 3:00 PM of 0.182 for the red channel [2]. The green channel showed similar peaks [3].

    - Figure 5 – Video editor: emphasize the red line.

    - Figure 5 – Video editor: emphasize at 9 AM and 3 PM.

    - Figure 5 – Video editor: emphasize the green line.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Maryssa Bradley: The most important thing to remember is that these measurements do not work when the sun is obscured by cirrus clouds. The present of cirrus clouds can result in false values for AOT [1] [2].

    - Use 3.1.3

    - INTERVIEW

  - Morewell Gasseller: The next logical step after this is to use the Calitoo sun photometer with its blue, green and red channels to validate the GLOBE sun photometer and use both instruments at the AERONET site [1].

    - INTERVIEW

  - Maryssa Bradley: At present, there are over 400 AERONET monitoring stations around the world, but even these are not enough to cover the whole planet. Our hope is that the GLOBE handheld sun photometers, using the protocols described here can be used to bridge the gaps left out by AERONET [1].

    - INTERVIEW