## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Data-logger | Testo | Testo 177-H1 | Testo 177-H1, humidity/temperature logger, 4 channels, with internal sensors and additional external temp
Data-logger sotfwae | Testo | Software Comsoft Basic Testo 5 | Basic software for the programming and reading of the data loggers Testo
Electronic controller differential | Eliwell | IC 915 (LX) (cod. 9IS23071) | Electronic controller with 2 set points and differential set point adjustment
Electronic controller dual | Eliwell | IC 915 NTC-PTC | Electronic controllers with dual output
Growth chamber - phytotron | Rochina |  | Chamber measuring 1.85 x 1.85 x 2.5 m (L x W x H) with a total volume of 8.56 m3. With temperature (day/night), photoperiod (day/night), light intensity and minimum relative humidity control.
Light kit | Cosmos Grow/Bloom Light |  | Light kit with reflector, electric ballast sodium/halide and high-pressure sodium (HPS) 600W lamp
Luxmeter | Delta OHM | HD 9221 | HD 9221 Luxmeter to measure the light intensity
Plant material | Beniplant S.L (AVASA) |  | Mandarin trees from registered nurseries with a virus-free certification
Substrate | Plant Vibel |  | Standard substrate based on quality 50% white peat and 50% coconut fiber

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=