# Submission ID #:  59288

# Scriptwriter Name: Michael Linnes

# Project Page Link:  http://www.jove.com/files_upload.php?src=18082888

# Title: Fluorescence Recovery after Photobleaching of Yellow Fluorescent Protein Tagged p62 in Aggresome-like Induced Structures

# Authors and Affiliations:   David J. Rademacher1, Maleen Cabe2, and Joanna C. Bakowska2

1Core Imaging Facility and Department of Microbiology and Immunology 2Department of Molecular Pharmacology and Therapeutics, Loyola University Chicago, Maywood, IL, USA

# Corresponding Author:

Joanna C. Bakowska

jbakowska@luc.edu

# Email addresses for Co-authors:

David J. Rademacher	(drademacher@luc.edu)

Maleen Cabe		(mcabe1@luc.edu)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  N

Can you record movies/images using your own microscope camera? (Y/N) Y

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

2.1, 2.2, 3.1, 4.1

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

# The most difficult aspect of this procedure is step 3.8. Namely, run the image acquisition program to collect FRAP data from 10 aggresome-like induced structures (ALIS) in 10 cells with less than about 3 microns of drift. Several steps are taken to ensure the success of this step: (1) Sterile Tyrode’s buffer is supplemented with 10 µg/mL nocodazole to decrease ALIS movement by microtubules (step 2.1); (2) When drift of the ALIS is greater than or equal to 3 µm, the experiment is stopped and the data is discarded; (3) When drift of the ALIS is less than 3 microns,  image drift is corrected by aligning or matching the stack of time-series images of the acquisition region of interest (ROI) (step 4.2).

5. Will the filming need to take place in multiple locations? (Y/N) Y

If yes, how far apart are the locations? 75 feet

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements:

# Why is your protocol significant?

  - David Rademacher:  Existing fluorescence recovery after photobleaching protocols are either incomplete or overly complex.  The protocol presented in this video is significant in that it is comprehensive, practical, and straightforward.

# What is the main advantage of this technique?

  - David Rademacher: The main advantage of this FRAP technique is that it allows for the quantification of protein mobility within and between subcellular compartments in live cells.

OPTIONAL Interview Statements:

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Joanna Bakowska: FRAP is being studied for both therapeutic and diagnostic purposes. One such use is to quantify diffusion within drug delivery systems in different tissues in vivo. This information can be used to optimize a drug structure and composition.

# Are there any specific areas of research that this method could provide insight into?

  - David Rademacher: The FRAP microscopy technique has provided insights in a broad range of fields in which understanding diffusion phenomenon is of interest. These including cell and molecular biology, developmental biology, neuroscience, material science, advanced biomaterials, and drug discovery..

# Can this method be applied to any other systems?

  - David Rademacher: Although the protocol described is for use with mammalian cells, the concepts can be applied to other systems such as plant cells, yeast cells, and bacteria.

# How would you expect an individual who has never performed this technique to struggle?

  - David Rademacher: An individual who has never performed this technique may struggle in determining the optimal image acquisition parameters, creating an acquisition region of interest that is suitable for their experiment, and calculating the mobile fraction and half time of recovery.

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - David Rademacher: When attempting this procedure for the first time, be sure to perform several pilot experiments to optimize the protocol in the context of the aims of your experiment.

# Introduction of Demonstrator:

  - Joanna Bakowska: Demonstrating the procedure will be Maleen Cabe, a technician from my laboratory and David Rademacher, the Core Imaging Facility Manager.

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Cell Line and Laser Setup

  - To begin, prepare a plate of RAW264.7 (pronounced: raw-2-6-4-point-7) macrophages and treat them with lipopolysaccharide and nocodazole as described in the accompanying text protocol. [1]  Allow the plates to incubate at 4 degrees Celsius for 15 to 20 minutes prior to FRAP (pronounced: frap) imaging and analysis. [2]

    - MED: Talent adds solution to plate of cells while working in tissue culture hood

    - MED: Talent places plate at 4 degrees Celsius

  - Over at the imaging setup, [1] select the 514 nanometer line of the Argon/2 laser, as the fluorescence marker has a peak excitation at 512 nanometers and a peak emission at 527 nanometers.   Next, in the Laser Control window, click Argon/2 458, 477, 488, 514, and then click the Standby button. [2]

    - MED Over the Shoulder: Talent works at imaging computer station

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEEN_59288_2.2.2.mp4)

  - After waiting about 3 minutes for the laser to warm up, click the On button.  Then, set the laser power of the laser to 100 percent and press Enter… Next, set the transmission of the laser line to 5%. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_2.3.1_T1.mp4, JoVE_SCREEN_59288_2.3.1_T2.mp4)

- Image Acquisition Set-Up and Collection

  - On the microscope, turn to the Plan-Apochromat 63X magnification, 1.40 numerical aperture oil objective.  [1]View the specimen through the microscope eyepiece and place an aggresome-like induced structure in the center of the field of view.[2]

    - CU: Talent turns to the 63X Objective

    - MED: Talent looks into the eye piece and moves the sample

  - Then, in the acquisition software, set the frame size to 512 by 512 pixels, the scan speed to 8, and the data depth to 12 bit.  Also, set the scan average to 1, the optical zoom to 3, and press Enter.[1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_3.2.1.mp4)

  - Next, set the pinhole to 1.95 Airy units and detector gain to 582, which is just below saturation. Create a square-shaped region of interest for the image acquisition that has the dimensions 150 by 150 pixels. [1-TXT]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. TEXT: 150 × 150 pixels = 194.6 µm2 (Author Comment: JoVE_SCREEN_59288_3.3.1.mp4)

  - Set-up the time series such that the region of interest is scanned 35 times, once every 30 seconds.[1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_3.4.1.mp4)

  - Then, set the bleach control such that the photobleaching will occur after scan number 5, to collect 5 prebleach images of the region of interest.  Press the enter key to confirm. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_3.5.1.mp4)

  - Next, go to the Bleach Regions window and create a circular-shaped bleach region of interest within the aggresome-like induced structure area that has a diameter of 10 pixels. [1-TXT]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. TEXT: Bleach Area = 0.8 µm2 (Author Comment: JoVE_SCREEN_59288_3.6.1.mp4)

  - Now, set number of iterations to 300 and again press the Enter key.  Then, set the laser line to 100% power and enter 100 in the Transmission percent field for the laser, and press Enter.[1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_3.7.1.mp4)

  - Finally, run the image acquisition program to collect FRAP data from 10 aggresome-like induced structures in 10 cells with less than about 3 microns of drift.  [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page.  (Author Comment: JoVE_SCREEN_59288_3.8.1.mp4)

- Data Analysis

  - To begin data analysis, first transfer the AIM (Pronounced like the word “aim” not A-I-M) .lsm files to a personal computer for data analysis.[1]

    - MED Over the Shoulder: Talent places flash drive into a personal computer

  - Correct for image drift by aligning or matching the stack of time-series images of the acquisition region of interest by opening each AIM .lsm file with an image processing program.  Then, select Plugins… Registration… StackReg… and Translation. Followed by selecting Plugins… Registration… StackReg… and then Rigid Body. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_4.2.1.mp4)

  - Next, set up the region of interest manager to measure the signal intensity in the bleach region of interest.  For this, select the Oval tool, then draw a circle in the bleach region of interest with a diameter of 10 pixels and then click the Add button. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_4.3.1.mp4)

  - Once added, set up the program to measure signal intensity in the control region of interest. Select the Rectangle tool, then draw a square of 20 by 20 pixels in the control region and click the Add button. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_4.4.1.mp4)

  - Finally, set-up the region of interest Manager to measure signal intensity in the background region of interest. Select the Rectangle tool, draw a square of 20 × 20 pixels in the background region, and then click the Add button. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_4.5.1.mp4)

  - After adding the regions to be analyzed in ROI Manager, rename them Bleach ROI, Control ROI, and Background ROI accordingly. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_4.6.1.mp4)

  - Measure signal intensity in each region. To accomplish this, select Bleach ROI, Control ROI, and Background ROI and then go to More and select Multi Measure.  [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_4.7.1.mp4)

- Data Analysis in a Spreadsheet Program

  - Paste the results to a spreadsheet into columns labeled Bleach ROI, Control ROI, and Background ROI, respectively.[1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_5.1.1.mp4)

  - Start by background-correcting the signal intensity in the bleach ROI and the control ROI by subtracting the values in the column labeled Background ROI from the values in the column labeled Bleach ROI and the column labeled Control ROI. Label these new columns Corrected Bleach ROI and Corrected Control ROI.[1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_5.2.1_t1.mp4, JoVE_SCREEN_59288_5.2.1_t2.mp4)

  - Next, normalize the signal in the bleach ROI to the background-corrected signal in the control ROI. Divide the values in the column labeled Corrected Bleach ROI by the values in the column labeled Control Corrected ROI. Label this new column Normalized Corrected Bleach ROI. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_5.3.1.mp4)

  - Then, normalize the signal in the Normalized Corrected Bleach ROI column to the average of the 5 prebleach values in the bleach ROI. Divide the values in the column labeled Normalized Corrected Bleach ROI by the average of the 5 prebleach values in the bleach ROI. Label this new column Normalized Corrected Prebleach Average Bleach ROI. [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_5.4.1.mp4)

  - Finally, open a program for image processing.  Curve-fit the normalized and corrected bleach ROI data by copying the postbleach normalized, corrected bleach ROI values, and the corresponding time values.  Paste them into the Curve Fitter window, select Exponential Recovery from the Curve Fitter drop-down menu, and select Fit.  [1]

    - SCREEN: To be provided by the authors – Screen capture video as talent performs the above steps in the order listed Authors, please upload this screen capture to your project page. (Author Comment: JoVE_SCREEN_59288_5.5.1.mp4)

# Section – Results

- Results:  Fluorescence Recovery After Photobleaching of Yellow Fluorescent Protein Tagged p62 in Aggresome-Like Induced Structures

  - Shown here is a typical video of fluorescence recovery after photobleaching for RAW264.7 cells treated with LPS. The fluorescence recovery within the aggresome-like induced structure region of interest is slow.[1]

    - LABMEDIA: Fig 4-Vid_FINAL.avi

  - This experiment uses photobleaching to examine the degree of mobility of p62. p62 fluorescence in the aggresome-like induced structures prebleach and postbleach is shown here.[1]

    - LABMEDIA: Figure 3e

  - As described in this video, the fluorescence intensity can be tracked over time.[1] Following background correction and normalization, the-p62 fluorescence can be calculated to describe the mobile fraction as 22%, the immobile fraction as 78%, and describes the half-time of recovery within the aggresome-like induced structures as 2.14 minutes.[2]

    - LABMEDIA: Figure 3a

    - LABMEDIA: Figure 3d - Video Editor: Highlight the Mf labeled region with the words “the mobile fraction as 22%”, the lf labeled region with the words “the immobile fraction as 78%”, and the t½ label with the words “half-time of recovery within the aggresome-like induced structures as 2.14 minutes”

# Section - Conclusion

- Conclusion Interview Statements:

  - David Rademacher: (Step 3.3) It is especially important to properly define the acquisition region of interest so that it includes an ALIS of interest, a control region of interest, and a background region of interest.

  - David Rademacher: Following this procedure, other quantitative fluorescence microscopy techniques may be applied, such as fluorescence loss in photobleaching and selective photobleaching. Whereas FLIP measures the degree of continuity and communication between subcellular compartments, selective photobleaching provides kinetic information about active and passive transport of proteins into organelles or between protein rich areas.

  - David Rademacher: FRAP was initially developed to quantify the lateral movement of proteins in cell membranes. Subsequently, it has been used to quantify protein mobility within and between a variety of subcellular compartments which paved the way for researchers to answer questions in a variety of fields including cell and molecular biology, developmental biology, neuroscience, material science, advanced biomaterials, and drug discovery.