# Submission ID #: 59333

# Scriptwriter Name: Qingyun Ping

# Project Page Link: http://www.jove.com/files_upload.php?src=18096613

# Title: A Strategy to Identify Compounds that Affect Cell Growth and Survival in Cultured Mammalian Cells at Low-to-Moderate Throughput

# Authors and Affiliations: Nasir Malik1, Rohini Manickam1, Muznabanu Bachani1, Joseph P. Steiner1

1National Institutes of Health (NIH), National Institute of Neurological Disorders and Stroke (NINDS), Neurotherapeutic Development Unit (NTDU), Bethesda, MD, United States

# Corresponding Author:

# Nasir Malik

# malikn@mail.nih.gov

# Email addresses for Co-authors:

# rohini.manickam2@nih.gov

# bachanimm@mail.nih.gov

# steinerjp@mail.nih.gov

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? (Y/N)  Y

Can you record movies/images using your own microscope camera? (Y/N) N

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Nikon Eclipse TS100

2. Does your protocol include software usage? (Y/N) Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

1.2.8, 2.1.2, 2.1.3, 2.1.4, 2.1.5

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Ensuring that the compounds are diluted properly. 2.1.3, 2.2.2

5. Will the filming need to take place in multiple locations? (Y/N) Y

If yes, how far apart are the locations?

There will be two rooms for filming.  A cell culture room and the lab room with the imager.  The two are approximately ten yards from one another.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Nasir Malik: This protocol offers a quick and efficient strategy to simultaneously use two assays to screen several hundred compounds for their effects on cell growth.  The assays can provide us information of whether specific compounds are cytotoxic, inhibit cell growth, or enhance cell growth.  By utilizing the two assays together we are able to increase accuracy in identifying cytotoxic compounds.  In cases where the results of the two assays diverge this strategy may allow us to identify compounds with unique effects on cellular function that can be further examined by other means [1].

    - INTERVIEW

  - Nasir Malik: The main advantage of this strategy is that it is quick, inexpensive and non-labor intensive.  Once mastered it allows researchers to easily perform a primary screen of up to 200 compounds in one week and then perform an exhaustive dose response curve on 10-15 compounds in another week [1].

    - INTERVIEW

# Introduction of Demonstrator: (Said by you on camera)

  - Nasir Malik: Demonstrating the procedure will be Nasir Malik and Rohini Manickam, a Staff Scientist and post-baccalaureate fellow from the laboratory [1] [2].

    - Interview style: Author saying the above

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera.

# Section - Protocol

- Dissociate and Plate Neural Stem Cells

  - First, in a biological safety cabinet, culture cells in a T75 (pronounce as T-seventy-five) flask with NSC (pronounce as N-S-C) medium so that they will be at least 80% confluent when beginning the assay [1-TXT], and place the flask in a cell culture incubator set at 37 degrees Celsius and 5% carbon dioxide [2].

    - MED: Talent transfers culture into a flask with medium. TEXT: NSC: neural stem cells

    - MED: Talent places the flask in an incubator.

  - Once the cells reach 80% confluence, remove the flask from the incubator [1] and aspirate off NSC medium [2]. Add 3 milliliters of cell dissociation reagent and incubate for 5 minutes in the incubator [3].

    - MED: Talent takes out the flask and shows it is 80% confluence.

    - CU: Talent aspirates off medium.

    - MED: Talent adds reagent and places the flask in the incubator, and starts the timer.

  - After incubation, add 7 milliliters of NSC medium in the flask and pipette vigorously to ensure all cells become detached [1]. Transfer the dissociated cell solution to a 15-milliliter tube and centrifuge at 200 times g for 5 minutes [2].

    - CU: Talent adds medium and pipettes vigorously.

    - MED: Talent transfers solution into a tube and puts into centrifuge.

  - Remove the supernatant from the tube and resuspend the cells in 10 milliliters of NSC medium [1]. Use an automated cell counter or hematocytometer to count the cells [2], and add NSC medium into the tube to readjust the concentration of cells to 200,000 cells per milliliter [3].

    - CU: Talent removes supernatant and adds medium to resuspend.

    - MED: Talent shows a cell counter.

    - CU: Talent adds more medium. Close up of the solution in the tube.

  - Then, using six of the eight slots of an 8-channel multichannel pipettor to plate 100 microliters of the cell mixture column-by-column in 60 interior wells of three 96-well plates that have been coated by extracellular matrix [1-TXT].

    - MED: Talent adds mixture into wells of three plates. TEXT: See manuscript for coating wells.

  - Add 100 microliters of base medium or NSC medium to all wells without cells to minimize potential evaporation from outermost wells [1].

    - CU: Talent adds medium to rest wells.

  - Under a cell culture microscope, visually inspect at least 10 wells on each of the three 96-well plates [1] to confirm that the cells are seeded at the expected density [2]. Incubate at 37 degrees Celsius and 5% carbon dioxide [3].

    - MED: Talent places one plate under microscope.

    - SCOPE: Talent shows the expected density.

    - MED: Talent places plates into incubator. Videographer: Take multiple shots, as this will be used later.

- Treating Cells with Compounds

  - Remove the cell culture plates from the incubator 16−24 hours after splitting [1] and aspirate off NSC medium column-by-column with an 8-channel multi-well pipettor using only six of the eight multi-well slots [2].

    - MED: Talent takes plates out of the incubator. Videographer: Take multiple shots, as this will be used later.

    - CU: Talent aspirates medium.

  - Add 95 microliters of fresh NSC medium to each well of the three replicate plates [1] and place the plates back into the incubator [2].

    - CU: Talent adds fresh medium to wells.

    - MED: Talent places plates into incubator.

  - With an 8-channel multi-well pipettor, add 49 microliters of NSC medium into each of the interior 60 wells of an empty U-bottomed, V-bottomed or round-bottomed 96-well plate [1].

    - CU: Talent adds medium to an empty round-bottomed plate.

  - Unseal the prepared master compound plate [1], pipette 1 microliter of the compound from the master plate into each of the interior 60 wells containing NSC medium, and mix the diluted compound 3 times with the bench top pipettor [2].

    - MED: Talent unseals the master compound plate.

    - CU: Talent adds solution into the wells and pipets 3 times.

  - Next, remove the three 96-well plates of NSCs from the incubator [1], and dispense 5 microliters of the diluted compound into each well of the three plates that contain cells to yield a 1:1000 dilution for the final compound concentration of 10 micromolar with a DMSO (pronounce as D-M-S-O) concentration of 0.1% [2-TXT].

    - Use 3.1.1.

    - CU: Talent transfers solution from the round-bottomed plate to another plate. TEXT: DMSO: dimethyl sulfoxide Video editor: Show the text when the VO says DMSO

  - Incubate cells with compound for 72 hours and proceed with cytotoxicity assays [1].

    - MED: Talent places plates into incubator.

  - To perform dose response assay, set up a 96-well [1-LM]. Use column 2 for six DMSO control replicates [2-LM], and test triplicates of up to three different compounds at two-fold serial dilutions at six doses starting with a high dose of 10 micromolar [3-LM].

    - Figure 2

    - Figure 2 - Video editor: emphasize column 2

    - Figure 2 - Video editor: emphasize the cells for the three compounds with different colors.

  - Dilute 4 microliters of 100% DMSO or test compound in DMSO into 196 microliters of NSC medium in a 1.5 milliliter microcentrifuge tube [1]. Add 25 microliters of the diluted DMSO to control wells and 50 microliters of the diluted test compounds to their corresponding wells [2].

    - MED: Talent adds DMSO solution into a tube containing medium.

    - MED: Talent adds solution into wells.

  - Pipette 25 microliters of NSC medium to the remaining empty wells in the interior portion of the 96-well plate [1]. With a multichannel pipettor, transfer 25 microliters of the compound from the 10 micromolar wells to the 5 micromolar wells, and mix at least five times [2].

    - CU: Talent adds medium to remaining empty wells.

    - CU: Talent transfers solutions from B row wells to C row wells and mixes 5 times.

  - Replace pipette tips, and repeat the process by mixing the remaining rows to generate triplicates [1] at two-fold dilutions for a total of six doses for each of the compounds [2-LM]. Transfer 5 microliters of each dilution into a new plate [3]. Place the plate in the incubator at 37 degrees Celsius and 5% carbon dioxide [4].

    - CU: Talent transfers solutions from D row wells to E row wells and mixes 5 times.

    - Figure - Video editor: emphasize the B&C, D&E, and F&G rows for each compound. Use different colors for each group. If possible, show an animation presenting mixing rows B&C, rows D&E, and rows F&G.

    - [Added Shot] Talent adds solution into a plate of cells.

    - MED: Talent places the plate into incubator.

- Imaging Cells on a Plate Reader

  - After cells have been incubated for 72 hours, remove the plate from the incubator and place it inside the plate reader [1]. Open the imager software to set up protocol and experiment files for the study [2]. Go to Imager Manual Mode on Task Manager and click Capture now [3].

    - WIDE: Talent transfers plate from incubator to plate reader.

    - MED: Talent operates on a computer to open software.

    - SCREEN: Talent captures images.

  - Choose 96-well plate as the vessel type, select 10 times for the magnification, and red fluorescent protein 531 and 593 for imaging tdTomato (pronounce as D-M-S-O) [1]. Click on a well, then click Autofocus to focus image, and Auto Expose for proper exposure time. Manually adjust focus and exposure if needed [2].

    - SCREEN: Talent does the corresponding selection in the software. Video editor: Sub-step 4.2.1 until 23 seconds then sub-step 4.2.2

    - SCREEN: Talent picks a well and adjusts focus and exposure.

  - Click the camera icon to capture the picture. Then click PROCESS/ANALZYE above image to continue building the protocol and select the ANALYSIS tab. To the right of the image, click Cellular Analysis in ADD ANALYSIS STEP, and click START [1].

    - SCREEN: Talent captures the picture and starts analysis. Video editor: Only need the first 30 seconds.

  - The image shows highlighted cells to indicate each individual cell [1]. Click on the Options selection to alter parameters to better select cells based upon the fluorescence threshold or cell size [2]. If the imager is properly counting the cells, then click ADD STEP at the bottom of the screen [3].

    - SCREEN: The images shows highlited cells. Video editor: Sub-step 4.4.1 up to 5 seconds, sub-step 4.4.2 is from 6-40 seconds, sub-step 4.4.3 from 41 seconds on.

    - SCREEN: Talent clicks on options selection and points to threshold and cell size.

    - SCREEN: Talent shows the image and clicks add step.

  - Click the icon at the top of the screen to Create experiment from the image set, and on the opened window, click Procedure under the Protocol tab, then in the new window that opens select Read. Click full plate to select only the 60 wells that contain the cells [1]. Click OK to save changes, then click OK in the Procedure window [2].

    - SCREEN: Talent opens three windows and makes selections. Video editor: Substep 4.5.1 for the first 32 seconds; for sub-step 4.5.2 there are three OKs that are clicked at 33, 35, and 38 seconds.

    - SCREEN: Talent clicks three OKs.

  - Click the play icon to run the plate. In the prompt, save the file, and then in the “Load Plate” prompt, click “OK” [1]. Upon completion of the imaging, download the cell count data from the imager software program to a spreadsheet for analysis [2].

    - SCREEN: Talent clicks play, then clicks save in the prompt, and then click OK in the prompt.

    - SCREEN: Talent copies data to excel.

- Terminal MTT (3-(4,5-dimethylthizol-2-yl)-2,5-diphenyltetrazolium bromide) Cytotoxicity Assay

  - Within two hours of completing tdTomato imaging, begin the MTT (pronounce as M-T-T) assay [1]. Weigh out 25 milligrams of MTT and resuspend it in 5 milliliters of NSC medium to make 5 milligrams per milliliter MTT stock solution [2].

    - WIDE: Talent approaches the biosafety cabinet.

    - MED: Talent dissolves powder in medium.

  - Vortex the solution for several minutes [1] until there are no visible precipitates of MTT [2].

    - MED: Talent vortexes the solution

    - CU: Talent shows the solution having no visible precipitates.

  - Remove cell culture plates from the incubator and aspirate off cell culture medium [1]. Dilute MTT 1 to 10 in fresh NSC medium [2], and add 100 microliters of the diluted MTT to each well of cells [3].

    - MED: Talent transfers plates from incubator to the cabinet and aspirates off medium.

    - MED: Talent dilute MTT in fresh medium in a tube.

    - CU: Talent adds solution into wells.

  - Incubate cells at 37 degrees Celsius for 2 hours [1]. A purplish precipitate is visible roughly in proportion to the number of cells in the well [2]. Aspirate the MTT solution off the plates, and add 50 microliters of 100% DMSO to each well [3].

    - Use 2.7.3. Video editor: Show a clock counting down from 02:00:00

    - CU: Talent shows the plate with purple precipitate.

    - CU: Talent aspirates solution and adds another solution into wells.

  - Place the plates on a shaker at room temperature for 10 minutes at 400 rpm [1]. After that, transfer the plate to a plate reader, read the absorbance of each well at the preset wavelength of 595 nanometers [2], and export data to a spreadsheet for analysis [3].

    - MED: Talent places plates on a shaker and starts the timer.

    - WIDE: Talent transfers plate from shaker to plate reader.

    - Use 4.6.2

# Section – Results

- Results: tdTomato Assay and MTT Assay

  - Examination of tdTomato fluorescence images revealed two wells discordant for toxicity between the MTT and cell count assay [1]. For one well, cell count data suggested no toxicity but MTT data did [2].

    - Figure 3 – Video editor: emphasize Figure 3B&C

    - Figure 3 – Video editor: emphasize Figure 3B

  - Another well had overestimated cell count by MTT relative to tdTomato count, and appeared to have larger cells [1]. Whereas in wells where MTT underestimated cell count relative to tdTomato, the cells appeared to be smaller [2].

    - Figure 3 – Video editor: emphasize Figure 3C

    - Figure 3 – Video editor: emphasize Figure 3D

  - In summary, the tdTomato assay classified eleven compounds as toxic [1], eleven as growth inhibitory [2], and one as growth enhancing [3] with thirty-four having no apparent effect on cell growth [4].

    - Table 1 – Video editor: emphasize red cells.

    - Table 1 – Video editor: emphasize yellow cells.

    - Table 1 – Video editor: emphasize one green cell.

    - Table 1

  - The MTT assay classified thirteen compounds as toxic [1], two as growth inhibitory [2], and one as growth enhancing [3] with forty-one having no apparent effect on cell growth [4].

    - Table 2 – Video editor: emphasize red cells.

    - Table 2 – Video editor: emphasize yellow cells.

    - Table 2 – Video editor: emphasize one green cell.

    - Table 2

  - The graph of viable cells for the compound WP1066 (pronounce as W-P-one-O-six-six) [1] shows a relatively flat curve with no toxicity for the four lowest concentrations [2].

    - Figure 4

    - Figure 4 – Video editor: emphasize the first four concentrations.

  - The curve falls rapidly at the 5 micromolar dose [1], and drops to nearly full toxicity at 10 micromolar [2], which leads to the lethal dose 50 as 4.4 and 6.0 micromolar for the tdTomato assay and the MTT assay [3].

    - Figure 4 – Video editor: emphasize the fifth concentration.

    - Figure 4 – Video editor: emphasize the sixth concentration.

    - Figure 4 – Video editor: emphasize the texts in the black square.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Nasir Malik: It is critical that compounds are properly diluted in the dose response screen so that the correct dose response curve is generated [1] [2].

    - Use 3.10.1 & 3.10.2

    - INTERVIEW

  - Nasir Malik: Compounds identified by this procedure to effect cell growth can be further characterized by functional assays to identify potentially novel signaling pathways that control cell growth [1].

    - INTERVIEW

  - Nasir Malik: Compounds that are toxic to neural stem cells have been tested as potential therapeutic agents for brain cancers such as glioblastoma and neuroblastoma [1].

    - INTERVIEW

  - Nasir Malik: Always wear gloves and a lab coat when handling mammalian cells, DMSO, and MTT.  Dispose DMSO an MTT according the chemical waste guidelines of your institution [1].

    - INTERVIEW