## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
0.6 mL Centrifuge Tube | Eppendorf | #22364111
100 mm Petri Dishes | VWR International | #25384-302
Aspirator Tube | Drummond | #2-000-000
Calibrated 1-5 µL Capillary Tubes | Drummond | #2-000-001
Dispolable Spatulas | VWR International | #80081-188
HMA-50S 50W Aquatic Heaters | Finnex | HMA-50S
P1000 Pipette | Eppendorf | #3123000063
P1000 Pipette Tips | Thermo Scientific | #2079E
Sanyo MIR-554 incubator | Panasonic Health Care | MIR-554-PA
Sperm Extender E400 |  |  | 130 mM KCl, 50 mM NaCl, 2 mM CaCl2 (2H2O), 1 mM MgSO4 (7H2O), 10 mM D (+)-Glucose, 30 mM HEPES Adjust to pH 7.9 with 5M KOH and filter sterilize. Solution can be stored at 4 ˚C for up to 6 months.
Sponge Animal Holder |  |  | Made from scrap foam
System Water |  |  | Deionized water supplemented with Instant Ocean Sea Salt [Blacksburg, VA] to reach a specific conductance of 800 µS/cm. Water quality parameters are maintained within safe limits (Upper limit of total ammonia nitrogen range, 1 mg/L; upper limit of nitrite range, 0.5 mg/L; upper limit of nitrate range, 60 mg/L; temperature, 22 °C; pH, 7.65; dissolved oxygen 100 %)
Tissue Wipes | Kimberly-Clark Professional | #21905-026
ZIRC E2 Embryo Media |  |  | 15 mM NaCl, 0.5 mM KCl, 1.0 mM MgSO4, 150 µM KH2PO4, 50 µM Na2HPO4, 1.0 mM CaCl2, 0.7 mM NaHCO3. Adjust pH to 7.2 to 7.4 using 2 N hydrochloric acid. Filter sterilize. Stored at room temperature for a maximum of two weeks.

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=